## Sheet 1
Facilities | Team Type |  |  |  | Specification | Legal Standard | Notes
| SAR and WASAR | Mud | Rope | Combined
These outline requirements are the SOG-agreed standard and are formed from a composite of the previous HQ Estates Requirements and the HQ Coastal Ops Requirements. They have been prepared to identify the requirements of the Maritime & Coastguard Agency in respect of new Coastguard Rescue Stations. The minimum level of accommodation to be provided includes: - Garage/Equipment Store (sized to suit vehicle(s) (and trailer(s) if necessary) - Meeting/Rest Room - Office - Disabled W/C - Shower (mud teams only) - Drying room Subject to the availability of space, the meeting room and office may be a single space. Final level of accommodation and fit out requirements will be adjusted to suit the specific unit. All works to comply with Building Regulations, British and European Standards and Industry Best Practice as applicable. Key: X denotes applicability to Team Type X Unshaded denotes desirable requirements X Blue shaded denotes essential minimum requirement All new builds should meet or exceed the essential mininmum requirement Improvement works to existing premises should be prioritised to first achieve the minimum requirement
Personal
W/C | X | X | X | X | Disabled WC Document M compliant basin and toilet from Armitage Shanks or similar approved, include all necessary drains, cisterns, toilet seats, toilet roll holder, hand drying provision, pipework etc. installed in accordance with the manufacturer’s recommendations and requirements. Hot water is to be supplied by localised hot water heater. Include all necessary connections to the drainage and plumbing installations from the WC and basin, tested on completion. Include all necessary handrails required to comply with Building Regulations Document M. White tile splash back behind the basin. Ensure all tiling is finished to a good quality. Timber boxing to enclose all pipework, with accessible panels for future maintenance of the pipework, decorated to match the walls. Include to supply and fit skirtings to the boxings as required. All boxings are to be constructed from a good quality WBP plywood of an appropriate thickness. Ensure all screws and fixings are capped using a white plastic screw cap. | Workplace (Health, Safety and Welfare) Regs 1992. Reg 20 — Suitable and sufficient sanitary conveniences shall be provided at readily accessible places. | Multiples of unisex units is more effective than separate male and female. If required disabled access should be built into one unisex unit.
Shower | X | X | X | X | 1No. 1200 mm x 800 mm white shower tray with a polished chrome drain, include all necessary drainage provisions in accordance with best practice and the Building Regulations. All installed in accordance with the manufacturer’s recommendations and requirements. Anti slip shower and flooring adjacent to shower. Glass shower enclosure including a pivot glass doors fixed in place and be supplied with polished chrome hinges and handles, installed in accordance with the manufacturer’s recommendations and requirements. Power shower with in-built heater and pump installed at an appropriate height with shower head installed on an adjustable bracket. Include to provide all necessary water and electricity supplies to the shower. Include to provide an isolator switch for the shower externally. All pipework is to be chased into the wall. White tiling to the walls within the shower room from floor to ceiling. All tiling evenly spaced and finished to a good quality. 1 No. electric heated towel rail within the shower room with a timed switch, installed by a suitably qualified NICEIC Contractor. | Workplace (Health, Safety and Welfare) Regs 1992. Reg 21 — Suitable and sufficient washing facilities, including showers if required by the nature of the work or for health reasons, shall be provided at readily accessible places. | Unisex. Option to combine with change room/ toilet.
Personal Hygiene (Face/hand wash) | X | X | X | X | See W/C requirements | As above | Hot water required. Option to combine with toilet.
Changing area | X | X | X | X | Private area to allow clothes changing | Workplace (Health, Safety and Welfare) Regs 1992. Workplace (Health, Safety and Welfare) Regs 1992. Reg 24 — Suitable and sufficient facilities shall be provided for any person at work in the workplace to change clothing in all cases where: (a) the person has to wear special clothing for the purpose of work; and (b) the person cannot, for reasons of health or propriety, be expected to change in another room. | Option to combine with shower/ toilet.
Kitchenette (kettle, small fridge, microwave, sink) | X | X | X | X | May be positioned within the Meeting Room. Range from the Howdens’ Glendevon Flint Grey Selection, including cushion close drawers and doors. Include all necessary cornices, pelmets, plinths and panels to complete the kitchen installation. All installed to a high standard. Subject to availability of space, the units to be provided are as follows: - 1 No. 500 mm wide 4 drawer base unit. - 4 No. 600 mm wide base units. - 1 No. 1200 mm wide corner base unit. - 4 No. 600 mm wide wall units. - 1 No. 500 mm wide wall unit. 38 mm square edged oak block style laminate worktop with connection bolts, joint compound and edging, installed in accordance with the manufacturer’s recommendations and requirements. Brushed steel effect bow handles to all cupboards and drawers, installed in accordance with the manufacturer’s recommendations and requirements. Provide space for a free standing refrigerator under the worktop within the kitchenette. Metro bevel edged tiling to splash back between the worktop and wall cupboards, including all necessary trims. All tiling is to be finished to a good quality. Tile colour grey. Grout colour white. | Workplace (Health, Safety and Welfare) Regs 1992. Reg 25— Suitable and sufficient rest facilities shall be provided at readily accessible places. Rest facilities shall include suitable facilities to eat meals where food eaten in the workplace would otherwise be likely to become contaminated. | Minimum requirement, a full kitchen is the optimum specification.
Cleaning Store | X | X | X | X | Sized to accommodate vacuum cleaner, pressure washer, mop and bucket, shelves for cleaning products etc. | Workplace (Health, Safety and Welfare) Regs 1992. Reg 9: Every workplace and the furniture, furnishings and fittings therein shall be kept sufficiently clean. Under COSHH 2002: Controlling exposure to hazardous substances | Suitable for COSHH items
Equipment
Rescue Equipment Storage | X | X | X | X |  |  | Suitable for team equipment Any mezzanine floor must have suitable access stairs.
PPE Storage | X | X | X | X | Sufficient coat hooks and shelves to hang coats, coveralls, helmets, and to store boots. | PPE Regulations 1992 | To take boots, overalls, helmet, foul weather gear personal bag. Sufficient hooks/benching for PPE or wire cage lockers
Garage space for (sprinter size) vehicle and trailer | X |  |  |  | Sufficiently heated to ensure equipment drying and protection is achieved 4.5m wide by 10m deep per vehicle Vehicle height 3.05 m plus antenna - therefore garage door openings to be at least 4m tall x 3m wide | Workplace (Health, Safety and Welfare) Regs 1992. Reg 17— Every workplace shall be organised in such a way that pedestrians and vehicles can circulate in a safe manner
Garage space for 2 (sprinter size) vehicles and trailer(s) |  | X | X | X | Sufficiently heated to ensure equipment drying and protection is achieved Two bays as above | As above
Standard Drying room with drying racks | X |  | X |  | Tubular heater with a timed switch and fused spur adjacent. Sized for the accommodation, capable of heating room to 24C. Fitted out with benching and worktops, rails for hangers and coat hooks Tapered flooring to acco drainage channel – discharging to foul water network (if commercially sensible) Extract fan to exterior Ambient air inlet from interior of building 4m by 2.5m | Workplace (Health, Safety and Welfare) Regs 1992. Reg 23 — Suitable and sufficient accommodation shall be provided for clothing and so far as is reasonably practicable, it allows or includes facilities for drying clothing.
Large Drying room with drying racks |  | X |  | X | Tubular heater with a timed switch and fused spur adjacent. Sized for the accommodation capable of heating room to 24C. Fitted out with benching and worktops, rails for hangers and coat hooks Tapered flooring to acco drainage channel – discharging to foul water network (if commercially sensible) Extract fan to exterior Ambient air inlet from interior of building 6m by 3m | As above
Mains water brass bib tap, positioned internally within vehicle storage area adjacent to vehicular access door(s) | X | X | X | X
Standard external wash down facilities; drainage. | X |  | X |  |  | Workplace (Health, Safety and Welfare) Regs 1992. Reg 21— Suitable and sufficient washing facilities, including showers if required by the nature of the work or for health reasons, shall be provided at readily accessible places
Equipment wash down sink, copious H & C running water | X | X | X | X | Low level Butler sink in Garage | As above | Large butler style, separate from kitchen or personal wash facility. Ensure sufficient volume of hot water. (small 'geyser' type heaters are inadequate).
Water Protected Sockets | X | X | X | X |  |  | For equipment charging (torches, radios, battery lights, circa 15), RCD located by door for external use i.e. jet wash.
Fuel store | X | X | X | X | Flamvault type cabinet |  | Suitable for 5l cans used for winch/ generator fuel. Storage for 2 cans may be required where 2 stroke and 4 stroke are held. Flamvault?
Maintenance bench and heavy duty shelving for equipment | X | X | X | X | Include fiitters vice and tool storage under |  | Workbench for kit inspections, with spare sockets for equipment (rope cutters, heat gun). Lighting over.
Operational:
Training/ meeting room sized to suit team numbers | X | X | X | X |  |  | Provision for magnetic whiteboards, projector screens. Stackable/ folding seating, folding tables. Suitable for conducting medicals e.g. separated space, door and blinds.
Office/ small meeting space | X | X | X | X |  |  | Desk, seating, shelving, lockable storage, key safe, notice board, white board. Suitable for conducting one to one meetings or medicals e.g. separated space, door and blinds.
HMCG Signage | X | X | X | X
Operational signage; | X | X | X | X |  |  | In case of emergency, TEPs
Emergency Service Obstruction signage | X | X | X | X |  |  | Access Road markings (yellow box, wording) Do not block Signage
External work lights | X | X | X | X |  |  | Work lights to assist operations PIR for station access and egress.
Temporary TEPs store | X | X | X | X
Operational Pyros store | X | X | X | X
Parking for team compliment | X | X | X | X |  |  | Ideally 12 sapces minimum
Information Communication Technology:
Phone | X | X | X | X |  |  | Landline as a preference.
Internet connectivity | X | X | X | X | May be wifi or 4G but must be dependable
Miscellaneous
Heating |  |  |  |  | Electric convector heaters within the internal accommodation. The heating installation is to meet the requirements of the Workplace Regulations and to be sized by an appropriately qualified engineer. All new heaters are to be securely fixed. Include to provide a switched fused spur adjacent to each heater. Electric Convector Heaters are to be installed to the following areas:- - Office Accomodation - Meeting/rear room - W/C - W/C Lobby Electric fan heater to Shower Room. Subject to utility supply provisions, heating to the garage is to be high level warm air gas heaters or commercial electric ambi-rad heaters.
Internal Walls |  |  |  |  | WCs, Shower Room, Kitchenette and Drying Room: 100mm blockwork walls with moisture resistant plasterboard dry lining on dabs and joints taped. To garage side, block walls to be left fairface to painting. Meeting/Rest Room, Office, Stores: 100mm stud partitions with 2No layers of 15mm thick Fireline plasterboard, staggered and taped joints. Stud void to be filled with 100mm Rockwool Flexi insulation or similar.
Ceilings |  |  |  |  | Warehouse - Soffit to roof structure All remaining accommodation: - Min. floor to ceiling height 2400mm - Engineered timber joists laid over with T&G chipboard flooring glued and screwed. - Ceiling soffit to be 15mm Fireline plasterboard with staggered and taped joints. Ceiling void to be filled with Rockwool Flexi insulation or similar. - Within the WC, Shower Room, Kitchenette and Drying Room, plasterboard to be moisture resistant.
Flooring |  |  |  |  | WC’s, Shower Room, Kitchenette, Drying Room, Stores, Lobbies and Corridors - Altro Unity 25 Safety flooring with 150mm upstands to perimeters. Colour to be grey. Office, Meeting/Rest Room: - Milliken Light Trails/Dusk DSK11 Titanium carpet tiles with timber skirtings Garage - Flowcrete.
Internal Joinery |  |  |  |  | Doors - All internal doors to be flush timber 30min fire resisting including timber frames/linings. - All doors except for the WC’s and Shower Room to incorporate DDA compliant vision panels and overhead closers. - All doors to include intumescent seals and appropriate fire rated stainless steel ironmongery including handles, push/pull plates, kick plates , lock & latches etc. - Precise door specification will be subject to review by a qualified fire risk assessor at the design stage. Intternal windows: - Timber frame fixed lights with Georgian wired glass to 30min fire resisting standard / kitemarked and installed to the standards required of the glazing regulations. Skirtings etc: - All skirtings, architraves and cills to be sw timber square edge
External Doors |  |  |  |  | Main personnel door and all fire exit doors to be secure by design fitted with ironmongery to suit including the provisions identified under Security. All fire exit doors to be fitted with emergency push bar release devises
Decorations |  |  |  |  | Walls - Plasterboard walls to be matt emulsions – colour white - Block walls to garage to be masonry paint - Colour – Dulux Shadow Line or Steel Symphony 3 (closest match to adjoining floor covering) up to 1200mm above floor level - colour - white above 1200mm
Ceilings |  |  |  |  | Plasterboard walls to be matt emulsions – colour white Internal Joinery - All architraves, skirtings, linings, frames, cills etc to be Trade High Gloss – colour white - All internal doors to be Trade High Gloss - colour Royal Blue External Joinery - External doors to be Trade High Gloss - colour Royal Blue – unless local or planning External doors to be Trade High Gloss - colour Royal Blue – unless local or planning
Services |  |  |  |  | Electrical Installation All electrical works and installations to be undertaken by an NICEIC Approved Contractor to the current Regulations. The exact location of the electrical installations to be agreed on site with the Maritime and Coastguard Agency.
Lighting |  |  |  |  | Lighting provisions to meet the requirements of the Workplace Regulations, CIBSE guidance notes and Building Regulations. Regulations, CIBSE guidance notes and Building Regulations. Contractor’s design – to be undertaken by NICEIC or equivalently qualified electrical engineer. Lighting provisions to include the following: - LED modular lighting within the office accommodation. - LED low bay light fittings within the garage area. - LED light fittings within the meeting/rest room, lobby, and entrance hall. - LED light fittings (IP65 certified) within the WC, shower room and drying room - LED non-maintained emergency exit light fittings as required. - LED non-maintained emergency lighting as required. - LED 50w External high level security flood lights on PIR sensors - Internal lights to be operated from movement detection sensors with exception of training rooms or areas used for training presentations
Power Installation |  |  |  |  | Supply & Fit the following: Office: -12No. twin socket outlets wired via UPVC dado trunking -Meeting/Rest Room - 10No. twin socket outlets wired via UPVC dado trunking Kitchen - 1No fused spur for fridge (Spur below worktop, switch above) -4No Twin socket outlets above worktop Drying Room - 1No fused spur switch for heating Garage - 20No Metal clad twin socket outlets via 20mm steel conduit Shower - 1No fused spur switch for electric shower - 1No fused spur switch for heated towel rail
Water |  |  |  |  | Mains cold water supply to the WC, Shower Room, Kitchenette and for external tap position. 1No single localised instantaneous hot water heaters located in kitchenette servicing both kitchenette and WC, fitted with fused spur switch.
Ventilation |  |  |  |  | Timed humidistat fans complete with relevant isolation and all necessary ducting vented externally and external grilles. Fans to be sized to suit extraction requirements and to be installed to the following areas: - Kitchenette - Disabled WC - Shower room - Drying room Any internal office, meeting/rest rooms with no direct access to internal ventilation to be provided mechanical means of ventilation in compliance with Building Regulations requirements.
Data |  |  |  |  | 6 No. single data outlets wired back to a central point within the office area via dado trunking.
Fire Precautions |  |  |  |  | Fire alarm installation to meet current Building Regulations, including fire alarm panel, with detectors, call points and sounders positioned as required. To be installed by appropriately qualified engineer. Emergency and directional signage to comply with regulations. Emergency lighting as set out under Electrical Services, located as require to meet Regulations. Low tech solutions preferable to high tech - e.g manual crank fire bell, illuminous signs rather than illuminated signs, etc
Security Alarm |  |  |  |  | Security alarm to include contacts to the external doors including the roller shutter, PIR sensors to the entrance lobby, office, meeting/rest room and garage/equipment storage area, and key pad adjacent to main personnel door. All to be connected to an appropriate alarm panel and an externally mounted alarm box. Electronic entrance key pads (operated by fobs) to be fitted to the following doors: - Main pedestrian entrance - Office (Corridor side) - Meeting room (Corridor side) - Garage (Corridor side) All to be connected to an electronic door keep, and include thumb turn locks to the internal side of the door to ensure means of escape is maintained. External key box installed in secure location
External |  |  |  |  | Yard: - Thermoplastic markings to car parking and hatching