## Accrington
Address | Suite 17a & Suite 14, The Globe Centre, Accrington, BB5 0RE
Sqr FT | 270
Description of Equipment | Qty | Frequency | Call out
Fire Extinguishers | 5 | (Annual)
Fire Blanket | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 94 | (Annual)
Emergency Lighting | 1 | (Annual, Monthly)

## Blackburn
Address | Part 2nd Floor, One Cathedral Square, Blackburn, Lancashire BB1 1FB
Sqr | 2478
Description of Equipment | Qty | Frequency
Fire Extinguishers | 3 | (Annual)
Fire Blanket | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 112 | (Annual)
Zip Tap | 1 | (6 Monthly)
Emergency Lighting | 1 | (Annual, Monthly)

## Burnley
Ground Floor, Britannic Buildings, Hargreaves Street, Burnley, Lancashire, BB11 1DU
Sqr FT | 2500
Description of Equipment | Qty | Frequency
Fire Extinguishers | 5 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 199 | (Annual)
Emergency Lighting | 1 | (Annual, Monthly)

## Crewe
Address | Part Ground Floor, Crewe House, Oak Street, Crewe. CW2 7BX
Sqr FT | 3200
Description of Equipment | Qty | Frequency
Fire Extinguishers | 4 | (Annual)
Fire Blanket | 1 | (Annual)
Emergency Lighting | 1 | (Annual, Monthly)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Microwave Testing | 1 | (Annual)
Portable Appliance Testing | 119 | (Annual)

## Macclesfield
Address | 59 Mill Street Macclesfield, SK11 6NG
Sqr FT | 2235
Description of Equipment | Qty | Frequency
Fire Extinguishers | 3 | (Annual)
Fire Blanket | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 99 | (Annual)
Emergency Lighting | 1 | (Annual, Monthly)
Fire Alarm | 1 | (Annual, Monthly)

## Skelmersdale
Address | Suite B, Ground Floor Annexe, Whelmer House, Southway, Skelmersdale WN8 6NN
Sqr FT | 2380
Description of Equipment | Qty | Frequency
Fire Extinguishers | 3 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 75 | (Annual)
Emergency Lighting | 1 | (Annual, Monthly)

## Preston
Address | Ground Floor, Guildhall House, Guildhall Street, Preston, PR1 3NU
Sqr FT | 4395
Description of Equipment | Qty | Frequency
Fire Extinguishers | 8 | (Annual)
Fire Blanket | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 138 | (Annual)
Emergency Lighting | 1 | (Annual, Monthly)
Fire Alarm | 1 | (Annual, Monthly)

## Banbury
Address | 2nd Floor Packington House, 3-4 Horsefair, Banbury OX16 0AA
Sqr FT | 4840
Description of Equipment | Qty | Frequency
Fire Extinguishers | 7 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Sanitaryware | 1 | (6 Monthly)
Portable Appliance Testing (PAT) | 150 | (Annual)
Distribution Board | 1 | (Annual)
Split A/C System | 3 | (Six Monthly, Annual)
Emergency Lighting | 1 | (Monthly, Annual)

## Brighton
Address | 1st, 2nd, 3rd & 4th Floors Ovest House, 58 West Street, Brighton BN1 2RA
Sqr Ft | 7285
Description of Equipment | Qty | Frequency
Fire Extinguishers | 17 | (Annual)
Fire Blanket 1 (Annual) | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 2 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 250 | (Annual)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)
Internal Lighting | 1 | (Annual)
Fan Coil Units 20 | 20 | (6 Monthly)

## Basingstoke
Address | Suite 3.2 3rd floor Belvedere House, Basing View, Basingstoke RG21 4HG
Sqr Ft | 5580
Description of Equipment | Qty | Frequency
Fire Extinguishers | 7 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 250 | (Annual)
Zip Tap | 1 | (6 Monthly)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)

## Basingstoke - Spectrum
Address | Unit 3 Spectrum Court Basingstoke RG24 8NE
Sqr ft | 2583
Description of Equipment | Qty | Frequency
Fire Extinguishers | 7 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off )
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 150 | (Annual)
Roller Shutter | 1 | (Annual)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)

## Chichester
Address | 2nd Floor, Midland House, 1 Market Avenue, Chichester, West Sussex PO19 1JU
Sqr Ft | 2986
Description of Equipment | Qty | Frequency
Fire Extinguishers | 12 | (Annual)
Fire Blanket | 1 | (Annual)
Split AC Units | 6 | (6 Monthly)
Split AC Units | 6 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Internal Lighting | 1 | (Annual)
Distribution Board | 2 | (Annual)
Supply Fans | 1 | (Annual)
Supply Fans | 1 | (6 Monthly)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)
Microwave Testing 2 | 2 | (Annual)
Portable Appliance Testing 250 | 250 | (Annual)

## Guildford
Address | 5th Floor, Saxon House 3 Onslow Street, Guildford, GU1 4SY
Sqr ft | 5364
Description of Equipment | Qty | Frequency
Fire Extinguishers | 8 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 2 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 150 | (Annual)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)

## High Wycombe
Address | 3rd Floor, Suites 301-304, 311, 312, 314 & 315 Prospect House, Crendon Street, High Wycombe, HP13 6LA
Sqr Ft | 4336
Description of Equipment | Qty | Frequency
Fire Extinguishers | 10 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 150 | (Annual)

## Oxford
Address | 2nd Floor, the Loft, 134 Cowley Road, Oxford OX4 1JH
Sqr ft | 4446
Description of Equipment | Qty | Frequency
Fire Extinguishers | 11 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 2 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) 150 | 150 | (Annual)
Fan Coil Units | 11 | (6 Monthly)
Distribution Board | 1 | (Annual)
Internal Lighting | 1 | (Annual)

## Reading
Address | 7th Floor. Reading Business Centre, Fountain House, Queens Walk, Reading, RG1 7QE
Sqr ft | 7846
Description of Equipment | Qty | Frequency
Microwave Oven Testing | 2 | (Annual)
Portable Appliance Testing (PAT) | 150 | (Annual)

## Slough
Address | Keypoint Suites 3.3-3.10 office 17-23 High Street Slough SL1 1DY
Sqr ft | 5860
Description of Equipment | Qty | Frequency
Microwave Oven Testing | 1 | (Annual)
Portable Appliance Testing (PAT) | 150 | (Annual)
Fire Blanket | 1 | (Annual)
Emergency Lighting | 1 | (Annual)

## Staines
Address | Part 1st Floor Mallard Court High Street, Staines TW18 4RH
Sqr ft | 4361
Description of Equipment | Qty | Frequency
Fire Extinguishers | 4 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (Annual)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 200 | (Annual)

## Stockton
Address | Boaz House, Massey Road, Stockton-on-Tees, TS17 6DY
Sqr Ft
Description of Equipment | Qty | Frequency
Fire Extinguishers | 6 | (Annual)
Fire Blanket | 1 | (Annual)
Microwave Oven Testing | 3 | (Annual)
Legionella Risk Assessment | 1 | (one off)
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 524 | (Annual )
Emergency Lighting | 1 | (Annual)

## Elite - Magden Park
Address | Unit 8 Magden Park, Green Meadow, Llanistrant, Ponclun CF72 8XL
Sqr ft
Description of Equipment | Qty | Frequency
Fire Extinguishers | 4 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off )
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 81 | (Annual)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)

## Elite Clothing
Address | UNIT 3,GWENT COURT,VICTORIA BUSINESS PARK,EBBW VALE,GWENT,NP23 8AN
Sqr ft
Description of Equipment | Qty | Frequency
Fire Extinguishers | 4 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off )
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 60 | (Annual)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)
Gas Boiler | 1 | (Annual)

## Elite Paper
Address | Unit 2,3 &4 Viaduct House Merthyr Tydfil Industrial Park, Merthyr Tydfil CF48 4DR
Sqr ft
Description of Equipment | Qty | Frequency
Fire Extinguishers | 4 | (Annual)
Fire Blanket | 1 | (Annual)
Instantaneous Water Heaters | 1 | (Annual)
Microwave Oven Testing | 1 | (Annual)
Legionella Risk Assessment | 1 | (One Off )
Legionella Temperature Monitoring | 1 | (Monthly)
Portable Appliance Testing (PAT) | 60 | (Annual)
Emergency Lighting | 1 | (Annual)
Emergency Lighting | 1 | (Monthly)
Gas Boiler | 4 | (Annual)

## Doncaster
Address | Big Picture Crags Road, Denaby Main, Doncaster, DN12 4DX
Description of Equipment | Qty | Frequency
Fire Extinguishers | 10 | (Annual)
Fire Blanket | 4 | (Annual)
Microwave Oven Testing | 3 | (Annual)
Legionella Risk Assessment | 1 | (One off)
Legionella Temperature Monitoring | 1 | (Annual), (Monthly)
Portable Appliance Testing (PAT) | 200 | (Annual)
Emergency Lighting | 1 | (Annual), (Monthly)