## Coversheet
Attachment 3b - Price Matrix Lot 2
Building Materials and Equipment
Reference Number
RM6157
Please insert your organisation name in the text box below
© Crown copyright 2021

## Index Page
RM6157 Building Materials and Equipment : Index Page
For ease please click on the links below to navigate to a page and click back to return to the Index page
Index | Guidance
Coversheet | Please enter organisation name in the blue box
Pricing Instructions Please Read | Before completing this pricing matrix you must read these instructions
Tab | Guidance
Evaluated Sections
Core Rates | Complete all yellow cells in the tab
Evaluation | This is atomatically calculated from your prices in Core Rates and will form your basket price used in the price evalaution at paragraph 12 of Attachment 2 - How to bid
Non Evaluated Sections
Non-Core Rates | The figures entered here weill not be evalauted

## Instructions Please Read
RM6157 Building Materials and Equipment: Instructions Please Read
Click to return to Index Page
Before completing this Pricing Matrix you MUST: 1. Read paragraph 12 in Attachment 2 - How to bid and Framework Schedule 3 – Framework prices, which contains important information on how the prices you provide will be evaluated.
2. Insert your organisation name on the 'Cover Sheet' tab (in cell B16:C16).
3. Read the general instructions below and the instructions contained within each of the tabs of this pricing matrix.
4. Note if your bid is deemed to be non-compliant, you may be rejected from this competition.
After completing this Pricing Matrix you MUST:
1. Re-name the file to include your organisation's trading name as a suffix to the original file name provided i.e. [ Attachment 3 - Price Matrix v1.0 _yourorganisationname].
2. Upload your completed Pricing Matrix via the e-Sourcing Suite prior to the Tender submission deadline.
Highlighted Cells
YELLOW CELLS- The Cells in yellow will be used for the price evaluation. Failure to insert a Price in the YELLOW cells may result in your Tender being deemed non-compliant and may be rejected from this competition.
BLUE CELLS The figures entered into the BLUE cells WILL NOT BE EVALUATED.
Further instruction for populating the Pricing Matrix
- You must read the instructions for how to price on the tab for each Lot you are bidding for. You should also take into account the management charge of 1%, payable by each Supplier Alliance as described in the clause 8.12 (Management Charges) of the Framework Alliance Contract You should have read and understood the information on TUPE in paragraph 6 of attachment 1 – About the framework. You are reminded that it is your responsibility to take your own advice and consider whether TUPE is likely to apply and to act accordingly. You are encouraged to carry out your own due diligence exercise on the application of TUPE when completing your pricing matrix. Your figures submitted must : • exclude VAT • be sustainable and include your operating overhead costs and profit. • take into account management charge of 1% • be in British pound sterling, up to two decimal places Negative and zero bids will not be allowed. Failure to adhere to this may result in your bid being deemed non-compliant. The prices submitted will be the maximum payable under this framework. Prices may be lowered at the call-off stage. Refer to Framework Alliance Contract. Do not alter, amend or change the format or layout of the pricing matrix attachment 3. Failure to insert an applicable price may result in your bid being deemed non-compliant and may be rejected from this competition.

## Core Rates
RM6157 Building Materials and Equipment: Core Rates
Click to return to Index Page
Organisation Name |  | 0
Key
Please COMPLETE all cells shaded YELLOW. Prices to be in British pound sterling, up to two decimal places
Please COMPLETE all cells shaded BLUE. Prices to be in British pound sterling, up to two decimal places The figures entered into the BLUE cells WILL NOT BE EVALUATED.
Category | Category 2 | Description | UOM | Net price £ to be evaluated (Includes standard delivery - UK Mainland 3 - 5 days | Non evaluated price £ (Includes standard delivery - UK Non Mainland 3 - 5 days) | Non evaluated price £(UK Mainland Next Day delivery)
Copper Tube | Plain Lengths | 15mm x 3m Plain Length | EA
Copper Tube | Plain Lengths | 22mm x 3m Plain Length | EA
Copper Tube | Plain Lengths | 28mm x 3m Plain Length | EA
Copper Tube | Plain Lengths | 35mm x 3m Plain Length | EA
Copper Tube | Plain Lengths | 42mm x 3m Plain Length | EA
Copper Tube | Plain Lengths | 54mm x 3m Plain Length | EA
Copper Tube | Chrome Plated Lengths | 15mm x 3m Chrome Length | EA
Copper Tube | Chrome Plated Lengths | 22mm x 3m Chrome Length | EA
Copper Tube | Chrome Plated Lengths | 35mm x 3m Chrome Length | EA
Copper Tube | Plain Coils | 8mm x 10m Plain Coil | EA
Copper Tube | Plain Coils | 8mm x 25m Plain Coil | EA
Copper Tube | Plain Coils | 10mm x 10m Plain Coil | EA
Copper Tube | Plain Coils | 10mm x 25m Plain Coil | EA
Copper Tube | Coated Coils | 8mm x 25m PVC Coil White | EA
Copper Tube | Coated Coils | 10mm x 25m PVC Coil White | EA
Copper Tube | Coated Coils | 10mm x 50m PVC Coil White | EA
Copper Tube | Coated Coils | 15mm x 20m PVC Coil Yellow | EA
Copper Tube | Coated Coils | 22mm x 20m PVC Coil Yellow | EA
Copper Tube | Coated Lengths | 15mm x 3m Coated Length Yellow | EA
Copper Tube | Coated Lengths | 22mm x 3m Coated Length Yellow | EA
Total |  |  |  | 0 | 0 | 0
Endfeed | Endfeed Couplings | 8mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 10mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 15mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 22mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 28mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 35mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 42mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 54mm Straight Coupling | EA
Endfeed | Endfeed Couplings | 15mm Slip Adaptor Coupling | EA
Endfeed | Endfeed Couplings | 22mm Slip Adaptor Coupling | EA
Endfeed | Endfeed Couplings | 28mm Slip Adaptor Coupling | EA
Endfeed | Endfeed Couplings | 15mm Straight Slip Coupling | EA
Endfeed | Endfeed Couplings | 22mm Straight Slip Coupling | EA
Endfeed | Endfeed Couplings | 28mm Straight Slip Coupling | EA
Endfeed | Endfeed Stop Ends | 8mm Stop End | EA
Endfeed | Endfeed Stop Ends | 10mm Stop End | EA
Endfeed | Endfeed Stop Ends | 15mm Stop End | EA
Endfeed | Endfeed Stop Ends | 22mm Stop End | EA
Endfeed | Endfeed Stop Ends | 28mm Stop End | EA
Endfeed | Endfeed Stop Ends | 35mm Stop End | EA
Endfeed | Endfeed Stop Ends | 42mm Stop End | EA
Endfeed | Endfeed Stop Ends | 54mm Stop End | EA
Endfeed | Endfeed Elbows | 8mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 10mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 15mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 22mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 28mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 35mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 42mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 54mm Elbow 90 degrees | EA
Endfeed | Endfeed Elbows | 15mm Street Elbow | EA
Endfeed | Endfeed Elbows | 22mm Street Elbow | EA
Endfeed | Endfeed Elbows | 28mm Street Elbow | EA
Endfeed | Endfeed Elbows | 35mm Street Elbow | EA
Endfeed | Endfeed Elbows | 15mm Obtuse Street Elbow 45 degrees | EA
Endfeed | Endfeed Elbows | 22mm Obtuse Street Elbow 45 degrees | EA
Endfeed | Endfeed Tap Connectors | 15mm Bent Tap Connector | EA
Endfeed | Endfeed Tap Connectors | 22mm Bent Tap Connector | EA
Endfeed | Endfeed Tap Connectors | 15mm Straight Tap Connector | EA
Endfeed | Endfeed Tap Connectors | 15mm Straight Tap Connector | EA
Endfeed | Endfeed Adaptors | 15mm Female Straight Adaptor | EA
Endfeed | Endfeed Adaptors | 22mm Female Straight Adaptor | EA
Endfeed | Endfeed Adaptors | 15mm Male Straight Adaptor | EA
Endfeed | Endfeed Adaptors | 28mm Male Straight Adaptor | EA
Endfeed | Endfeed Tees | 10mm Equal Tee | EA
Endfeed | Endfeed Tees | 15mm Equal Tee | EA
Endfeed | Endfeed Tees | 22mm Equal Tee | EA
Endfeed | Endfeed Tees | 28mm Equal Tee | EA
Endfeed | Endfeed Tees | 35mm Equal Tee | EA
Endfeed | Endfeed Tees | 42mm Equal Tee | EA
Endfeed | Endfeed Tees | 54mm Equal Tee | EA
Endfeed | Endfeed Tees | 22 x 15 x 15mm One End Reduced | EA
Endfeed | Endfeed Tees | 28 x 22 x 22mm One End Reducing | EA
Endfeed | Endfeed Tees | 35 x 28 x 28mm One End Reducing | EA
Endfeed | Endfeed Tees | 42 x 35 x 35mm One End Reducing | EA
Endfeed | Endfeed Tees | 15 x 15 x 22mm Both Ends Reduced | EA
Endfeed | Endfeed Tees | 22 x 22 x 28mm Both Ends Reduced | EA
Endfeed | Endfeed Tees | 22 x 15 x 22mm One End Reduced | EA
Endfeed | Endfeed Tees | 28 x 15 x 28mm One End Reduced | EA
Endfeed | Endfeed Tees | 28 x 22 x 28mm One End Reduced | EA
Endfeed | Endfeed Tees | 22 x 22 x 15mm One End Reduced | EA
Endfeed | Endfeed Tees | 28 x 28 x 15mm Reduced Branch | EA
Endfeed | Endfeed Tees | 28 x 28 x 22mm Reduced Branch | EA
Endfeed | Endfeed Tees | 35 x 35 x 22mm Reduced Branch Tee | EA
Endfeed | Endfeed Tees | 35 x 35 x 28mm Reduced Branch Tee | EA
Endfeed | Endfeed Tees | 42 x 42 x 28mm Reduced Branch Tee | EA
Endfeed | Endfeed Tees | 42 x 42 x 35mm Reduced Branch Tee | EA
Endfeed | Endfeed Tees | 54 x 54 x 35mm Reduced Branch Tee | EA
Endfeed | Endfeed Tees | 54 x 54 x 42mm Reduced Branch Tee | EA
Endfeed | Endfeed Reducers | 15 x 8mm Long Fitting Reducer | EA
Endfeed | Endfeed Reducers | 15 x 10mm Long Fitting Reducer | EA
Endfeed | Endfeed Reducers | 10 x 8mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 15 x 8mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 15 x 10mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 22 x 15mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 28 x 15mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 28 x 22mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 35 x 15mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 35 x 22mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 35 x 28mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 42 x 15mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 42 x 22mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 42 x 28mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 42 x 35mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 54 x 28mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 54 x 35mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 54 x 42mm Fitting Reducer | EA
Endfeed | Endfeed Reducers | 22 x 15mm Reducing Coupling | EA
Endfeed | Endfeed Reducers | 28 x 22mm Reducing Coupling | EA
Total |  |  |  | 0 | 0 | 0
Couplings | Straight Couplings | 8mm Straight Coupling | EA
Couplings | Straight Couplings | 15mm Straight Coupling | EA
Couplings | Straight Couplings | 22mm Straight Coupling | EA
Couplings | Straight Couplings | 28mm Straight Coupling | EA
Couplings | Straight Couplings | 35mm Straight Coupling | EA
Couplings | Straight Couplings | 42mm Straight Coupling | EA
Couplings | Straight Couplings | 54mm Straight Coupling | EA
Couplings | Straight Couplings | 10mm Straight Coupling DZR | EA
Couplings | Straight Couplings | 15mm Straight Coupling DZR | EA
Couplings | Straight Couplings | 22mm Straight Coupling DZR | EA
Couplings | Straight Couplings | 28mm Straight Coupling DZR | EA
Couplings | Straight Couplings | 42mm Straight Coupling DZR | EA
Couplings | Straight Couplings | 54mm Straight Coupling DZR | EA
Couplings | Reducing Couplings | 15 x 8mm Straight Reducing Coup DZR | EA
Couplings | Reducing Couplings | 15 x 10mm Straight Reducing Coup DZR | EA
Couplings | Reducing Couplings | 15 x 8mm Straight Reducing Coupling | EA
Couplings | Reducing Couplings | 22 x 15mm Straight Reducing Coupling | EA
Couplings | Reducing Couplings | 28 x 22mm Straight Reducing Coupling | EA
Couplings | Female Couplings | 15mm x 1/2 FI Coupling | EA
Couplings | Female Couplings | 15mm x 3/4 FI Coupling | EA
Couplings | Female Couplings | 22mm x 3/4 FI Coupling | EA
Couplings | Female Couplings | 22mm x 1 inch FI Coupling | EA
Couplings | Female Couplings | 28mm x 1 inch FI Coupling | EA
Couplings | Female Couplings | 35mm x 1 1/4 FI Coupling | EA
Couplings | Female Couplings | 15mm x 1/2 FI Coupling DZR | EA
Couplings | Female Couplings | 15mm x 3/4 FI Coupling DZR | EA
Couplings | Male Couplings | 10mm x1/4 MI Coupling | EA
Couplings | Male Couplings | 10mm x 3/8 MI Coupling | EA
Couplings | Male Couplings | 10mm x 1/2 MI Coupling | EA
Couplings | Male Couplings | 15mm x1/4 MI Coupling | EA
Couplings | Male Couplings | 15mm x 3/8 MI Coupling | EA
Couplings | Male Couplings | 15mm x 1/2 MI Coupling | EA
Couplings | Male Couplings | 15mm x 3/4 MI Coupling | EA
Couplings | Male Couplings | 22mm x 1/2 MI Coupling | EA
Couplings | Male Couplings | 22mm x 3/4 MI Coupling | EA
Couplings | Male Couplings | 22mm x 1 inch MI Coupling | EA
Couplings | Male Couplings | 28mm x 1 inch MI Coupling | EA
Couplings | Male Couplings | 28mm x 1 inch MI Coupling | EA
Couplings | Male Couplings | 35mm x 1 1/4 MI Coupling | EA
Total |  |  |  | 0 | 0 | 0
Elbows and Tees | Equal Elbows | 8mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 10mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 15mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 22mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 28mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 35mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 42mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 54mm Elbow Equal | EA
Elbows and Tees | Equal Elbows | 15mm Elbow Equal DZR | EA
Elbows and Tees | Equal Elbows | 22mm Elbow Equal DZR | EA
Elbows and Tees | Equal Elbows | 28mm Elbow Equal DZR | EA
Elbows and Tees | Equal Elbows | 15mm x 1/2 Backplate Elbow | EA
Elbows and Tees | Equal Elbows | 15mm x 1/2 Wallplate Elbow DZR | EA
Elbows and Tees | Male Elbows | 15mm x 1/2 Male Elbow | EA
Elbows and Tees | Male Elbows | 22mm x 3/4 Male Elbow | EA
Elbows and Tees | Male Elbows | 22mm x 1 inch Male Elbow | EA
Elbows and Tees | Male Elbows | 28mm x 1 inch Male Elbow | EA
Elbows and Tees | Female Elbows | 15mm x 1/2 Female Elbow | EA
Elbows and Tees | Female Elbows | 22mm x 3/4 Female Elbow | EA
Elbows and Tees | Female Elbows | 22mm x 1 inch Female Elbow | EA
Elbows and Tees | Female Elbows | 28mm x 1inch Female Elbow | EA
Elbows and Tees | Equal Tees | 8mm Equal Tee | EA
Elbows and Tees | Equal Tees | 10mm Equal Tee | EA
Elbows and Tees | Equal Tees | 15mm Equal Tee | EA
Elbows and Tees | Equal Tees | 22mm Equal Tee | EA
Elbows and Tees | Equal Tees | 28mm Equal Tee | EA
Elbows and Tees | Equal Tees | 35mm Equal Tee | EA
Elbows and Tees | Equal Tees | 15mm Equal Tee DZR | EA
Elbows and Tees | Equal Tees | 22mm Equal Tee DZR | EA
Elbows and Tees | Equal Tees | 28mm Equal Tee DZR | EA
Elbows and Tees | Reducing Tees | 15 x 15 x 22mm End Reduced Tee | EA
Elbows and Tees | Reducing Tees | 22 x 22 x 15mm Reduce Branch Tee | EA
Elbows and Tees | Reducing Tees | 28 x 28 x 15mm Reduce Branch Tee | EA
Elbows and Tees | Reducing Tees | 28 x 28 x 22mm Reduce Branch Tee | EA
Elbows and Tees | Reducing Tees | 22 x 22 x 15mm Reduce Branch DZR | EA
Elbows and Tees | Reducing Tees | 22 x 15 x 15mm One End Reduce Tee | EA
Elbows and Tees | Reducing Tees | 22 x 15 x 22mm One End Reduce Tee | EA
Elbows and Tees | Reducing Tees | 15 x 15mm x 1/2 FI Branch Tee | EA
Elbows and Tees | Reducing Tees | 22 x 22mm x 1/2 FI Branch Tee | EA
Total |  |  |  | 0 | 0 | 0
Compression | Nuts | 15mm Compression Nut | EA
Compression | Nuts | 22mm Compression Nut | EA
Compression | Nuts | 28mm Compression Nut | EA
Compression | Rings | 15mm Compression Ring | EA
Compression | Rings | 22mm Compression Ring | EA
Compression | Rings | 28mm Compression Ring | EA
Compression | Discs | 15mm Blanking Disc | EA
Compression | Discs | 22mm Blanking Disc | EA
Compression | Stop Ends | 8mm Stop End | EA
Compression | Stop Ends | 10mm Stop End | EA
Compression | Stop Ends | 15mm Stop End | EA
Compression | Stop Ends | 22mm Stop End | EA
Compression | Stop Ends | 28mm Stop End | EA
Compression | Stop Ends | 15mm Stop End DZR | EA
Compression | Stop Ends | 22mm Stop End DZR | EA
Compression | Stop Ends | 28mm Stop End DZR | EA
Compression | Stop Ends | 35mm Stop End DZR | EA
Compression | Tank Connectors | 15mm Tank Connector | EA
Compression | Tank Connectors | 22mm Tank Connector | EA
Compression | Tank Connectors | 28mm Tank Connector | EA
Compression | Tank Connectors | 22mm Tank Connector DZR | EA
Compression | Tank Connectors | 28mm Tank Connector DZR | EA
Compression | Tap Connectors | 15mm x 1/2 Swivel Straight | EA
Compression | Tap Connectors | 15mm x 3/4 Swivel Straight | EA
Compression | Tap Connectors | 22mm x 3/4 Swivel Straight | EA
Compression | Tap Connectors | 15mm x 1/2 Swivel Bent | EA
Compression | Tap Connectors | 22mm x 3/4 Swivel Bent | EA
Compression | Reducers | 15 x 8mm Internal Reducer DZR | EA
Compression | Reducers | 15 x 10mm Internal Reducer DZR | EA
Compression | Reducers | 22 x 15mm Internal Reducer DZR | EA
Compression | Reducers | 28 x 15mm Internal Reducer DZR | EA
Compression | Reducers | 28 x 22mm Internal Reducer DZR | EA
Compression | Chrome | 15mm Straight Coupling Chrome | EA
Compression | Chrome | 22mm Straight Coupling Chrome | EA
Compression | Chrome | 15mm x 1/2 MI Straight Coupling Chrome | EA
Compression | Chrome | 15mm x 1/2 FI Straight Coupling Chrome | EA
Compression | Chrome | 15mm Equal Elbow Chrome | EA
Compression | Chrome | 22mm Equal Elbow Chrome | EA
Compression | Chrome | 15mm x 1/2 Female Wall Elbow Chrome | EA
Compression | Chrome | 15mm x 1/2 Male Elbow Chrome | EA
Compression | Chrome | 15mm x 1/2 Female Elbow Chrome | EA
Compression | Chrome | 15mm Equal Tee Chrome | EA
Compression | Chrome | 22mm Equal Tee Chrome | EA
Total |  |  |  | 0 | 0 | 0
Ends and Connectors | Stop Ends | 22mm Stop End | EA
Ends and Connectors | Stop Ends | 15mm Stop End | EA
Ends and Connectors | Straight Tap Connectors | 15mm x 1/2 Straight Tap Connector | EA
Ends and Connectors | Straight Tap Connectors | 15mm x 3/4 Straight Tap Connector | EA
Ends and Connectors | Straight Tap Connectors | 22mm x 3/4 Straight Tap Connector | EA
Ends and Connectors | Bent Tap Connectors | 15mm x 1/2 Bent Tap Connector | EA
Ends and Connectors | Adaptors | 15mm x 1/2 Female Adaptor | EA
Ends and Connectors | Adaptors | 22mm x 3/4 Metric to Imperial Adpator | EA
Ends and Connectors | Equal Tees | 15mm Equal Tee | EA
Ends and Connectors | Equal Tees | 22mm Equal Tee | EA
Ends and Connectors | Equal Tees | 28mm Equal Tee | EA
Ends and Connectors | Reducing Tees | 28 x 28mm x 22mm Reducing Tee | EA
Ends and Connectors | Reducing Tees | 22 x 15mm x 22mm Reducing Tee | EA
Ends and Connectors | Reducing Tees | 22 x 15mm x 15mm Reducing Tee | EA
Ends and Connectors | Adaptors | 15mm x 1/2 Male Adpator | EA
Ends and Connectors | Adaptors | 22mm x 3/4 Male Adpator | EA
Ends and Connectors | Reducing Couplings | 22 x 15mm Reducing Coupling | EA
Total |  |  |  | 0 | 0 | 0
Valves | Ball Valves | 1/2 PT1 HP Ball Valve Standard Tail | EA
Valves | Ball Valves | 1/2 PT1/2 HP Ball Valve 2 inch Tail | EA
Valves | Ball Valves | 1/2 PT1 LP Ball Valve Standard Tail | EA
Valves | Ball Valves | 3/4 PT1 HP Ball Valve | EA
Valves | Ball Valves | 1/2 PT2 HP Ball Valve 2 inch Tail | EA
Valves | Ball Valves | 3/4 PT2 HP Ball Valve | EA
Valves | Ball Valves | 4 1/2 Plastic Float Valve | EA
Valves | Ball Valves | 6 inch Plastic Float Valve | EA
Valves | Ball Valves | 8 inch Plastic Float Valve | EA
Valves | Ball Valves | 4 1/2 Cylindrical Plastic Float | EA
Valves | Isolating Valves | 15mm Straight Isolating Valve Chrome Plated | EA
Valves | Isolating Valves | 22mm Straight Isolating Valve Chrome Plated | EA
Valves | Isolating Valves | 15mm Straight Isolating Valve Brass | EA
Valves | Isolating Valves | 22mm Straight Isolating Valve Brass | EA
Valves | Isolating Valves | 15mm Straight Isolating Valve (handle) | EA
Valves | Isolating Valves | 15mm Full Flow Isolating Valve | EA
Valves | Isolating Valves | 22mm Full Flow Isolating Valve | EA
Valves | Gate Valves | 15mm Wheel Head Gate Valve C x C | EA
Valves | Gate Valves | 22mm Wheel Head Gate Valve C x C | EA
Valves | Gate Valves | 28mm Wheel Head Gate Valve C x C | EA
Valves | Gate Valves | 35mm Wheel Head Gate Valve C x C | EA
Valves | Gate Valves | 42mm Wheel Head Gate Valve C x C | EA
Valves | Gate Valves | 54mm Wheel Head Gate Valve C x C | EA
Valves | Gate Valves | 15mm Lockshield Gate Valve C x C | EA
Valves | Gate Valves | 22mm Lockshield Gate Valve C x C | EA
Valves | Gate Valves | 15mm Gate Valve C x C DZR | EA
Valves | Gate Valves | 22mm Gate Valve C x C DZR | EA
Valves | Gate Valves | 28mm Gate Valve C x C DZR | EA
Valves | Gate Valves | 22mm Wheel Head Gate Valve C x C BS5154 | EA
Valves | Gate Valves | 15mm Wheel Head Gate Valve C x C BS5154 | EA
Valves | Gate Valves | 28mm Wheel Head Gate Valve C x C BS5154 | EA
Valves | Drain Cocks | 15mm Drain Off Cock Type A (capillary end) | EA
Valves | Drain Cocks | 1/2 Drain Off Cock Type A (threaded end) | EA
Valves | Check Valves | 15mm Single Check Valve Brass | EA
Valves | Check Valves | 22mm Single Check Valve Brass | EA
Valves | Check Valves | 28mm Single Check Valve Brass | EA
Valves | Check Valves | 15mm Double Check Valve Brass | EA
Valves | Check Valves | 22mm Double Check Valve Brass | EA
Valves | Check Valves | 15mm Double Check Valve DZR | EA
Valves | Check Valves | 22mm Double Check Valve DZR | EA
Valves | Check Valves | 28mm Double Check Valve DZR | EA
Valves | Lever Ball Valves | 15mm C x C Red Handle | EA
Valves | Lever Ball Valves | 22mm C x C Red Handle | EA
Valves | Lever Ball Valves | 28mm C x C Red Handle | EA
Valves | Pump Valves | 1 1/2 x 22mm Pump Valve Ball Type | EA
Valves | Pump Valves | 1 1/2 x 28mm Pump Valve Ball Type | EA
Valves | Pump Valves | 1 1/2 x 22mm Pump Valve Gate Type | EA
Valves | Pump Valves | 1 1/2 x 28mm Pump Valve Gate Type | EA
Valves | Pressure Reducing Valves | 15mm C x C with Gauge | EA
Valves | Pressure Reducing Valves | 1/2 F x F no Gauge | EA
Valves | Pressure Reducing Valves | 3/4 F x F no Gauge | EA
Valves | Safety Relief Valves | 1/2 3 Bar with Gauge M x F | EA
Valves | Safety Relief Valves | 1/2 3 Bar with Gauge F x F | EA
Valves | Safety Relief Valves | 1/2 3 Bar no Gauge F x F | EA
Valves | Differential Bypass Valves | 22mm Auto Bypass Valve | EA
Valves | Ball Valves - Lever Handle | 15mm Blue | EA
Valves | Ball Valves - Lever Handle | 15mm Red | EA
Valves | Ball Valves - Lever Handle | 22mm Blue | EA
Valves | Ball Valves - Lever Handle | 22mm Red | EA
Valves | Ball Valves - Lever Handle | 28mm Blue | EA
Valves | Ball Valves - Lever Handle | 28mm Red | EA
Valves | Gas Lever Ball Valves | 15mm Yellow | EA
Valves | Gas Lever Ball Valves | 22mm Yellow | EA
Valves | Gas Lever Ball Valves | 28mm Yellow | EA
Valves | Ball Valves - Butterfly Handle | 15mm Blue | EA
Valves | Ball Valves - Butterfly Handle | 15mm Red | EA
Valves | Ball Valves - Butterfly Handle | 22mm Blue | EA
Valves | Ball Valves - Butterfly Handle | 22mm Red | EA
Valves | Ball Valves - Butterfly Handle | 28mm Red | EA
Total |  |  |  | 0 | 0 | 0
Tap Connections | Flexible Tap Connector | 22mm Valve 3/4 x 30cm | EA
Tap Connections | Flexible Tap Connector | 22mm 3/4 x 50cm | EA
Tap Connections | Flexible Tap Connector | 22mm Valve 3/4 x 50cm | EA
Tap Connections | Flexible Tap Connector | 15mm 3/8 x 30cm | EA
Tap Connections | Flexible Tap Connector | 22 x 22mm x 30cm | EA
Tap Connections | Flexible Tap Connector | 15mm x 1/2 x 30cm | EA
Tap Connections | Flexible Tap Connector | 15mm x 1/2 x 50cm | EA
Tap Connections | Flexible Tap Connector | 15mm x 3/4 x 30cm | EA
Tap Connections | Flexible Tap Connector | 15mm Valve x 1/2 x 50cm | EA
Tap Connections | Flexible Tap Connector | 15mm x 1/2 x 100cm | EA
Tap Connections | Flexible Tap Connector | 15mm x 3/4 x 100cm | EA
Tap Connections | Flexible Tap Connector | 15mm Valve x 1/2 x 30cm | EA
Tap Connections | Flexible Tap Connector | 22mm x 3/4 x 30cm | EA
Tap Connections | Flexible Tap Connector | 15 x 15mm x 30cm | EA
Tap Connections | Flexible Tap Connector | 15 x 15mm x 50cm | EA
Tap Connections | Flexible Tap Connector | 15 x 15mm x 50cm | EA
Tap Connections | Flexible Tap Connector | 15 x 15mm x 100cm | EA
Tap Connections | Flexible Tap Connector | 22 x 22mm x 50cm | EA
Tap Connections | Flexible Tap Connector | 15 x 12mm x 30cm | EA
Total |  |  |  | 0 | 0 | 0
Hexagon | Nipples | 1/4 Brass Hexagon Nipple | EA
Hexagon | Nipples | 3/8 Brass Hexagon Nipple | EA
Hexagon | Nipples | 1/2 Brass Hexagon Nipple | EA
Hexagon | Nipples | 3/4 Brass Hexagon Nipple | EA
Hexagon | Brass Caps | 1/4 Brass Cap | EA
Hexagon | Brass Caps | 1/2 Brass Cap | EA
Hexagon | Brass Caps | 3/4 Brass Cap | EA
Hexagon | Brass Caps | 1 inch Brass Cap | EA
Hexagon | Flanged Backnuts and Plugs | 1/2 Brass Flanged Backnut | EA
Hexagon | Flanged Backnuts and Plugs | 3/4 Brass Flanged Backnut | EA
Hexagon | Flanged Backnuts and Plugs | 1 inch Brass Flanged Backnut | EA
Hexagon | Flanged Backnuts and Plugs | 1/2 Brass Flanged Plug | EA
Hexagon | Flanged Backnuts and Plugs | 3/4 Brass Flanged Plug | EA
Hexagon | Flanged Backnuts and Plugs | 1 inch Brass Flanged Plug | EA
Hexagon | Bushes | 1/2 x 1/4 Brass Hexagon Bush | EA
Hexagon | Bushes | 3/4 x 1/2 Brass Hexagon Bush | EA
Hexagon | Bushes | 1 x 1/2 Brass Hexagon Bush | EA
Hexagon | Bushes | 1 x 3/4 Brass Hexagon Bush | EA
Total |  |  |  | 0 | 0 | 0
Brassware | Brass Sockets | 1/4 Brass Socket | EA
Brassware | Brass Sockets | 1/2 Brass Socket | EA
Brassware | Brass Sockets | 3/4 Brass Socket | EA
Brassware | Brass Sockets | 1 inch Brass Socket | EA
Brassware | Brassware Fittings | 5lb Leadline 15 x 15mm Coupling | EA
Brassware | Brassware Fittings | 6lb Leadline 1/2 x 15mm Coupling | EA
Brassware | Brassware Fittings | 7lb Leadline 1/2 x 15mm Coupling Low Level 12715P | EA
Brassware | Brassware Fittings | 7lb Leadline 1/2 x 20mm (with liner) | EA
Brassware | Brassware Fittings | 9lb Leadline 3/4 x 22mm Coupling | EA
Total |  |  |  | 0 | 0 | 0
Gas | Restrictor Elbows | 1 inch x 8mm Chrome Elbow | EA
Gas | Restrictor Elbows | 4 inch x 8mm Chrome Elbow | EA
Gas | Restrictor Elbows | 1 inch x 8mm Brass Elbow | EA
Gas | Restrictor Elbows | 4 inch x 8mm Brass Elbow | EA
Gas | Intaball Gas Lever Ball Valves | 3/4 F x F Yellow | EA
Gas | Intaball Gas Lever Ball Valves | 1 inch F x F Yellow | EA
Gas | Intaball Gas Lever Ball Valves | 1 1/2 F x F Yellow | EA
Gas | Intaball Gas Lever Ball Valves | 1 1/2 F x F Yellow | EA
Gas | Restrictor Tubes | 1m x 8mm Chrome Plated | EA
Gas | Restrictor Tubes | 1.25m x 8mm Chrome Plated | EA
Gas | Restrictor Tubes | 1m x 8mm Polished Brass | EA
Gas | Restrictor Tubes | 1/4 Restrictor Floor Plate M x F Chrome Plated | EA
Gas | Isolating Valves | 15mm Straight Chrome Plated | EA
Gas | Isolating Valves | 10mm Straight Chrome Plated | EA
Gas | Isolating Valves | Isogas 15mm GC1502 Brass | EA
Gas | Gas Cocks | 8mm Capillary Rigid Fan | EA
Gas | Gas Cocks | 22mm Capillary Rigid Fan | EA
Gas | Connectors | 1/2 Angled Bayonet Socket Connector | EA
Gas | Connectors | 1/2 Straight Bayonet Socket Connector | EA
Gas | Connectors | 1/2 Straight Micro Bayonet Socket Connector | EA
Gas | Connectors | 1/2 Straight Bayonet Wall Plate Connector | EA
Gas | Chains | Gas Cooker Stability Chain and Hook | EA
Gas | Hoses | 3ft Bayonet Type Natural Gas Hose | EA
Gas | Hoses | 4ft Bayonet Type Natural Gas Hose | EA
Gas | Hoses | 3 1/2 ft Micro Bayonet LPG Hose (new type) | EA
Total |  |  |  | 0 | 0 | 0
Washing Machine Accessories | Connectors | 15mm x 3/4 Straight Connector | EA
Washing Machine Accessories | Tees | 15 x 15mm x 3/4 Chrome Tee | EA
Washing Machine Accessories | Valves | 15mm x 3/4 Chrome Straight and Check Valve | EA
Washing Machine Accessories | Hoses | 1.5m Blue Washing Machine Hose | EA
Washing Machine Accessories | Hoses | 2.5m Blue Washing Machine Hose | EA
Washing Machine Accessories | Hoses | 1.5m Red Washing Machine Hose | EA
Washing Machine Accessories | Hoses | 2.5m Red Washing Machine Hose | EA
Washing Machine Accessories | Hoses | 1.5m Grey Non-kink Outlet Hose | EA
Washing Machine Accessories | Hoses | 2.5m Grey Non-kink Outlet Hose | EA
Washing Machine Accessories | Taps | 15mm Self Cutting Tap | EA
Total |  |  |  | 0 | 0 | 0
Stopcocks and Meters | Brass | 15mm Brass Stopcock | EA
Stopcocks and Meters | Brass | 22mm Brass Stopcock | EA
Stopcocks and Meters | Brass | 28mm Brass Stopcock | EA
Stopcocks and Meters | Brass | 15mm Brass Stopcock DZR | EA
Stopcocks and Meters | Brass | 22mm Brass Stopcock DZR | EA
Stopcocks and Meters | Brass | Brass Stop Cock 3/4 | EA
Stopcocks and Meters | Brass | 20 x 20mm Brass Poly Stopcock | EA
Stopcocks and Meters | Brass | 25 x 25mm Brass Poly Stopcock | EA
Stopcocks and Meters | Poly | 15 x 20mm Poly Stopcock MDPE | EA
Stopcocks and Meters | Poly | 15 x 25mm Poly Stopcock MDPE | EA
Stopcocks and Meters | Poly | 25 x 22mm Poly Stopcock MDPE | EA
Stopcocks and Meters | Copper | 20mm Poly / Copper Liner | EA
Stopcocks and Meters | Copper | 25mm Poly / Copper Liner | EA
Stopcocks and Meters | Stainless Steel | 15mm Stainless Steel / 15 / RPL | EA
Stopcocks and Meters | Stainless Steel | 22mm Stainless Steel / 22 / RPL | EA
Stopcocks and Meters | Water Meters | Class C Dome 1/2 | EA
Stopcocks and Meters | Water Meters | Class C Dome 3/4 | EA
Total |  |  |  | 0 | 0 | 0
Olives, Washers and Spares | Olives | Brass Olives 10mm | EA
Olives, Washers and Spares | Olives | Brass Olives 15mm | EA
Olives, Washers and Spares | Olives | Brass Olives 22mm | EA
Olives, Washers and Spares | Olives | Brass Olives 28mm | EA
Olives, Washers and Spares | Olives | Copper Olives 15mm | EA
Olives, Washers and Spares | Olives | Copper Olives 22mm | EA
Olives, Washers and Spares | Olives | Copper Olives 28mm | EA
Olives, Washers and Spares | Olives | Copper Olives 3/4 | EA
Olives, Washers and Spares | Washers | Pillar Poly Tap 1/2 Washer | EA
Olives, Washers and Spares | Washers | Pillar Poly Tap 3/4 Washer | EA
Olives, Washers and Spares | Washers | Fibre Tap Washer 1/2 | EA
Olives, Washers and Spares | Washers | Fibre Tap Washer 3/4 | EA
Olives, Washers and Spares | Washers | Delta Tap Washer 1/2 | EA
Olives, Washers and Spares | Washers | Delta Tap Washer 3/4 | EA
Olives, Washers and Spares | Washers | Tap Washer 1/2 | EA
Olives, Washers and Spares | Washers | Tap Washer 3/4 | EA
Olives, Washers and Spares | Washers | 1/2 Shower Hose Washer | EA
Olives, Washers and Spares | Washers | Dock Washer Type A and B | EA
Olives, Washers and Spares | Washers | 3/8 Pegler Tap Washer | EA
Olives, Washers and Spares | Washers | 1 1/4 Torbeck Diaphragm Washer | EA
Olives, Washers and Spares | Washers | 3/4 Washing Machine Hose Washer | EA
Olives, Washers and Spares | Washers | Part 2 Diaphragm Washer | EA
Olives, Washers and Spares | Washers | 1 1/2 Sink Washer | EA
Olives, Washers and Spares | Washers | 1 1/4 Basin Poly Washer | EA
Olives, Washers and Spares | Washers | 1 1/4 Lavatory Washer | EA
Olives, Washers and Spares | Washers | Universal Top Hat Washer | EA
Olives, Washers and Spares | Washers | Close Coupling Doughnut Washer | EA
Total |  |  |  | 0 | 0 | 0
Pipe Collars and Clips | Talon Pipe Collars | 10mm Chrome Effect (10 pack) | EA
Pipe Collars and Clips | Talon Pipe Collars | 15mm Chrome Effect (10 pack) | EA
Pipe Collars and Clips | Talon Pipe Collars | 22mm Chrome Effect (10 pack) | EA
Pipe Collars and Clips | Talon Pipe Collars | 10mm White (10 pack) | EA
Pipe Collars and Clips | Talon Pipe Collars | 15mm White (10 pack) | EA
Pipe Collars and Clips | Talon Pipe Collars | 22mm White (10 pack) | EA
Pipe Collars and Clips | Talon Pipe Clips | 15mm Single Hinged Clip | EA
Pipe Collars and Clips | Talon Pipe Clips | 22mm Single Hinged Clip | EA
Pipe Collars and Clips | Talon Pipe Clips | 28mm Single Hinged Clip | EA
Pipe Collars and Clips | Talon Pipe Clips | 15mm Double Hinged Clip | EA
Pipe Collars and Clips | Talon Pipe Clips | 22mm Double Hinged Clip | EA
Pipe Collars and Clips | Talon Pipe Clips | Spacer for Hinged Clips | EA
Pipe Collars and Clips | Talon Nail-in and Screw-in Clips | 7/8mm Nail Pipe Clip | EA
Pipe Collars and Clips | Talon Nail-in and Screw-in Clips | 10/12mm Nail Pipe Clip | EA
Pipe Collars and Clips | Talon Nail-in and Screw-in Clips | 15mm Nail Pipe Clip | EA
Pipe Collars and Clips | Talon Nail-in and Screw-in Clips | 22mm Nail Pipe Clip | EA
Pipe Collars and Clips | Single Clips | 15mm Single Hinged Pipe Clip | EA
Pipe Collars and Clips | Single Clips | 22mm Single Hinged Pipe Clip | EA
Pipe Collars and Clips | Single Clips | 28mm Single Hinged Pipe Clip | EA
Pipe Collars and Clips | Single Clips | 15mm Double Hinged Pipe Clip | EA
Pipe Collars and Clips | Single Clips | 22mm Double Hinged Pipe Clip | EA
Pipe Collars and Clips | Open Clips | 15mm Snap-in Open Pipe Clip | EA
Pipe Collars and Clips | Open Clips | 22mm Snap-in Open Pipe Clip | EA
Pipe Collars and Clips | Open Clips | 28mm Snap-in Open Pipe Clip | EA
Pipe Collars and Clips | Open Clips | 15mm Double Snap-in Open Pipe Clip | EA
Pipe Collars and Clips | Open Clips | 22mm Double Snap-in Open Pipe Clip | EA
Pipe Collars and Clips | Nail-in Clips | 15mm Nail-in Pipe Clip | EA
Pipe Collars and Clips | Nail-in Clips | 22mm Nail-in Pipe Clip | EA
Pipe Collars and Clips | Nail-in Clips | 28mm Nail-in Pipe Clip | EA
Pipe Collars and Clips | Ellis Pipe Clips | Single Hinged Pipe Clip 15mm | EA
Pipe Collars and Clips | Ellis Pipe Clips | Single Hinged Pipe Clip 22mm | EA
Pipe Collars and Clips | Ellis Pipe Clips | Hinged Clip Double 15mm Pipe | EA
Total |  |  |  | 0 | 0 | 0
Hep 20 | Connectors | 10mm Straight Connector | EA
Hep 20 | Connectors | 15mm Straight Connector | EA
Hep 20 | Connectors | 22mm Straight Connector | EA
Hep 20 | Connectors | 28mm Straight Connector | EA
Hep 20 | Connectors | 1/2 x 15mm Straight Tap Connector | EA
Hep 20 | Connectors | 3/4 x 15mm Straight Tap Connector | EA
Hep 20 | Connectors | 3/4 x 22mm Straight Tap Connector | EA
Hep 20 | Connectors | 1/2 x 15mm Bent Tap Connector | EA
Hep 20 | Connectors | 1/2 x 10mm Hand Titan Tap Connector | EA
Hep 20 | Connectors | 1/2 x 15mm Hand Titan Tap Connector | EA
Hep 20 | Connectors | 3/4 x 15mm Hand Titan Tap Connector | EA
Hep 20 | Connectors | 3/4 x 22mm Hand Titan Tap Connector | EA
Hep 20 | Reducers | 15 x 10mm Spigot Reducer | EA
Hep 20 | Reducers | 22 x 15mm Spigot Reducer | EA
Hep 20 | Reducers | 28 x 22mm Spigot / Socket Reducer | EA
Hep 20 | Elbows | 10mm 90 degrees Equal Elbow | EA
Hep 20 | Elbows | 15mm 9 degrees Equal Elbow | EA
Hep 20 | Elbows | 22mm 90 degrees Equal Elbow | EA
Hep 20 | Elbows | 10mm 90 degrees Spigot Elbow | EA
Hep 20 | Elbows | 15mm 90 degrees Spigot Elbow | EA
Hep 20 | Elbows | 22mm 90 degrees Spigot Elbow | EA
Hep 20 | Elbows | 10 x 15mm 90 degrees Spigot / Socket Elbow | EA
Hep 20 | Elbows | 90D 28mm HD5/28W | EA
Hep 20 | Keys | 10mm | EA
Hep 20 | Keys | 15mm | EA
Hep 20 | Keys | 22mm | EA
Hep 20 | Keys | 28mm | EA
Hep 20 | Tees | 10mm Equal Tee | EA
Hep 20 | Tees | 15mm Equal Tee | EA
Hep 20 | Tees | 22mm Equal Tee | EA
Hep 20 | Tees | 28mm Equal Tee | EA
Hep 20 | Tees | 15 x 15 x 10mm Branch Reduced Tee | EA
Hep 20 | Tees | 22 x 10 x 10mm Branch Reduced Tee | EA
Hep 20 | Tees | 28 x 22 x 22mm Branch Reduced Tee | EA
Hep 20 | Tees | 22 x 15 x 22mm End Reduced Tee | EA
Hep 20 | Tees | 28 x 22 x 28mm End Reduced Tee | EA
Hep 20 | Tees | 22 x 22 x 15mm Branch Reduced Tee | EA
Hep 20 | Tees | 22 x 22 x 10mm Branch Reduced Tee | EA
Hep 20 | Tees | 28 x 28 x 22mm Branch Reduced Tee | EA
Hep 20 | Tees | 28 x 28 x 15mm Branch Reduced Tee | EA
Hep 20 | Tees | 15 x 10 x 10mm Branch and One End Reduced Tee | EA
Hep 20 | Tees | 22 x 15 x 15mm Branch and One End Reduced Tee | EA
Hep 20 | Tees | 10 x 10 x 15mm Double End Reduced Tee | EA
Hep 20 | Tees | 15 x 15 x 22mm Double End Reduced Tee | EA
Hep 20 | Tees | 22 x 22 x 28mm Double End Reduced Tee | EA
Hep 20 | Stop Ends | 15mm Demountable Stop End | EA
Hep 20 | Stop Ends | 22mm Demountable Stop End | EA
Hep 20 | Stop Ends | 15mm Blanking Peg | EA
Hep 20 | Stop Ends | 22mm Blanking Peg | EA
Hep 20 | Pipe Support | 10mm SmartSleeve Pipe Support | EA
Hep 20 | Pipe Support | 15mm SmartSleeve Pipe Support | EA
Hep 20 | Pipe Support | 22mm SmartSleeve Pipe Support | EA
Hep 20 | Pipe Support | 28mm SmartSleeve Pipe Support | EA
Hep 20 | Pipe Support | 15mm Screw Type Clip | EA
Hep 20 | Pipe Support | 22mm Screw Type Clip | EA
Hep 20 | Pipe Support | 28mm Screw Type Clip | EA
Hep 20 | Pipe Support | 10mm Cable Clip | EA
Hep 20 | Pipe Support | 15mm Cable Clip | EA
Hep 20 | Pipe Support | 22mm Cable Clip | EA
Hep 20 | Pipe Support | 28mm Cable Clip | EA
Hep 20 | Pipe Support | 22mm Pipe Clip Spacer | EA
Hep 20 | Manifolds | 22 x 10mm Spigot 2 Port Manifold | EA
Hep 20 | Manifolds | 22 x 10mm Socket 2 Port Manifold | EA
Hep 20 | Manifolds | 22 x 10mm Socket / Spigot 2 x 4 Port Manifold | EA
Hep 20 | Manifolds | 22 x 10mm Socket 2 x 2 Port Manifold | EA
Hep 20 | Manifolds | 22 x 10mm Socket / Spigot Inline 4 Port Manifold | EA
Hep 20 | Manifolds | 22 x 10mm Socket Inline 4 Port Manifold | EA
Hep 20 | Manifolds | 22 x 15mm Spigot 2 Port Manifold | EA
Hep 20 | Manifolds | 22 x 15mm Socket / Socket 2 Port Manifold | EA
Hep 20 | Manifolds | 22 x 15mm Spigot 3 Port Manifold | EA
Hep 20 | Manifolds | 22 x 15mm Socket / Socket 3 Port Manifold | EA
Hep 20 | Stopcocks | 15mm Cold Water Stopcock | EA
Hep 20 | Stopcocks | 22mm Cold Water Stopcock | EA
Hep 20 | Valves | 15mm x 1/2 Straight Service Valve | EA
Hep 20 | Valves | 15mm x 1/2 Angled Service Valve | EA
Hep 20 | Brass Adaptors | 3/4 x 15mm Female Adaptor | EA
Hep 20 | Brass Adaptors | 1/2 x 15mm Female Adaptor | EA
Hep 20 | Brass Adaptors | 3/4 x 22mm Female Adaptor | EA
Hep 20 | Brass Adaptors | 1 inch x 28mm Female Adaptor | EA
Hep 20 | Brass Adaptors | 1/2 x 15mm Male Adaptor | EA
Hep 20 | Brass Adaptors | 3/4 x 22mm Male Adaptor | EA
Hep 20 | Brass Adaptors | 1 inch x 28mm Male Adaptor | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 300mm Full Bore | EA
Hep 20 | Flexible Hoses | 15 x 15 x 300mm | EA
Hep 20 | Flexible Hoses | 15 x 15 x 500mm | EA
Hep 20 | Flexible Hoses | 22 x 22 x 300mm | EA
Hep 20 | Flexible Hoses | 22 x 22 x 500mm | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm and Iso Valve | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 300mm and Iso Valve | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 500mm and Iso Valve | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 500mm and Iso Valve | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 300mm | EA
Hep 20 | Flexible Hoses | 15mm x 3/4 x 300mm | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 500mm | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 500mm | EA
Hep 20 | Flexible Hoses | 15mm x 3/4 x 500mm | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm and Handle | EA
Hep 20 | Flexible Hoses | 15mm x M12 x 300mm Monobloc Tails | EA
Hep 20 | Flexible Hoses | 15mm x 3/4 x 500mm | EA
Hep 20 | Flexible Hoses | 15mm x M10 x 300mm Monobloc Tails | EA
Hep 20 | Flexible Hoses | 15mm x M12 x 300mm Monobloc Tails | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 500mm Full Bore | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm Elbow Connector | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 1000mm | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 1000mm | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 150mm | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm PVC | EA
Hep 20 | Flexible Hoses | 15mm x 3/4 x 300mm PVC | EA
Hep 20 | Flexible Hoses | 15 x 15 x 300mm PVC | EA
Hep 20 | Flexible Hoses | 22 x 22 x 300mm PVC | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 300mm PVC | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm Elbow Connector PVC | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 300mm and Iso Valve PVC | EA
Hep 20 | Flexible Hoses | 22mm x 3/4 x 300mm and Iso Valve PVC | EA
Hep 20 | Flexible Hoses | 15mm x 1/2 x 500mm PVC | EA
Hep 20 | Pipe | 10mm x 50m Barrier Pipe Coil | EA
Hep 20 | Pipe | 10mm x 100m Barrier Pipe Coil | EA
Hep 20 | Pipe | 15mm x 25m Barrier Pipe Coil | EA
Hep 20 | Pipe | 15mm x 50m Barrier Pipe Coil | EA
Hep 20 | Pipe | 15mm x 100m Barrier Pipe Coil | EA
Hep 20 | Pipe | 22mm x 25m Barrier Pipe Coil | EA
Hep 20 | Pipe | 28mm x 25m Barrier Pipe Coil | EA
Hep 20 | Pipe | 28mm x 50m Barrier Pipe Coil | EA
Hep 20 | Pipe | 15mm x 3m Barrier Pipe Length | EA
Hep 20 | Pipe | 22mm x 3m Barrier Pipe Length | EA
Hep 20 | Pipe | 28mm x 3m Barrier Pipe Length | EA
Hep 20 | Pipe | Barrier Pipe 22mm x 6m Straight, White HXX06/22W | EA
Hep 20 | Pipe | Barrier Pipe 15mm x 6m Straight, White HXX06/15W | EA
Hep 20 | Pipe | Barrier Pipe 22mm x 50m White HXX50/22W | EA
Hep 20 | Pipe | Barrier Pipe 10mm x 25m White HXX25/10W | EA
Hep 20 | Pipe | Standard Pipe 15mm x 25m Coil HXP25/15W | EA
Total |  |  |  | 0 | 0 | 0
Speedfit | Straight Couplings | 10mm | EA
Speedfit | Straight Couplings | 15mm | EA
Speedfit | Straight Couplings | 22mm | EA
Speedfit | Straight Couplings | 28mm | EA
Speedfit | Reducers | 15 x 10mm Reducer | EA
Speedfit | Reducers | 22 x 15mm Reducer | EA
Speedfit | Reducers | 28 x 22mm Reducer | EA
Speedfit | Reducers | 15 x 10mm Reducing Coupler | EA
Speedfit | Reducers | 22 x 15mm Reducing Coupler | EA
Speedfit | Elbows | 10mm Elbow | EA
Speedfit | Elbows | 15mm Elbow | EA
Speedfit | Elbows | 22mm Elbow | EA
Speedfit | Elbows | 28mm Elbow | EA
Speedfit | Stem Elbows | 10mm Stem Elbow M x F | EA
Speedfit | Stem Elbows | 15mm Stem Elbow M x F | EA
Speedfit | Stem Elbows | 22mm Stem Elbow M x F | EA
Speedfit | Equal Tees | 10mm Equal Tee | EA
Speedfit | Equal Tees | 15mm Equal Tee | EA
Speedfit | Equal Tees | 22mm Equal Tee | EA
Speedfit | Equal Tees | 28mm Equal Tee | EA
Speedfit | Reducing Tees | 15 x 10 x 10mm Reducing Tee | EA
Speedfit | Reducing Tees | 15 x 15 x 10mm Reducing Tee | EA
Speedfit | Reducing Tees | 22 x 22 x 10mm Reducing Tee | EA
Speedfit | Reducing Tees | 22 x 15 x 15mm Reducing Tee | EA
Speedfit | Reducing Tees | 22 x 22 x 15mm Reducing Tee | EA
Speedfit | Reducing Tees | 22 x 15 x 22mm Reducing Tee | EA
Speedfit | Reducing Tees | 28 x 22 x 22mm Reducing Tee | EA
Speedfit | Reducing Tees | 28 x 22 x 28mm Reducing Tee | EA
Speedfit | Female Tap Connectors | 15mm x 1/2 Female Straight Tap Connector | EA
Speedfit | Female Tap Connectors | 15mm x 3/4 Female Straight Tap Connector | EA
Speedfit | Female Tap Connectors | 22mm x 3/4 Female Straight Tap Connector | EA
Speedfit | Female Tap Connectors | 15mm x 1/2 Straight Tap Connector | EA
Speedfit | Female Tap Connectors | 15mm x 3/4 Straight Tap Connector | EA
Speedfit | Female Tap Connectors | 22mm x 3/4 Straight Tap Connector | EA
Speedfit | Stop Ends | 10mm Stop End | EA
Speedfit | Stop Ends | 15mm Stop End | EA
Speedfit | Stop Ends | 22mm Stop End | EA
Speedfit | Bent Tap Connector | 15mm x 1/2 Bent Tap Connector | EA
Speedfit | Tank Connectors | 15mm Tank Connector | EA
Speedfit | Tank Connectors | 22mm Tank Connector | EA
Speedfit | Tank Connectors | 28mm Tank Connector | EA
Speedfit | Plugs | 10mm Plug | EA
Speedfit | Plugs | 15mm Plug | EA
Speedfit | Plugs | 22mm Plug | EA
Speedfit | Lay Flat Pipe | 15mm x 25m Polybutylene Barrier Pipe | EA
Speedfit | Lay Flat Pipe | 15mm x 100m Polybutylene Coil Pipe | EA
Speedfit | Lay Flat Pipe | 22mm x 25m Polybutylene Barrier Pipe | EA
Speedfit | Lay Flat Pipe | 15mm x 50m Coil 15BPB-50C | EA
Speedfit | Lay Flat Pipe | 15mm x 150m Coil 15BPB-150C | EA
Speedfit | Lay Flat Pipe | 10mm x 50m Pipe 10BPB-50C | EA
Speedfit | Lay Flat Pipe | 22mm x 50m Coil 22BPB-50C | EA
Speedfit | Lay Flat Pipe | 15mm x 120m 15BPB-120C | EA
Speedfit | Barrier Coils | 10mm x 25m Barrier Pipe Coil | EA
Speedfit | Barrier Coils | 10mm x 50m Barrier Pipe Coil | EA
Speedfit | Barrier Coils | 15mm x 25m Barrier Pipe Coil | EA
Speedfit | Barrier Coils | 15mm x 50m Barrier Pipe Coil | EA
Speedfit | Barrier Coils | 22mm x 25m Barrier Pipe Coil | EA
Speedfit | Barrier Lengths | 15mm x 3m Barrier Pipe Length | EA
Speedfit | Barrier Lengths | 15mm x 6m Barrier Pipe Length | EA
Speedfit | Barrier Lengths | 22mm x 3m Barrier Pipe Length | EA
Speedfit | Barrier Lengths | 22mm x 6m Barrier Pipe Length | EA
Speedfit | Superseal Inserts | 10mm Superseal Insert | EA
Speedfit | Superseal Inserts | 15mm Superseal Insert | EA
Speedfit | Superseal Inserts | 22mm Superseal Insert | EA
Speedfit | Superseal Inserts | 28mm Superseal Insert | EA
Speedfit | Valves | 15mm Emergency Shut Off Valve | EA
Speedfit | Valves | 15mm Service Valve | EA
Speedfit | Valves | 15mm Brass Push Fit Stopcock | EA
Speedfit | Valves | 15mm Chrome Service Valve | EA
Speedfit | Valves | 15mm x 3/4 Appliance Tee | EA
Speedfit | Valves | 15mm x 3/4 Appliance Tap | EA
Speedfit | Valves | 15mm Double Check Valve | EA
Speedfit | Braided Flexi Hoses | 15mm x 1/2 x 300mm c/w Metal Connections | EA
Speedfit | Braided Flexi Hoses | 22mm x 3/4 x 300mm c/w Metal Connections | EA
Speedfit | Braided Flexi Hoses | 15mm x 3/4 x 500mm c/w Metal Connections | EA
Speedfit | Braided Flexi Hoses | 15mm x 3/8 x 300mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 15mm x 1/2 x 300mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 15mm x 3/4 x 300mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 22mm x 3/4 x 300mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 15mm x 1/2 x 500mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 15mm x 3/4 x 500mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 22mm x 3/4 x 500mm Speedfit x Union Nut | EA
Speedfit | Braided Flexi Hoses | 22mm x 3/4 x 500mm Speedfit x Union Nut Full Bore | EA
Speedfit | Braided Flexi Hoses | 15 x 15 x 300mm Speedfit x Speedfit | EA
Speedfit | Braided Flexi Hoses | 22 x 22 x 300mm Speedfit x Speedfit | EA
Speedfit | Braided Flexi Hoses | 15 x 15 x 500mm Speedfit x Speedfit | EA
Speedfit | Braided Flexi Hoses | 22 x 22 x 500mm Speedfit x Speedfit | EA
Speedfit | Braided Flexi Hoses | 15 x 15 x 1000mm Speedfit x Speedfit | EA
Speedfit | Braided Flexi Hoses | 15mm x 1/2 x 300mm Elbow Pattern | EA
Speedfit | Braided Flexi Hoses | 15mm x 1/2 x 300mm Speedfit x Union Nut with Service Valve | EA
Speedfit | Braided Flexi Hoses | 22mm x 3/4 x 300mm Speedfit x Union Nut with Service Valve | EA
Speedfit | Braided Flexi Hoses | 15mm x M12 x 300mm for Monobloc Mixers | EA
Speedfit | Braided Flexi Hoses | Flexi 15mm x 1/2 x 300mm White | EA
Speedfit | Pipe Inserts | Pipe Insert 15mm TSM15N-L | EA
Speedfit | Pipe Inserts | Pipe Insert 10mm | EA
Speedfit | Pipe Inserts | Pipe Insert 22mm | EA
Speedfit | Pipe Inserts | Pipe Insert 28mm | EA
Total |  |  |  | 0 | 0 | 0
Pipes | Polythene Pipe | 20mm x 25m PE80 Blue 20PW025 | EA
Pipes | Polythene Pipe | 20mm x 50m PE80 Blue 20PW050 | EA
Pipes | Polythene Pipe | 25mm x 25m PE80 Blue 25PW025 | EA
Pipes | Polythene Pipe | 25mm x 50m PE80 Blue 25PW050 | EA
Pipes | Polythene Pipe | 25mm x 100m PE80 Blue 25PW100 | EA
Pipes | Polythene Pipe | 32mm x 50m PE80 Blue 32PW050 | EA
Total |  |  |  | 0 | 0 | 0
Cisterns | Open Top Cisterns | Open Top Rectangular Stackable 114L Cistern PC25R | EA
Cisterns | Open Top Cisterns | Open Top Rectangular Stackable 114L Cistern PC25R | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 68L Cold Water Cistern Stackable | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 91L Cold Water Cistern Stackable | EA
Cisterns | Open Top Cisterns | Open Top Rectangular Stackable 114L Cistern PC25R | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 182L Cold Water Cistern Stackable | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 227L Cold Water Cistern Stackable | EA
Cisterns | Open Top Cisterns | Open Top Rectangular Stackable 114L Cistern PC25R | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 68L Cold Water Cistern Kitemark Only K15R | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 91L Cold Water Cistern Kitemark Only K20R | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 114L Cold Water Cistern Kitemark Only | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 182L Cold Water Cistern Kitemark Only | EA
Cisterns | Open Top Cisterns | Open Topped Rectangular 227L Cold Water Cistern Kitemark Only | EA
Cisterns | Cistern Lids | Rectangular 18L Cistern Lid Only (PC4R and K4R) RL4 | EA
Cisterns | Cistern Lids | Rectangular 68L Cistern Lid Only (PC15R and K15R) RL15 | EA
Cisterns | Cistern Lids | Rectangular 114L Cistern Lid Only (PC25R and K25R) RL25 | EA
Cisterns | Cistern Lids | Rectangular 182L Cistern Lid Only (PC40R and K40R) RL40 | EA
Cisterns | Cistern Lids | Rectangular 227L Cistern Lid Only (PC50R and K50R) RL50 | EA
Cisterns | Cisterns Jackets | Rectangular 18L Cistern Jacket Only (PC4R and K4R) TJ04R60 | EA
Cisterns | Stackable Cisterns | Rectangular Cistern (PC4R and K50R) | EA
Total |  |  |  | 0 | 0 | 0
Boilers and Accessories | Combination Boiler | Vaillant Ecofit Pure 825 Bundle C/W Boiler, Horizontal Flue and System Filter or equivalent | EA
Boilers and Accessories | Combination Boiler | Vaillant Ecofit Pure 830 Bundle C/W Boiler, Horizontal Flue and System Filter or equivalent | EA
Boilers and Accessories | Combination Boiler | Vaillant Ecofit Pure 835 Bundle C/W Boiler, Horizontal Flue and System Filter or equivalent | EA
Boilers and Accessories | Combination Boiler | Vaillant Ecofit Pure 825 Bundle C/W Boiler,Vertical Flue and System Filter or equivalent | EA
Boilers and Accessories | Combination Boiler | Vaillant Ecofit Pure 830 Bundle C/W Boiler, Vertical Flue and System Filter or equivalent | EA
Boilers and Accessories | Combination Boiler | Vaillant Ecofit Pure 835 Bundle C/W Boiler, Vertical Flue and System Filter or equivalent | EA
Boilers and Accessories | Combination Boiler | Main Eco Compact 25kw or equivalent | EA
Boilers and Accessories | Combination Boiler | Main Eco Compact 30kw or equivalent | EA
Boilers and Accessories | Combination Boiler | Ideal Exclusive 24kw c/w Mechanical Clock Ref or equivalent | EA
Boilers and Accessories | Combination Boiler | Ideal Exclusive 30kw c/w Mechanical Clock Ref or equivalent | EA
Boilers and Accessories | Combination Boiler | Ideal Exclusive 35kw c/w Mechanical Clock Ref or equivalent | EA
Boilers and Accessories | Combination Boiler | Baxi 224 or equivalent | EA
Boilers and Accessories | Combination Boiler | Baxi 228 or equivalent | EA
Boilers and Accessories | Combination Boiler | Worcester 30i or equivalent | EA
Boilers and Accessories | Combination Boiler | Worcester Greenstar 2000 30kw or equivalent | EA
Boilers and Accessories | Combination Boiler | Worcester Greenstar 2000 25kw or equivalent | EA
Boilers and Accessories | Combination Boiler | Worcester 25i or equivalent | EA
Boilers and Accessories | Boiler Accessories | Boiler Stand Off Kit | EA
Boilers and Accessories | Boiler Accessories | Pipe Support (5111080) | EA
Boilers and Accessories | Boiler Accessories | Multifit Pitched Roof Flash 5122151 | EA
Boilers and Accessories | Boiler Accessories | Standard Horizontal Telescopic Flue (including elbow) 315 - 500mm | EA
Boilers and Accessories | Boiler Accessories | Filling Loop Kit | EA
Boilers and Accessories | Boiler Accessories | Multifit Flue Extension 1000mm 241695 | EA
Boilers and Accessories | Boiler Accessories | Standard Horizontal Telescopic Flue (including elbow) 315 - 500mm | EA
Boilers and Accessories | Boiler Accessories | Multifit Vert Ridge Tile Terminal | EA
Boilers and Accessories | Boiler Accessories | Multifit Vertical Flue Terminal | EA
Boilers and Accessories | Boiler Accessories | Multifit Telescopic In-case Rear Flue | EA
Boilers and Accessories | Condensate Pump | Boiler Condensate Pump 4.3m Lift | EA
Boilers and Accessories | Condensate Pump | High Temperature Boiler Condensate Pump 3.8L and Hoses | EA
Boilers and Accessories | Condensate Soak Away | Condensate Soak Away | EA
Boilers and Accessories | Condensate Accessories | Stainless Steel Soil Pipe Adaptor | EA
Total |  |  |  | 0 | 0 | 0
Flues and Accessories | Terminal Guards | 11 1/2 x 9 inch Circular Plastic Coated | EA
Flues and Accessories | Terminal Guards | 6 1/2 x 11 inch Circular K3 | EA
Flues and Accessories | Terminal Guards | Coated Overflow Guard | EA
Flues and Accessories | Terminal Guards | 6 1/2 x 11 inch Circular K3 | EA
Flues and Accessories | Flue Extension | Oilfit 80/125 Standard Telescopic Flue | EA
Flues and Accessories | Flue Extension | Oilfit 80/125 Extension 1m | EA
Flues and Accessories | Flue Extension | External Flue Extension (960mm) | EA
Flues and Accessories | Flue Extension | Oilfit Plume Management 1m Extension | EA
Flues and Accessories | Flue Extension | Oilfit 100/150 Extension 1m | EA
Flues and Accessories | Flues Guards | Stainless Steel Flue Terminal Guard | EA
Flues and Accessories | Flue Elbows | Oilfit 80/125 90 degree Elbow | EA
Flues and Accessories | Flue Management | Oilfit Plume Management Kit | EA
Flues and Accessories | Flue Management | Oilfit Plume Management 90 degree Bend | EA
Flues and Accessories | Flue Management | Oilfit Plume Management 2 x 45 degree Bend | EA
Flues and Accessories | Flue Management | Standard Horizontal Flue Kit (880mm) | EA
Flues and Accessories | Flue Management | Low Level Horizontal Standard Flue Kit | EA
Total |  |  |  | 0 | 0 | 0
Water Heaters | Unvented | Multipoint 10L Unvented 3kW | EA
Water Heaters | Unvented | Multipoint 15L Unvented 3kW | EA
Water Heaters | Unvented | Multipoint 15L Unvented 4.5kW | EA
Water Heaters | Unvented | Multipoint 30L Unvented 3kW | EA
Water Heaters | Unvented | Multipoint 30L Unvented 3kW Horizontal | EA
Water Heaters | Unvented | Multipoint 50L Unvented 3kW | EA
Water Heaters | Unvented | Unvented 30L 3kW | EA
Water Heaters | Unvented | Unvented 50L 3kW | EA
Water Heaters | Unvented | Unvented 90L 3kW | EA
Water Heaters | Under Sink | 2.5L Water Heater | EA
Water Heaters | Under Sink | 7L 3kW Under Sink Heater Only | EA
Water Heaters | Under Sink | 5L Water Heater | EA
Water Heaters | Zip | 3L 1.5kW HS003 | EA
Water Heaters | Zip | 5L 2.4kW White HS005 | EA
Water Heaters | Zip Water Heaters | Plus 5L White Finish | EA
Water Heaters | Microboil | Microboil 3L 2.4kW Water Heater | EA
Water Heaters | Microboil | Microboil 8L 2.4kW Water Heater | EA
Total |  |  |  | 0 | 0 | 0
Chemicals | Sealers | System Chemical Cleaner 500ml | EA
Chemicals | Sealers | System Chemical Leaksealer 500ml | EA
Chemicals | Sealers | External Leak Sealer 50g Tube | EA
Chemicals | Sealers | LS-X External Leak Sealer 50ml | EA
Chemicals | Sealers | F4 Express Leak Seal 265ml | EA
Chemicals | Sealers | LS-X External Leak Sealer 50ml | EA
Chemicals | Sealers | F4 Express Leak Seal 265ml | EA
Chemicals | Protection | Central Heating Protector 500ml | EA
Chemicals | Protection | Superconcentrate Protector F1 290ml | EA
Chemicals | Protection | MB-1 Protector 4L | EA
Chemicals | Protection | Alphi-11 Anti Freeze and Protector 5L | EA
Chemicals | Protection | F1 Express Protector 265ml | EA
Chemicals | Protection | Boiler Noise Silencer F2 290ml concentrate | EA
Chemicals | Cleaning | Superconcentrate Cleaner F3 290ml | EA
Chemicals | Cleaning | Powerflushing Cleaner F5 1L | EA
Chemicals | Cleaning | DS40 System Cleaner 1.9kg | EA
Chemicals | Cleaning | F5 Express Cleaner 280ml | EA
Chemicals | Cleaning | DS-10 Dryside Cleaner 7kg | EA
Chemicals | Cleaning | Sterox Chlorinating Tablets | EA
Chemicals | Cleaning | MagnaClean 28mm XP | EA
Chemicals | Inhibitors | System Chemical Inhibitor 500ml | EA
Chemicals | Inhibitors | Inhibitor Concentrate 300ml | EA
Chemicals | Inhibitors | 15mm Push Fit Magnetic Scale Inhibitor | EA
Chemicals | Inhibitors | 15mm Push Fit Electrolytic Scale Inhibitor | EA
Chemicals | Inhibitors | 15mm Compression Fit Electrolytic Scale Inhibitor | EA
Chemicals | Inhibitors | Combi Care Polyphosphate Scale Inhibitor 15mm | EA
Chemicals | Softeners | Tapworks AD11 Water Softener Auto Demand | EA
Chemicals | Softeners | BWT 25kg Water Softener Granular Salt | EA
Total |  |  |  | 0 | 0 | 0
Immersion Heaters | Dual Safety Thermostats | 7 inch Dual Safety Thermostat | EA
Immersion Heaters | Dual Safety Thermostats | 11 inch Dual Safety Thermostat | EA
Immersion Heaters | Dual Safety Thermostats | 18 inch Dual Safety Thermostat | EA
Immersion Heaters | Titanium Immersion Heaters | 11 inch Gr2 Titanium Immersion Heater and Thermostat | EA
Immersion Heaters | Titanium Immersion Heaters | 27 inch Gr2 Titanium Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 11 inch Copper Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 14 inch Copper Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 18 inch Copper Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 23 inch Copper Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 27 inch Copper Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 30 inch Copper Immersion Heater and Thermostat | EA
Immersion Heaters | Copper Immersion Heaters | 36 inch Copper Immersion Heater and Thermostat | EA
Total |  |  |  | 0 | 0 | 0
Convectors | Single Convector K1 | 300 x 500mm/ BTU - 870/ Watts - 255 | EA
Convectors | Single Convector K1 | 300 x 1000mm/ BTU - 1737/ Watts - 509 | EA
Convectors | Single Convector K1 | 300 x 1500mm/ BTU - 2607/ Watts - 764 | EA
Convectors | Single Convector K1 | 450 x 400mm/ BTU - 1030/ Watts - 302 | EA
Convectors | Single Convector K1 | 450 x 500mm/ BTU - 1290/ Watts - 378 | EA
Convectors | Single Convector K1 | 450 x 600mm/ BTU - 1549/ Watts - 454 | EA
Convectors | Single Convector K1 | 450 x 700mm/ BTU - 1805/ Watts - 529 | EA
Convectors | Single Convector K1 | 450 x 800mm/ BTU - 2064/ Watts - 605 | EA
Convectors | Single Convector K1 | 450 x 900mm/ BTU - 2320/ Watts - 680 | EA
Convectors | Single Convector K1 | 450 x 1000mm/ BTU - 2580/ Watts - 756 | EA
Convectors | Single Convector K1 | 450 x 1100mm/ BTU - 2839/ Watts - 832 | EA
Convectors | Single Convector K1 | 450 x 1200mm/ BTU - 3095/ Watts - 907 | EA
Convectors | Single Convector K1 | 600 x 400mm/ BTU - 1337/ Watts - 392 | EA
Convectors | Single Convector K1 | 600 x 500mm/ BTU - 1672/ Watts - 490 | EA
Convectors | Single Convector K1 | 600 x 600mm/ BTU - 2006/ Watts - 588 | EA
Convectors | Single Convector K1 | 600 x 700mm/ BTU - 2341/ Watts - 686 | EA
Convectors | Single Convector K1 | 600 x 800mm/ BTU - 2675/ Watts - 784 | EA
Convectors | Single Convector K1 | 600 x 900mm/ BTU - 3010/ Watts - 882 | EA
Convectors | Single Convector K1 | 600 x 1000mm/ BTU - 3344/ Watts - 980 | EA
Convectors | Single Convector K1 | 700 x 400mm/ BTU - 1525/ Watts - 447 | EA
Convectors | Single Convector K1 | 700 x 500mm/ BTU - 1907/ Watts - 559 | EA
Convectors | Single Convector K1 | 700 x 600mm/ BTU - 2286/ Watts - 670 | EA
Convectors | Single Convector K1 | 700 x 700mm/ BTU - 2668/ Watts - 782 | EA
Convectors | Single Convector K1 | 700 x 800mm/ BTU - 3051/ Watts - 894 | EA
Convectors | Double Panel Single Convector P+ | 600 x 400mm/ BTU - 1836/ Watts - 538 | EA
Convectors | Double Panel Single Convector P+ | 600 x 500mm/ BTU - 2296/ Watts - 673 | EA
Convectors | Double Panel Single Convector P+ | 600 x 600mm/ BTU - 2754/ Watts - 807 | EA
Convectors | Double Panel Single Convector P+ | 600 x 700mm/ BTU - 3215/ Watts - 942 | EA
Convectors | Double Convector K2 | 300 x 500mm/ BTU - 1675/ Watts - 491 | EA
Convectors | Double Convector K2 | 300 x 1000mm/ BTU - 3351/ Watts - 982 | EA
Convectors | Double Convector K2 | 450 x 400mm/ BTU - 1870/ Watts - 548 | EA
Convectors | Double Convector K2 | 450 x 500mm/ BTU - 2341/ Watts - 686 | EA
Convectors | Double Convector K2 | 450 x 600mm/ BTU - 2808/ Watts - 823 | EA
Convectors | Double Convector K2 | 450 x 700mm/ BTU - 3276/ Watts - 960 | EA
Convectors | Double Convector K2 | 600 x 400mm/ BTU - 2365/ Watts - 693 | EA
Convectors | Double Convector K2 | 600 x 500mm/ BTU - 2955/ Watts - 866 | EA
Convectors | Double Convector K2 | 700 x 400mm/ BTU - 2675/ Watts - 784 | EA
Convectors | Double Convector K2 | 700 x 500mm/ BTU - 3348/ Watts - 981 | EA
Convectors | Single Convector | 300 x 500mm/ BTU - 802/ Watts - 235 | EA
Convectors | Single Convector | 300 x 1000mm/ BTU - 1604/ Watts - 470 | EA
Convectors | Single Convector | 300 x 1500mm/ BTU - 2405/ Watts - 705 | EA
Convectors | Single Convector | 450 x 400mm/ BTU - 928/ Watts - 272 | EA
Convectors | Single Convector | 450 x 600mm/ BTU - 1396/ Watts - 409 | EA
Convectors | Single Convector | 450 x 800mm/ BTU - 1860/ Watts - 545 | EA
Convectors | Single Convector | 450 x 1000mm/ BTU - 2324/ Watts - 681 | EA
Convectors | Single Convector | 450 x 1200mm/ BTU - 2788/ Watts - 817 | EA
Convectors | Single Convector | 450 x 1400mm/ BTU - 3752/ Watts - 953 | EA
Convectors | Single Convector | 600 x 400mm/ BTU - 1187/ Watts - 348 | EA
Convectors | Single Convector | 600 x 600mm/ BTU - 1781/ Watts - 522 | EA
Convectors | Single Convector | 600 x 800mm/ BTU - 2375/ Watts - 696 | EA
Convectors | Single Convector | 600 x 1000mm/ BTU - 2968/ Watts - 870 | EA
Convectors | Double Convector | 300 x 500mm/ BTU - 1532/ Watts - 449 | EA
Convectors | Double Convector | 300 x 1000mm/ BTU - 3064/ Watts - 898 | EA
Convectors | Double Convector | 300 x 1500mm/ BTU - 4596/ Watts - 1347 | EA
Convectors | Double Convector | 450 x 400mm/ BTU - 1737/ Watts - 509 | EA
Convectors | Double Convector | 450 x 600mm/ BTU - 2607/ Watts - 764 | EA
Convectors | Double Convector | 600 x 400mm/ BTU - 2184/ Watts - 640 | EA
Convectors | Double Convector | 600 x 600mm/ BTU - 3279/ Watts - 961 | EA
Total |  |  |  | 0 | 0 | 0
Radiators | Single Rad | Stelrad Compact 600x700 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X800 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X600 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 450X400 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 450X1100 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X1100 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X1200 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X1000 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X400 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X1400 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600x500 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X900 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 450X1200 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 600X1600 K1 or equivalent | EA
Radiators | Single Rad | Stelrad Compact 450X500 K1 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 450x1000 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 700x400 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 600X1400 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 600X500 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 600X1100 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 600X400 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 700X500 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 450X1400 K2 or equivalent | EA
Radiators | Double Rad | Stelrad Compact 600X800 K2 or equivalent | EA
Radiators | Manual Radiator Valve | 10/8mm Angled White Lockshield, Chrome Plated Radiator Valve plus Reducer | EA
Radiators | Manual Radiator Valve | 15mm Angled White Lockshield, Chrome Plated Radiator Valve | EA
Radiators | Manual Radiator Valve | 15mm Straight White Lockshield, Chrome Plated Valve | EA
Radiators | Manual Radiator Valve | 15mm Angled White Lockshield, Drain Off Chrome Plated Radiator Valve 3/4 Nut | EA
Radiators | Manual Radiator Valve | 15mm Chrome Radiator Draw-off Tail Piece | EA
Radiators | Towel Rail Valves | Chrome Plated Column Straight Towel Rail Radiator Valve (pair) | EA
Radiators | Towel Rail Valves | Chrome Plated Column Angled Towel Rail Radiator Valve (pair) | EA
Radiators | Ecocal TRVs | 8mm Angled Body TRV | EA
Radiators | Ecocal TRVs | 10mm Angled Body TRV | EA
Radiators | Ecocal TRVs | 15mm Angled Body TRV | EA
Radiators | Ecocal TRVs | 15mm Straight Body TRV | EA
Radiators | Ecocal TRVs | 15 x 10mm Push Fit Stem Elbows (pair) | EA
Radiators | Radiator Valves | 8mm Angled Valve, Wheel Head and Lockshield | EA
Radiators | Radiator Valves | 10mm Angled Valve, Wheel Head and Lockshield | EA
Radiators | Radiator Valves | 15mm Angled Valve, Wheel Head and Lockshield | EA
Radiators | Radiator Valves | 10mm Straight Valve, Wheel Head and Lockshield | EA
Radiators | Radiator Valves | 15mm Straight Valve, Wheel Head and Lockshield | EA
Radiators | Radiator Valves | Radiator Drain Off Tail Piece | EA
Radiators | Radiator Pipe Seals | Radiator Pipe Guide and Seal | EA
Radiators | Radiator Pipe Seals | Radiator Face Fix Pipe Guide and Seal | EA
Total |  |  |  | 0 | 0 | 0
Ventilation | Timers | 4 inch Fan Timer | EA
Ventilation | Timers | 4 inch Fan Humidity | EA
Ventilation | Timers | 4 inch Fan Shower Kit Timer | EA
Ventilation | Timers | 4 inch Fan Shower Kit Timer and Light (includes chrome and white bezel) | EA
Ventilation | Ducting | 100mm x 3m Ducting PVC Flexible White | EA
Ventilation | Ducting | 100mm x 1.5m Ducting Aluminium Flexible | EA
Ventilation | Ducting | 100mm x 3m Ducting Aluminium Flexible | EA
Ventilation | Ducting | 100mm Rectangular Flexible Ducting 3m | EA
Ventilation | Ducting | 50 / 110mm Ducting Clips (pair) | EA
Ventilation | Ducting | Flat Channel 1.0m 110 x 54mm | EA
Ventilation | Vents | Cooker Hood Vent Kit | EA
Ventilation | Vents | 4 inch Self Close Vent Brown or white | EA
Ventilation | Vents | 4 inch Fixed External Vent Brown or white | EA
Ventilation | Fans | 100mm / 4 Standard Fan Blister Pack | EA
Ventilation | Fans | 150mm / 6 Standard Fan Blister Pack | EA
Ventilation | Fans | 150mm / 6 Timer Fan Blister Pack | EA
Ventilation | Fans | 100mm / 4 Centrifugal Timer Fan Blister Pack | EA
Ventilation | Fans | 6 inch Fan Pull Cord | EA
Ventilation | Fans | 100mm RTDeco Timer Fan - Chrome | EA
Ventilation | Fans | 4 inch Fan Pull Cord | EA
Ventilation | Connectors | Flat Channel Connector 110 x 54mm | EA
Ventilation | Connectors | Elbow Connector 90 degrees 110 x 54mm | EA
Ventilation | Connectors | 100mm Round Pipe Connector | EA
Ventilation | Bends | Elbow Bend 90 degrees 110 x 54mm | EA
Ventilation | Bends | Horizontal Bend 90 degrees 110 x 54mm | EA
Ventilation | Bends | Vertical Bend 90 degrees 110 x 54mm | EA
Ventilation | Adaptors | Short Round to Rectangular Adaptor 110 x 54mm | EA
Ventilation | Adaptors | Round Wall Plate | EA
Total |  |  |  | 0 | 0 | 0
Air Vents and Air Bricks | Airbricks | 9 x 3 Combination Airbrick White | EA
Air Vents and Air Bricks | Airbricks | 9 x 3 Airbrick Terracotta | EA
Air Vents and Air Bricks | Airbricks | 9 x 3 Airbrick Brown | EA
Air Vents and Air Bricks | Airbricks | 9 x 3 Airbrick Buff | EA
Air Vents and Air Bricks | Airbricks | 9 x 3 Airbrick Blue / Black | EA
Air Vents and Air Bricks | Flood Defence | Airbrick Flood Defence Terracotta | EA
Air Vents and Air Bricks | Flood Defence | Airbrick Flood Defence Buff | EA
Air Vents and Air Bricks | Flood Defence | Airbrick Flood Defence Brown | EA
Air Vents and Air Bricks | Air Vents | 3mm Brass Radiator Air Vent | EA
Air Vents and Air Bricks | Air Vents | 0.5 inch Brass Radiator Air Vent | EA
Air Vents and Air Bricks | Air Vents | 0.5 inch Automatic Bottle Trap Air Vent | EA
Air Vents and Air Bricks | Automatic Air Vents | 3/8 inch Robocol 4 Bar and Check Valve | EA
Air Vents and Air Bricks | Automatic Air Vents | 3/8 inch Robocol 6 Bar | EA
Air Vents and Air Bricks | Automatic Air Vents | 15mm Robocal Auto Air Vent | EA
Air Vents and Air Bricks | Automatic Air Vents | 3/8 inch Minical Auto Air Vent | EA
Air Vents and Air Bricks | Core Drill Vents | 5 inch Core Drill Vent Brown | EA
Air Vents and Air Bricks | Core Drill Vents | 5 inch Core Drill Vent Terracotta | EA
Air Vents and Air Bricks | Core Drill Vents | 5 inch Core Drill Vent White | EA
Air Vents and Air Bricks | Soffit Vents | Circular Soffit Vent Brown 2.15mm2 | EA
Air Vents and Air Bricks | Soffit Vents | Circular Soffit Vent White 2.15mm2 | EA
Total |  |  |  | 0 | 0 | 0
Timers and Programmers | Switch | LP111Si Electronic Time Switch | EA
Timers and Programmers | Switch | LP111 24 Hour Time Switch | EA
Timers and Programmers | Switch | LP711Si Electronic Time Switch | EA
Timers and Programmers | Switch | LP711 7 Day Time Switch | EA
Timers and Programmers | Clock | SM1 Single Channel Mechanical Time Clock | EA
Timers and Programmers | Clock | SM2 Two Channel Mechanical Time Clock | EA
Timers and Programmers | Programmers | LP112 24 Hour Programmer | EA
Timers and Programmers | Programmers | LP241 24 Hour Programmer | EA
Timers and Programmers | Programmers | LP241Si Electronic Programmer | EA
Timers and Programmers | Programmers | LP522 5/2 Day Programmer | EA
Timers and Programmers | Programmers | LP522Si Electronic Programmer | EA
Timers and Programmers | Programmers | LP722 7 Day Programmer | EA
Timers and Programmers | Programmers | LP722Si Electronic Programmer | EA
Timers and Programmers | Programmers | ST9400A 1 Day 2 Channel Programmer | EA
Timers and Programmers | Programmers | ST9400C 7 Day 2 Channel Programmer | EA
Timers and Programmers | Programmers | ST9400S 1 Day 2 Channel Service Programmer | EA
Timers and Programmers | Programmers | ST9500C 7 Day 2 Zone Programmer | EA
Timers and Programmers | Programmers | ST699 24 Hour Programmer | EA
Timers and Programmers | Timers | ST9100A 1 Day Timer | EA
Timers and Programmers | Timers | ST9100C 7 Day Timer | EA
Timers and Programmers | Timers | ST9100S 1 Day Service Timer | EA
Total |  |  |  | 0 | 0 | 0
Motorised Valves | Two Port | 22mm 2 Port Valve | EA
Motorised Valves | Two Port | 28mm 2 Port Valve | EA
Motorised Valves | Two Port | ECO 22mm 2-port Zone Valve | EA
Motorised Valves | Two Port | ECO 28mm 2-port Zone Valve | EA
Motorised Valves | Three Port | 22mm 3 Port Valve Mid Position | EA
Motorised Valves | Three Port | 28mm 3 Port Valve Mid Position | EA
Motorised Valves | Three Port | ECO 22mm 3-port Mid-position Valve | EA
Motorised Valves | Actuators | Actuator for A2PV28 | EA
Motorised Valves | Actuators | Actuator for A3PV/A3PV28 | EA
Motorised Valves | Actuators | Drayton 22mm Angle Auto Bypass Valve | EA
Motorised Valves | Wiring Components | LWC3 Junction Box | EA
Motorised Valves | Wiring Components | LWC1 Wiring Centre | EA
Total |  |  |  | 0 | 0 | 0
Room Thermostats | Programmable | DT90 Digital Eco Room Thermostat | EA
Room Thermostats | Programmable | CMT707 7 Day Programmable Room Thermostat | EA
Room Thermostats | Programmable | CMT901 24 Hour Programmable Room Thermostat | EA
Room Thermostats | Programmable | CMT907 7 Day Programmable Room Thermostat | EA
Room Thermostats | Programmable | Room Thermostat 240V 10A T6360B1028 | EA
Room Thermostats | Programmable | Honeywell CMT727 7 Day Programmable Room Thermostat | EA
Room Thermostats | Programmable | RTS1 240V Room Thermostat | EA
Room Thermostats | Programmable | RTS2 240V Room Thermostat with LED Indicator | EA
Room Thermostats | Programmable | RTS4 Volt Free Room Thermostat | EA
Room Thermostats | Programmable | Digistat Plus 7 Day Programmable Room Thermostat | EA
Room Thermostats | Programmable | Drayton Wiser Room Thermostat | EA
Room Thermostats | Wireless | RET2000B-RF + RX1-S RF Thermostat Set | EA
Room Thermostats | Wireless | TP5000Si RF and RX1 Boxed Set | EA
Room Thermostats | Wireless | RX-1 Single Channel Receiver | EA
Room Thermostats | Wireless | RX-2 Two Channel Receiver (1 x SPDT and 1 x SPST) | EA
Room Thermostats | Wireless | RX-3 Three Channel Receiver | EA
Room Thermostats | Wireless | HCW80 Wireless Analogue Room Thermostat | EA
Room Thermostats | Wireless | CMT921 24 Hour Wireless Programmable Room Thermostat with XL Backlit Display | EA
Room Thermostats | Wireless | CMT927 7 Day Wireless Programmable Room Thermostat with XL Backlit Display | EA
Room Thermostats | Wireless | DT92 Wireless Digital Eco Room Thermostat | EA
Room Thermostats | Wireless | Honeywell Single Zone Thermostat Y87RF2024 | EA
Room Thermostats | Wireless | RDH10RF Electronic Wireless Room Thermostat | EA
Room Thermostats | Wireless | RDJ10RF Wireless Programmable Room Thermostat | EA
Room Thermostats | Wireless | Digistat Plus 2 RF 24 Hour Room Thermostat and SCR | EA
Room Thermostats | Wireless | Digistat Plus 3 RF 7 Day Room Thermostat and SCR | EA
Room Thermostats | Wireless | Drayton Digistat Plus RF710 Wireless Room Thermostat | EA
Room Thermostats | Frost Thermostats | L641A Cylinder Thermostat | EA
Room Thermostats | Frost Thermostats | T4360A Frost Thermostat 40-80°C | EA
Room Thermostats | Frost Thermostats | L641B Pipe Thermostat 2-40°C | EA
Room Thermostats | Frost Thermostats | HTS3 Cylinder Thermostat | EA
Room Thermostats | Frost Thermostats | RTS3 Frost Thermostat | EA
Room Thermostats | Frost Thermostats | PTS1 Strap On Pipe / Frost Thermostat | EA
Room Thermostats | Frost Thermostats | Digistat Plus RF Cylinder Thermostat, SCR and External Sensor | EA
Room Thermostats | Frost Thermostats | ATC Cylinder Thermostat 20-90°C | EA
Room Thermostats | Frost Thermostats | RET230FS Electronic 5-10°C Frost Thermostat | EA
Room Thermostats | Frost Thermostats | ATF Frost Thermostat | EA
Total |  |  |  | 0 | 0 | 0
Pumps | Pumps | Alpha 2L Pump 15/50 | EA
Pumps | Pumps | Alpha 2L Pump 15/60 | EA
Pumps | Pumps | UPS 2 A Rated Pump 15-50/60 | EA
Pumps | Pumps | UPS 15-50N 130 Stainless Steel | EA
Pumps | Pumps | UP 20-30N 150 | EA
Pumps | Pumps | KP 150-A1 5m | EA
Pumps | Pumps | UPS 20-XX 1 1/4 BSPF Union Set | EA
Pumps | Pumps | Conlift1 Condensate Pump | EA
Pumps | Pumps | Home Booster Pump MD300200 | EA
Pumps | Pumps | Magna1 25-60 Pump 97924154 | EA
Pumps | Pumps | 25/1-5-130 Pump | EA
Pumps | Pumps | 25/1-6-130 Pump | EA
Pumps | Pumps | Central Heating Pump | EA
Pumps | Pumps | Bronze Pump including Unions | EA
Pumps | Pumps | HE Circulating Pump | EA
Pumps | Pumps | CP60 HE Circulating Pump | EA
Pumps | Pressure Release Valve | 1/2 Pressure Relief Valve 3Bar | EA
Total |  |  |  | 0 | 0 | 0
Sprays and Smokes | Pipe Freezing | Professional 8-22mm Kit | EA
Sprays and Smokes | Pipe Freezing | Commercial 8-35mm Kit | EA
Sprays and Smokes | Pipe Freezing | Spray Refill 700g | EA
Sprays and Smokes | Pipe Freezing | Spray Freezer Kit | EA
Sprays and Smokes | Pipe Freezing | Trade Starter Kit | EA
Sprays and Smokes | Pipe Freezing | Spray Jumbo Can 415ml | EA
Sprays and Smokes | Pipe Freezing | Spray Regular Can 205ml | EA
Sprays and Smokes | Pipe Freezing | Freezing Jacket | EA
Sprays and Smokes | Pipe Freezing | Spray Freezing Kit 8-35mm | EA
Sprays and Smokes | Smoke Products | Smoke Pellets 6 x 13g | EA
Sprays and Smokes | Smoke Products | Encapsulated Smoke Pellets 10 x 5g | EA
Sprays and Smokes | Smoke Products | Encapsulated Smoke Pellets 10 x 8g | EA
Sprays and Smokes | Smoke Products | Smoke Matches (12 box) | EA
Sprays and Smokes | Smoke Products | Smoke Matches (25 box) | EA
Sprays and Smokes | Smoke Products | Smoke Pellets 6 x 13g Red | EA
Sprays and Smokes | Service Sprays | Gas Detector and Brush 250ml | EA
Sprays and Smokes | Service Sprays | Gas Leak Detector Spray 400ml | EA
Sprays and Smokes | Service Sprays | Air Duster 150ml | EA
Sprays and Smokes | Service Sprays | Crack It Aerosol 400ml | EA
Total |  |  |  | 0 | 0 | 0
Soldering and Tapes | Gas Safety Pad | UK Gas Safety Certification Pad | EA
Soldering and Tapes | Solder Wire | 500g Lead Solder Wire | EA
Soldering and Tapes | Solder Wire | 500g Lead Free Solder Wire | EA
Soldering and Tapes | Solder Wire | 0.45kg Steel Wool Bundle | EA
Soldering and Tapes | Tape | 2.8m x 50mm Closure Plated Tape | EA
Soldering and Tapes | Tape | Gas On / Off Tape 38mm x 33m | EA
Soldering and Tapes | PTFE | 12mm x 12m | EA
Soldering and Tapes | PTFE | For Gas 12mm x 5m | EA
Total |  |  |  | 0 | 0 | 0
Cements and Compounds | Fire Cement | 500g Neutral Fire Cement | EA
Cements and Compounds | Fire Cement | 1kg Neutral Fire Cement | EA
Cements and Compounds | Fire Cement | 2kg Neutral Fire Cement | EA
Cements and Compounds | Fire Cement | 5kg Neutral Fire Cement | EA
Cements and Compounds | Rapid Cement | 3kg | EA
Cements and Compounds | Rapid Cement | 6kg | EA
Cements and Compounds | Plumbers Mait | Plumber's Mait 750g | EA
Cements and Compounds | Plumbers Mait | Plumber's Mait 1.5kg | EA
Cements and Compounds | Flux and Jointing Compounds | Flux 100g | EA
Cements and Compounds | Flux and Jointing Compounds | Flux 225g | EA
Cements and Compounds | Flux and Jointing Compounds | Flux 450g | EA
Cements and Compounds | Flux and Jointing Compounds | Flux 350g | EA
Cements and Compounds | Flux and Jointing Compounds | White Compound 200g | EA
Cements and Compounds | Flux and Jointing Compounds | White Compound 400g | EA
Cements and Compounds | Flux and Jointing Compounds | White Pipe Jointing Compound 400g | EA
Cements and Compounds | Flux and Jointing Compounds | Everflux Large 250ml | EA
Total |  |  |  | 0 | 0 | 0

## Evaluation
RM6157 Building Materials and Equipment: Evalaution
Click to return to Index Page
Organisation Name |  | 0
Key
This is atomatically calculated from your prices in Core Rates and will form your basket price used in the price evalaution at paragraph 12 of Attachment 2 - How to bid
Category | Total Price | Weighting (%) | Total Price to be evaluated (weighted)
Copper Tube | 0 | 4% | 0
Endfeed | 0 | 4% | 0
Couplings | 0 | 4% | 0
Elbows and Tees | 0 | 4% | 0
Compression | 0 | 3% | 0
Ends and Connectors | 0 | 3% | 0
Valves | 0 | 3% | 0
Tap Connections | 0 | 3% | 0
Hexagon | 0 | 3% | 0
Brassware | 0 | 3% | 0
Gas | 0 | 3% | 0
Washing Machine Accessories | 0 | 3% | 0
Stopcocks and Meters | 0 | 3% | 0
Olives, Washers and Spares | 0 | 2% | 0
Pipe Collars and Clips | 0 | 3% | 0
Hep 20 | 0 | 3% | 0
Speedfit | 0 | 3% | 0
Pipes | 0 | 2% | 0
Cisterns | 0 | 3% | 0
Boilers and Accessories | 0 | 3% | 0
Flues and Accessories | 0 | 2% | 0
Water Heaters | 0 | 3% | 0
Chemicals | 0 | 2% | 0
Immersion Heaters | 0 | 3% | 0
Convectors | 0 | 3% | 0
Radiators | 0 | 3% | 0
Ventilation | 0 | 2% | 0
Air Vents and Air Bricks | 0 | 2% | 0
Timers and Programmers | 0 | 2% | 0
Motorised Valves | 0 | 3% | 0
Room Thermostats | 0 | 3% | 0
Pumps | 0 | 3% | 0
Sprays and Smokes | 0 | 3% | 0
Soldering and Tapes | 0 | 2% | 0
Cements and Compounds | 0 | 2% | 0
Basket Price |  |  | 0

## Non-Core Rates
RM6157 Building Materials and Equipment: Non - Core Rates
Click to return to Index Page
Organisation Name |  | 0
Key
Please COMPLETE all cells shaded BLUE. The figures entered into the BLUE cells WILL NOT BE EVALUATED. If you are successful, the figures submitted in the BLUE cells will be the minimum % discount that will be applied to all further competitions through this framework agreement
Category | Discount Please note: This is the minimum % discount that will be applied to all further competitions through this framework agreement.
Copper Tube
Endfeed
Couplings
Elbows and Tees
Compression
Ends and Connectors
Valves
Tap Connections
Hexagon
Brassware
Gas
Washing Machine Accessories
Stopcocks and Meters
Olives, Washers and Spares
Pipe Collars and Clips
Hep 20
Speedfit
Pipes
Cisterns
Boilers and Accessories
Flues and Accessories
Water Heaters
Chemicals
Immersion Heaters
Convectors
Radiators
Ventilation
Air Vents and Air Bricks
Timers and Programmers
Motorised Valves
Room Thermostats
Pumps
Sprays and Smokes
Soldering and Tapes
Cements and Compounds