Preliminaries/Contract Particulars

RESPONSIVE GLAZING FRAMEWORK 2019/2023

Contents

A10 Project Particulars	5

Name, nature and location	5

Names and addresses of Employer and Consultants	5

A11 Tender and Contract Documents	6

List of drawings/other documents	6

A12 The Site/Existing Buildings	6

Existing buildings on or adjacent to the site	6

Existing mains/services	6

A13 Description of the Works	6

Description of the works	6

A20 The Contract	7

Form of Contract	7

Schedule of clause headings of standard conditions	7

Recitals	7

Articles	7

Contract Particulars	7

A30 Tendering/Sub-Letting/Supply	8

Site Visit/Inspection	8

General	8

Materials	9

Providing Labour	9

Assignment or Sub-letting	9

Acceptance of Tender	10

National Insurance Acts etc.	10

A31 PROVISION, CONTENT AND USE OF DOCUMENTS	10

Pricing Schedules	10

Statutory Approvals	10

A32 MANAGEMENT OF THE WORKS	10

Supervision	10

Progress meetings	10

Access for Gentoo’s Maintenance Provider	11

Works by Public Bodies	11

Decanting	11

Leaseholders	11

A33 QUALITY STANDARDS/CONTROL	11

Generally	11

Code of Conduct	11

Best Practice	12

Samples	12

Access for Inspection	12

Tests	12

Rectifying Defects	12

Consents/Comments	13

Defects Liability Period	13

Quality	13

Records	14

A34 SECURITY/SAFETY/PROTECTION	14

Noise and Pollution Control	14

Prevention of Pollution of Watercourses	15

Access, Work in and Maintenance of Adjoining Properties	15

Maintaining public and private roads, footpaths and landscaped areas	15

Keeping Clean Carriageway and Footpaths	16

Opening Public Roads and Footpaths	16

Crossings at Public Footpaths	16

Maintenance of Existing Live Services (Public & Private)	16

Gas installation requirements	16

Maintain live services - Special requirements in relation to NEDL	16

Special requirements in relation to British Telecommunications and cable companies	18

Installation of Services	18

Site Administration and Security	18

Trespass and Nuisance	19

Safeguarding the Works	19

Watching and Lighting	19

Protection of Persons and Property	19

Protection of the Works	20

Minimising Hazards	20

Prevention of Damage	20

Protection of work in all sections	20

Protecting the works from inclement weather	20

Insurance Claims	21

Customer’s Claims against the Provider	21

Safety, Health and Welfare of Work People	21

Safety, Health and Welfare of Work People and Members of the Public	22

The Health and Safety at Work Act 1974	23

Regulations made under the CDM 2015	23

Occupancy Status	24

Identification of Provider's Personnel	24

Dress Code	25

Work in Occupied Properties	25

Protection of Customers, Visitors, Gentoo Staff	26

Provider's Use of Sanitary Facilities Etc.	26

Construction (Design and Management) Regulation 2015 (CDM)	26

A35 SPECIFIC LIMITATIONS ON METHOD/SEQUENCE/TIMING/USE OF SITE	27

Design limitations	27

Method and sequence of work	27

Uninterrupted Sequence	27

Disturbance of Decoration	27

Possession	28

Site Access	28

Working Space	28

Disposal of Materials and Cleaning	28

Asbestos	29

Working Hours	29

Overtime	29

Access and Abortive Visits	30

Photographs	30

Visitors	30

Police Regulations	30

A36 FACILITIES/TEMPORARY WORKS/SERVICES	31

Provider’s Company Identification Sign Board and Emergency Contact Number	31

# A10 Project Particulars

## Name, nature and location

Name:

Gentoo Repairs & Maintenance – Responsive Glazing Framework.

Nature:

To assist Gentoo with its re-glazing of windows where required.

Location:

Various – within the city boundaries of Sunderland, Houghton, Hetton and Washington.

## Names and addresses of Employer and Consultants

Client:

Gentoo Group Ltd

Emperor House, 2 Emperor Way,

Doxford International Business Park

Sunderland, SR3 3XR

Principal Provider:

To be appointed

Contract Administrator:

Gentoo Group Ltd

Emperor House, 2 Emperor Way,

Doxford International Business Park

Sunderland, SR3 3XR

Quantity Surveyor:

Gentoo Group

Emperor House, 2 Emperor Way,

Doxford International Business Park

Sunderland, SR3 3XR

Principal Designer:

Gentoo Group

Emperor House, 2 Emperor Way,

Doxford International Business Park

Sunderland, SR3 3XR

# A11 Tender and Contract Documents

## List of drawings/other documents

All relevant drawings and Contract documentation relating to the Contract can be found within the Tender documents and are as listed within the Invitation to Tender.

The Provider shall be held to have examined all documents comprised within the Tender pack and shall also be held to have examined and satisfied themselves with all documents and Contract Terms.

# A12 The Site/Existing Buildings

The Contract Area

The contract addresses will vary throughout the course of the programme and Providers will need to be prepared to travel to those areas to complete the works.

## Existing buildings on or adjacent to the site

The works may be carried out to existing properties which will be occupied throughout the works.

## Existing mains/services

Most properties will be in occupation throughout the works, all existing mains and services will be live. If damage is caused to any other services as a result of the works, the Provider will ensure any repairs required are carried out quickly and at no cost to the Client.

# A13 Description of the Works

## Description of the works

This Tender requires the Provider to deliver re-glazing works to Gentoo properties. The works will be issued via the Gentoo Repairs & Maintenance section and will be to repair or replace glazing which has become damaged/broken for varying reasons. The works will most likely be issued on a “per property” basis as and when the damage occurs and is required to be rectified. In addition to the glazing, in certain circumstances the Provider will be required to board up/make safe the window until the replacement glazed unit can be fitted. However, as described within the ITT document, this requirement will be unlikely, if at all as most out of hours work will be completed by Gentoo’s own workforce.

The works are to be delivered and priced according to the following two categories:

- Emergency Repairs –The replacement glazing unit should be fitted within no more than 5 working days.

- Routine repairs - The replacement glazing unit should be fitted within no more than 14 calendar days.

In addition to the above, the successful tenderer will also be required to;

- Provide adequate site facilities for themselves if necessary.

- To provide all liaison with affected customers and adjoining owner occupiers if required.

- Ensuring disturbance is minimised to adjoining owner occupied properties.

- Any and all access requirements to install the new glazed unit at any height.

# A20 The Contract

## Form of Contract

The Contract being utilised on this scheme will be the JCT Measured Term Contract (JCT/MTC, 2016) and supplemented by the JCT Framework Agreement 2016, both issued by the Joint Contracts Tribunal (JCT).

## Schedule of clause headings of standard conditions

### Recitals

First recital:

Varying areas of Sunderland, Houghton, Hetton and Washington.

### Articles

Articles 3 – 5:

As per section A10

Article 7:

Applies

## Contract Particulars

| Clause/Recital/ Article | Title | Particular |
| --- | --- | --- |
| 1.1 | List of the properties in the contract area in respect of which orders may be issued: | Various – all within Sunderland, Houghton, Hetton and Washington |
| 1.2 | Description of the types of work for which orders may be issued: | Glazing. |
| 2 | Supplemental Provisions: | Provisions 1, 2, 3, 4 and 6 apply (nominee: TBA), provision 5 does not. |
| 3 | Contract Period | 4 Years and 0 months, commencing on: 04/03/2019 |
| 5 | BIM Protocol | N/A |
| 6 | Orders: minimum and maximum value: | Minimum: £50 per order Maximum: £5,000 per order |
| 7 | Orders – Value of work to be carried out. | £60,000 per annum (Provisional) – this is an assumed amount based upon the value of work completed within previous years. It is not necessarily representative of the amount that will be issued within upcoming years. |
| 8 | Orders – Priority Coding | Emergency Repairs – Within 5 working days of instruction. Routine Repairs – Within 14 calendar days of instruction. |
| 9 | Construction Industry Scheme | The Employer at the commencement of the contract period is a Provider for the purposes of the CIS. |
| 10 | Payments – Estimated payment order value | £300 per order. (Provisional) Multiple orders to be issued over the year. |
|  | Payments – Valuation Dates | Last day of each month (Provisional) – Dates to be agreed but will occur on a monthly basis and in accordance with Gentoo’s accounting calendar. |
| 11 | Responsibility for measurement and valuation | The Contract Administrator shall measure and value all orders in conjunction with the Provider. |
| 12.1 | Schedule of rates | The schedule of rates is the National Schedule of Rates and the extra over schedule. The percentage adjustment is as per the tendered documents. |
| 12.3 | Rates – fluctuations | Applies – fluctuations will be reviewed in line with CPI increases, annually. |
| 13.1/2 | Dayworks | Not applicable, all rates will be pre-agreed. |
| 14 | Overtime work | Does not apply. |
| 15.1 | Insurance – Public Liability | Not less than £1,000,000 |
| 15.2 | Insurance – to cover professional fees | N/A |
| 15.3 | Insurance – of existing structures | N/A - Insurance of existing structures the responsibility of customer. |
| 15.4 | Insurance – of works | Does not apply |
| 15.6 | Insurance – terrorism cover | Does not apply |
| 16 | Break provisions – Period of notice | 13 weeks |
| 17 | Settlement of disputes – Arbitration | President of RICS |

# A30 Tendering/Sub-Letting/Supply

## Site Visit/Inspection

The Provider will allow for any local conditions and accessibility of the Site, the positions of available services etc., the full extent and nature of the works, the supply of and conditions affecting labour and materials.  No claim on the grounds of want of knowledge in such respects will be entertained.  The Provider shall make their own arrangements to view existing properties after obtaining written authority to view from the Client.

The Provider must in their tender include for all costs associated with providing and maintaining access and making good any work disturbed to match existing.

## General

All works to conform to relevant British Standards and Codes of Practice.

The positioning of skips is to be agreed with the Contract Administrator before any work commences.  No skips are to be left on site overnight or at weekends unless these are of a lockable type and agreement in writing is given by the Client.

## Materials

The Provider shall supply all materials that may be required for the works (except those materials specified to be supplied by the Client under direct purchase arrangements).  The materials shall be new (unless otherwise specified) and shall be the best procurable of their respective kinds.  All goods and materials, (unless otherwise specified), shall be in accordance with the latest relevant revised British Standards and Codes of Practice current at the date of tendering.

Where an appropriate British Standard Specification or British Standard Code of Practice issued by the British Standards Institution is current, all goods used or supplied and all workmanship shall, as a minimum requirement, be in accordance with that Standard, or a Standard recognised by another Member State of the European Community or an International Standard offering equivalent guarantees of safety, fitness for purpose and reliability, without prejudice to any higher standard required by the Measured Term Contract.

## Providing Labour

The Provider shall allow for providing all labour to complete the works in accordance with Gentoo’s instructions and for all necessary incentives and bonuses to maintain an adequate labour force.  All operations recognised as requiring to be carried out by time served trades persons shall be carried out by persons qualified to a minimum NVQ Level 3 or City and Guilds equivalent.

The employment of Sub-Providers is acceptable, but subject to the approval of the Contract Administrator and in the event of circumstances necessitating a change of any particular Sub-Provider, such change may only be made with the prior written approval of the Contract Administrator and in accordance with the Measured Term Contract.

## Assignment or Sub-letting

The Measured Term Contract, or any part thereof, shall not be assigned or sub-let without the express written permission of the Contract Administrator.  In the event of the Provider desiring to assign or sub-let any part thereof he shall notify the Contract Administrator of their wish to do so within seven days of the provisional acceptance of their Tender, and at the same time, forward the names of the Sub-Providers and define the particular sections of work. If the Contract Administrator does not approve of the names submitted, the Provider shall submit others.

The Provider must include for all "general attendance" (e.g. office and storage facilities, clearing away rubbish etc.), as later defined and also for all "special attendance" (e.g. special scaffolding and plant, unloading, providing power etc.), which the Sub-Providers may require.

The Provider will be held responsible for any Sub-Provider he is allowed to employ and will be required to settle accounts with them as they will not be acknowledged at the final settlement, even though for convenience measurements may be taken with them at the discretion of the Contract Administrator.

## Acceptance of Tender

The Client does not bind itself to accept the lowest or any tender, nor will any payment be made for the preparation of tenders.

## National Insurance Acts etc.

The Provider shall allow for all and any payments to be made arising under the National Insurance Acts, the Graduated Pensions Scheme, Redundancy Payments and Training Board Levy, including all and any amendments thereto or any statutory modifications or re-enactments thereof and any other disbursements arising from the employment of labour.

# A31 PROVISION, CONTENT AND USE OF DOCUMENTS

## Pricing Schedules

The Provider is required to price and complete the Schedules of Work and incorporate them within their tender submission. Any items left unpriced will be deemed to be included unless stated otherwise.

All items within the Preliminaries should be priced accurately and in detail and will be held to be fully inclusive of adequate welfare, management, storage, temporary services, communication systems and all other items deemed necessary to deliver the works required and fully discharge all requirements of these Tender documents.

## Statutory Approvals

The Provider shall obtain all necessary statutory approvals and obtain any other consent required. The Provider shall pay all fees and charges in connection with applications, approvals, inspections and certificates and shall provide the Client with copies of all approvals and certificates within the Handover Pack.

# A32 MANAGEMENT OF THE WORKS

## Supervision

The Provider is responsible for co-ordination, supervision and administration of the works, including all Sub-Providers and suppliers, local authorities and statutory undertakers. All work shall be carried out by or under the close supervision of experienced trade’s foremen skilled in the particular type of works.

## Progress meetings

Regular progress meetings are to be held between the successful Provider and Gentoo, where discussions will take place regarding cash flow, variations, timescales, performance and any other specific items. The frequency of the meetings will be subject to agreement with the Provider at pre-commencement stage.

The Progress Group will cover a range of topics, including but not limited to:

- Performance and workmanship, generally

- Dispute resolution

- Cost monitoring and forecasting

- Continuous improvements

- Risk management

- Customer engagement and liaison

A report will be issued by the Employer which will give an evaluation on performance, quality, and responsiveness to emergency repairs.

## Access for Gentoo’s Maintenance Provider

The Client’s Maintenance Provider has authorised access to the Site at all times. The Provider shall provide induction training to the Client’s Maintenance Provider should there be required by the Client.

## Works by Public Bodies

The Provider shall attend on and co-ordinate with the Statutory Authorities in the provision, connection and disconnection of services (including temporary services, if required).  Fees or charges by the Authorities will be paid by the Provider.

## Decanting

Gentoo intends for all work to be carried out whilst customers remain living in their property and no decanting will be permitted with the exception of those customers who may require short term respite due to medical conditions, etc. and Gentoo staff will arrange such services in partnership with the Provider. The Provider is therefore expected to make appropriate provision in the way that work is executed to ensure all utility services are maintained throughout the works or as agreed with Gentoo.

## Leaseholders

The Provider shall include for all costs associated with fulfilling Gentoo’s statutory obligations in consulting Leaseholders.

# A33 QUALITY STANDARDS/CONTROL

## Generally

Gentoo expects a high level of quality from its Providers together with a high level of Customer care.  Their means that the Provider must ensure: -

- All work is in accordance with the Tender documentation supplied.

- The correct materials are used and in accordance with the Specification.

- Operatives are trained to a high standard.

- Satisfactory site monitoring is carried out to maintain a high standard.

## Code of Conduct

Gentoo aims to provide a quality service to all customers at all times.  This includes not only the staff employed directly by the Group but those who carry out work on its behalf. The general aim is to make sure that every customer contact is a positive experience for all concerned and that people and their property are treated with courtesy and respect.  To help achieve this, a Code of Conduct for Providers has been developed and a copy is presented in the Tender Documents.  The Code of Conduct represents the minimum set of standards that are expected from all Provider’s employees to deliver and ensure good customer care.

## Best Practice

Materials, products and workmanship are to be suitable for the purposes of the works stated in or reasonably to be inferred from the Tender documents and in accordance with BS8000 and good building practice, including the relevant provisions of current Construction Products Regulations and BSI documents.

## Samples

Samples of proposed materials and workmanship shall, if required, by the Contract Administrator, be submitted for approval, and these samples will be retained by the Contract Administrator for the period of the Measured Term Contract.  The Contract Administrator shall have power to reject all such materials and condemn such workmanship as does not correspond with the approved samples.

All materials described as "approved" must be submitted to the Contract Administrator and their written approval obtained before incorporating same in works.

## Access for Inspection

The Client and Contract Administrator shall at all reasonable times have access to the works, workshops or other places of the Provider and their Sub-Providers and suppliers where works are being prepared for the Measured Term Contract.

## Tests

The Contract Administrator may whenever he considers it desirable, test any materials before they leave the maker's premises as well as after delivery on the site, and the Contract Administrator shall be at liberty to reject any materials after delivery should he consider then unsatisfactory, notwithstanding the preliminary test and approval of the materials at the maker's premises.  The cost of these tests is to be borne by the Provider.

When directed by the Contract Administrator, samples of materials (the samples being taken by approved sampling methods) are to be supplied and delivered by the Provider for laboratory tests at their own cost.  The Provider shall, whenever so instructed by the Contract Administrator cut out sections of work executed or samples of materials incorporated therein and shall deliver them where directed for the purpose of testing.  All work disturbed shall be made good forthwith by the Provider.  All costs incurred in cutting out, making good and delivering as aforesaid, shall be borne by the Provider unless the result of the test shows that the materials etc., are in accordance with the Measured Term Contract.

## Rectifying Defects

To ensure adherence to the Servicing Timetables, it will be necessary for the Provider to operate a quality control system of checking and rectifying all defects as the work proceeds.

Any defects in existing construction are to be reported to the Contract Administrator without delay. The Provider shall obtain instructions from the Contract Administrator before proceeding with works which may cover up or otherwise hinder access to the defective construction and before proceeding with work which may be rendered abortive by the carrying out of remedial works.

## Consents/Comments

All products, materials or work must be supplied and executed to comply with all other requirements of the Measured Term Building Contract and in respect of the stated or implied characteristics to exactly match a sample expressly consented to by the Contract Administrator as a standard for the purpose.

Inspection or any other action by the Contract Administrator shall not be taken as consent of materials, products or work unless the Contract Administrator expressly confirms their consent in writing, referring to:-

- date of inspection;

- part of the works inspected

- respect or characteristics which are consented to

- extent and purpose of the consent

- any associated conditions

All information required by the Contract Administrator from the Provider shall be promptly submitted to them for comment/approval. A period of 10 Working Days for approval is required by the Contract Administrator.

Any works undertaken without prior written approval shall be entirely at the Provider’s own risk.

## Defects Liability Period

The Provider shall make good defects arising in the Defects Liability Period in accordance with the Measured Term Contract.

In respect of each Property, the Defects Liability Period shall be twelve (12) months after the date of handover of the works in the Property.

The Provider shall make arrangements with the Contract Administrator for access to Properties for the purpose of making good defects, and shall inform the Contract Administrator when the remedial works are completed.

This is not withstanding any emergency repairs that are required to be carried out. Further details regarding these repairs and their timescales can be found within the Specification section of the Tender documents provided.

## Quality

The Contract Administrator shall reject any materials, component or work which do not conform to the design, or which is not of good quality, either in respect of materials or workmanship, does not reflect good practice, or is not in accordance with the Measured Term Contract.

As soon as possible after any part of the works is known or is suspected not to be of good quality, either in respect of materials or workmanship, or is not in accordance with the Measured Term Contract, the Provider shall submit proposals to the Contract Administrator for further testing, opening up, inspection, making good, removal and/or re-execution. Such proposals shall include method statements together with a detailed timetable for the remedial work to be undertaken.

During the progress of the works, the Contract Administrator shall have the right to issue a report on any material, component or work which, in the opinion of the Contract Administrator, does not comply with the Measured Term Contract. The Provider shall respond to the report within the time specified in the report, giving their proposals for rectification.

During the progress of the works, the Contract Administrator will monitor the works at regular intervals to check that the workmanship and materials are in accordance with the Measured Term Contract requirements.

## Records

Complete records shall be maintained by the Provider to ensure the works comply with the required quality standards. Such records shall include:-

- The element item, batch, or lot including location in the works

- The nature and dates of any tests, inspections, approvals or consents;

- The nature and extent of any non-conformity found;

- Details of corrective action.

Further information regarding on-site files and electronic records can be found within the specification.

# A34 SECURITY/SAFETY/PROTECTION

## Noise and Pollution Control

The Provider will be responsible for the control of noise, pollution and all other statutory obligations include ascertaining from City of Sunderland Council, what requirements or restrictions, if any, shall apply to the work in respect of Noise Control.  Any such restrictions may include the type of plant to be used, the methods of working to be adopted, the permissible hours of working and maximum permissible hours of working and maximum permissible noise levels.  No instruction issued by the Contract Administrator shall relieve the Provider from compliance with these requirements.

The Provider shall ensure that noise is reduced to a minimum by providing silencers for compressors and mufflers for drills, where required.  All other plant should be fitted with efficient silencers on exhaust systems.  The Provider’s attention is drawn to the Noise Abatement Act 1960 and the M.O.P.B. Works advisory leaflet No. 72 "Noise control on Building Sites".

## Prevention of Pollution of Watercourses

The Provider will be required to comply with all requirements with regard to prevention of pollution of watercourses.  The Provider should, therefore, satisfy themselves, as to what requirements or restrictions, if any, shall apply to the Measured Term Contract. No instruction issued by the Contract Administrator shall relieve the Provider from compliance with these requirements.

## Access, Work in and Maintenance of Adjoining Properties

The Provider shall take all reasonable precautions to prevent damage to adjoining properties houses and blocks or land owned by others, obtain permission as necessary from the owners if requiring to erect scaffolding on or otherwise use such adjoining properties and pay all charges, remove and make good on Order Completion or when directed, bear the cost of any damage arising from execution of the works and prevent trespass of workpeople.

The Provider shall give the Contract Administrator seven clear days’ notice in writing before executing any work to or affecting adjoining properties.

If the execution of works requires that workmen must enter adjoining properties owned by others, the Provider must make an appointment with the owners in accordance with a system approved by the Contract Administrator. If the Provider is unable to obtain permission for access to an adjoining property he is to inform the Contract Administrator and await their further instruction.

The Provider shall indemnify the Client against any claim or action for damages on account of any unauthorised access or other misconduct of employees. Subject to the procedures and constraints set out in the Measured Term Contract, the Provider will be given such access onto parts of the Site and Properties as may be necessary to execute the works.

## Maintaining public and private roads, footpaths and landscaped areas

The Provider shall not, without the written consent of the Contract Administrator cause any interference with the vehicular and pedestrian traffic flow along the public or other roads beyond the site boundaries and shall keep open, to the satisfaction of the Contract Administrator, all rights of way and access routes on and about the site.

The Provider shall not make use of any public or other roads or footpaths for deposition of or storing plant, equipment or materials other than such plant, equipment or materials as shall, from time to time, be required for immediate use on the several sections of the work.

The Provider shall be responsible for all damage to roads or streets (whether public or private) footpaths and grassed verges arising out of or in the course of or by reason of the execution of the works.  The Provider shall be responsible at all times for keeping roads or streets immediately adjacent to the site of the works free from mud, dirt, rubbish etc., arising as aforesaid and for the observance of any bye-law or regulation imposed by a competent authority requiring roads or streets to be kept free from mud, dirt, rubbish etc.

The Provider shall take all reasonable care when executing work to avoid unnecessary disturbance and damage to the gardens, hedges, fences, outbuildings and alike and shall make good at their own expense any damage caused.

Should the Provider after due warning be in default in any way in relation to the above, the Employer will make the necessary arrangements to rectify the situation and will recover the expense thereof from the Provider.

## Keeping Clean Carriageway and Footpaths

Every effort must be made to prevent excessive and undue depositing of excavated material on existing and completed or partly completed carriageways and footpaths or fouling of such surfaces in any way as a result of the works. The Provider shall at their own expense remove all such deposited material as often as may be required by the Contract Administrator's requirements regarding such cleaning up the Contract Administrator will arrange for the work to be carried out and the Provider shall bear the full cost thereof.

## Opening Public Roads and Footpaths

The Provider must allow for obtaining permission from City of Sunderland Council to open public roads and footpaths.  All temporary reinstatement to be in accordance with the detailed requirements of the above Authority.

## Crossings at Public Footpaths

The Provider must allow for obtaining permission from City of Sunderland Council to form crossings at public footpaths at designated points to allow access for plant, etc., and for constructing and later reinstating crossing points, all in accordance with detailed requirements of the above Authority.

## Maintenance of Existing Live Services (Public & Private)

The Provider shall be held responsible for ensuring that no damage is caused to any existing pipes, ducts, sewers, gas, water and electricity service mains or installations, telephone cables and overhead cables by any of their own labour force or those of any Sub Provider. Any such damage shall be reported immediately and the necessary repairs carried out entirely at the Provider's expense.  Before commencing site operations, the Provider should ascertain from the utilities boards concerned the position of all service mains and cables and take any other steps which will minimise the risks of damage.

Gas installation requirements: -

- All Providers and sub-Providers dealing with works involving gas are to be GAS SAFE registered.

- All gas fitters arriving on site are to carry a GAS SAFE registration card complete with the competencies on the reverse of the card.

- A copy of the GAS SAFE card including the competencies on the reverse side of the card is to be kept on site.

- The gas fitters are only carrying out the type of work for which they are qualified to do on their registration card.

## Maintain live services - Special requirements in relation to NEDL

In these Special Requirements the following expressions shall have the meanings assigned to them:

- "Board" means the Central Electricity Generating Board and/or the Area Electricity Board(s)

- "Board's Engineer's means the District Manager of the Generating Board and/or the Area Board concerned or their nominated representative.

- "Plant or equipment" means any plant equipment gear machinery apparatus or appliance or any part thereof as defined in the Construction (General Provisions) Regulations 1961 and the Construction (Lifting Operations) Regulations 1961.

The work should be carried out to conform to the Requirements of the Health & Safety Executive Guidance Note No. G.S. 6 "Avoidance of Danger from Overhead Electric Cables" and the National Joint Utilities group document "Recommendations on the Avoidance of Danger from underground Electricity Cables".

Except under such restrictions as the Board's Engineer may impose for the safety of persons and the protection of property a distance of 15 metres shall be maintained at all times between any part of any plant or equipment or anything connected to such plant and equipment (e.g. the jib of a crane hoist rope load etc.) and any part of the Board's electric lines where these lines are carried on steel towers or a distance of 9 metres where the lines are carried out wood poles. Excavation spoil must not be dumped or accumulated so as to the cause infringement of these distances. The permission of the Board's engineers must be obtained in writing before plant or equipment is operated or work of any kind is carried out within the above distances.

The Provider shall give at least fourteen days’ notice to the Board’s Engineers of

the dates upon which it is intended to operate plant or equipment or carry out any

work for which permission has been given by the Board’s Engineers under the previous paragraph.  Such operations or work shall only be carried out in the presence of the Board’s Engineers unless notice shall have been obtained in writing from the Board’s Engineers that they do not require to be present.

In the event of the Board requiring work to be executed on the overhead electric

lines or supports during the period of the Measured Term Contract the Provider

shall afford all facilities to the Board or its Providers and the Provider shall

amend their programme of working to suit any and all requirements of the Board

during such period of working.

The Provider shall consult the Board's Engineers as early as possible and such

consultation shall not be less than fourteen days before it is proposed to

commence work to ascertain whether any underground electricity cables or

apparatus will be affected by the proposed work in which event the Provider

shall make all necessary arrangement with the Board's Engineer to safeguard the

cables or apparatus.

Work should not be carried out in the immediate vicinity of the overhead lines

during periods of poor visibility. If this is not reasonably practicable additional

precautions must be taken to ensure maintenance of the appropriate safety

clearance.

The above requirements will not relieve the Provider of any responsibility for taking every precaution to avoid risk to persons or damage to property including compliance with Regulation 44 (2) of the Construction (General Provisions) Regulations 1961.

In order to comply with the above requirements, the Provider should contact the following address:-

NEDL

Station Road

New Penshaw

Tyne and Wear

DH4 7LA

(01642 395000)

## Special requirements in relation to British Telecommunications and cable companies

- Before commencing any work or moving heavy plant or equipment over any portion of the site the Provider shall confirm details of British Telecommunications underground and overhead plant within the site with the appropriate Telephone Manager.

- Where such details show that the Provider's work or the movement of plant or equipment may endanger British Telecommunications plant the Provider must give the Telephone Manager adequate notice of the date on which it is intended to commence such work and engage BT to temporarily relocate the equipment before the works commence, and then re-fix on completion. The Provider shall ensure that British Telecommunications plant is protected from damage.

- In the event of a British Telecommunications marker being disturbed for any reason it shall only be replaced and installed in its former position by a competent British Telecommunications representative.

- The above requirements do not relieve the Provider of any of their obligations under the Measured Term Contract.

- The Provider shall allow for all necessary removal/reinstatement of British Telecommunications or Cable Company cables/apparatus to allow the work to be carried out.

## Installation of Services

The Gas Safety Regulations 1972 and the Gas Safety (Installation and Use) Regulations 1984 and the Gas Safety (Installation and Use) (Amendment) Regulations 1990

The Provider shall ensure that any work carried out on the fabric or existing gas installation shall not adversely affect the gas appliances/gas fittings already installed with special reference to the following: -

- Flue systems/chimney heads etc.

- Gas carcass/gas meter position.

- Existing gas fires/catchment areas.

- Existing gas domestic appliances.

## Site Administration and Security

Before the Date of Possession, the Provider shall notify the Community Involvement Branch of the local Police Station of the timing, duration and nature of the works and if so requested by the Police, shall provide details of their security proposals.

The Provider will be responsible for the security of the works, products, materials, plant and any existing buildings affected by the works.

The Provider will be held to have allowed for the necessary measures required to prevent unauthorised access to the Site, the works and adjoining Properties.

## Trespass and Nuisance

All reasonable means and precautions shall be used to avoid inconveniencing adjoining owners and occupiers or any part of the premises which are not affected by the works.  No work staff employed on the works shall be allowed to trespass upon adjoining properties.  If the execution of the works require that work staff must enter upon adjoining property, the necessary permission shall be first obtained by the Provider who shall see that these instructions are carried out.  The Provider shall indemnify the Client against any claim or action for damages on account of any trespass or other misconduct of the Provider's employees. The Provider shall not obstruct any public way or otherwise do or suffer to be done anything which may amount to a nuisance or annoyance, and shall not interfere with the right of way or light to adjoining, and any notice received by them or left upon the sites requiring the discontinuance or suspension of any part of the works shall at once be forwarded by them to the Contract Administrator or, if given verbally, shall at once be communicated by them to the Contract Administrator in writing, and the Provider shall keep the Client indemnified against any claim or loss consequent upon any act, neglect or omission of the Provider or their agents, servants or workmen in their respect.

No vehicle or heavy plant will be allowed within the curtilage of the dwellings, nor upon any areas of adjoining dwellings.  The Provider shall confine their materials to the vicinity of the dwelling being repaired and shall not encroach on any other land owned by Gentoo without prior written permission.

## Safeguarding the Works

Safeguard the works, materials and plant against damage or theft for

the security of the works and the protection of the public.

## Watching and Lighting

The Provider shall provide all watching and lighting, where necessary, by day and night for the due protection and security of the works and of the public.

## Protection of Persons and Property

The Provider shall take all precautions to eliminate as far as possible the danger to the public and other persons arising from the entry and exit of vehicles to and from the sites.

The Provider shall take all necessary precautions, whilst carrying out the works, to ensure the safety of the general public, Customers, site staff, Contract Administrator, Gentoo staff and other persons likely to be affected by their operations. In particular the Provider shall comply with the requirements of the Office, Shops and Railway Premises Act 1963, the Management of Health and Safety at Work Regulations 1992 etc., together with subsequent amendments thereto and all other legislation.

## Protection of the Works

The Provider shall not permit anything to be done that is calculated to injure the stability of the works or buildings and no cutting through walls or floors shall be done, other than as indicated by the drawings or as described herein without the sanction of the Contract Administrator, and the Provider will be held responsible for all damage arising through carelessness or inadvertence in their respect.

The Provider shall take every precaution to protect the works from any cause, including frost, inclement weather damage by other trades, or vandalism, and shall make good any damage so caused at their own expense, together with any incidental expense or loss by the Client due to their damage.

Any work damaged or soiled by weather, traffic or other causes due to inadequate temporary protection shall be taken down and re-executed or otherwise made good by and at the cost of the Provider.  The Provider will be responsible for making good any damage to existing boundary walls, fencing, hard play areas and grassed areas.

## Minimising Hazards

The Provider must maintain access to and from the Properties at all times to members of the public and take all necessary precautions to minimise hazards to other persons caused by their operations both inside and outside the Properties.  No unprotected openings shall be left within any Property. The Provider must allow for all Safety, Health etc. requirements.

## Prevention of Damage

The Provider shall take all necessary precautions to prevent damage which may be caused by their operations to the road, pavement, drainage outfalls, roadside drainage, kerbs, verges, road signs, fences, hedges etc., and shall indemnify the Client in respect of the consequent costs of making good any damage which may occur to these installations as a result of their operations.

The Provider shall not, without the prior approval of the Contract Administrator carry out any works which may affect the stability of any road or associated structure, and the Provider shall carry out the instructions of the Contract Administrator in respect of any measures which may be considered necessary to protect the road or structures from the effects of the Provider’s operations.

## Protection of work in all sections

The Provider must allow for the protection of works in all sections.  The Provider shall take all measures and precautions necessary to protect the works against loss or damage from fire and any other cause, including protecting, securing, lighting and watching all places on or about the works and the Site which may be dangerous to their workpeople or to any other person.

## Protecting the works from inclement weather

The Provider shall be responsible for keeping the Properties wind, watertight and weather proof for the duration of the works and will be deemed to have allowed for all costs associated with complying with their requirement.

## Insurance Claims

If any event occurs which may give rise to any claim or proceeding in respect of loss or damage to the works or injury or damage to persons or property arising out of the works, the Provider shall forthwith give notice in writing to the Client, the Contract Administrator and the insurers. The Provider shall indemnify the Client against any loss which may be caused by the Provider’s failure to give such notice.

## Customer’s Claims against the Provider

Any claims for damage to, or theft of, any Customer’s property are to be settled directly between the Customer’s and the Provider. The Client shall entertain no claim from any party for damage or loss to Customer’s property.

The Provider shall notify the Contract Administrator and Gentoo of any Customer’s claims as soon as they arise.

In the event of such a claim, the Provider shall provide an independent assessor, who shall meet with the Customer and discuss the claim within 2 Working Days of its receipt. The Provider shall subsequently make an offer to settle the claim within a further 5 Working Days therefrom.

In the event that a claim cannot be satisfactorily settled directly, the Contract Administrator shall consider the relative merits of the parties involved and give a decision as to what cost (if any) the Provider should bear. Their decision shall be final and binding on the Provider.

The Provider shall, in co-ordination with the Contract Administrator, notify the Customers of all relevant procedures.

## Safety, Health and Welfare of Work People

The Provider shall, as part of the system of work introduced by the Client to meet their obligations under the Health and Safety at Work Act 1974 to ensure the Health and Safety of all persons employed to work on the Client's premises, comply with the following requirements:-

Conform in all respects to the legal duties and responsibilities laid down by the Health and Safety at Work Act 1974 and other relevant statutory provisions.

The C.O.S.H.H. Regulations 2002 together with all or any amendments thereto and re-enactments thereof and the working rules of the industry, including all relevant Approved Codes of Practice, Guidance and guidance notes published by the H.S.C., the H.S.E. or industry bodies.

Upon the request of the Contract Administrator or their representative, of the Client's Safety Officer, if in their opinion there is a danger to the health and safety of employees or others, to stop any operation, erection or plant and or equipment or the action of any of the Provider's employees.  The Client will not accept any responsibility for any increased costs arising out of such action.  In the event of the Client taking their action verbal notification will be given forthwith to the Provider site representative and written notification will be given as soon as practicable to the Provider.

Supply and ensure that the Provider's employees wear and use protective clothing and equipment or anything provided in the interests of health, safety and welfare in pursuance of any statutory provision.

Ensure that all equipment, plant, machinery and apparatus brought onto or used on the Client's premises are safe and without risk to health and have been maintained to a standard that will not constitute an offence under any statutory provision.

Obey any written instructions or verbal advice given in respect of health and safety by the Contract Administrator or their representative or the Client's Safety Officer.

Notify the Contract Administrator of any notifiable accident or notifiable dangerous occurrence occurring on the Client's premises and arising out of, or in connection with the work as specified in the Notification of Accidents and Dangerous Occurrences Regulations 1980.  The Client may notify an inspector appointed under the Health and Safety at Work Act 1974 or any breach of safety requirements.

Employ the best practicable means as defined in the Control of Pollution Act 1974 to minimise noise and vibration resulting from the Provider's operations and have regard to B.S. 5228 1975 (Code of Practice of Noise Control on Construction and Demolition Sites) and in particular the Provider shall: -

- Ensure that all vehicles, plant and machinery used during the operation are fitted with effective exhaust silencers and that all parts of such vehicles plant and machinery are maintained in good repair and in accordance with the manufacturer's instructions and are so operated as to minimise noise emission.

- Where applicable all machinery capable of creating a dust hazard shall be fitted with a suitable extract attachment.

- Only use sound reduced compressors or other alternatives approved by the Client and any equipment or part fitted by the manufacturer for the purposes of the reduction of noise shall be maintained and operated so as to minimise noise.  Any pneumatically operated percussive tool shall be fitted with an approved silencer which shall be kept in good repair.

- Shut down in periods of non-use or where there is impracticable, throttle back to a minimum, any machinery which is in intermittent use.

- Allow for protecting all plant and machinery to exclude the public and occupants from access (i.e. cages).

The Provider shall provide and maintain on the site all necessary facilities for their own employees, and other sub-Providers.

## Safety, Health and Welfare of Work People and Members of the Public

The Health and Safety at Work etc., Act 1974 became operative in its entirety on 1 April 1975.  The purpose of the Act is to provide the legislative framework to promote, stimulate and encourage high standards of health and safety at work and in their context your attention is drawn to the following: -

- Relevant extracts from the Health and Safety at Work Act etc., Act 1974.

- Regulations made under the CDM 2015 being relevant to the Measured Term Contract (without prejudice).

## The Health and Safety at Work Act 1974

Section 2 (2)

Requires every employer to ensure so far as is reasonably practical the health and safety and welfare at work of all their employees.

Their duty includes: -

- Provision and maintenance of safe plant and systems at work

- Arrangements for ensuring safety in connection with the use, handling, storage and transport of articles and substances.

- Provision of all necessary instructions, training and supervision.

- Provision and maintenance of a safe place of work and working environment. Their environment must also be adequate as regards facilities and arrangements for employees’ welfare at work.

- Adequate means of safe access and egress to a place of work.

Section 2 (3)

Requires every employer (except those with less than five employees) to prepare and bring to the Notice of all employees a written statement of their general policy with respect to the health, safety and welfare at work of their employees.

NOTE:  Regarding Section 2 (3), Providers must submit their written safety policy statement prior to being awarded any Measured Term Contract. The Client's Safety Officer will monitor safety and shall be authorised to order the Provider to fulfil their safety obligations.

Section 3

Employers have a duty to carry out their work in such a way that persons not in their employment who may be affected by it are not exposed to risks to their health or safety (their section provides protection to anyone including members of the general public i.e. the "etc." in the Act's title).

Regulations made under the CDM 2015 being relevant to the Measured Term Contract (Without prejudice to any other occupants).

The following Construction Regulations apply to: -

- Building Operations.

- Works of engineering construction undertaken by way of trade or business or for the purpose of any industrial or commercial undertaking.

The provision of these regulations shall be in addition to, and not a substitution for or indemnification of other requirements imposed by or under the principal Act.

- Any Employer undertaking, or, employing anyone to undertake any building operations or works of engineering construction shall not later than seven days after commencement of the operations or works serve Form F10 to the Health and Safety Executive.  Form F10 shall not apply if there are any reasonable grounds for believing that the operations or works will be completed within a period of less than six weeks.

- Construction (Design and Management) Regulations 2015

- Construction (Health, Safety and Welfare) Regulations 1996 (Revoked)

- The Control of Asbestos at Work Regulations 2012

- Gas Safety (Installation and Use) Regulations 1998

- Management of Health and Safety at Work Regulations 1992 (Amended) (1999)

- Provision and use of Work Equipment Regulations 1998

- Lifting Operations and Lifting Equipment Regulations 1998	 -

- Control of Lead at Work Regulations 2002

- Manual Handling Regulations (Amended 2002)

- Electricity at Work Regulations 1989

- Reporting of Injuries Diseases and Dangerous Occurrences Regulations 1995

- Health and Safety (First Aid) Regulations 1981 amended 2002

- Personal Protective Equipment Regulations 1992 (Amended) (2002)

- Construction (Head Protection) Regulations 1994

- Confined Spaces Regulations 1997

- The Control of Noise at Work Regulations 2005

NOTE 1 the above Statutory Instruments are available for your perusal from the Officer of the City of Sunderland Council dealing with the Measured Term Contract; or may be purchased from any Government book shop or H.M. Stationery Office.

NOTE 2 the address of the local H.S.E. office is: -

The Health and Safety Executive

Arden House

Regent Centre

Gosforth

Newcastle-upon-Tyne

NE3 3JN

Telephone No: (0191) 202 6200

NOTE 3 The Provider shall allow for all relevant Safety, Health and Welfare legislation and is to provide a copy of their Safety Policy, which is to be checked and passed by the Client’s Safety Officer, prior to any work commencing on site.

## Occupancy Status

Existing buildings will be occupied and/or used during the works. The Provider shall undertake the works without undue inconvenience and nuisance and without danger to occupants and users.

## Identification of Provider's Personnel

The Provider shall ensure that all persons, both their own and those of SubProviders, having cause to enter, or to be in the vicinity of occupied Properties shall carry, and produce for inspection, a suitable means of identification.  Such means of identification shall include:-

The Company's name and address and the telephone numbers of its head office and site office,

- The bearer's name, and a note of authorisation subscribed by the Company's Managing Director or senior manager.

- A specimen means of identification shall be presented to the Contract Administrator prior to the Date of Possession, and the Provider shall explain, in writing, what measures will be taken to eliminate misuse either during or at the completion of the Measured Term Contract.

## Dress Code

All personnel employed in connection with the works shall wear a standard uniform which shall clearly identify the name of the Provider and the Client. The type and style of uniform shall be agreed with the Contract Administrator prior to the Date of Possession.

## Work in Occupied Properties

The Provider shall carry out all works in a manner that will cause minimum inconvenience and nuisance from obstruction, dust, noise etc. The Provider shall take all necessary precautions to ensure the safety of Customers. Deliveries of materials must be arranged so far as not to interfere with the Customers.

The Provider shall not carry out or continue any works until all necessary steps have been taken to prevent danger to persons living in the Properties at the time, from live electric cables or apparatus, or any other hazard which is liable to be a source of danger and the Provider shall take all necessary safety measures.

The Provider is to note that an apparently unoccupied Property may retain Customer’s possessions including fixtures and fittings, furniture etc. In such an event, all access to the Property and moving of any Customer’s possessions by the Provider shall be done with the prior agreement of Gentoo and the Contract Administrator.

The Provider shall take all necessary steps to ensure that the operations and works sequences carried out in occupied Properties are, as far as is reasonable, segregated from the activities of the Customers.

The Provider shall provide all temporary pathways through equipment, plant, materials, rubbish and the like to ensure that there is clear emergency egress from the Properties for workpeople and Customers at all times.

The Provider shall, unless the Contract Administrator has agreed otherwise, cease operational working in occupied Properties at 6.00pm at the end of each Working Day. After operational working ceases the Provider is to ensure that all unfixed materials, tools, plant etc. are loaded and taken to the Provider’s store, the Property is clear of all dust and rubbish and that the Property is temporarily put back into use for the Customers, so that Customers have facilities available to them by way of light, heat, power, drinking water and sanitation services, together with washing, bathing and cooking facilities, and the premises left secure and waterproof.

The Provider will be liable for and shall indemnify the Client against all claims for damage to or loss of Customers' property, fittings, and furniture (including floor coverings) and all injury to persons by reason of their operations.

The Provider must acknowledge in writing, within 5 Working Days, receipt of a claim from Customers for any such damage, loss or injury.

## Protection of Customers, Visitors, Gentoo Staff

The Provider shall ensure that safe access and egress to occupied properties is maintained for Customers and visitors.

The Provider shall submit a method statement to show the provision of a safe access route and the method of temporary segregation between the Site and any occupied areas, to protect Customers and visitors from dust, noise, trip hazards and vapour from chemicals that contain hazardous substances and any other hazards that may arise from the execution of the works. The method statement shall be approved by the Contract Administrator before any works is put in hand.

All Customers and visitors to each Property shall be made fully aware of any hazards at the Property and any agreed working arrangements especially with regard to requirements of wearing personal protective equipment that are deemed necessary dependent upon the activities at a Property at that time. All Customers and visitors to each Property shall be made fully aware of the dangers of breaching any agreed working arrangements.  The Provider shall ensure that the entrances/exits, fire escapes and footpaths are kept clear for Customer and others access. All existing fire escape routes and associated precautions must not be impeded by obstruction, disconnection or removal.

Works on the integration of services outside each Property shall be carried out with the minimum hazards to the public. No excess storage of materials in public areas shall occur.

## Provider's Use of Sanitary Facilities Etc.

Sanitary and messing facilities are provided under 'Site Accommodation' and Customer’s sanitary and cooking facilities must not be used by the Provider’s work staff.

## Construction (Design and Management) Regulation 2015 (CDM)

The successful tenderer will be appointed as Principal Provider in accordance with the Construction (Design and Management) Regulations 2015 subject to satisfactory competence and resource availability checks, all works are to be executed in full compliance of these Regulations.

The Tenderer is required to provide with his Tender sufficient evidence to enable the Employer to verify the Providers competence to take on the role of the Principal Provider (PC).

The full duration of the contract will be CDM F10 Notifiable due to the nature of work activities and length of contract, the successful tenderer would be expected to present the maintenance contract in a Construction Phase Plan Format.

Individual site projects where multiple Providers are involved must also be carried out at a Construction Phase Plan level to ensure all areas of risk are managed correctly and compliance standards met, with a full handover of works and site information pack at project closure.

The tenderer and their sub-Providers (if any) must be registered with Constructionline and an affiliated company of the Safety Scheme in Procurement (SSIP) by the date of the contract commencement. Gentoo will also consider an equal and/or approved provider.

The Provider is required to demonstrate that a clear understanding of Health and Safety, Risk Assessment, identification and use of hazardous materials and the like have been fully accounted for in the preparation of his Tender, and that these matters will be implemented in the maintenance and commissioning of the project.

Tenders will be deemed to include for all costs associated with complying with the CDM Regulations and the role of Principal Provider.

# A35 SPECIFIC LIMITATIONS ON METHOD/SEQUENCE/TIMING/USE OF SITE

## Design limitations

The Provider will take full responsibility for the design, supply and construction of the works.

## Method and sequence of work

The Provider shall execute the works in such a manner to cause the minimum disturbance to the Customers, and to allow the works to be executed in the minimum possible time.

The Provider shall provide a method statement, which will be required no later than the date of the pre-start meeting.

## Uninterrupted Sequence

Unless specifically authorised by the Contract Administrator, the Provider shall not commence operations in any Property until all materials for the works are available and the works in each Property shall proceed without interruption until Completion.

Storage of materials around the Properties will only be permissible in the short term immediately in advance of the commencement of works in accordance with the Order Timetable. Long term storage will be in the storage enclosures, sheds etc. provided by the Provider.

## Disturbance of Decoration

The Provider must ensure that the generation of dust is kept to a minimum and the absolute minimum disturbance to existing decoration with the obvious exception of where surfaces are being redecorated.

The Customers of occupied Properties will be responsible for general redecoration on completion of the works but the Provider must ensure the absolute minimum of disturbance to existing decoration.

## Possession

The Date of Possession shall be the date on which the Provider is given access to the Properties to commence the Work.

The Properties will generally be occupied by the Customers during the currency of the works, and the Provider shall ensure that safe access is maintained at all times.

Prior to the Date of Possession the Provider shall agree with the Contract Administrator the maximum number of Properties in progress at any one time.

## Site Access

Access to Properties will be from adjacent roads and footpaths.

The Provider shall ensure that vehicle and pedestrian access is maintained at all times to the Properties and shall carry out the works in such a manner as to cause the minimum inconvenience and disruption to the Customers.

The Provider shall adequately maintain approaches to each Property and keep such free from mud and debris.

Any damage caused by the Provider to roads, hard standings, footpaths etc. shall be immediately reinstated by them to the satisfaction of the Contract Administrator.

## Working Space

Space for depositing materials for the works around the Properties is limited and landscaped areas must be protected from damage on their account or on account of carrying in materials for the works.  Any damage arising from depositing materials or debris in the Property, staircase, external areas or roads and footpaths and any damage caused by the Provider's plant or workmen shall be made good at the Provider's expense.

Plant and materials will only be situated or deposited on roads, footpaths or verges, where no alternative location is practical. The Provider must obtain Police, Building Control and Sunderland City Council’s permission for siting of materials or plant, including cranes, on public roads and footpaths and must observe the Road Traffic Acts and any other regulations regarding safety, temporary lighting, etc.  Any damage caused to roads, footpaths or verges resulting from the Provider's operations shall be made good at their own expense.

## Disposal of Materials and Cleaning

All materials arising from the operations (e.g. down takings, surplus excavated materials, waste materials, or rubbish found on site) shall be removed from the Properties and the Site without delay and in any event on a daily basis. In their connection the Provider shall comply with any instructions issued by the Contract Administrator relating to the salvage of materials or components for future use by the Client.

The Provider shall keep the Properties and the Site clean and tidy. Burning rubbish or debris will not be allowed in the vicinity of the properties.  The Provider will be held to have established the availability of landfill sites/tips for all materials, in particular bulk items, and to have included in their rates for the disposal and for all costs in relation to the Landfill Tax.

Depositing materials or rubbish from down takings on garden areas, roads, footpaths or verges will not be allowed. The Provider must provide skips for storage of such items, must obtain Police, Building Control and Sunderland City Council’s permission for siting of skips and must observe the Road Traffic Acts and any other regulations regarding safety, temporary lighting, etc. External paths, roads, gardens etc., shall be cleared of dust and debris on a daily basis.

On Completion the works shall be cleaned which shall be deemed to include, where necessary, removing all temporary markings, coverings and protective wrappings (unless otherwise instructed), scrubbing floors, washing paving’s, polishing glass inside and out, cleaning sanitary fittings, flushing drains and manholes; cleaning gutters and downpipes, leaving the whole of the Site clean and fit for occupation.

Cleaning materials and methods are to be used as recommended by manufacturers of products being cleaned, and are to be such that there is no damage or disfigurement to other materials or construction.

## Asbestos

- Gentoo intends that any ACMs likely to be disturbed by the works will be removed

- under controlled conditions by a licenced specialist employed by Gentoo. If Gentoo

- does require the Provider to undertake asbestos removal, a record will be kept of all

- ACMs removed and all materials remaining. This information will need to be provided

- in an electronic format to allow the groups asbestos register to be updated.

- As the dwellings that are required to be revitalised as part of this Contract were all

- constructed before the year 2000, it is likely that ACM’s were used within their

- construction. Upon successful award of the Contract, the Provider will be granted

- access to Gentoo’s Asbestos Register, an online portal which will grant access to all

- Asbestos survey information. Upon being granted access, Providers should

- familiarise themselves with the affected properties and be aware of any Asbestos

- containing materials within those buildings. Pre-Construction Asbestos surveys will be

- arranged and provided by Gentoo to the  successful Provider prior to

- commencement of the work which may involve the disturbance of Asbestos

- containing materials.

## Working Hours

All work is to be completed during the following hours:

Monday – Thursday:	08:00-16:30

Friday: 		08:00-15:30

## Overtime

Payment in respect of non-productive overtime shall only be made for that which is authorised in writing by the Contract Administrator.

Whenever overtime is to be worked, the Provider shall give the Contract Administrator not less than five (5) Working Days’ notice, specifying times, types and locations of work to be done. Concealed works executed during overtime for which notice has not been given may be required to be opened up for inspection and reinstated at the Provider’s expense.

## Access and Abortive Visits

The Contract Administrator, Gentoo officers and the Provider have no special right of access without the Customer’s permission. There shall be an appointment system for the Provider to visit the Customer, the details of which are to be agreed with the Contract Administrator.

Gentoo will provide sufficient information to allow the Provider to fully prepare any and all proposals prior to commencement of the works. In their connection the Provider should note that Gentoo will not pay for abortive visits with the exception of an out of hours emergency repair call-out.

Gentoo accepts that some customers have a reluctance to accommodate entry to their property for planned works. If their proves to be the case after the Provider has taken reasonable steps to gain access to the property, Gentoo will involve the relevant local housing operations staff to assist with providing access in order to allow works to be carried out.

There may however be instances where it is not possible to provide access to properties in accordance with the Provider’s programme for a range of reasons relating to the personal circumstances of customers. In such cases, the Provider is required to allow for altering their programmed order of works in order to accommodate these properties at no additional cost.

## Photographs

Photographs of the works are not to be published without the prior consent of the Contract Administrator in writing.

## Visitors

Facilities are to be provided for visitors authorised by the Client to inspect the works and the Provider is to ensure that their insurance covers such visits.

## Police Regulations

The Provider, shall at all times, observe any Police Regulations including those regarding the loading and unloading of or waiting by vehicles on the public highway.

The Provider must provide and display in the appropriate position all necessary signs in accordance with the Ministry of Transport system of advance warning signs as required by the Police Authority.  The Provider's attention is also drawn to Sections 31 and 32 of the Highways Act, 1971, concerning Builders skips on the highway. Provide for all costs and charges for complying with all other public regulations and directions.

# A36 FACILITIES/TEMPORARY WORKS/SERVICES

## Provider’s Company Identification Sign Board and Emergency Contact Number

The Provider shall supply, fix, maintain and remove on completion, at the Contract Administrator's discretion, a Company Identification Sign Board, identifying the name and address of the Provider.