## Stockpile C Abstraction Lic (2)
LICENCE TO ABSTRACT WATER - Licence Serial Number: NW/074/0007/010, Effective 04/06/2024, Expiry 31/05/2025
Permit Condition | Compliance Documents | Compliance Activity/Comment
1. SOURCE OF SUPPLY
1.1) Underground strata comprising of Permo-Triassic sandstone at the Low-Level Waste Repository, Drigg, Cumbria. | N/A | No compliance activity
2. POINTS OF ABSTRACTION
2.1) Within the area edged red on the map only, which is also contained within the boundary formed by straight lines running between the following National Grid References: SD 05521 99058 and SD 05521 99054 and SD 05517 99058 and SD 05517 99055. | PMI - ref no in advance of issue? | Checklist item of ICL / ITP to confirm locations align with consent Reference to process (/whatever) which dicatates production of ITP etc. Reference to action as 'readiness review'
3. MEANS OF ABSTRACTION
3.1) 4 pumps abstracting from 4 boreholes each not exceeding 10 metres in depth and 250 millimetres in diameter lined with 150 well screen and casing. | PMI | Checklist item of ICL / ITP to confirm pumps align with consent Drill Record to confirm to spec
4. PURPOSE OF ABSTRACTION
4.1) Site activity: Dewatering for the purposes of construction. | PMP (LLWR/PMP/XXXX) of XXXX | Note: any unexpected impact will be identified and recorded via LLWR Learning Report system.
5. PERIOD OF ABSTRACTION | Priority 1 'Regulatory Commitments' Action (ACT024650 - Target 16/05/25) covering the expriy of the Permit
5.1) All year. | N/A | Note: If renewal is required submission is suggested 6 months prior to expiry.
6. MAXIMUM QUANTITY OF WATER TO BE ABSTRACTED
6.1) 9 cubic metres per hour 200 cubic metres per day 13,950 cubic metres per year At an instantaneous rate not exceeding 2.4 litres per second. Note: an hour means any period of 60 consecutive minutes, a day means any period of 24 consecutive hours and a year means the 12 month period beginning on 01 March and ending on 30 October (sic). | PMI | Flow monitoring
7. MEANS OF MEASUREMENT OF WATER ABSTRACTED
7.1) (i) The Licence Holder shall use one meter for each point of abstraction to measure quantities of water abstracted. (ii) No abstraction shall take place unless the Licence Holder has installed any meters required in (i) above. (iii) The Licence Holder shall position and install the meters in accordance with any written directions given by the Agency. (iv) The Licence Holder shall calibrate, maintain, repair or replace any meters to ensure that accurate measurements are taken at all times. | PMI | Checklist item of ICL / ITP to confirm aligns with consent
8.) RECORDS
8.1) The Licence Holder shall take and record readings of the meters specified in condition 7.1 at the same time each month during the whole of the period during which abstraction is authorised or as otherwise approved in writing by the Agency. The Licence Holder shall send a copy of the record to the Agency within 28 calendar days of 31 March in each year or within 28 calendar days of being so directed in writing by the Agency or alternatively the Licence Holder shall send summary data from the record as specified by the Agency. | PMI | PMP / ICL / ITP Action XXXXX on Environmental Advisor to ensure records submited
6. FURTHER CONDITIONS
9.1) The Licence Holder shall notify the Agency in writing no later than seven calendar days inclusive prior to the intended date of commencement of abstraction and the notification must specify the date on which abstraction is intended to commence. | Action XXXX raised (Target Completion 06/02/2025)
9.2) No abstraction shall take place under this licence unless the Licence Holder has notified the Agency in writing in accordance with 9.1 above. | Action XXXX raised (Target Completion 06/02/2025)
ADDITIONAL INFORMATION
Note: the following is provided for information only. It does not form part of the licence.
REASONS FOR CONDITIONS
The abstraction is required to be metered to demonstrate compliance with the terms of the licence and to provide information on actual water usage for water planning purposes. This licence is time-limited to a shorter end-date than the ALS guidance, to reflect the timing of the planned works by the licence holder. This licence holder is required to inform the agency of commencement of abstraction to ensure the agency is aware of the operations at site.
IMPORTANT NOTES
Abstraction Reform
We have granted this licence in line with current legal requirements and policies on managing water resources. However, Government have consulted on reforms which may affect the duration, quantities and management of licences before your current licence expires (ends). You should take account of this when making business decisions. If you would like to find out more, please search for ‘abstraction reform’ on gov.uk.
Water efficiency note
The Licence Holder should use water abstracted under the terms of this licence in an efficient manner. The Agency may refer to its guidance on water efficiency (or equivalent guidance) in determining whether water is being used efficiently and may offer advice on any measures considered necessary to meet particular recommendations.
Metering
The Agency will have regard to its Abstraction Metering Good Practice Manual (or equivalent guidance) in directing any of the following: where the meter should be located or how it should be installed; whether the meter measures accurately, and/or is properly maintained; whether it is necessary to require repair or replacement of the meter.
Notification
For the purposes of condition 9.1 the licence holder must notify the agency through the following email address: GWCL_CMBLNC@environment-agency.gov.uk