## Questions
| Question | Answer
1 | What are the dates when the work will need to be undertaken | The information can be found in the Preliminaries & General Conditions, Section A20, Contract Particulars, Clause 2.3 (Commencement and Completion) on Page 9, which states - • Works Commencement Date: No later than 5 weeks from the date for receipt of Tenders • Date for Completion: 8 weeks after commencement
2 | Is the flooring aspect of this tender separate or is it all in one? | In response, within the Preliminaries & General Conditions (see attached), Section A13, Clause 110 on Page 7, it describes Preparatory Work by Others to be completed before the start of these Works and this includes the "raised access floor". The raised access flooring was actually completed back in 2015 (this fact was stated in the OJEU Notice) and so the only element of flooring work included within this tender are the installation of floor boxes (with their associated services) and floor finishes, i.e. carpet tiles, barrier matting and vinyl floor tiles in the Tea Area.
3 | Are site visits available? | Some of you have contacted me with regards to site visits. I can confirm that site visits are in fact available and you can find the information in the Preliminaries & General Conditions / Section A12 / Clause 250 (Site Visit) on Page 6 (also pasted below). 250 SITE VISIT • Assessment: Ascertain the nature of the site, access thereto and all local conditions and restrictions likely to affect the execution of the Works. • Arrangements for visit: Contact either: - Marion Williams (Principal Facilities Manager) on 01536 464266 - Kris Rosser (Facilities Officer) on 01536 464210.
4 | Existing BMS Systems - New Mechanical services are to be connected to the Landlords BMS system – Please confirm incumbent & system protocols ie. Trend etc. | Please note the existing O&M list the BMS as Trend.
5 | Our air conditioning installer needs to know what is your equipment selection for the project. The drawing shows 1 nr wall mounted & 5 nr cassettes: what is the size of each unit in btu,s or kilowattage | This is a Minor Works Building Contract with Contractor's Design and the sizing of the air conditioning equipment forms part of the contractor's design element, for which you should submit proposals for evaluation as part of your Tender. The mechanical & electrical tender information is performance only, with indicative layouts. Your design should be based on CIBSE loads for internal gains.
6 | Please provide clarification of selection criteria as requested information in section 1.2 and 2.1 under Section 4 of Document 1. | 1.2: this refers to the Bidding model. I.e. is the bidder bidding on behalf of themselves or a group of economic operators (i.e. a consortium). 2.1: these are the mandatory exclusions. The supplier needs to follow the link provided to get the background as to why the questions are being asked and then simply read each question and respond appropriately?
7 | I have been told by the Gradus Rep that the spec is wrong on this project and that the tiles are 500 x 500 and not 600 x 600. Also on the Tea Room I can’t find a product that is a wood effect safety floor in a tile form. | While the Client appreciates that most floor tiles are 500 x 500mm, the Client would like them to match their 600 x 600mm raised access floor grid. Therefore, the Client would recommended either a special run of 600 x 600mm tiles or the cutting of sheet rolls. The same principle can be applied to the cutting of the entrance matting, while the floor finish in the Tea Area forms part of the contractor's design element.
7b | With reference to question 7 (Gradus flooring), I have been advised that it is not cost effective to do a special run as it would have to be a minimum of 1000m². | The previous response from the architect was to either request a special run or cut sheet rolls onsite, with the latter being more cost effective.
8 | On the Surshasm Tompkins Scheme as Proposed drawing it says within the perimeter downstand detail “detail to match existing grilles on lower floors”. We have carried out a site visit today but was unable to access other floors. Please could you forward a visual & details. | We will investigate wheather any details on the product are known and feed back.
9 | Can they tell us who maintains the fire alarm system for the building. There was no labelling on the boxes or in the service ducts. | Newflame Fire Equipment, Carlton House, 18 Willow Road, Yaxley, Peterborough, PE7 3HT
10 | Who maintains the existing BMS and what is the purpose of the new BMS connections? | AES Energy Services Limited, 72 Tenter Road, Moulton Park, Northampton, NN3 6AX and the new equipment connections are for monitoring purposes only.