| Client: Project Engineer (Contact): Principal Contractor: | Kettering Borough Council John Bugby Project Manager TBC |
| --- | --- |
| LOCATION: Kettering Swimming Pool, London Road, Kettering, Northants, NN15 7QA |  |
| WORK ACTIVITY SUMMARY: Repair and Refurbishment of Ventilation System |  |

| HAZARDS | Yes | No |  | COMMENTS | CONTROL Yes No |  |
| --- | --- | --- | --- | --- | --- | --- |
| LAND |  |  |  |  |  |  |
| Contamination |  | X |  |  |  |  |
| Geological structures unstable/flooding |  | X |  |  |  |  |
| Tunnels/shafts |  | X |  |  |  |  |
| Vegetation |  | X |  |  |  |  |
| Rights of Way | X |  |  | The public have access to the adjoining Car Park 24/7. |  |  |
| ACCESS/EGRESS |  |  |  |  |  |  |
| Bus route | X |  |  | London Road is a major access road in Kettering with bus stops opposite the Swimming Pool. |  |  |
| Traffic and Parking | X |  |  | There are two car parks and several parking areas within the area owned by Kettering Borough Council and access should be maintained. |  |  |
| Schools |  | X |  |  |  |  |
| Emergency Services | X |  |  | Emergency services should have a clear access to the site at all times. |  |  |
| EXISTING SERVICES |  |  |  |  |  |  |
| Electricity (overhead) |  |  | X | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Electricity (underground) | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Gas | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Telephone cables | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Water and Foul Sewers | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Data | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| NOISE |  |  |  |  |  |  |
| Hospitals |  |  | X |  |  |  |
| Public | X |  |  |  |  |  |
| Schools |  |  | X |  |  |  |
| Other buildings affected | X |  |  | Adjoining reception area & Gymnasium and nearby Council Offices. |  |  |
| Vibration | X |  |  | Adjoining reception area & Gymnasium and nearby Council Offices. |  |  |
| BUILDING WORKS |  |  |  |  |  |  |
| Hazardous substances (COSHH) | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Excavation |  |  | X |  |  |  |
| Resurfacing |  |  | X |  |  |  |
| Drainage | X |  |  | An on-site survey must be undertaken by the contractor prior to starting any works. |  |  |
| Signature J E. Bugby Date 15 May 2020 John Bugby Project Manager |  |  |  |  |  |  |