Annex B to Schedule 2 – Pricing Rates

Contract No: IRM20/7490

Quarterly Maintenance Visit

|  | Pricing (Firm) Contract Year 1 to 4 | Provisional Pricing* (fixed) for Contract Option Years 1 to 3 (Year 5 to 7) |
| --- | --- | --- |
| NSN: 6636991803689 |  |  |
| NSN: 6636991514497 |  |  |

Labour and Travel Rates

| Period | Hourly Travel Rate | Mileage Rate | Accommodation / Subsistence |
| --- | --- | --- | --- |
| Pricing Contract Year 1 to 4 |  |  |  |
| Provisional Pricing* (fixed) for Contract Option Years 1 to 3 (Year 5 to 7) |  |  |  |

*Pricing to be confirmed in accordance with clause 21.4 (Variation of Price)

Item Descriptions

| DMC | NSN | Description | Description |
| --- | --- | --- | --- |
| W116 | 6636991803689 | CHAMBER,ENVIRONMENTAL TESTING | 18 GHZ MAX FREQUENCY;4173 MM OUTSIDE H;4000 MM H,4000 MM DEPTH INSIDE DIMS;2 OUTER DOORS;FERRITE CHAMBER 7.170 M X 4.170 M X 4.153 M EXTERNAL DIMS;CONTROL ROOM 3 M X 2.4 M X 2.4 M EXTERNAL DIMS;COMPRISES SHIELDED TEST CHAMBER AND CONTROL ROOM |
| W116 | 6636991514497 | CHAMBER,ENVIRONMENTAL TESTING | ASSEMBLED;LEFT SIDE OPENING LOCATION;18/40 MEGAHERTZ MIN/MAX FREQUENCY;3700 MM H,7400 MM WD,4300 MM DEPTH OUTSIDE DIMS;DOOR PROVIDED;1 OUTER DOOR;SEMI ANECHOIC;WALLS AND CEILING COVERED W/20 IN. TRUNCATED ABSORBER;C/W CONTROL ROOM 3.1M X 2.5 |