APPENDIX D

PRE-CONSTRUCTION INFORMATION FORM

| Client |  |  | National Oceanography Centre, Southampton |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project |  |  | Aquarium Seawater Circulation System Modifications |  |  |  |  |  |
| Job No |  |  |  | Completed By |  |  | Date |  |
| J2180202/3AB |  |  |  |  |  |  | 6th March 2018 |  |
| ### Pre-Construction M&E Engineering Information Form - Sheet 1 of 2 |  |  |  |  |  |  |  |  |
| Item |  |  |  |  |  | Comments |  |  |
| 1.0 |  | DESCRIPTION OF PROJECT |  |  |  |  |  |  |
| 1.1 |  | Name |  |  |  | Aquarium Seawater Circulation System Modifications |  |  |
| 1.2 |  | Location |  |  |  | NOCS Levels 0 & 1, MEDA 492 |  |  |
| 1.3 |  | Description of the Works |  |  |  | Refurbishment of Aquarium Seawater system |  |  |
| 1.4 |  | Mechanical Engineer Details |  |  |  |  |  |  |
| 1.5 |  | Electrical Engineer Details |  |  |  |  |  |  |
| 1.6 |  | Existing Records and Plans |  |  |  |  |  |  |
| 1.6.1 |  | Existing Mechanical O&M Manual: |  |  |  | Yes obtained from NOCS Estates Department |  |  |
| 1.6.2 |  | Existing Electrical O&M Manual: |  |  |  | Yes obtained from NOCS Estates Department |  |  |
| 1.6.3 |  | Existing Main Services Drawings: |  |  |  | Yes obtained from NOCS Estates Department |  |  |
| 2.0 | THE SITE ENVIRONMENT |  |  |  |  |  |  |  |
| 2.1 |  | Location of Existing Primary Services (Buried/Overhead, etc) |  |  |  |  |  |  |
| 2.1.1 |  | Oil: |  |  | Not in our precise location but present onsite. |  |  |  |
| 2.1.2 |  | Gas: |  |  | Yes |  |  |  |
| 2.1.3 |  | Water: |  |  | Yes |  |  |  |
| 2.1.4 |  | Electrics: |  |  | Yes |  |  |  |
| 2.1.5 |  | Communications: |  |  | Yes |  |  |  |
| 2.2 |  | Details of Existing Primary Services |  |  |  |  |  |  |
| 2.2.1 |  | Oil: |  |  | None in the laboratory |  |  |  |
| 2.2.2 |  | Gas: |  |  | To laboratory outlets |  |  |  |
| 2.2.3 |  | Water: |  |  | To laboratory outlets |  |  |  |
| 2.2.4 |  | Electrics: |  |  | N/A |  |  |  |
| 2.21.5 |  | Communications: |  |  | Data and telephone |  |  |  |

| ### Pre-Construction M&E Engineering Information Form - Sheet 2 of 2 |  |  |
| --- | --- | --- |
| 2.0 | THE SITE ENVIRONMENT - contd |  |
| 2.3 | Details of Existing and New Mechanical Services |  |
| 2.3.1 | Heating: | To existing radiators and heated air supply - existing |
| 2.3.2 | Cold Water: | Yes to sanitary ware - existing |
| 2.3.3 | Hot Water: | Yes to sanitary ware - existing |
| 2.3.4 | Chillers: | Yes main primary units at energy centre - existing |
| 2.3.5 | Air Conditioning (Refrigerant): | Yes to cold room - existing |
| 2.3.6 | Drainage: | Yes to sanitary ware - existing |
| 2.3.7 | Ventilation: | Yes to laboratory - existing and new extension to cold room |
| 2.3.8 | BMS: | Yes trend - existing |
| 2.3.9 | Medical Gases: | N/A |
| 2.3.10 | Industrial Gases: | Yes – existing |
| 2.3.11 | Sprinklers: | No |
| 2.4 | Details of Existing and New Electrical Services |  |
| 2.4.1 | Mains Power: | Reconnection of power to new motors |
| 2.4.2 | Lighting: | Existing |
| 2.4.3 | Fire Alarm: | Existing |
| 2.4.4 | Nurse Call/Panic Alarm/ Disabled/Refuge: | Existing |
| 2.4.5 | Voice/Data: | Existing |
| 2.4.6 | Security/Access/CCTV: | Existing |
| 2.4.7 | Lightning Protection: | Existing |
| 2.4.8 | Radio/TV/AV: | Existing |
| 2.4.9 | Lifts/Escalators: | Existing |
| 2.4.10 | Generators: | Existing |
| 2.4.11 | UPS: | Existing |
| 2.4.12 | IPS: | N/A |