| ILKESTON COMMUNITY HOSPITAL |  |  |  |  |
| --- | --- | --- | --- | --- |
| 2019 | 2020 | 2021 | 2022 | 2023 |
| YEAR 1 | YEAR 2 | YEAR 3 | YEAR 4 | YEAR 5 |
| ALL GASES |  |  |  |  |
| Quarterly PPM | Quarterly PPM | Quarterly PPM | Quarterly PPM | Quarterly PPM |
| Pressure Switches | Pressure Switches | Pressure Switches | Pressure Switches | Pressure Switches |
| Alarm Panel Batteries |  |  | Alarm Panel Batteries |  |
|  |  | SRV Replacement (February) |  |  |
|  | Regulator Replacement |  |  |  |
|  |  |  | Tail Pipe Replacement |  |
| AIR |  |  |  |  |
| Oil/Water Separator | Oil/Water Separator | Oil/Water Separator | Oil/Water Separator | Oil/Water Separator |
| Compressor Oil | Compressor Oil | Compressor Oil | Compressor Oil | Compressor Oil |
| Compressor Intake Filter | Compressor Intake Filter | Compressor Intake Filter | Compressor Intake Filter | Compressor Intake Filter |
|  | Line/Dewpoint Regulator Overhaul |  | Line/Dewpoint Regulator Overhaul |  |
|  | Dewpoint Sensor |  | Dewpoint Sensor |  |
|  | Desiccant Replacement |  | Desiccant Replacement |  |
| Dryer Solenoid Valve |  | Dryer Solenoid Valve |  | Dryer Solenoid Valve |

| 2019 | 2020 | 2021 | 2022 | 2023 |
| --- | --- | --- | --- | --- |
| YEAR 1 | YEAR 2 | YEAR 3 | YEAR 4 | YEAR 5 |
| Dryer Shuttle Ball |  | Dryer Shuttle Ball |  | Dryer Shuttle Ball |
| Dryer Filters |  | Dryer Filters |  | Dryer Filters |
| VACUUM |  |  |  |  |
| Pump Oil Change | Pump Oil Change | Pump Oil Change | Pump Oil Change | Pump Oil Change |
|  | Bacterial Filters |  | Bacterial Filters |  |
| AGSS |  |  |  |  |
| Recommission | Recommission | Recommission | Recommission | Recommission |

| 2019 | 2020 | 2021 | 2022 | 2023 |
| --- | --- | --- | --- | --- |
| YEAR 1 | YEAR 2 | YEAR 3 | YEAR 4 | YEAR 5 |
| ASHGATE HOSPICE |  |  |  |  |
| OXYGEN |  |  |  |  |
| Quarterly PPM | Quarterly PPM | Quarterly PPM | Quarterly PPM | Quarterly PPM |
| Pressure Switches | Pressure Switches | Pressure Switches | Pressure Switches | Pressure Switches |
| Alarm Panel Batteries |  |  | Alarm Panel Batteries |  |
|  |  | SRV Replacement (February) |  |  |
|  | Regulator Replacement |  |  |  |
|  |  |  | Tail Pipe Replacement |  |