DETAILED DESCRIPTION OF REQUIREMENT FOR THE PROVISION OF QUALITY ASSURANCE TO THE ARMED FORCES COMPULSORY DRUG TESTING PROGRAMME

BACKGROUND

1.	The Armed Forces Compulsory Drug Testing (CDT) mission is to minimise substance misuse in the Armed Forces through implementation of the policy of Prevention, Deterrence and Regulation, in order to reduce the deleterious effects of Substance Misuse(SM) on Operational Effectiveness, without causing excessive wastage.

2.	Prevention is based upon educational programmes, delivered by both in Service functions and the use of subject matter experts in substance misuse deterrence.  Detection involves the analysis of samples of urine donated by Service personnel worldwide.  Regulation involves the timely administrative action taken by the Service authorities subsequent to analysis.

3.	The CDT was introduced in January 1994 designed to reduce the incidence of drug misuse in the Army by detection and deterrence.  The programme was extended to the Royal Navy in the 1997 and to the Royal Air Force in 1998.  Service personnel and civilians subject to Service discipline are eligible for testing and currently up to 135,000 samples are collected each year.  The programme is controlled by the MOD Army Personnel Services Group staff branch (hereafter referred to as ‘the Authority’.  Samples are collected by sixteen Service collection teams and transported by a contracted courier to the laboratory of the Authority’s urinalysis contractor (currently Eurofins (LGC).  The samples are divided by the donor into 3 containers at the point of collection.  One sample is screened and if any other result other than negative is recorded a confirmatory analysis is carried out on the A Sample; the B Sample is retained in case the donor wishes to challenge the result obtained from the A Sample.  It is the intention of the Authority to re-let the CDT Contract during the life of the Quality Assurance (QA) Contract.  The holder of the QA contract will not be eligible to be invited to tender for the department’s urine analysis contract, given the potential conflict of interest (clause 47 of SC2 Terms and Conditions refers).

4.	The list of drug types analysed in 2018 include but not limited to the following.  For brevity, the current urine analysis contract operates a sliding drug panel that can be adapted to risk:

| Ser | Substance | Screening Level (ng/mL) | Confirmation Level (ng/mL) |
| --- | --- | --- | --- |
|  | (a) | (b) | (C) |
| 1 | Cannabis | 25 | 15 |
| 2 | Cocaine | 150 | 100 |
| 3 | Heroin | 10 (as 6-AM) | 10 (as 6-AM) |
| 4 | Opiates | N/A | 300 |
| 5 | Amphetamine | 500 | 150 |
| 6 | Ketamine | 100 | 50 |
| 7 | Codeine | 300 | 150 |
| 8 | Ecstasy | 500 | 150 |
| 9 | Benzodiazepine | 200 | 200 |
| 10 | Steroids | Substance dependant | Substance dependant |
| 11 | NPS | Substance dependant | Substance dependant |

(Table 1)

5.	Samples are collected by Compulsory Drug Testing Officers (CDTO), assisted by Collection Assistants (CA) and Monitors.

6.	CDTO.  CDTO’s are assigned full-time, usually for 2 years, to the CDT programme from all three Services; RN, Army and RAF.  The primary tasks of the CDTO are:

a.	The training, monitoring, maintenance and standardisation of collection procedures in accordance with:

(1)	The guidelines set by the MOD legal adviser.

(2)	Team and laboratory collecting instructions and procedures.

(3)	Maintaining the integrity of the chain of evidence.

b.	Advising units of the current SM policy and education programme, in particular the availability of drug and alcohol awareness presentations.  Advising units on the requirement for, and details of a CDT Action Plan.  Distributing SM literature.

c.	The supervision of the collection, maintenance of sample security and integrity of CDT data at collection locations. In particular:

(1)	Correct completion of all sample collection documentation.

(2)	Use and maintenance of encrypted I.T, associated resources and designated bespoke I.T software to record CDT sample collection data.

(3)	Adherence to Data Protection legislation including General Data Provision Regulations.

d.	Briefing unit personnel regarding CDT procedures. Training unit CA’s, Monitors and those providing clerical support.  Completion of initial and annual CDT training including refresh of laboratory processes.

7.	Collection Assistant.  A CA is appointed by the recieving unit and trained in hi/ hers duties by a CDTO.  The CA responsibilities include:

a.	The set up and preparation of a Sample Collection Point (SCP).

b.	The briefing and training of CDT monitors.

c.	The manning of a SCP, the carrying out of all CDT procedures and completion of all relevant CDT documentation, which includes:

(1).	Confirming the identity of the donor of the sample by checking MOD identity documents (known as the ID card) and completing the AFCDT form.

(2).	Ensuring the donor makes a statement about medication taken in the last 30 days and signs a statement to that effect.

(3).	Controlling the sample kit and preserving the integrity of the chain of custody.

(4).	Monitoring the division and sealing of each sample into 3 containers.

(5).	Confirming ownership and allocation of bar codes to an individual.

(6).	The control and custody of samples and the confirmation of ownership by the correct completion of Armed Forces CDT Form and procedures in accordance with the instructions of the Authority.

(7).	The control and preparation of transit boxes for despatch.

(8).	The control and supervision of CDT monitors in the SCP.

(9).	The management of the collection of CDT data on encrypted I.T provided by the CDTO.

8.	CDT Monitor.  A CDT Monitor is appointed by a unit and trained either by a CDTO.  The CDT Monitor is responsible for:

a.	Escorting the donor throughout the CDT process in the SCP.

b.	Observing the donor at all times.

c.	Answering to the CDTO or CA for the collection of a proper sample.

CONTRACTOR’S RESPONSIBILITIES

9.	Quality Monitoring of Collection Procedures.  The contractor is to:

a.	Monitor the collection procedures and make recommendations as appropriate.

b.	Review and advise on the AFCDT Standard Operating Procedures (SOP).

c.	Attend days that an AFCDT team collects samples at a frequency agreed between the contractor and the Authority. QA visits to collection sites are normally carried out on a two monthly basis, although the actual rate may vary significantly depending upon specific issues or scientific problems.

d.	Review and advise on the training of CDTO, CA and Monitors.

e.	Submit a QA Site Inspection Report as at Para 20a below.

10.	Blind Performance Testing of the Laboratory.  The contractor is to conduct blind performance testing by providing and inserting quality control samples, to replicate the collection of a sample from an individual.  The contractor is to arrange for the introduction of these samples at a point in the collection process as agreed between the contractor and the Authority.  The introduction of the samples will be within the United Kingdom and may be in more than one location simultaneously.  A QA Analysis and Assessment Report is to be submitted as at Para 20b below.  Control samples are to consist of:

a.	A selection of frank positive and borderline samples, (urine samples prepared with marker metabolites of controlled drugs plus or minus 20% of the screening test cut-off value), for each group of all the drug groups that are currently being tested for by the Authority’s urinalysis contractor.  These should reflect those types of drug which are currently misused and should cover the full range of drugs in any 12-month period.

b.	Blank samples, (urine samples containing no metabolites of controlled drugs).

c.	Samples which are adulterated, at a rate to be agreed upon by the Authority and the Contractor.

d.	Samples which test chain of custody procedures (to include damaged seals and evidence of tampering), at a rate to be agreed upon by the Authority and the Contractor.

11.	The rate of introduction of QA samples is flexible. The historic rate of QA testing is approximately 400 samples per year but this will vary depending on the number of tests conducted. Some QA samples, to be provided by the contractor, may be introduced by the team leader without the contractor's inspectors being present.

12.	The contractor has to demonstrate that he can provide the quality control samples and that they are of a satisfactory quality. The Contractor must make arrangements to provide Officer Commanding CDT (OC CDT) all details of the control samples as detailed at Para 20 below.  In the event of there being a difference in the results of the Authority’s urinalysis contractor and the contractor’s samples, the contractor is to comment on this and, when appropriate, determine the reason for any significant differences.  Any such differences are to be reported in writing to the Authority as soon as possible.

13.	On-site Inspections of the Authority’s Urinalysis Contractor.  The contractor is to perform on-site inspections of the urine analysis department of the Authority’s urinalysis contractor once a year. These inspections are to cover:

a.	Review of the laboratory procedures.

b.	Review of the qualifications of the employees of the Authority’s urinalysis contractor.

14.	Twice a year, the contractor is to conduct an audit trail of samples pre-selected by the Authority; one of these is to be part of the laboratory inspection.  Additional laboratory inspections may be ordered by the Authority as required.  A laboratory inspection report is to be submitted as at Para 20c below.

15.	The contractor is to be prepared to attend any review which may arise as a result of their work, and give independent advice and evidence, as required by the Authority.  The travel and subsistence rates shown at Annex C apply.

16.	The contractor is to notify the Authority of any additional and relevant legislation or guidelines to the programme as they occur and provide advice on any implications for the programme.

17.	The contractor is to review and validate any experimental work, research or study conducted by the Authority’s urinalysis contractor or by other third parties, which may be required in support of the CDT programme.

18.	The contractor is to provide advice to the Authority on the technical and managerial merits of laboratories invited to tender for the re-let of the Authority’s urinalysis contract.

19.	The rate of visits and introduction of QA samples indicated in this document is for guidance only.

This information is provided on the understanding that the Authority is unable to give any guarantee as to the quantity of work that will actually be made available under this contract.

20.	Reports.  The Contractor is to provide the following reports:

a.	Quality Assurance Site Inspection Report.  A written report on the conduct of the test is to be submitted after each site visit.  The report is to be with OC CDT within 5 working days of the test date.  The report is to include the following main headings:

(1)	Visit Arrangements.

(2)	Restrictions.

(3)	Equipment.

(4)	Test Organisation and Set Up.

(5)	Staff Briefing and Training.

(6)	Collection Procedures.

(7)	Quality Control Samples.  To include completion of the first part of the Quality Assurance Analysis and Assessment proforma (attached at Appendix 2).

(8)	Conclusion and Comments.

b.	Quality Assurance Analysis and Assessment Report.  A written report is to be submitted, including the completed proforma (Appendix 2), on the Authority’s urinalysis contractor’s analysis of each of the Quality Assurance sample batches inserted during the site inspection visit together with the contractor’s assessment of the analysis.  The report is to be with OC CDT within 5 working days of the Contractor’s receiving the laboratory results from the Authority.

c.	The Annual Report.  A written annual report is to be submitted to OC CDT in the first week of February, which will then be considered at the Armed Forces CDT SO1 Meeting.  This is to include reports on the following:

(1).	The laboratory inspection report, including all items in Paragraph 7 and to include:

(a).	Laboratory security.

(b).	Sample handling, chain-of-custody and security.

(c).	Sample storage facilities.

(d).	Sample screening.

(e).	Confirmation analysis.

(f).	Reporting and medical review of results.

(g).	Review of documentation, record-keeping and retrieval.

(h).	Laboratory Standard Operating Procedures.

(2).	The scientific conduct of the programme during the previous year.

d.	The Audit Trail Report.  A written report is to be submitted on each audit trail of samples processed by the Authority’s urinalysis contractor’s laboratory.  The report is to be with OC CDT within 10 working days of completion of the audit.  The audit trail which is conducted as part of the laboratory inspection, is to be reported with the laboratory.

Standards drawn from UKAS (and equivalent bodies) and the World Drug Testing Society