Request for Proposal (RFP) on behalf of the Natural Environment Research Council

Subject: Geological borehole/well core and sample scanners, software and related equipment

Sourcing reference number: UK SBS PR17161

Section 6 – Selection and Award questionnaires

Section 6 – Selection questionnaire

6.1	Introduction

The Selection questionnaires are located in the within the e-sourcing tool.

Guidance on completion of the question is available at http://www.uksbs.co.uk/services/procure/Pages/supplier.aspx

Geological borehole/well core and sample scanners,

software and related equipment

UK SBS PR16271

OPEN PROCEDURE

Bidder Guidance notes for completion for Parts 1,2,3 and definitions for all sections

- The “authority” means the named Contracting Authority or anyone acting on behalf of the Contracting Authority, that is seeking to invite suitable candidates to participate in this procurement process.

- “You” / “Your” refers to the potential Supplier or Bidder completing this standard Selection Questionnaire i.e. the legal entity responsible for the information provided. The term “potential supplier” is intended to cover any economic operator as defined by the Public Contracts Regulations 2015 (as amended) (referred to as the “regulations”) and could be a registered company; the lead contact for a group of economic operators; charitable organisation; Voluntary Community and Social Enterprise (VCSE); Special Purpose Vehicle; or other form of entity.

- Please ensure that all questions are completed in full, and in the format requested. If the question does not apply to you, please state ‘N/A’. Should you need to provide additional information in response to the questions, please submit a clearly identified annex.

- The authority recognises that arrangements set out in section 1.2 of the standard Selection Questionnaire, in relation to a group of economic operators (for example, a consortium) and/or use of sub-contractors, may be subject to change and will, therefore, not be finalised until a later date.  The lead contact should notify the authority immediately of any change in the proposed arrangements and ensure a completed Part 1 and Part 2 is submitted for any new organisation relied on to meet the selection criteria. The authority will make a revised assessment of the submission based on the updated information.

- For Part 1 and Part 2 every organisation that is being relied on to meet the selection must complete and submit the self-declaration.

- For answers to Part 3 - If you are bidding on behalf of a group, for example, a consortium, or you intend to use sub-contractors, you should complete all of the questions on behalf of the consortium and/ or any sub-contractors, providing one composite response and declaration.

The authority confirms that it will keep confidential and will not disclose to any third parties any information obtained from a named customer contact, other than to the Cabinet Office and/or contracting authorities defined by the regulations, or pursuant to an order of the court or demand made by any competent authority or body where the authority is under a legal or regulatory obligation to make such a disclosure.

PLEASE NOTE THE QUESTIONS ARE NOT NUMBERED SEQUENTIALLY

Part 1: Potential supplier Information

Please answer the following questions in full. Note that every organisation that is being relied on to meet the selection shall complete and submit the Part 1 and Part 2 self-declaration.

| Section 1 | Potential supplier information |
| --- | --- |
| Question number | Question | Response |
| SEL1.1 | Bidders are required to complete the below table. Bidder guidance - The information should be based on the details of the organisation bidding (or organisation acting as lead contact where a consortium bid is being submitted). Scoring criteria - For information only; Full name of the potential supplier submitting the information Registered office address (if applicable) Registered website address (if applicable) Date of registration in country of origin Company registration number (if applicable) Charity registration number (if applicable) Head office DUNS number (if applicable) Registered VAT number Trading name(s) that will be used if successful in this procurement |
| SEL1.2 | Please select from the below options to indicate your trading status Bidder Guidance - the Bidder shall select from the following options; i) a public limited company ii) a limited company iii) a limited liability partnership iv) other partnership v) sole trader vi) Third Sector vii) Other (Please Specify your trading status) Scoring Criteria - For information only |
| SEL1.3 | SEL1.3 If applicable, is your organisation registered with the appropriate professional or trade register(s) in the member state where it is established? Bidder guidance - The bidder shall answer Yes or No Yes - If you responded yes, please provide the relevant details, including the registration number(s). No - no further information required Scoring Criteria - For Information Only | Yes ☐ No ☐ N/A ☐ |
| SEL1.4 | SEL1.4 Is it a legal requirement in the state where you are established for you to possess a particular authorisation, or be a member of a particular organisation in order to provide the services specified in this procurement? Bidder Guidance - The bidder shall answer Yes or No Yes - If you responded yes please provide additional details of what is required and confirmation that you have complied with this. No - no further information required Scoring Criteria - For Information Only | Yes ☐ No ☐ |
| SEL1.5 | Please select from the below options to indicate whether any of the following classifications apply to you Bidder Guidance - The bidder shall select from the following options i) Voluntary, Community and Social Enterprise (VCSE) ii) Micro, Small or Medium Enterprise (SME)* iii) Sheltered workshop iv) Other (Please Specify in the comments) Bidder Guidance See EU definition of SME: http://ec.europa.eu/enterprise/policies/sme/facts-figures-analysis/sme-definition/ Scoring Criteria - For information only | i) Voluntary, Community and Social Enterprise (VCSE) ii) Micro, Small or Medium Enterprise (SME)* iii) Sheltered workshop iv) Other (Please Specify in the comments) |
| SEL1.6 # Central Government contracting authorities should use this information to have the PSC information for the preferred supplier checked before award. | SEL1.6 - Please detail information concerning Persons of Significant Control (PSC) by uploading an attachment with the following information; i) - Name; ii) - Date of birth; iii)- Nationality; iv)- Country, state or part of the UK where the PSC usually lives; v)- Service address; vi) - The date he or she became a PSC in relation to the company (for existing companies the 6 April 2016 should be used); vii)- Which conditions for being a PSC are met; - Over 25% up to (and including) 50%, - More than 50% and less than 75%, - 75% or more. - N/A (Please enter N/A if none of the above are applicable) Bidder guidance -The Bidder shall complete the below table. Guidance on PSC can be found at https://www.gov.uk/government/publications/guidance-to-the-people-with-significant-control-requirements-for-companies-and-limited-liability-partnerships Scoring criteria - For information only | i) - Name; ii) - Date of birth; iii)- Nationality; iv)- Country, state or part of the UK where the PSC usually lives; v)- Service address; vi) - The date he or she became a PSC in relation to the company (for existing companies the 6 April 2016 should be used); vii)- Which conditions for being a PSC are met; - Over 25% up to (and including) 50%, - More than 50% and less than 75%, - 75% or more. - N/A |
| SEL1.7 | SEL1.7 Please provide details of your immediate Parent Company (if applicable) by completing the below table. Bidder Guidance - The bidder shall complete the table or answer N/A Scoring Criteria - for information only | Full Name of Immediate Parent Company Registered Office Address Registration Number Head Office DUNS number Head Office VAT Number |
| SEL1.8 | SEL1.8 Please provide details of your Ultimate Parent Company (if applicable) by completing the below table. Bidder Guidance - The bidder shall complete the table or answer N/A Scoring Criteria - for information only | Full Name of Ultimate Parent Company Registered Office Address Registration Number Head Office DUNS number Head Office VAT Number |

Please note: A criminal record check for relevant convictions may be undertaken for the preferred suppliers and the persons of significant in control of them.

Please provide the following information about your approach to this procurement:

| Section 1 | Bidding model |
| --- | --- |
| Question number | Question | Response |
| SEL1.9 | SEL1.9 Are you bidding as the lead contact for a group of economic operators? Bidder Guidance - The Bidder Shall answer Yes or no Yes - If yes, please provide details listed in questions SEL1.10, and to SEL1.11, SEL1.12 Section 2 and 3. No - If no, and you are a supporting bidder, please provide the name of your group at SEL1.10 for reference purposes, and complete SEL 1.13. Scoring Criteria - For Information Only | Yes ☐ No ☐ If yes, please provide details listed in questions SEL1.10, and to SEL1.11, SEL1.12 Section 2 and 3. If no, and you are a supporting bidder, please provide the name of your group at SEL1.10 for reference purposes, and complete SEL 1.13. |
| SEL1.10 | SEL1.10 Please provide the name and details of group of economic operators (if applicable) Bidder Guidance - the bidder shall include details of the following Name of group of economic operators and the proposed legal structure if the group of economic operators intends to form a named single legal entity prior to signing a contract, if awarded. If you do not propose to form a single legal entity, please explain the legal structure. Scoring Criteria - For Information Only |
| SEL1.11 | SEL1.11 Are you or, if applicable, the group of economic operators proposing to use sub-contractors? Bidder Guidance - The Bidder Shall answer yes or no Scoring Criteria - For Information Only | Yes ☐ No ☐ |
| SEL1.12 | SEL1.12 If you responded Yes to SEL1.11, please provide additional details for each subcontractor as follows as an attachment to this question, we shall ask them to complete this form as well; If you responded no- please select N/A Name Registered address Trading status Company registration number Head Office DUNS number (if applicable) Registered VAT number Type of organisation SME (Yes/No) The role each sub-contractor will take in providing the works and /or supplies e.g. key deliverables The approximate % of contractual obligations assigned to each sub-contractor |

| SEL1.13 | Contact details and declaration I declare that to the best of my knowledge the answers submitted and information contained in this document are correct and accurate. I declare that, upon request and without delay I will provide the certificates or documentary evidence referred to in this document. I understand that the information will be used in the selection process to assess my organisation’s suitability to be invited to participate further in this procurement. I understand that the authority may reject this submission in its entirety if there is a failure to answer all the relevant questions fully, or if false/misleading information or content is provided in any section. I am aware of the consequences of serious misrepresentation. Bidder guidance Please complete the below table, by adding your signature you confirm that you understand the above statements. Scoring criteria Mandatory Pass / Fail |
| --- | --- |

| SEL1.13 | Contact details and declaration |
| --- | --- |
| Question | Response |
| Contact name |  |
| Name of organisation |  |
| Role in organisation |  |
| Phone number |  |
| E-mail address |  |
| Postal address |  |
| Signature (electronic is acceptable) |  |
| Date |  |

Part 2: Exclusion Grounds

Please answer the following questions in full. Note that every organisation that is being relied on to meet the selection must complete and submit the Part 1 and Part 2 self-declaration.

| Section 2 | Grounds for mandatory exclusion |
| --- | --- |
| Question number | Question | Response |
| SEL2.1 | Regulations 57(1) and (2) The detailed grounds for mandatory exclusion of an organisation are set out on this web page, which should be referred to before completing these questions. Please indicate if, within the past five years you, your organisation or any other person who has powers of representation, decision or control in the organisation been convicted anywhere in the world of any of the offences within the summary below and listed on the webpage. |
| SEL2.2 | SEL2.2 - Participation in a criminal organisation Bidder Guidance - The bidder Shall answer Yes or No Yes - If you have answered Yes please provide further details as an attachment to this question; Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction, Identity of who has been convicted. When attaching documentation or web addresses please include the issuing authority and precise reference of the documents. No - Pass Scoring Criteria - Mandatory Pass/Fail | Yes ☐ No ☐ If Yes please provide details |
| SEL2.3 | SEL2.3 - Corruption Bidder Guidance - The bidder Shall answer Yes or No Yes - If you have answered Yes please provide further details as an attachment to this question; Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction, Identity of who has been convicted. When attaching documentation or web addresses please include the issuing authority and precise reference of the documents. No - Pass Scoring Criteria - Mandatory Pass/Fail | Yes ☐ No ☐ If Yes please provide details at |
| SEL2.4 | SEL2.4 - Fraud Bidder Guidance - The bidder Shall answer Yes or No Yes - If you have answered Yes please provide further details as an attachment to this question; Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction, Identity of who has been convicted. When attaching documentation or web addresses please include the issuing authority and precise reference of the documents. No - Pass Scoring Criteria - Mandatory Pass/Fail | Yes ☐ No ☐ If Yes please provide details |
| SEL2.5 | SEL2.5 - Terrorist Offences or offences link to terrorist activities Bidder Guidance - The bidder Shall answer Yes or No Yes - If you have answered Yes please provide further details as an attachment to this question; Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction, Identity of who has been convicted. When attaching documentation or web addresses please include the issuing authority and precise reference of the documents. No - Pass Scoring Criteria - Mandatory Pass/Fail | Yes ☐ No ☐ If Yes please provide details |
| SEL2.6 | SEL2.6 - Money laundering or Terrorist financing Bidder Guidance - The bidder Shall answer Yes or No Yes - If you have answered Yes please provide further details as an attachment to this question; Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction, Identity of who has been convicted. When attaching documentation or web addresses please include the issuing authority and precise reference of the documents. No - Pass Scoring Criteria - Mandatory Pass/Fail | Yes ☐ No ☐ If Yes please provide details |
| SEL2.7 | SEL2.7 - Child Labour and other forms of trafficking in human beings Bidder Guidance - The bidder Shall answer Yes or No Yes - If you have answered Yes please provide further details as an attachment to this question; Date of conviction, specify which of the grounds listed the conviction was for, and the reasons for conviction, Identity of who has been convicted. When attaching documentation or web addresses please include the issuing authority and precise reference of the documents. No – Pass Scoring Criteria - Mandatory Pass/Fail | Yes ☐ No ☐ If Yes please provide details |
| SEL2.8 | If you have answered Yes to any of the Questions above have measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Bidder Guidance - The bidder shall provide evidence of all measures taken to demonstrate their self cleaning. The information provided will be taken into account by the authority, in considering whether or not you will be permitted to proceed any further in respect of this procurement. Scoring Criteria - Mandatory Pass/fail | Yes ☐ No ☐ |
| SEL2.9 | Regulation 57(3) Has it been established, for your organisation by a judicial or administrative decision having final and binding effect in accordance with the legal provisions of any part of the United Kingdom or the legal provisions of the country in which the organisation is established (if outside the UK), that the organisation is in breach of obligations related to the payment of tax or social security contributions? Bidder Guidance - The bidder shall answer Yes or No Yes - Fail No - Pass In the event of a bidder responding "Yes" they should provide further details as an attachment to this question. The attachment should also confirm you have paid, or have entered into a binding arrangement with a view to paying, the outstanding sum including where applicable any accrued interest and/or fines. Please Note: The authority reserves the right to use its sole discretion to exclude a potential supplier where it can demonstrate by any appropriate means that the potential supplier is in breach of its obligations relating to the non-payment of taxes or social security contributions. Scoring Criteria - Mandatory Pass/fail | Yes ☐ No ☐ |

| SEL3.1 | SEL3.1 - Grounds for discretionary rejection – The Contracting Authority is entitled to exclude you from further consideration if any of the below discretionary grounds apply but may decide to allow you to proceed further. If you cannot provide a compliant answer – (No) to the above questions, it is possible that your application might not be accepted. In the event that any of the below do apply by answering – (Yes), please provide an attachment to the question providing details of the relevant incident and any remedial action taken including self cleaning that has been done. The information provided will be taken into account by the authority, in considering whether or not you will be permitted to proceed any further in respect of this procurement. The detailed grounds for discretionary exclusion of an organisation are set out on https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/551130/List_of_Mandatory_and_Discretionary_Exclusions.pdf which should be referred to before completing these questions. Please indicate if, within the past three years, anywhere in the world any of the following situations have applied to you, your organisation or any other person who has powers of representation, decision or control in the organisation. Bidder guidance - Bidders shall answer Yes they understand this requirement and the above guidance | Yes ☐ |
| --- | --- | --- |
| SEL3.2 | SEL3.2 - Breach of environmental obligations? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.3 | SEL3.3 - Breach of social obligations? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.4 | SEL3.4 - Breach of labour law obligations? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.5 | SEL3.5 - Bankrupt or is the subject of insolvency or winding-up proceedings, where the organisation’s assets are being administered by a liquidator or by the court, where it is in an arrangement with creditors, where its business activities are suspended or it is in any analogous situation arising from a similar procedure under the laws and regulations of any State? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.6 | SEL3.6 Guilty of grave professional misconduct? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.7 | SEL3.7 Entered into agreements with other economic operators aimed at distorting competition? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.8 | SEL3.8 Aware of any conflict of interest within the meaning of Regulation 24 of the Public Contracts Regulations 2015 (as amended) due to the participation in this procurement procedure? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.9 | SEL3.9 Been involved in the preparation of the procurement procedure within the meaning of Regulation 41 of the Public Contracts Regulations 2015 (as amended) Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.10 | Prior Performance issuesi Shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions? Bidder guidance: The Bidder shall answer Yes or No Bidders answering No will be considered compliant Bidders answering Yes will be subject to review as to your suitability to be considered further, in respect of the procurement at the sole discretion of the authority. If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) Scoring Criteria - Pass/fail | Yes ☐ No ☐ If yes please provide details |
| SEL3.11 | SEL 3.11 The organisation is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria. Is the above Statement true of your organisation? Bidder Guidance - The bidder shall answer Yes or No Yes - If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) No - Pass Scoring Criteria - Pass/ Fail | Yes ☐ No ☐ If Yes please provide details |

| SEL3.12 | SEL3.12 The organisation has withheld such information as described in SEL3.11 Is the above Statement true of your organisation? Bidder Guidance - The bidder shall answer Yes or No Yes - If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) No - Pass Scoring Criteria - Pass/ Fail | Yes ☐ No ☐ If Yes please provide details |
| --- | --- | --- |
| SEL3.13 | SEL3.13 The organisation is not able to submit supporting documents required under regulation 59 of the Public Contracts Regulations 2015 (as amended). Is the above Statement true of your organisation? Bidder Guidance - The bidder shall answer Yes or No Yes - If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) No - Pass Scoring Criteria - Pass/ Fail | Yes ☐ No ☐ If Yes please provide details |
| SEL3.14 | SEL3.14 The organisation has influenced the decision-making process of the contracting authority to obtain confidential information that may confer upon the organisation undue advantages in the procurement procedure, or to negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. Is the above Statement true of your organisation? Bidder Guidance - The bidder shall answer Yes or No Yes - If you have answered Yes, explain what measures been taken to demonstrate the reliability of the organisation despite the existence of a relevant ground for exclusion? (Self Cleaning) No - Pass Scoring Criteria - Pass/ Fail | Yes ☐ No ☐ If Yes please provide details |

Part 3: Selection Questions

| Section 4 | Economic and Financial Standing |
| --- | --- |
|  | Question | Response |
| SEL4.1 | SEL4.1 - Are you able to provide a copy of your audited accounts for the last two years, if requested? If no, can you provide one of the following; a. A statement of the turnover, Profit and Loss Account/Income Statement, Balance Sheet/Statement of Financial Position and Statement of Cash Flow for the most recent year of trading for this organisation b. A statement of the cash flow forecast for the current year and a bank letter outlining the current cash and credit position. c. Alternative means of demonstrating financial status if any of the above are not available (e.g. forecast of turnover for the current year and a statement of funding provided by the owners and/or the bank, charity accruals accounts or an alternative means of demonstrating financial status). Bidder Guidance - The Contracting Authority will make a judgement based on the information provided to ascertain the financial stability of the Bidder. The Contracting Authority reserves the right to consider credit check information alongside the response to this question in order to ascertain the financial stability of the Bidder. Pass – The Contracting Authority considers the information provided demonstrates the financial stability of the Bidder is sufficient to be considered for this procurement. Fail – The Contracting Authority considers the information provided fails to demonstrate the financial stability of the Bidder is sufficient to be considered for this procurement. Bidders are invited to embed their attachments to this question in the ‘Bidder response’ section. Scoring Criteria - Mandatory Pass/Fail | Yes I will provide the attachment(s) if requested |
| SEL4.2 | SEL4.2 Where we have specified a minimum level of economic and financial standing and/ or a minimum financial threshold within the evaluation criteria for this procurement, please self-certify by answering ‘Yes’ or ‘No’ that you meet the requirements set out. Bidder guidance: The authority will make a judgement based on the information provided to ascertain the financial stability of the Bidder. The authority reserves the right to consider credit check information alongside the response to this question in order to ascertain the financial stability of the Bidder. Pass – The authority considers the information provided demonstrates the financial stability of the Bidder is sufficient to be considered for this procurement. Fail – The authority considers the information provided fails to demonstrate the financial stability of the Bidder is sufficient to be considered for this procurement. Bidders are invited to embed their attachments to this question in the ‘Bidder response’ section. Scoring Criteria - Mandatory pass/fail | Yes ☐ No ☐ |

| SEL4.3 | SEL4.3 Are you part of a wider group (e.g. a subsidiary of a holding/parent company)? If yes, please confirm the name of the company and its relationship to you. If yes, please confirm if you are able to provide parent company accounts if requested to at a later stage? If yes, would the ultimate / parent company be willing to provide a guarantee if necessary? If not, would you be able to obtain a guarantee elsewhere ( from a bank?) Bidder Guidance - If this question does not apply, please respond "N/A". Please provide your response in the text box below The Contracting Authority will make a judgement based on the information provided to ascertain the financial stability of the Bidder. The Contracting Authority reserves the right to consider credit check information alongside the response to this question in order to ascertain the financial stability of the Bidder. Pass – The Contracting Authority considers the information provided demonstrates the financial stability of the Bidder is sufficient to be considered for this procurement. Fail – The Contracting Authority considers the information provided fails to demonstrate the financial stability of the Bidder is sufficient to be considered for this procurement. Bidders are invited to embed their attachments to this question in the ‘Bidder response’ section. Any information submitted over and above the specified limit will be disregarded and not evaluated Scoring Criteria – Mandatory Pass/fail | Yes ☐ No ☐ |
| --- | --- | --- |

|  | Insurance |
| --- | --- |
| SEL4.4 | SEL4.4 Please self-certify whether you already have, or can commit to obtain, prior to the commencement of the contract, the levels of insurance cover indicated below: Employer’s (Compulsory) Liability Insurance = £5,000,000 Public Liability Insurance = £2,000,000 Product Liability Insurance = £2,000,000 Bidder Guidance - It is a legal requirement that all companies hold Employer’s (Compulsory) Liability Insurance of £5 million as a minimum. Please note this requirement is not applicable to Sole Traders. The Bidder shall answer yes or no Yes= Pass No= Fail Scoring Criteria - Mandatory Pass/fail |

|  | Technical and Professional Ability |
| --- | --- |
| SEL5.1 | SEL5.1 - Please provide details of up to three contracts, in any combination from either the public or private sector; voluntary, charity or social enterprise (VCSE) that are relevant to our requirement. VCSEs may include samples of grant-funded work. Contracts for supplies or services should have been performed during the past three years. Works contracts may be from the past five years. The named contact provided should be able to provide written evidence to confirm the accuracy of the information provided below. Consortia bids should provide relevant examples of where the consortium has delivered similar requirements. If this is not possible (e.g. the consortium is newly formed or a Special Purpose Vehicle is to be created for this contract) then three separate examples should be provided between the principal member(s) of the proposed consortium or Special Purpose Vehicle (three examples are not required from each member). Where the Supplier is a Special Purpose Vehicle, or a managing agent not intending to be the main provider of the supplies or services, the information requested should be provided in respect of the main intended provider(s) or sub-contractor(s) who will deliver the contract. Bidder Guidance - The Bidder shall ensure all reference(s) comply with the requirements of having a similar scope and value to this procurement are still running or have been completed in the last five years (works) and three years (supplies / services) to achieve a pass. If you cannot provide at least one example, in no more than 500 words please provide an explanation for this e.g. your organisation is a new start-up or you have provided services in the past but not under a contract. Scoring Criteria - Mandatory Pass/Fail |
|  | Contract 1 | Contract 2 | Contract 3 |
| Name of customer organisation |  |  |  |
| Point of contact in the organisation |  |  |  |
| Position in the organisation |  |  |  |
| E-mail address |  |  |  |
| Description of contract |  |  |  |
| Contract Start date |  |  |  |
| Contract completion date |  |  |  |
| Estimated contract value |  |  |  |

| SEL5.2 | SEL5.2 Where you intend to sub-contract a proportion of the contract, please demonstrate how you have previously maintained healthy supply chains with your sub-contractor(s) Evidence should include, but is not limited to, details of your supply chain management tracking systems to ensure performance of the contract and including prompt payment or membership of the UK Prompt Payment Code (or equivalent schemes in other countries) Bidder guidance – Free text Scoring Criteria - For Information Only |
| --- | --- |

|  | Modern Slavery Act 2015: Requirements under Modern Slavery Act 2015 |
| --- | --- |
| SEL5.3 | SEL5.3 Are you a relevant commercial organisation as defined by section 54 ("Transparency in supply chains etc.") of the Modern Slavery Act 2015? Bidder guidance - Bidder shall confirm they are or are not a relevant commercial organisation as defined by section 54 of the Modern Slavery Act 2015 by answering Yes or No. Yes - Please provide an answer to SEL5.4 No - Please answer N/A to SEL5.4 Scoring Criteria - For Information Only | Yes ☐ N/A ☐ |
| SEL5.4 | SEL5.4 If you have answered yes to question SEL5.3 are you compliant with the annual reporting requirements contained within Section 54 of the Modern Slavery Act 2015? If you are subject to the Modern Slavery Act then it is a requirement of the authority in its contractual terms, for you to comply with this obligation including the authority’s right of audit under any contract awarded. Bidder Guidance - The bidder shall respond Yes, No or N/A Yes - Please provide relevant URL or attachment N/A – I have answered “No” to SEL5.3 No - Please provide an explanation as an attachment Scoring Criteria - Mandatory Pass/fail | Yes ☐ Please provide relevant the url … No ☐ Please provide an explanation |

| SEL5.5 | Please self-certify that your organisation has a Health and Safety Policy that complies with current legislative requirements. These should consider not only were your organisation is based but also any needs that are required in the country of delivery of the procurement. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |
| SEL5.6 | Has your organisation or any of its Directors or Executive Officers been in receipt of enforcement/remedial orders in relation to the Health and Safety Executive (or equivalent body) in the last 3 years? |
| Bidder Guidance | The Bidder Shall answer yes or no Yes = *Fail No = Pass * If your answer to this question is “Yes”, please provide details in a separate Appendix of the conviction or notice and details of any remedial action or changes you have made as a result of conviction or notices served. The Contracting Authority will not select bidder(s) that have been prosecuted or served notice under Health and Safety legislation in the last 3 years, unless the authority is satisfied that appropriate remedial action has been taken to prevent future occurrences/breaches. |
| Scoring Criteria | Mandatory Pass/Fail |

| SEL5.7 | Has your organisation been convicted of breaching environmental legislation, or had any notice served upon it, in the last three years by any environmental regulator or authority (including local authority)? |
| --- | --- |
| Bidder Guidance | The Bidder shall answer yes or no Yes – Fail* No – Pass * If your answer to this question is “Yes”, please provide details in a separate Appendix of the conviction or notice and details of any remedial action or changes you have made as a result of conviction or notices served. The Contracting Authority will not select bidder(s) that have been prosecuted or served notice under environmental legislation in the last 3 years, unless the authority is satisfied that appropriate remedial action has been taken to prevent future occurrences/breaches. |
| Scoring Criteria | Mandatory Pass/fail |
| Bidder response | Drop down menu - Yes / No |

| SEL5.8 | If you use sub-contractors, do you have processes in place to check whether any of these organisations have been convicted or had a notice served upon them for infringement of environmental legislation? |
| --- | --- |
| Bidder Guidance | The Bidder Shall answer Yes/No/Not Applicable A response of ‘Yes’ or ‘Not Applicable’ will result in a pass and a response of ‘No’ will result in a fail against this question. |
| Scoring Criteria | Selection – Yes/No/ Not Applicable |

| SEL5.9 | In the last three years, has any finding of unlawful discrimination been made against your organisation by an Employment Tribunal, an Employment Appeal Tribunal or any other court (or in comparable proceedings in any jurisdiction other than the UK)? And/or; In the last three years, has your organisation had a complaint upheld following an investigation by the Equality and Human Rights Commission or its predecessors (or a comparable body in any jurisdiction other than the UK), on grounds of alleged unlawful discrimination? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Fail* No – Pass *If you have answered “yes” please provide, as an attachment to this question, a summary of the nature of the investigation and an explanation of the outcome of the investigation to date. If the investigation upheld the complaint against your organisation, please use the attachment to explain what action (if any) you have taken to prevent unlawful discrimination from reoccurring. You may be excluded if you are unable to demonstrate to the Contracting Authority’s satisfaction that appropriate remedial action has been taken to prevent similar unlawful discrimination reoccurring. |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| SEL5.10 | If you use sub-contractors, do you have processes in place to check whether any of the circumstances in regards to the last three years, has any finding of unlawful discrimination been made against your subcontractors by an Employment Tribunal, an Employment Appeal Tribunal or any other court (or in comparable proceedings in any jurisdiction other than the UK)? And/or; In the last three years, has any of your subcontractors had a complaint upheld following an investigation by the Equality and Human Rights Commission or its predecessors (or a comparable body in any jurisdiction other than the UK), on grounds of alleged unlawful discrimination? |
| --- | --- |
| Bidder Guidance | The Bidder Shall answer yes or no Yes – Fail* No – Pass *If you have answered “yes” please provide, as an attachment to this question, a summary of the nature of the investigation and an explanation of the outcome of the investigation to date. If the investigation upheld the complaint against your sub-contractors, please use the attachment to explain what action (if any) you have taken to prevent unlawful discrimination from reoccurring. You may be excluded if you are unable to demonstrate to the Contracting Authority’s satisfaction that appropriate remedial action has been taken by your sub-contractors to prevent similar unlawful discrimination reoccurring. |
| Scoring Criteria | Mandatory Pass/fail |
| Bidder response | Drop down menu - Yes / No |

| FOI1.1 | FREEDOM OF INFORMATION ACT 2000 (FOIA) AND / OR ENVIRONMENTAL INFORMATION REGULATIONS 2004 (EIR) Information provided in the course of the procurement process may be disclosed under Freedom of Information Act 2000 or Environmental Information Regulations 2004. Please note that some of the information provided may be protected under the FOIA exemptions and EIR exceptions. More information on applying the exemptions or exceptions can be found under the Information Commissioners Office (ICO) website http://ico.org.uk Please confirm you have been informed that information provided under this Bid may be disclosed under the FOIA and EIR and agree to it being published. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Yes / No |

| FOI1.2 | FREEDOM OF INFORMATION ACT 2000 AND / OR ENVIRONMENTAL INFORMATION REGULATIONS 2004 EXEMPTIONS Please complete this section only if you have agreed for your information to be disclosed under the FOIA or EIR in FOI1.1 If you have not agreed for your information to be disclosed under the FOIA or EIR in Question FOI1.1 please complete the table ‘N/A’ (not applicable) If you have agreed for your information to be disclosed under the FOIA or EIR in Question FOI1.1 please tell us what exemptions or exceptions may apply to your information and why? If you are not relying on any exemptions or exceptions please complete each field ‘N/A’ (not applicable). |
| --- | --- |
| Bidder guidance | The Bidder shall provide details of their proposed exemptions/exception in the table below. The Bidder shall note that if the Contracting Authority believes that the suggested exemptions or exceptions have not been applied properly, the Contracting Authority will disclose the requested information unless another exemption or exception can be applied by the Contracting Authority. Be aware that by completing FOI1.1 and answering ‘yes’ you have agreed for the Contracting Authority to disclose the provided information under the Freedom of Information Act 2000 or Environmental Information Regulation 2004, therefore you will not be approached for consent. |
| Scoring criteria | For information only |
| Bidder response | Confidential Information | Justification for exemption/exception under FOIA / EIR |
|  | Commercially sensitive information | Justification for exemption/exception under FOIA / EIR |

Section 6 – Award questionnaire

6.2	The Award questionnaires are located within the e-sourcing tool.

6.3	Guidance on completion of the questions is available at  http://www.uksbs.co.uk/services/procure/Pages/supplier.aspx

PLEASE NOTE THE QUESTIONS ARE NOT NUMBERED SEQUENCIALLY

COMMERCIAL QUESTIONNAIRE

RFP Governance

| AW1.1 | FORM OF BID I declare that to the best of my knowledge the answers submitted in this RFP are correct. I understand that the information will be used in the process to assess my organisation’s suitability to be invited to bid for the Contracting Authority’s requirement and I am signing on behalf of my organisation. I understand that the the Contracting Authority may reject this RFP if there is a failure to answer all relevant questions fully or if I provide false/misleading information. I understand that the Government’s transparency agenda requires that sourcing documents, including RFP templates such as this, are published on a designated, publicly searchable web site, and, that the same applies to other sourcing documents issued by the Contracting Authority, including the RFP, and any contract entered into by the Contracting Authority or its Customers with its preferred supplier once the procurement is complete. By submitting a response to this RFP I agree that our participation may be made public. I understand that the answers given in this response may be published on the web site (but elements may be redacted under Freedom of Information Act 2000 (FOIA) or Environmental Information Regulations 2004 (EIR)). By submitting a response to this RFP I agree and accept the justification for the the Contracting Authority’s evaluation criteria. By submitting a response to this RFP I agreed and accept that the Contracting Authority reserves the right to change without notice the procedure for awarding the Contract, to reject any or all bids for the Contract, to stop the process and not award the Contract (in whole or in part) at any time without any liability on its part. By submitting a response to this RFP I agree and accept that nothing in this process is intended to form any express or implied contractual relationship between the Parties unless and until a Contract is awarded. The Contracting Authority is not liable for any costs resulting from cancellation of this process nor any costs incurred by Bidders taking part in this procurement process. I understand that where sourcing documents issued by the Contracting Authority or contracts with its suppliers fall to be disclosed The Contracting Authority will redact them as it thinks necessary, having regard (inter alia) to the exemptions/exceptions in the FOIA or EIR. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| AW1.2 | Having examined the contents of the RFP we offer to carry out the requirement in conformity with the said conditions for the maximum fixed prices detailed in the schedule attached in response to AW5.2. We undertake to carry out the requirements specified within the period stated in the enquiry letter. Our Bid offer shall be binding between us for a period of 90 days from the closing date for receipt of Bids. Unless and until a formal agreement is prepared and executed this Bid and a written acceptance thereof shall constitute a binding contract between us. We understand that you are not bound to accept the lowest or any Bid you may receive. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| AW1.3 | CERTIFICATE OF BONA FIDE BID The essence of procurement is that the customer shall receive bona fide competitive Bids, from all those Bidding. In recognition of this principle, we certify that this is a bona fide Bid, intended to be competitive and that we have not fixed or adjusted the amount of Bid by or under or in accordance with any agreement with any other person. We also certify that we have not done and we undertake that we will not do at any time before the hour and date specified for the return of this Bid any of the following: (a) Communicate to a person other than the person calling for these Bids the amount or approximate amount of the proposed Bid, except where the disclosure, in confidence, of the approximate amount of the Bid was necessary to obtain insurance premium quotations for the preparation of the Bid; (b) Enter into any agreement or arrangement with any other person that he shall refrain from bidding or as to the amount of any Bid to be submitted; (c) Offer to pay or agree to pay or give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or have caused to be done in relation to any other Bid or proposed Bid for the said supply / service any act or thing of the sort described above. In this certificate, the word "person" includes any persons and any body or association, corporate or unincorporated, and any "agreement or arrangement" includes any such transaction, formal or informal, and whether legally binding or not. We acknowledge that the Contracting Authority will be entitled to cancel the contract and to recover from us the amount of any loss resulting from such cancellation if we or our representatives (whether with our without our knowledge) shall have practiced collusion in Bidding for this contract or any other contract with the Contracting Authority or shall employ any corrupt or illegal practices either in the obtaining or execution of this contract or any other contract with the Contracting Authority. We agree that the Contracting Authority may disclose the Bidders information / documentation (submitted to the Contracting Authority during this Procurement) more widely within Government for the purpose of ensuring effective cross-Government procurement processes, including value for money and related purposes. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

Executive summary

| AW2.1 | Please provide an executive summary of your bid. The executive summary should focus on the key features of the Bidder’s Response including all key assumptions made by the Bidder (but excluding all pricing/financial information) The objective of the executive summary is to provide the Contracting Authority with a clear, concise and complete summary of the Bidder’s Response together with an insight into the reasoning and rationale behind the Response. It is intended that the executive summary should provide a useful introduction to the Response for evaluators, as well as senior stakeholders who may not be involved in the detailed evaluation. Whilst the executive summary will not be formally evaluated, it will be scrutinised for consistency with your Response and clarification will be sought if required. The executive summary must only contain information drawn from other areas of your Response and must not contain any new material. Whilst diagrams and photographs may be used, they should be high level and should not be used to support other parts of the Response where more detailed information is required. |
| --- | --- |
| Bidder guidance | Maximum character count 4096 characters Any information submitted over and above the specified limit will be disregarded and not evaluated |
| Scoring criteria | For information only |
| Bidder response | Text |

Compliance to the Contract Terms

| AW4.1 | Please confirm your acceptance of the attached Contract Terms. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes, No with justification or No Yes – Pass No with justification –Pass. See question AW4.2 for details of what amounts to a valid justification. No – Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes, No with justification, No |

| AW4.2 | Where a Bidder has answered question AW4.1 with ‘no with justification’ they must detail the justification and the proposed change to the clause |
| --- | --- |
| Bidder guidance | A justification for not accepting a specific clause or series of clauses from the attached Contract Terms is that the Bidder would be in breach of legal requirements or statutory regulations by complying with that clause or series of clauses (i.e. for the avoidance of doubt, being unable to comply with a clause or series of clauses because of an internal policy reason will not be considered to be a justification for a legal requirement or statutory regulation). Where the Bidder has answered question AW4.1 as "no with justification", the Bidder shall provide a Contract mark-up utilising track changes detailing the relevant clause, the proposed changes to the clause and the justification for the changes. In this case, the Bidder shall score a pass if (but only if) the Contracting Authority considers both the following requirements are satisfied: the reasons stated as justifying the Bidder's statement that it cannot accept the Contract Terms due to legal requirements or statutory regulations are valid; and the changes submitted do not create significant risk for the Contracting Authority and are reasonably necessary and proportionate to ensure the Bidder complies with the legal requirements and statutory regulations. Where a Bidder has answered Question AW4.1 with ‘Yes’ or ‘No’ it must answer ‘not applicable’ to achieve a Pass to question AW4.2 (noting that an answer of ‘No’ to question AW4.1 has already resulted in a fail). In the event of a Bidder answering Yes or No to Question AW4.1 and then providing a proposed mark up, rejection of a clause or a justification for a change then the response will be a Fail. |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu ‘N/A’ ‘I have answered AW4.1 ‘No with justification’ and attach modifications / requested / justification’. |

PRICE QUESTIONNIARE

| AW5.1 | Please confirm your price shall remain firm and fixed for the full term of the Contract. Thereafter they shall be subject to change in accordance with the terms of the contract. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No – Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes, No |

| AW5.5 | The Contracting Authority are committed to delivering payments to suppliers within the timescales stated within our Contract terms and intend to embrace e-invoicing. There are a number of options for suppliers to choose from outlined in the attached FAQ. Please confirm your preferred method of e-payment. ADI Consolidated Data Upload ISupplier |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes we will utilise an e-invoicing option – Pass No we will not utilise an e-invoicing option – Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu – Yes, No |

| AW5.6 | Please confirm if you are successfully awarded this contract your implementation team will work with the Contracting Authority to ensure that e-invoicing is established within 28 days of Contract award by the Contracting Authority. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No – Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes, No |

| AW5.7 | Please indicate which Lots you are bidding for |
| --- | --- |
| Bidder guidance | Use the drop down menu to select ALL Lots that you wish to be considered for. Your bid will NOT be evaluated for any Lots that you do not select. Lot 1 – Multiparameter Scanner Lot 2 – High-resolution XRF Scanner Lot 3 – High-throughput XRF Scanner Lot 4 – Hand-Held XRF Scanner Lot 5 – X-Ray CT Scanner Lot 6 – CT Visualisation Software |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Multi-selection Drop down menu |

LOT Specific Questions

Lot 1 Multiparameter Scanner

| AW5.2 | Bidders are required to complete the tab “Lot 1” of the Excel Pricing Schedule attached in the ’RFX attachments’ section in the e-sourcing tool. All prices shall be exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived. |
| --- | --- |
| Bidder guidance | Bidders shall confirm they have completed the Pricing Schedule. The scoring methodology for this question shall be: The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50 In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price. The lowest score possible is 0. For example, assuming the lowest bid is £100,000. Bid Price Differential to the lowest price which meets the mandatory pass criteria at Award stage Score £100,000 0 100 £120,000 20% 80 £140,000 40% 60 £150,000 50% 50 £175,000 75% 25 £200,000 100% 0 £300,000 200% 0 |
| Scoring criteria | Maximum Marks 40% |
| Bidder response | Drop down menu – Yes |

| AW6.1 | Please confirm your compliance to the requirements of Sections 1.5 “Goods Specification Mandatory Requirements” and 1.6.1, “Mandatory Requirements for Lot 1”, of the Specification |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| AW6.2 | Is the scanner capable of collecting data using multiple sensors down core at resolutions of 0.1 – 15 cm? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No – 0 |
| Scoring criteria | Scored 0 – 100 Maximum Marks 4.80% |
| Bidder response | Drop down menu - Yes / No |

| AW6.3 | Is natural gamma expressible in API units across a measurement range of 0 – 300 API? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No - 0 |
| Scoring criteria | Scored 0 – 100 Maximum Marks 3.60% |
| Bidder response | Drop down menu - Yes / No |

| AW6.4 | Is three component gamma spectra sufficient to develop relative bulk elemental composition for K expressed in the range of 0 – 55% |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No - 0 |
| Scoring criteria | Scored 0 – 100 Maximum marks 1.20% |
| Bidder response | Drop down menu - Yes / No |

| AW6.5 | Please provide details of how the scanner makes non-contact resistivity measurements of wet cores in the range 1 – 10 Ωm-1 |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | For information Only |
| Bidder response | Free text |

| AW6.6 | Is the scanner capable of colour spectrophotometry including NIR from wavelengths of 350nm to 2500nm with a resolution of 3nm at 700nm and 10nm between 1400/2100nm? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No - 0 |
| Scoring criteria | Scored 0 – 100 Maximum marks 4.80% |
| Bidder response | Drop down menu - Yes / No |

| AW6.7 | Does the scanner have an option for dry rock resistivity above 10 Ωm |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No - 0 |
| Scoring criteria | Scored 0 – 100 Maximum marks 3.60% |
| Bidder response | Drop down menu - Yes / No |

| AW6.8 | Can the system comply with a variety of input materials including whole round core, slabbed core, soft sediments and cuttings |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the materials that can be scanned on the system. |
| Scoring criteria | Scored 0 – 100 using the methodology: 0 - System cannot scan a variety of input materials. 40 – system can scan a variety of input materials, but these do not include all of those mentioned. 80 - System can scan a variety of input materials, including level hole round core, slabbed core and soft sediments. 100 – System can scan unlevel core, slabbed core, lined core, soft sediments, plugs and cuttings. Maximum marks 6.00% |
| Bidder response | Free text |

| AW6.9 | If core moves relative to measurement sensors does it include 10 metres length of 1 metres carriers 25/30/40/50/60/70/80/90/100/120/150 mm cores? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes, No or N/A Yes – 100 N/A core does not move relative to measurement sensors - 100 No - 0 |
| Scoring criteria | Scored 0 – 100 Maximum marks 4.80% |
| Bidder response | Drop down menu - Yes / No |

| AW6.10 | Please provide the range of core measurements that can be taken down by the proposed instrument |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the range of core measurements that can be taken down |
| Scoring criteria | Scored 0 – 100 using the methodology: 5cm – 15cm = 0 1cm – 15cm = 80 0.1cm to 15cm = 100 Maximum marks 2.40% |
| Bidder response | Free text |

| AW6.11 | Please confirm that the system is compatible with Windows V7 and upwards. If not compatible please provide details of system compatability. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No – 0* *If no, please provide details of system capability |
| Scoring criteria | Scored 0 – 100 Maximum marks 2.40% |
| Bidder response | Drop down menu - Yes / No Free text |

| AW6.12 | Is three component gamma spectra sufficient to develop relative bulk elemental composition for Th expressed in the range of 0 – 60 PPM |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – 100 No - 0 |
| Scoring criteria | Scored 0 – 100 Maximum marks 4.80% |
| Bidder response | Drop down menu - Yes / No |

| AW6.13 | Can a hyperspectral camera be fitted to the machine? If so please provide details of the range of wavelengths covered by the camera and indicative costs |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW6.14 | List all the formats that the scanner is capable of outputting |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW6.15 | Is there any facility for exporting directly into BGS Corporate Oracle tables |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW6.16 | What network bandwith is expected or required? |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW6.17 | How does the design of the system facilitate upgrades to the hardware, and if additional sensors can be fitted, please give details. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 6.00% |
| Bidder response | Free Text |

| AW6.18 | Describe any calibration samples provided. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW6.19 | Please provide Mean Time Between Failure (MTBF) details in hours for the proposed equipment |
| --- | --- |
| Bidder guidance | Bidder shall provide mean time between failure expressed in operational hours and provide evidence supporting this information. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology where the highest number of hours will score 100% of the available marks. All other bids will be scored proportionately by calculating the difference in time as a percentage. For example: The highest number of operational hours between failure = 4000, thereby scoring 100% of the maximum available marks. A bid with 3000 operational hours between failure is scored 3000/4000 = 0.75 thereby scoring 75% of the maximum available marks. In this example the top score would be 3.60 and a bid scoring 75% would receive 2.70 marks. For the purpose of evaluation the maximum number of hours to be used for the calculation is 10,000 hours. Maximum Marks 3.60% |
| Bidder response | Free text + attachment |

| AW6.20 | Please indicate typical technical call out times for rectifying equipment failure. |
| --- | --- |
| Bidder guidance | Bidder shall select the answer reflecting their response. The call out time selected should be based on your mean average call out time for the last 12 months where possible. |
| Scoring criteria | less than 24 hours = 100 24 - 48 hours = 80 48 hours – 7 days = 20 7 days + = 0 Maximum Marks 4.80% |
| Bidder response | Drop down menu |

| AW6.21 | Please indicate the number of on site days training provided with the installation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | 3 days - 0 4-5 days - 50 more than 5 days - 100 Maximum Marks 4.80% |
| Bidder response | Drop down menu |

| AW6.22 | Is a second year of customer support provided at no additional cost? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – 100 No – 0 Maximum Marks 2.40% |
| Bidder response | Drop down menu - Yes / No |

| AW6.23 | Please indicate the cost of extending customer support to a full 5 years. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the Price Schedule attached to question AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW6.24 | Please indicate any items excluded from the full customer support and their typical costs |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the text box and add the additional options to the price schedule at AW5.2 in the Optional Items table. |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW6.25 | Please give the external dimensions of the scanner assembly when in operation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW6.26 | Please give the dimensions and weights of any parts of the scanner, potentially transported separately, that will not easily fit in a lift measuring 1.2m wide, 2.0m high and 2.4m long. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW6.27 | Please give the weight of the scanner and any floor loading requirements |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW6.28 | Please state the required environmental operating conditions (temperature & relative humidity ranges and tolerances, dust tolerance, etc.) |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the operating conditions required, including, but not limited to, temperature, relative humidity ranges & tolerances and dust tolerance. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW6.29 | Please state the electrical power requirements of the scanner |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW6.30 | If the offered computer software includes an additional visualisation / processing package beyond the basic software supplied as standard, state the software name, briefly describe its facilities and state the additional price if not included. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested and state the additional price of the required visualisation/processing package in the Price Schedule at AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

Lot 2 High Resolution XRF Core Scanner

| AW5.2 | Bidders are required to complete the tab “Lot 2” of the Excel Pricing Schedule attached in the ’RFX attachments’ section in the e-sourcing tool. All prices shall be exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived. |
| --- | --- |
| Bidder guidance | Bidders shall confirm they have completed the Pricing Schedule. The scoring methodology for this question shall be: The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50 In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price. The lowest score possible is 0. For example, assuming the lowest bid is £100,000. Bid Price Differential to the lowest price which meets the mandatory pass criteria at Award stage Score £100,000 0 100 £120,000 20% 80 £140,000 40% 60 £150,000 50% 50 £175,000 75% 25 £200,000 100% 0 £300,000 200% 0 |
| Scoring criteria | Maximum Marks 40% |
| Bidder response | Drop down menu – Yes |

| AW7.1 | Please confirm your compliance to the requirements of Sections 1.5 “Goods Specification Mandatory Requirements” and 1.6.2 of the Specification |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – Pass No - Fail Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| AW7.2 | Please advise if elemental analysis is possible for Mg (12) |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – 100 No – 0 Maximum Marks 1.50% |
| Bidder response | Drop down menu - Yes / No |

| AW7.3 | Please advise what power x-ray source is contained in the system |
| --- | --- |
| Bidder guidance | Bidder shall provide the power level of the x-ray source |
| Scoring criteria | Scored 0 – 100 using the methodology: <1,000 watts - 0 1,000 – 1,499 watts - 20 1,500 – 1,999 watts - 40 2,000 – 2,499 - 60 2,500 – 3,000 watts - 80 >3,000 watts - 100 Maximum Marks 1.50% |
| Bidder response | Free text |

| AW7.4 | Please provide the lowest possible analytical detection limits, using routine analytical settings, elemental range specified in the attached spreadsheet. Your figures should be based on a core size of 1m length, 100mm diameter. |
| --- | --- |
| Bidder guidance | Bidders shall complete the attached spreadsheet with the information requested in rows 1-5 and 7. |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: Each of the 29 elements will be scored separately, with the lowest detection limit of all bids scoring 10. Intermediate results will be calculated by dividing 10 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 5 bids are received: 10/4 = 2.5 Lowest detection limit – 10 2nd lowest detection limit – 7.5 3rd lowest detection limit – 5 4th lowest detection limit – 2.5 Highest detection limit - 0 In the event that only 1 response is received, the bidder will score 10 points for each of the elements. In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. The 29 scores will then be added together and divided by 2.9 to give the resulting score out of 100 for this question. Example: Bidder scores 237 across all elements 237/2.9 = 81.72 out of 100 Maximum Marks 3.50% |
| Bidder response | Attachment |

| AW7.5 | For the scanning operation in AW7.4 please confirm your dwell time to achieve these results. |
| --- | --- |
| Bidder guidance | Bidder shall provide the dwell time for the scanning operation in AW7.4 in minutes:seconds. |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: The fastest dwell time will score 100 marks. Intermediate times will be scored by dividing 100 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 3 bids are received: 100/2 = 50 Fastest dwell time – 100 2nd fastest dwell time – 50 Slowest dwell time – 0 In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. Maximum Marks 2.50% |
| Bidder response | Attachment |

| AW7.6 | Please provide the penetration depth of analysis in a typical geological matrix |
| --- | --- |
| Bidder guidance | Supplier to provide penetration depth in millimetres. |
| Scoring criteria | Scored 0 – 100 using the methodology: No pentration, surface analysis only - 0 1mm or less - 20 2mm - 40 3mm - 60 4mm - 80 5mm or more - 100 Maximum Marks 3.50% |
| Bidder response | Single selection drop down menu |

| AW7.7 | Please provide information about the devices used to decrease secondary flourescence |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW7.8 | Please confirm whether the system provides quantitative data via calibration |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 - 100 Yes – 100 No – 0 Maximum Marks 2.50% |
| Bidder response | Drop down menu - Yes / No |

| AW7.9 | Can you view spectra and how can it be manipulated. For example are peak labelling, integration and enhanced calibration possible? |
| --- | --- |
| Bidder guidance | Bidder shall provide details about how spectra can be viewed and manipulated. This should include, but not be limited to, peak labelling integration and enhanced calibration. |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW7.10 | Please provide details of the expected life of your x-ray tube and cost of replacement |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW7.11 | Please provide the spectral resolution for manganese K alpha at peak energy |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.12 | Please provide the range of scanning speeds typically achieved by users of this equipment, based on a core size of 1 m length, 100 mm diameter. Include information on the spot and step size. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: The scanning speeds for each scanner will be averaged and allowance made for spot and step size. The fasted average scanning time will score 100 marks. Intermediate times will be scored by dividing 100 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 3 bids are received: 100/2 = 50 Fastest dwell time – 100 2nd fastest dwell time – 50 Slowest dwell time – 0 In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. Maximum Marks 1.50% |
| Bidder response | Free text |

| AW7.13 | Can the system handle a variety of core diameters and formats, including whole round, slabbed ½ and ¼? |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 3.50% |
| Bidder response | Drop Down |

| AW7.14 | How does the design of the system facilitate upgrades to the hardware, and if additional sensors can be fitted, please give details. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 2.50% |
| Bidder response | Free Text |

| AW7.15 | Describe any calibration samples provided. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW7.16 | List all the formats that the scanner is capable of outputting |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW7.17 | Is there any facility for exporting directly into BGS Corporate Oracle tables? |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW7.18 | What network bandwith is expected or required? |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW7.19 | Please provide Mean Time Between Failure (MTBF) details in hours for the proposed equipment |
| --- | --- |
| Bidder guidance | Bidder shall provide mean time between failure expressed in operational hours and provide evidence supporting this information. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology where the highest number of hours will score 100% of the available marks. All other bids will be scored proportionately by calculating the difference in time as a percentage. For example: The highest number of operational hours between failure = 4000, thereby scoring 100% of the maximum available marks. A bid with 3000 operational hours between failure is scored 3000/4000 = 0.75 thereby scoring 75% of the maximum available marks. In this example the top score would be 1.48 and a bid scoring 75% would receive 1.11 marks. For the purpose of evaluation the maximum number of hours to be used for the calculation is 10,000 hours. Maximum Marks 0.50% |
| Bidder response | Free text |

| AW7.20 | Please indicate typical technical call out times for rectifying equipment failure. |
| --- | --- |
| Bidder guidance | Bidder shall select the answer reflecting their response. The call out time selected should be based on your mean average call out time for the last 12 months where possible. |
| Scoring criteria | less than 24 hours = 100 24 - 48 hours = 80 48 hours – 7 days = 20 7 days + = 0 Maximum Marks 2.50% |
| Bidder response | Drop Down |

| AW7.21 | Please indicate the number of on-site days training provided with the installation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | 3 days - 0 4-5 days - 50 more than 5 days - 100 Maximum Marks 2.50% |
| Bidder response | Drop down menu |

| AW7.22 | Is a second year of customer support provided at no additional cost? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – 100 No – 0 Maximum Marks 1.50% |
| Bidder response | Drop down menu - Yes / No |

| AW7.23 | Please indicate the cost of extending customer support to a full 5 years. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the Price Schedule attached to question AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.24 | Please indicate any items excluded from the full customer support and their typical costs |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the text box and add the additional options to the price schedule at AW5.2 in the Optional Items table. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.25 | Please give the external dimensions of the scanner assembly when in operation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.26 | Please give the dimensions and weights of any parts of the scanner, potentially transported separately, that will not easily fit in a lift measuring 1.2m wide, 2.0m high and 2.4m long. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.27 | Please give the weight of the scanner and any floor loading requirements |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.28 | Please state the required environmental operating conditions (temperature & relative humidity ranges and tolerances, dust tolerance, etc.) |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the operating conditions required, including, but not limited to, temperature, relative humidity ranges & tolerances and dust tolerance. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.29 | Please state the electrical power requirements of the scanner |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.30 | If the offered computer software includes an additional visualisation / processing package beyone the basic software supplied as standard, state the software name, briefly describe its facilities and state the additional price if not included. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested and state the additional price of the required visualisation/processing package in the Price Schedule at AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW7.31 | Is the equipment capable of providing high resolution (20 µm) X-radiographic images to reveal fine-scale texture in the core samples. |
| --- | --- |
| Bidder guidance | Bidder shall answer yes or no |
| Scoring criteria | Yes = 100 No = 0 Maximum Marks 3.50% |
| Bidder response | Yes / No drop down |

| AW7.32 | System offers interchangeable X-ray tubes for example Cr and Rh |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 3.50% |
| Bidder response | Drop Down |

| AW7.33 | Does the system have the ability to vary X-ray tube power settings |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 3.50% |
| Bidder response | Drop Down |

| AW7.35 | Please provide details of X-ray tube filters if used and how they influence analytical performance |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free Text |

| AW7.36 | Practical demonstration of capability Scan the requested sample, using the same model of scanner as the one that would be supplied, in a manner best demonstrating the high resolution, low detection limits, speed of operation and surface mapping capabilities of the equipment. The resulting data (including timings and an indication of the repeatability of the measurements), images and a brief interpretative report should then be returned with the questionnaire. |
| --- | --- |
| Bidder guidance | All companies completing the questionnaire are invited to apply to UKSBS for a test sample, which will be a slice of a finely laminated Precambrian tuff. They are then required to scan the sample using the same model of scanner that would be supplied. If this is not available, a scanner with equivalent attributes would be acceptable, but please ensure that this is clearly stated in your response. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document. The evaluating committee will rank the returned data and reports in terns of spatial resolution achieved (which picks out the finest scale features) and the consistent detection & quantification of major and trace elements. The repeatability will be judged from the surface mapping capability coupled with the subparallel lamination present in the sample. The speed of operation will be a secondary consideration. Samples roughly equivalent will be treated as equal. Maximum Marks 20.00% |
| Bidder response | Upload an attachment showing your data (including timings), images and a brief interpretative report. |

Lot 3 High Volume XRF Core Scanner

| AW5.2 | Bidders are required to complete the tab “Lot 3” of the Excel Pricing Schedule attached in the ’RFX attachments’ section in the e-sourcing tool. All prices shall be exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived. |
| --- | --- |
| Bidder guidance | Bidders shall confirm they have completed the Pricing Schedule. The scoring methodology for this question shall be: The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50 In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price. The lowest score possible is 0. For example, assuming the lowest bid is £100,000. Bid Price Differential to the lowest price which meets the mandatory pass criteria at Award stage Score £100,000 0 100 £120,000 20% 80 £140,000 40% 60 £150,000 50% 50 £175,000 75% 25 £200,000 100% 0 £300,000 200% 0 |
| Scoring criteria | Maximum Marks 40% |
| Bidder response | Drop down menu – Yes |

| AW8.1 | Please confirm your compliance to the requirements of Sections 1.5 “Goods Specification Mandatory Requirements” and 1.6.2 of the Specification |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – Pass No - Fail Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| AW8.2 | Is your system capable of providing an analytical resolution of less than 1mm? Please provide details. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes – 100 No – 0 Maximum Marks 2.10% |
| Bidder response | Drop down menu - Yes / No Free text |

| AW8.3 | Please provide the lowest possible analytical detection limits, using routine analytical settings, elemental range specified in the attached spreadsheet. Your figures should be based on a core size of 1m length, 100mm diameter. |
| --- | --- |
| Bidder guidance | Bidders shall complete the attached spreadsheet with the information requested in rows 1-5 and 7. |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: Each of the 29 elements will be scored separately, with the lowest detection limit of all bids scoring 10. Intermediate results will be calculated by dividing 10 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 5 bids are received: 10/4 = 2.5 Lowest detection limit – 10 2nd lowest detection limit – 7.5 3rd lowest detection limit – 5 4th lowest detection limit – 2.5 Highest detection limit - 0 In the event that only 1 response is received, the bidder will score 10 points for each of the elements. In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. The 29 scores will then be added together and divided by 2.9 to give the resulting score out of 100 for this question. Example: Bidder scores 237 across all elements 237/2.9 = 81.72 out of 100 Maximum Marks 5.70% |
| Bidder response | Attachment |
| AW8.4 | For the scanning operation in AW8.3 please confirm your dwell time to achieve these results. |
| Bidder guidance | Bidder shall provide the dwell time for the scanning operation in AW8.3 in minutes:seconds. |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: The fastest dwell time will score 100 marks. Intermediate times will be scored by dividing 100 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 3 bids are received: 100/2 = 50 Fastest dwell time – 100 2nd fastest dwell time – 50 Slowest dwell time – 0 In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. Maximum Marks 3.90% |
| Bidder response | Attachment |

| AW8.5 | Please provide the penetration depth of analysis in a typical geological matrix |
| --- | --- |
| Bidder guidance | Supplier to provide penetration depth |
| Scoring criteria | Scored 0 – 100 using the methodology: No pentration, surface analysis only - 0 1mm or less - 20 2mm - 40 3mm - 60 4mm - 80 5mm or more - 100 Maximum Marks 3.90% |
| Bidder response | Single selection drop down menu |

| AW8.6 | Please provide the range of scanning speeds typically achieved by users of this equipment, based on a core size of 1 m length, 100 mm diameter. Include information on the spot and step size. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: The scanning speeds for each scanner will be averaged and allowance made for spot and step size. The fasted average scanning time will score 100 marks. Intermediate times will be scored by dividing 100 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 3 bids are received: 100/2 = 50 Fastest dwell time – 100 2nd fastest dwell time – 50 Slowest dwell time – 0 In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. Maximum Marks 5.70% |
| Bidder response | Free text |

| AW8.7 | Can the system handle a variety of core diameters and formats, including whole round, slabbed ½ and ¼? |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 5.70% |
| Bidder response | Drop down box, Yes/No |

| AW8.8 | Can the system handle a variety of sample types, such as hand specimens, thin sections? If so, please provide details |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 5.70% |
| Bidder response | Drop down box, Yes/No Free text |

| AW8.9 | Does the system have a mechanism for matrix correction? |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 3.90% |
| Bidder response | Drop down box, Yes/No |

| AW8.10 | Please provide details of the expected life of your x-ray tube and detector, and cost of replacements |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW8.11 | How does the design of the system facilitate upgrades to the hardware, and if additional sensors can be fitted, please give details. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 3.90% |
| Bidder response | Free Text |

| AW8.12 | Describe any calibration samples provided. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW8.13 | List all the formats that the scanner is capable of outputting |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW8.14 | Is there any facility for exporting directly into BGS Corporate Oracle tables |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW8.15 | What network bandwith is expected or required? |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW8.16 | Please provide Mean Time Between Failure (MTBF) details in hours for the proposed equipment |
| --- | --- |
| Bidder guidance | Bidder shall provide mean time between failure expressed in operational hours and provide evidence supporting this information. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology where the highest number of hours will score 100% of the available marks. All other bids will be scored proportionately by calculating the difference in time as a percentage. For example: The highest number of operational hours between failure = 4000, thereby scoring 100% of the maximum available marks. A bid with 3000 operational hours between failure is scored 3000/4000 = 0.75 thereby scoring 75% of the maximum available marks. In this example the top score would be 4.40 and a bid scoring 75% would receive 3.30 marks. For the purpose of evaluation the maximum number of hours to be used for the calculation is 10,000 hours. Maximum Marks 3.90% |
| Bidder response | Free text |

| AW8.17 | Please indicate typical technical call out times for rectifying equipment failure. |
| --- | --- |
| Bidder guidance | Bidder shall select the answer reflecting their response. The call out time selected should be based on your mean average call out time for the last 12 months where possible. |
| Scoring criteria | less than 24 hours = 100 24 - 48 hours = 80 48 hours – 7 days = 20 7 days + = 0 Maximum Marks 3.90% |
| Bidder response | Free text |

| AW8.18 | Please indicate the number of on site days training provided with the installation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | 3 days - 0 4-5 days - 50 more than 5 days - 100 Maximum Marks 3.90% |
| Bidder response | Drop down menu |

| AW8.19 | Is a second year of customer support provided at no additional cost? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – 100 No - 0 Maximum Marks 2.10% |
| Bidder response | Drop down menu - Yes / No |

| AW8.20 | Please indicate the cost of extending customer support to a full 5 years. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the Price Schedule attached to question AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.21 | Please indicate any items excluded from the full customer support and their typical costs |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the text box and add the additional options to the price schedule at AW5.2 in the Optional Items table. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.22 | Please give the external dimensions of the scanner assembly when in operation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.23 | Please give the dimensions and weights of any parts of the scanner, potentially transported separately, that will not easily fit in a lift measuring 1.2m wide, 2.0m high and 2.4m long. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.24 | Please give the weight of the scanner and any floor loading requirements |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.25 | Please state the required environmental operating conditions (temperature & relative humidity ranges and tolerances, dust tolerance, etc.) |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the operating conditions required, including, but not limited to, temperature, relative humidity ranges & tolerances and dust tolerance. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.26 | Please state the electrical power requirements of the scanner |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.27 | If the offered computer software includes an additional visualisation / processing package beyone the basic software supplied as standard, state the software name, briefly describe its facilities and state the additional price if not included. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested and state the additional price of the required visualisation/processing package in the Price Schedule at AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW8.28 | Please indicate the total length of core that can be scanned by the system at one time |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the total length of materials that can be scanned on the system. |
| Scoring criteria | Scored 0 – 100 using the methodology: 0 - System can scan <5 metres of core at a time 40 – system can scan 5 metres of core at one time 80 - system can scan between >5 and ≤8 metres of core at a time 100 – System can scan more >8 metres of core at a time Maximum marks 5.70% |
| Bidder response | Free text |

Lot 4 Hand held XRF scanners

| AW5.2 | Bidders are required to complete the tab “Lot 4” of the Excel Pricing Schedule attached in the ’RFX attachments’ section in the e-sourcing tool. All prices shall be exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived. |
| --- | --- |
| Bidder guidance | Bidders shall confirm they have completed the Pricing Schedule. The scoring methodology for this question shall be: The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50 In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price. The lowest score possible is 0. For example, assuming the lowest bid is £100,000. Bid Price Differential to the lowest price which meets the mandatory pass criteria at Award stage Score £100,000 0 100 £120,000 20% 80 £140,000 40% 60 £150,000 50% 50 £175,000 75% 25 £200,000 100% 0 £300,000 200% 0 |
| Scoring criteria | Maximum Marks 40% |
| Bidder response | Drop down menu – Yes |

| AW9.1 | Please confirm your compliance to the requirements of Sections 1.5 “Goods Specification Mandatory Requirements” and 1.6.4 of the Specification |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |
| Bidder response | Drop down menu - Yes / No |

| AW9.2 | Please provide details of what features make the system robust, comfortable to handle and easy to use. Please include, as a minimum, ergonomic and comfort features, and a description of the trigger. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 5.00% |
| Bidder response | Free text |

| AW9.3 | Is determination of Na (z=11) possible during elemental analysis? |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 2.00% |
| Bidder response | Drop down box, Yes/No |

| AW9.4 | Please specify the tube anode material and operating power ranges (i.e. W, kV, mA) |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW9.5 | Please provide the lowest possible analytical detection limits, using routine analytical settings, elemental range specified in the attached spreadsheet. Your figures should be based on a core size of 1m length, 100mm diameter. |
| --- | --- |
| Bidder guidance | Bidders shall complete the attached spreadsheet with the information requested in rows 1-5 and 7. |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: Each of the 29 elements will be scored separately, with the lowest detection limit of all bids scoring 10. Intermediate results will be calculated by dividing 10 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 5 bids are received: 10/4 = 2.5 Lowest detection limit – 10 2nd lowest detection limit – 7.5 3rd lowest detection limit – 5 4th lowest detection limit – 2.5 Highest detection limit - 0 In the event that only 1 response is received, the bidder will score 10 points for each of the elements. In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. The 29 scores will then be added together and divided by 2.9 to give the resulting score out of 100 for this question. Example: Bidder scores 237 across all elements 237/2.9 = 81.72 out of 100 Maximum Marks 5.00% |
| Bidder response | Attachment |
| AW9.6 | For the scanning operation in AW9.5 please confirm your dwell time to achieve these results. |
| Bidder guidance | Bidder shall provide the dwell time for the scanning operation in AW9.5 in minutes:seconds. |
| Scoring criteria | Scoring will be based on the 0-100 scoring methodology stated below: The fastest dwell time will score 100 marks. Intermediate times will be scored by dividing 100 by the number of remaining bids and assigning scores on a ranked basis. Example, assuming 3 bids are received: 100/2 = 50 Fastest dwell time – 100 2nd fastest dwell time – 50 Slowest dwell time – 0 In the event of bidders submitting the same detection limit, this will be treated as a tie and both bidders will receive equal marks. Remaining bids will receive marks as detailed in the methodology above. Maximum Marks 4.00% |
| Bidder response | Attachment |

| AW9.7 | Please provide the following information in the table provided |
| --- | --- |
| Bidder guidance | Bidder shall complete the table with the requested information Weight of spectrometer Battery usage time between charging Battery life Analytical spot size |
| Scoring criteria | For Information Only |
| Bidder response | Table |

| AW9.8 | Please give details of any engineering features to protect the spectrometer from external influences such as shock & dust |
| --- | --- |
| Bidder guidance | Bidder shall provide details of how the spectrometer is protected from external factors including, but not limited to, shock and dust. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 4.00% |
| Bidder response | Free text |

| AW9.9 | Please give details of how the tube window and detector are protected during use |
| --- | --- |
| Bidder guidance | Bidder shall provide the requested information |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 4.00% |
| Bidder response | Free text |

| AW9.10 | Please provide details on how He flush is implemented |
| --- | --- |
| Bidder guidance | Bidder shall provide the requested information |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 5.00% |
| Bidder response | Free text |

| AW9.11 | Please give details of any internal x-ray filters |
| --- | --- |
| Bidder guidance | Bidder shall complete the table with the requested information |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW9.12 | Please provide the typical spot analysis time based on a core size of 1m length, 100mm diameter |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 4.00% |
| Bidder response | Free text |

| AW9.13 | Can the system handle a variety of core diameters and formats, including whole round core, slabbed ½ and ¼, as well as broken core fragments? |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 5.00% |
| Bidder response | Drop down box, Yes/No |

| AW9.14 | Please advise whether sample GPS coordinates are included |
| --- | --- |
| Bidder guidance | Bidder shall answer Yes or No |
| Scoring criteria | Scored 0 – 100 Yes - 100 No – 0 Maximum Marks 3.00% |
| Bidder response | Free text |

| AW9.15 | Please provide details on how to receive software and calibration updates |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW9.16 | How does the design of the system facilitate upgrades |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 4.00% |
| Bidder response | Free Text |

| AW9.17 | Describe any calibration samples provided. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW9.18 | List all the formats that the scanner is capable of outputting |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW9.19 | Is there any facility for exporting directly into BGS Corporate Oracle tables |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW9.20 | What network bandwith is expected or required? |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW9.21 | Please provide Mean Time Between Failure (MTBF) details in hours for the proposed equipment |
| --- | --- |
| Bidder guidance | Bidder shall provide mean time between failure expressed in operational hours and provide evidence supporting this information. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology where the highest number of hours will score 100% of the available marks. All other bids will be scored proportionately by calculating the difference in time as a percentage. For example: The highest number of operational hours between failure = 4000, thereby scoring 100% of the maximum available marks. A bid with 3000 operational hours between failure is scored 3000/4000 = 0.75 thereby scoring 75% of the maximum available marks. In this example the top score would be 4.00 and a bid scoring 75% would receive 3.00 marks. For the purpose of evaluation the maximum number of hours to be used for the calculation is 10,000 hours. Maximum Marks 4.00% |
| Bidder response | Free text |

| AW9.22 | Please indicate typical technical call out times for rectifying equipment failure. |
| --- | --- |
| Bidder guidance | Bidder shall select the answer reflecting their response. The call out time selected should be based on your mean average call out time for the last 12 months where possible. |
| Scoring criteria | less than 24 hours = 100 24 - 48 hours = 80 48 hours – 7 days = 20 7 days + = 0 Maximum Marks 4.00% |
| Bidder response | Free text |

| AW9.23 | Please indicate the number of on-site days training provided with the installation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | 3 days - 0 4-5 days - 50 more than 5 days - 100 Maximum Marks 4.00% |
| Bidder response | Drop down menu |

| AW9.24 | Is a second year of customer support provided at no additional cost? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – 100 No - 0 Maximum Marks 3.00% |
| Bidder response | Drop down menu - Yes / No |

| AW9.25 | Please indicate the cost of extending customer support to a full 5 years. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the Price Schedule attached to question AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW9.26 | Please indicate any items excluded from the full customer support and their typical costs |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the text box and add the additional options to the price schedule at AW5.2 in the Optional Items table. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW9.27 | If the offered computer software includes an additional visualisation / processing package beyone the basic software supplied as standard, state the software name, briefly describe its facilities and state the additional price if not included. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested and state the additional price of the required visualisation/processing package in the Price Schedule at AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

Lot 5 X-RAY CT scanner

| AW5.2 | Bidders are required to complete the tab “Lot 5” of the Excel Pricing Schedule attached in the ’RFX attachments’ section in the e-sourcing tool. All prices shall be exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived. |
| --- | --- |
| Bidder guidance | Bidders shall confirm they have completed the Pricing Schedule. The scoring methodology for this question shall be: The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50 In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price. The lowest score possible is 0. For example, assuming the lowest bid is £100,000. Bid Price Differential to the lowest price which meets the mandatory pass criteria at Award stage Score £100,000 0 100 £120,000 20% 80 £140,000 40% 60 £150,000 50% 50 £175,000 75% 25 £200,000 100% 0 £300,000 200% 0 |
| Scoring criteria | Maximum Marks 40% |
| Bidder response | Drop down menu – Yes |

| AW10.1 | Please confirm your compliance to the requirements of Sections 1.5 “Goods Specification Mandatory Requirements” and 1.6.5 of the Specification |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Mandatory Pass / Fail Yes – Pass No - Fail |
| Bidder response | Drop down menu - Yes / No |

| AW10.2 | Please confirm the scan time for 1m of core, 100mm in diameter, at a resolution of 100 microns |
| --- | --- |
| Bidder guidance | Bidder shall provide the scan time requested |
| Scoring criteria | Scored 0 – 100 using the methodology (times are in hours): ≥ 02:00 - 0 ≥ 01:30 - 20 ≥ 01:00 - 40 ≥ 00:30 - 60 ≥ 00:15 - 80 < 00:15 - 100 Maximum Marks 6.67% |
| Bidder response | Free text |

| AW10.3 | Please provide information about the minimum and maximum hardware requirements for running the X-ray CT scanner |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the hardware requirements requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW10.4 | Please confirm the resolution capability for a 50mm by 50 mm plug of core |
| --- | --- |
| Bidder guidance | Bidder shall provide the resolution capability for a 50mm by 50mm plug of core requested |
| Scoring criteria | Scored 0 – 100 using the methodology: ≥ 100 microns - 0 ≥ 80 microns - 20 ≥ 60 microns - 40 ≥ 40 microns - 60 ≥ 30 microns - 80 < 30 microns - 100 Maximum Marks 11.10% |
| Bidder response | Free text |

| AW10.5 | How does the design of the system facilitate upgrades to the hardware, and if additional sensors can be fitted, please give details. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 8.89% |
| Bidder response | Free Text |

| AW10.6 | Describe any calibration samples provided. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW10.7 | List all the formats that the scanner is capable of outputting |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW10.8 | Is there any facility for exporting directly into BGS Corporate Oracle tables |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW10.9 | What network bandwith is expected or required? |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free Text |

| AW10.10 | Please provide Mean Time Between Failure (MTBF) details in hours for the proposed equipment |
| --- | --- |
| Bidder guidance | Bidder shall provide mean time between failure expressed in operational hours and provide evidence supporting this information. |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology where the highest number of hours will score 100% of the available marks. All other bids will be scored proportionately by calculating the difference in time as a percentage. For example: The highest number of operational hours between failure = 4000, thereby scoring 100% of the maximum available marks. A bid with 3000 operational hours between failure is scored 3000/4000 = 0.75 thereby scoring 75% of the maximum available marks. In this example the top score would be 8.89 and a bid scoring 75% would receive 6.67 marks. For the purpose of evaluation the maximum number of hours to be used for the calculation is 10,000 hours. Maximum Marks 8.89% |
| Bidder response | Free text |

| AW10.11 | What is the price of a new X-ray filament or tube? |
| --- | --- |
| Bidder guidance | Bidder shall provide details |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW10.12 | Please indicate typical technical call out times for rectifying equipment failure. |
| --- | --- |
| Bidder guidance | Bidder shall select the answer reflecting their response. The call out time selected should be based on your mean average call out time for the last 12 months where possible. |
| Scoring criteria | less than 24 hours = 100 24 - 48 hours = 80 48 hours – 7 days = 20 7 days + = 0 Maximum Marks 8.89% |
| Bidder response | Free text |

| AW10.13 | Please indicate the number of on site days training provided with the installation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | 3 days - 0 4-5 days - 50 more than 5 days - 100 Maximum Marks 8.89% |
| Bidder response | Drop down menu |

| AW10.14 | Is a second year of customer support provided at no additional cost? |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Yes – 100 No – 0 Maximum Marks 6.67% |
| Bidder response | Drop down menu - Yes / No |

| AW10.15 | Please indicate the cost of extending customer support to a full 5 years. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the Price Schedule attached to question AW5.2 |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW10.16 | Please indicate any items excluded from the full customer support and their typical costs |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested in the text box and add the additional options to the price schedule at AW5.2 in the Optional Items table. |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW10.17 | Please give the external dimensions of the scanner assembly when in operation |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW10.18 | Please give the dimensions and weights of any parts of the scanner, potentially transported separately, that will not easily fit in a lift measuring 1.2m wide, 2.0m high and 2.4m long. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW10.19 | Please give the weight of the scanner and any floor loading requirements |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW10.20 | Please state the required environmental operating conditions (temperature & relative humidity ranges and tolerances, dust tolerance, etc.) |
| --- | --- |
| Bidder guidance | Bidder shall provide details of the operating conditions required, including, but not limited to, temperature, relative humidity ranges & tolerances and dust tolerance. |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW10.21 | Please state the electrical power requirements of the scanner |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

| AW10.22 | If the offered computer software includes an additional visualisation / processing package beyond the basic software supplied as standard, state the software name, briefly describe its facilities and state the additional price if not included. |
| --- | --- |
| Bidder guidance | Bidder shall provide the information requested and state the additional price of the required visualisation/processing package in the Price Schedule at AW5.2 |
| Scoring criteria | For Information Only |
| Bidder response | Free text |

Lot 6 CT Visualisation Software

| AW5.2 | Bidders are required to complete the tab “Lot 6” of the Excel Pricing Schedule attached in the ’RFX attachments’ section in the e-sourcing tool. All prices shall be exclusive of VAT. All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived. |
| --- | --- |
| Bidder guidance | Bidders shall confirm they have completed the Pricing Schedule. The scoring methodology for this question shall be: The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50 In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price. The lowest score possible is 0. For example, assuming the lowest bid is £100,000. Bid Price Differential to the lowest price which meets the mandatory pass criteria at Award stage Score £100,000 0 100 £120,000 20% 80 £140,000 40% 60 £150,000 50% 50 £175,000 75% 25 £200,000 100% 0 £300,000 200% 0 |
| Scoring criteria | Maximum Marks 40% |
| Bidder response | Drop down menu – Yes |

| AW11.1 | Please confirm your compliance to Section 1.6.6 and the relevant requirements of Section 1.5 of the Specification: 1.5.8 Compatibility 1.5.9 Output formatting 1.5.12 Training 1.5.13 Delivery 1.5.14 Customer Support |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No |
| Scoring criteria | Mandatory Pass / Fail Yes – Pass No - Fail |
| Bidder response | Drop down menu - Yes / No |

| AW11.2a | Please provide details of the input files accepted and the formats of output data supported |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | For information Only |
| Bidder response | Free text |

| AW11.2b | Please provide details of the minimum and optimum hardware requirements |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | For information Only |
| Bidder response | Free text |

| AW11.3 | The scanners and associated software will be used for commercial and government work. Please advise how your licensing proposal will cover these requirements |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | For information Only |
| Bidder response | Free text |

| AW11.4 | Please indicate if any further plug ins for material properties are available (separate to those in mandatory requirements) and add the costs associated with those to the Price Schedule. |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | For information only |
| Bidder response | Free text |

| AW11.5 | Please indicate the level of training provided |
| --- | --- |
| Bidder guidance | Bidder to provide information on the training provided within the cost of the software, detailing whether training is held on-site or off-site and ensuring that any training provided at an additional cost is detailed in the pricing schedule (AW5.2) |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document. Maximum Marks 12.00% |
| Bidder response | Free text |

| AW11.6 | Please indicate the level of customer support provided, to include working hours, response times, resolution times |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | Scoring will be based on 0-100 scoring methodology as stated in the RFP document . Maximum Marks 12.00% |
| Bidder response | Free text |

| AW11.8 | Please indicate the length of license if maintenance cost is not met |
| --- | --- |
| Bidder guidance | Bidder to provide the information requested |
| Scoring criteria | 0 Years - 0 Up to 2 Years - 20 2 years & 1 month to 5 Years - 40 5 years & 1 month to 10 Years - 60 10 years & 1 month to 15 Years - 80 More than 15 Years - 100 Maximum Marks 12.00% |
| Bidder response | Single Selection |

# Footnotes

## See Action Note 8/16 Updated Standard Selection Questionnaire##

# Text boxes

Request for Proposal