Tender for WORKS AT 13 CAMBRIDGE STREET, WELLINGBOROUGH
DOCUMENT TWo (Specification and Schedule of Works) - To be Completed and Returned
SHOP FRONT IMPROVEMENT GRANT SCHEME
13 CAMBRIDGE STREET, WELLINGBOROUGH SCHEDULE OF WORKS

£

p

INTRODUCTION AND SCOPE OF CONTRACT

i. This schedule of works describes the work to be carried out. Quantities have not been provided and the extent of each item must be determined by visiting the site.  In any event, the works should not necessarily be limited to those items listed, but shall in every instance, be deemed to include everything necessary to satisfactorily complete the works.

ii. All references to front, rear, left and right are taken when standing on Cambridge Street, Wellingborough, facing the property

iii. Provisional sums/quantities and contingency sums shall be limited or expended only upon the written instructions from the CA.

iv. In the event of uncertainty, during the tendering process regarding the extent, quantity and quality of work required, the Contractor must contact the CA for clarification.

1.0
ACCESS AND SCAFFOLDING

1.1 Provide and strike upon completion tubular steel and aluminium scaffolding so as to allow the safe execution of all work items to the front and rear elevations of the building.

1.2 The scaffolding is to be tied throughout its length and at its highest possible level to the building. The scaffolding must be completed with all lifts fully boarded, and toe boards and handrails in accordance with all applicable regulations. All ladders should be properly secured. All low level ladders should be removed at the end of each working day and locked down or stored in a secure place.

1.3 Provide protective scaffold pole caps to all scaffold poles that are adjacent to the building fabric

1.4 No standards are to block the entrances or exits to the building. All standards at ground floor level should be marked with coloured tape. Lighting is not required to the scaffold.
1.5 Scaffolding shall be in position at all times whilst works are in progress and shall only be removed from site following an inspection and approval of the works by the CA.

1.6 Allow for the scaffolding to be fully alarmed for security purposes. The alarm must be sited so as not to be triggered if occupants open windows etc. If accidentally triggered the alarm must be able to reset itself after a few minutes.

1.7 Tenant Banners to be installed to the scaffolding in order to advertise the businesses to members of the public. 1 no. banner to be provided to the scaffold at first floor level per shop unit. Banners to be as per the signwriting/canopies of the tenant’s shop display.

1.8 Scaffolding to be located on the public footpath and must not block the same or access to the shops and must be erected in full accordance with the local highways requirements, including receipt of an approved licence for scaffolding on the highways.

2.0
BRICKWORK & STONE REPAIRS
2.1 Rub down, removing all damp affected paint finish and blown render/material to the surface of the left hand side return elevation.
2.2 Hammer test the render to all locations where cracked or blown. Hack off any hollow, loose or friable render and re-render the affected areas to match existing. ALLOW 10 M2 TO CARRY FORWARD.

2.3 Undertake localised repairs utilising matching materials, lime and sand render localised repair systems to the surface of the left hand side return elevation, including complete chimney and make good. Paying particular attention to matching the new finish to that of the original.

2.4 Carefully rake out to a minimum depth of 50mm, using hand tools only the existing mortar joints, re-point with lime and sand mortar, mix on part lime to three parts sand, actual mix to be confirmed on site. Pointing to match existing in colour, texture and style.

a. Parapet wall complete

2.5 Carefully remove and re-bed and joint the existing stone copings to the parapet wall to the front elevation and the left hand side gable, with one part lime and three parts sand mortar mix, all to be confirmed on site.

2.6 Remove all vegetation and weed growth to the elevation.
2.7 Apply weed killer of an appropriate strength and remove all possible traces of root systems from the masonry and timber and dispose of from site.
2.8 Carefully clean down the existing horizontal stone mouldings, with a simple biodegradable wash, such as Borax, using a bristle brush, so as not to damage the soft stonework.
3.0
ROOF REPAIRS


Complete roof to whole building
3.1 Overhaul roof to replace all broken, cracked and plain tiles.

3.2 Allow for flashing detail of chimneys and all other abutting masonry to gable and front elevation parapet walling to be re-worked where flashing detail has come away from the main stonework. Flashing to be re-made utilising existing Lead, and all work undertaken in accordance with the guidelines issued by the Lead development association.
Roof Generally

3.3 Carefully lift, re-bed and joint with lime mortar and re-set all ridge and hip tiles.
4.0
RAINWATER GOODS
4.1 Clear out all guttering and outlets and flush through downpipes, replace defective unions, brackets and connections, re-seal all joints.

4.2 Allow for lining of secret gutter to rear of parapet wall to be re-worked where gutter lining has come away from the parapet wall or roof tiles. Gutter lining to be redressed utilising existing Lead, wherever possible, and all work undertaken in accordance with the guidelines issued by the Lead development association.

4.3 Carefully remove from site the existing UPVC rainwater downpipe and replace with cast iron rainwater downpipe, fixed with plugs and screws to masonry at 900mm centres and reconnect to existing cast iron hopper head and sub surface drainage as existing, prepare and leave ready to receive redecoration.

5.0
WINDOW AND DOOR REPAIRS

5.1 Remove all missing and defective window putties and replace with new.

First Floor 

5.2 Remove all rotten timber from the five windows to the sill/base and frames. Particular attention to be paid to the bottom rails of the lower sash, which appear to be decaying significantly, and carry out splice repairs, with a softwood timber. Particular attention to be made not to damage the sash horns. Thoroughly prepare and prime, leave ready to receive redecoration.

5.3 Undertake easing and adjusting of the sash windows as to ensure that they are fully operational.

Ground Floor

5.4 Carefully remove the existing timber shopfront, complete with existing stall risers, entrance door and frame and remove from site, leave opening ready to receive new, make good to all disturbed surfaces.
5.5 Carefully demolish the existing brick and render stall risers and remove from site.
5.6 Provide and fix new timber shopfront, comprising of two shop fronts within the original three stone piers, in place of the existing single shop front, complete with two recessed doors and frames all as shown on sketch drawing, complete with clear safety glazing. Each shop display window comprising of a two single panes, a part glazed door, separated by the central column. Each shop front complete with recessed door ways located to the left hand side of each of the curved display windows, complete with new door frame with glazed single pane fanlight over and 2xG door with arch head to top glazed pane, plugged and screwed to masonry, sealed with a neat bead of polysulphide mastic. Thoroughly prepare, prime and leave ready to receive redecoration.

5.7 Provide and fit stall risers, built in cavity wall construction, common brickwork bedded and pointed with lime mortar complete with 50mm cavity, infilled with cavity fill insulation, complete with hyload type damp proof course set 150mm above finished external ground level, on new concrete foundations, minimum 600mm deep, 600mm wide, curved to follow the original line leading to the recessed doorways. Plastered internally with Gypsum based plaster to line through with the existing, complete with skirting board to match. Externally finish with lime based smooth texture render, clean sub surface and leave free from dust and loose material, apply a coat of primer, mark out pattern and apply cementitious adhesive to substrate, allowing grout gap to all tile edges of approximately 3mm. Carefully infill with flexible grout, between each tile, wiping off excess as work proceeds. Seal upon completion to clean, dry tiles with two coats of a stain stop product such as Lithofin MN Stain Stop.Provide and lay glazed ceramic tiles, approximate size 215 x 75mm.
5.8 Provide and fix a new 2xG style door with unequal panels with bottom solid panel, smaller than top panel, bottom panel plain solid panel, all as shown on drawing, top panel glazed with arched head clear laminated safety glass, fixed to reveals with sprig nails to timber beading. Provide and fix new ironmongery, comprising of lever lock handles, 5 lever lock, Yale cylinder and letter plate to both doors, hung into new frames with a pair and half of 100mm butt hinges, ensure smooth operation in opening, closing, locking and latching. Thoroughly prepare and prime, leave ready to receive redecoration. 

5.9 Carefully hack off with hand tools the existing render coat to the stone piers to the shop front, exposing the original matching stone work, carry out localized repairs as necessary with matching local stone and bed and point in lime mortar.

5.10 Provisional item, Allow for providing a lime and sand two coat render to the existing exposed stone piers, finish with a smooth texture and leave ready to receive a breathable masonry paint to match stall risers.

5.11 Carefully remove the existing lead flashing above the existing dentil cornice and renew with Code 4 lead flashing, dressed over cornice and chased into stonework mortar joint and secured with lead wedges and lime mortar pointing.

5.12 Carry out localised joinery repairs to existing dentil cornice, ensure secure fixing to existing masonry, clean down and remove any flaking paint and leave ready to receive redecoration.

5.13 Provisional Item, Provide and fix new timber fascia beneath detailed dentil moulding cornice to match neighbouring shop number 14, complete with re-use of the existing blind box, all to match the existing detailing, all in accordance with the drawings.

6.0
EXTERNAL DECORATIONS & CLEANING

6.1 The contractor is to allow for painting all usually or previously painted external surfaces and shall include the following in the specified preparation and materials, breathable paints Holkham Linseed oil based gloss paint for timber and metal and Keim Paints for stone and lime based render, or similar approved:

6.2 To all previously painted windows, doors and joinery, including fascia thoroughly prepare and spot prime with preservative primer and redecorate all previously painted and new external timber joinery surfaces, with two undercoats and two gloss finish coats of Holkham Linseed oil based paint, or similar approved. Colours to be agreed.

6.3 To render surfaces, clean down and remove all flaking paint and loose render and make good. Prime all new bare patches and apply one diluted base and one full coats of Keim Granital exterior mineral paint. 

6.4 To all previously painted metal surfaces, including downpipes, gutters and rainwater goods and associated pipework, thoroughly prepare and apply one base and two full coats of, Holkham Linseed oil based paint or similar approved, colours to be agreed.

6.5 Provide and lay 75mm Encaustic floor tiles forming a chequered board pattern of black and white tiles to the recessed and curved door ways to both halves of the shop front. Clean sub surface and leave free from dust and loose material, apply a coat of primer, mark out pattern and apply cementitious adhesive to substrate, allowing grout gap to all tile edges of approximately 3mm. Carefully infill with flexible grout, between each tile, wiping off excess as work proceeds. Seal upon completion to clean, dry tiles with two coats of a stain stop product such as Lithofin MN Stain Stop.
Redundant Services

6.6 Remove all redundant telephone, alarm boxes and TV aerial cables from front and rear elevations

Cleaning
6.7 Clean all external windows, frames and cills inside and out prior to handover.

Signage

6.8 Remove existing modern advertisement fascia signage from site, make good all disturbed surfaces and thoroughly prepare surfaces to receive new redecoration and new signage. 
6.9 Provide new advertisement signage, sign to be traditionally painted or consisting of individual letters all to be agreed with the shop tenants. All in accordance with BCW Shop Front Advertising and Design Guide Summary.

6.10  “Belair The Designer Salon”

6.11 Provisional Item, only to be expended upon the instruction of the CA. Provide and fix wrought iron decorative hanging sign, plugged and screwed to masonry, in location to be agreed, complete with hanging sign, beneath, with advertising trademark or symbol or sign written trade name, in accordance with the “shop front advertising and design guide”.
6.12 Provisional Item, only to be expended upon the instruction of the CA. Provide and fix hardwood blind box, all as shown on drawing, to accommodate a Traditional Victorian Sun Blind, as manufactured by Deans Blinds and Awnings UK Ltd, or similar approved.
6.13 Provisional Item, only to be expended upon the instruction of the CA. Provide and fix utilising as far as possible the existing metal brackets, affixed to the face of the stone piers, a Traditional Victorian Sun Blind, as manufactured by Deans Blinds and Awnings UK Ltd, or similar approved.

7.0
CONTINGENCIES AND PROVISIONAL SUMS
7.1 Allow the contingency sum of £5,000.00 for unforeseen works which is only to be expended upon the instruction of the CA.
5,000
00
COLLECTION PAGE


PRELIMINARIES


1.
ACCESS AND SCAFFOLDING


2.
BRICKWORK & STONE REPAIRS


3. ROOF REPAIRS


4. RAINWATER GOODS


5. WINDOW AND DOOR REPAIRS


6. EXTERNAL DECORATIONS & CLEANING


7. CONTINGENCIES AND PROVISIONAL SUMS

5,000
00
OVERHEADS AND PROFIT


TOTAL TO FORM OF TENDER


3- 1

