## RASummary
Risk Assessment Summary
|  | Client: | Castle Bromwich Parish Council |  |  |  | Ref Number: | TBC
|  | Project: | Arden Hall - Ventilation to Dance Studio
| Risk Assessment |  |  |  |  | Risk Score |  | Acceptable?
1 | Working at Height |  |  |  |  | 1 |  | Yes
2 | Noisy work operations |  |  |  |  | 1 |  | Yes
3 | Asbestos |  |  |  |  | 4 |  | Yes
4 | Electric Shock |  |  |  |  | 2 |  | Yes
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
|  | Comments: | Designer's risk assessment to be reviewed and developed by the contractor.
|  | Completed by: | Fraser Lamont
|  | Signed: | Fraser Lamont | Date: | 2025-03-12

## RA(1)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/01
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk: |  | Working at Height
Risk Details: |  | Installation and remedial works associated with the electrical services to the above ceilings, on walls and Roofs in regards to the MEP works ventilation and electrical works.
|  | Severity |  |  | Risk Calculator | [7 empty] | 3 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 4 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 3 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls: |  | The contractor shall include for the provision of safe working platforms, towers, scaffolding, MEWPS and guard rails as needed to protect all personel. Ensure all Temporty Work permits issued as required.
|  | Severity |  |  | Risk Calculator with controls in place | [7 empty] | 2 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 1 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 2 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  |  | 2 | 1 | Acceptable : Select
[14 empty] | 2 | Yes
Comments: |  | Health and safety requirements for safe working at height. | [11 empty] | 3 | No

## RA(2)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/02
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk: |  | Noisy work operations
Risk Details: |  | Impact of noise generated during drilling and any other impact works
|  | Severity |  |  | Risk Calculator | [7 empty] | 2 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 3 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 4 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls: |  | Provide appropriate PPE for the environmental conditions during noisy activities.
|  | Severity |  |  | Risk Calculator with controls in place | [7 empty] | 2 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 1 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 2 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  |  | 2 | 1 | Acceptable : Select
[14 empty] | 2 | Yes
Comments: |  | Appropriate PPE and controlled operations during noisy works. | [11 empty] | 3 | No

## RA(3)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/03
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk: |  | Asbestos
Risk Details: |  | Due to the age of the building and its construction ACM's may be present within the working areas. Noted within the electrical switch Room
|  | Severity |  |  | Risk Calculator | [7 empty] | 4 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 6 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 3 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls: |  | All personel to be Asbtesos Awarness trained. Works shall only be undertaken after an R&D survey undertaken and the risk identifed and reviewed. All works to stop if suspects ACM/s dicovered.
|  | Severity |  |  | Risk Calculator with controls in place | [7 empty] | 3 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 4 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 3 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  |  | 2 | 1 | Acceptable : Select
[14 empty] | 2 | Yes
Comments: |  | R&D survey to be instructed by client prior to works | [11 empty] | 3 | No

## RA(4)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/04
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk: |  | Electric Shock
Risk Details: |  | The electrical services installation dates from base build and has been subjected to periodic inspection and testing.
|  | Severity |  |  | Risk Calculator | [7 empty] | 4 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 9 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 4 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls: |  | Isolation of electrical circuits to the work area and testing for verification. The scope of works includes the strip out of low voltage systems and therefore excerise caution during disconnection.
|  | Severity |  |  | Risk Calculator with controls in place | [7 empty] | 2 | 1 | Severity : Select
[14 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [9 empty] | 3 | Harmful
[8 empty] | × |  |  |  | = 2 |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. | [5 empty] | 3 | 1 | Likelihood : Select
[14 empty] | 2 | Highly Unlikely
[14 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [6 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  |  | 2 | 1 | Acceptable : Select
[14 empty] | 2 | Yes
Comments: |  | use 110v safe working voltages for temporary lighting and power tools or consider battery powered tools. | [11 empty] | 3 | No

## RA(5)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/05
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 4 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 3 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 2 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(6)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/06
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 4 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 4 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 2 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(7)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/07
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(8)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/08
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(9)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/09
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(10)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/10
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(11)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/11
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(12)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/12
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(13)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/13
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(14)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/14
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(15)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/15
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(16)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/16
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(17)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/17
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(19)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/19
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(18)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/18
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(20)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/20
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(21)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/21
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(22)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/22
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(23)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/23
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(24)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/24
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(25)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/25
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(26)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/26
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(27)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/27
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(28)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/28
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(29)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/29
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No

## RA(30)
Risk Assessment Form
Client: |  | Castle Bromwich Parish Council | [7 empty] | Risk Ref: | TBC/30
Project: |  | Arden Hall - Ventilation to Dance Studio
Risk:
Risk Details:
|  | Severity |  |  | Risk Calculator | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
Controls:
|  | Severity |  |  | Risk Calculator with controls in place | [6 empty] | 1 | 1 | Severity : Select
[13 empty] | 2 | Slightly Harmful
|  | Slightly Harmful | Harmful | Very Harmful | [8 empty] | 3 | Harmful
[8 empty] | × |  |  |  |  | 4 | Very Harmful
Likelihood | Highly Unlikely | 1 | 2 | 3 | 1 - 2 | Low | No further action necessary. Monitor to ensure controls are maintained. |  |  |  |  | 1 | 1 | Likelihood : Select
[13 empty] | 2 | Highly Unlikely
[13 empty] | 3 | Unlikely
| Unlikely | 2 | 4 | 6 | 3 - 4 | Mid | Efforts should be taken to reduce risk but costs of prevention considered. | [5 empty] | 4 | Likely
| Likely | 3 | 6 | 9 | 6 - 9 | High | Urgent efforts to reduce risk, consider whether work should be started or continued.
[9 empty] | Acceptable? |  |  | 1 | 1 | Acceptable : Select
[13 empty] | 2 | Yes
Comments: | [12 empty] | 3 | No