APPENDIX 3

SPECIFICATION

- 5 year maintenance service comprehensive cover, labour, travel, parts, one annual service including EST, unlimited service repair visits, standard next day shipping, 24-hour on-site service guarantee and priority designation in service repair queue on Labsystem PRO

- Equipment: 2x Labsystem  Pro, Clearsign CPU and Micropace

| Location | equipment | S/N | Contract type & visits |
| --- | --- | --- | --- |
| Cardiac Cath Lab 3 | LSPro system - Labsystem Pro System | 1D911327 | Comprehensive - Pro Total care cover with 1 PM |
|  | Clearsign CPU |  | Comprehensive - Pro Total care cover with 1 PM |
|  | Micropace | 5431 | Comprehensive - Pro Total care cover with 1 PM |
| Cardiac Cath Lab 4 | LSPro system - Labsystem Pro System | 1D911618 | Comprehensive - Pro Total care cover with 1 PM |
|  | Clearsign CPU |  | Comprehensive - Pro Total care cover with 1 PM |
|  | Micropace | 5432 | Comprehensive - Pro Total care cover with 1 PM |

- Location: King’s College Hospital NHS Foundation Trust Cardiac Cath Lab 3 & Lab 4

- Loaner equipment

- Software updates

- Response times:

- Telephone support: intervention 24 hours, 24/7 phone support during patient procedure

- Coverage times: Monday - Friday 8.30am - 5pm

- Cancellation terms: Please advise

- Payment terms: Please advise