Where we have been asked questions regarding this procurement, the answers to which may be relevant to all bidders, these questions have been reproduced below along with the associated answers.

Question 1

The macadam on the footpaths is shown on the Highway Construction Details 25264_02_080_02.1 as 20mm of AC 6mm and 100mm of AC20 but the bill states 25mm of AC 6mm and 55mm of AC 20 in a number of places.

Are the distribution roads to be the same specification as the carpark section on the specification (80mm of AC 20mm and 30mm of AC 6mm) or as the carriageway cross section (150mm road base, 60mm binder, 40mm surface) – the carriageway specification seems very high for a distribution road that will be used by light vehicles.

Answer 1

There are three (3) surface treatments proposed:

- Highway - (150mm road base, 60mm binder, 40mm surface)

- Footpath (adjacent to Carriageway) - 20mm of AC 6mm and 100mm of AC20

- Cemetery Paths (around the cemetery and proposed to be coloured gravel to look aesthetically better) - 25mm of AC 6mm and 55mm of AC 20

Question 2

As part of this scheme, the car park to the East of the site has been omitted, as the car park is not shown on the new Rev B Hard Landscaping drawing 6 of 7 (embedded below).

Answer 2

The car park is to be delivered as per 4938-006F Localised Site Entrance Plan

Question 3

Is the soft landscaping and planting price to the cemetery area to be included in the “Optional Extras” under Open Space Corridor Soft Landscaping after substantial completion, as there is no item in the pricing schedule for soft landscaping in cemetery?

Answer 3

Correct. Please cost all soft landscaping under items 1 & 2 of the “Optional Extras” under Open Space Corridor Soft Landscaping.

Question 3

Could we be provided with an unlocked version of the pricing document (for use with estimating software)?

Answer 3

Yes, please find below, which has now also been uploaded to Contracts Finder.

Question 4

The Pricing Schedule SoWR - Site Entrance Alterations Items 3&4 refer to tree felling and removal of tree Nr T19,24,25. However the RammSanderson Tree Schedule (RSE_3173_TS_V1 states that tree T19 is to be maintained by repeat pruning on a 3-5 year cycle. Tree T24 & T25 - No works required. Both to remain.

The schedule does however have a list of trees to be removed, T7, T3, T4, T35,T62, T64, T88, T169, T173, T215, T219, T220, T221, T223, T233, T235, T237, T240, T242, T250-T61.

Please can you clarify what is required?

Answer 4

Tree T19 is to be removed as it is restricting operation of the CCTV camera. T24 & T25 are to be replaced as part of the planning permission.

Question 5

Are there any floor plans/elevation drawings available for the Existing Toilet Block to be refurbed, identified in the Pricing Schedule SoWR?

Answer 5

Unfortunately, the Council do not have as-built information of the existing building. Bidders are encouraged to visit site to satisfy themselves of requirements.

Question 6

Please confirm if the Refurbishment of existing Storage Area to form welfare area, identified in the Pricing Schedule OE, is the storage area beside the Stonemasons storage area.

Answer 6

Yes, this is correct.

Question 7

Are there any floor plans/elevation drawings available of existing the Storage Area to form welfare area, identified in the Pricing Schedule OE?

Answer 7

Unfortunately, the Council do not have as-built information of the existing building. Bidders are encouraged to visit site to satisfy themselves of requirements.