Section 5 		Schedules of Plant & Equipment

5.1	WATER CONDITIONER

Manufacturer:		Lifescience Products Ltd

Tel:			01608 811707

Fax:			01608 819060

Email:			info@waterking.co.uk

Supplier:		Bansals Ltd, Leytonstone

Tel:			0208 556 0223

Fax:			0208 556 7959

Email:			leytonstone@bansal.co.uk

Types:

COMMUNITY HUB

Ref. EWC/01 – Z1.00.10 Kitchen

- 1 No. WK2 Waterking Sentry Electronic Physical Water Conditioner (42mm Max)

Manufacturer:		Hydrotec (UK) Ltd

Supplier:		Hydrotec (UK) Ltd

Tel:			01494 796040

Fax:			01494 796049

Email:			sales@hydrotec.co.uk

Types:

MEDICAL CENTRE

Ref. EWC/01 – Z2.00.14 Plant Room

- 1 No. HY-MAG DN40 Water Conditioner

5.2	ATTENUATORS

Manufacturer:		Caice Acoustic Air Movements Ltd

Supplier:		Caice Acoustic Air Movements Ltd

Tel:			0118 918 6470

Fax:			0118 918 6480

Email:			enquiries@caice.co.uk

Types:

HUB AREA

| REF. | DESCRIPTION | CODE | DIMENSIONS |  |  | VOL. (m³/s) | QTY. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | WIDTH (mm) | HEIGHT (mm) | LENGTH (mm) |  |  |
| ATT01/01 | Roof Extract | LG01V/1E/L/S | 200 | 200 | 1070 | 0.05 | 1 |
| ATT01/02 | Roof Exhaust | LG01V/1E/L/S | 200 | 200 | 1070 | 0.05 | 1 |
| ATT03/01 | Roof Extract | LG01V/1E/L/S | 275 | 200 | 1070 | 0.07 | 1 |
| ATT03/02 | Roof Exhaust | LG01V/1E/L/S | 275 | 200 | 1070 | 0.07 | 1 |
| ATT04/01 | Roof Extract | LG01V/1E/L/S | 350 | 300 | 1220 | 0.18 | 1 |
| ATT04/02 | Roof Exhaust | LG01V/1E/L/S | 350 | 300 | 1220 | 0.18 | 1 |
| ATT05/01 | Roof Extract | SG01V/3C/L/S | 2200 | 1090 | 2400 | 2.80 | 1 |
| ATT06/01 | Roof Exhaust | SG01V/3C/L/S | 2200 | 1090 | 1800 | 2.80 | 1 |
| ATT07/01 | Roof Supply | SG01V/3C/L/S | 2200 | 1090 | 2400 | 2.80 | 1 |
| ATT08/01 | Roof Intake | SG01V/3C/L/S | 1075 | 1000 | 1800 | 2.80 | 1 |
| ATT09/01 | Roof Supply | LG01H/3C/L/S | 780 | 260 | 900 | 0.30 | 1 |
| ATT10/01 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/02 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/03 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/04 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/05 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/06 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/07 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/08 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/09 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |
| ATT10/10 | Roof Supply | SG01V/3C/L/S | 650 | 260 | 900 | 0.25 | 1 |

MEDICAL CENTRE

| REF. | DESCRIPTION | CODE | DIMENSIONS |  |  | VOL. (m³/s) | QTY. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | WIDTH (mm) | HEIGHT (mm) | LENGTH (mm) |  |  |
| ATT01/01 | Roof Exhaust | LG01V/1E/L/S | 350 | 250 | 1220 | 0.11 | 1 |
| ATT02/01 | Roof Extract | LG01V/1E/L/S | 275 | 250 | 1220 | 0.11 | 1 |
| ATT03/01 | Roof Extract | LG01V/1E/L/S | 275 | 200 | 1070 | 0.05 | 1 |
| ATT03/02 | Roof Extract | LG01V/1E/L/S | 275 | 200 | 1070 | 0.05 | 1 |
| ATT04/01 | Roof Exhaust | LG01V/1E/L/S | 275 | 185 | 1070 | 0.05 | 1 |
| ATT04/02 | Roof Exhaust | LG01V/1E/L/S | 275 | 185 | 1070 | 0.05 | 1 |
| ATT05/01 | Treatment Room Exhaust | LG01V/1E/L/S | 425 | 250 | 1070 | 0.10 | 1 |
| ATT05/02 | Treatment Room Exhaust | LG01V/1E/L/S | 425 | 250 | 1070 | 0.10 | 1 |
| ATT05/03 | Treatment Room Exhaust | LG01V/1E/L/S | 425 | 250 | 1070 | 0.10 | 1 |
| ATT06/01 | Treatment Room Intake | LG01V/1E/L/SM | 425 | 250 | 1370 | 0.12 | 1 |
| ATT06/02 | Treatment Room Intake | LG01V/1E/L/SM | 425 | 250 | 1370 | 0.12 | 1 |
| ATT06/03 | Treatment Room Intake | LG01V/1E/L/SM | 425 | 250 | 1370 | 0.12 | 1 |
| ATT07/01 | Treatment Room Extract | LG01V/3A/L/S | 350 | 250 | 1215 | 0.10 | 1 |
| ATT07/02 | Treatment Room Extract | LG01V/3A/L/S | 350 | 250 | 1215 | 0.10 | 1 |
| ATT07/03 | Treatment Room Extract | LG01V/3A/L/S | 350 | 250 | 1215 | 0.10 | 1 |
| ATT08/01 | Treatment Room Supply | LG01H/3A/L/SM | 350 | 200 | 915 | 0.12 | 1 |
| ATT08/02 | Treatment Room Supply | LG01H/3A/L/SM | 350 | 200 | 915 | 0.12 | 1 |
| ATT08/03 | Treatment Room Supply | LG01H/3A/L/SM | 350 | 200 | 915 | 0.12 | 1 |

5.3	AIR CONDITIONING

Manufacturer:		Daikin

Tel:			01932 879355

Email:			londonsouth.orders@daikin.co.uk

Supplier/Installer:	Coolair Equipment Ltd

Tel:			01622 762222

Fax:			01622 656969

Email:			sales@coolair.co.uk

Types:

MEDICAL CENTRE

ID/01 – Z2.00.15 Comms & Store

- 1 No. FTXM20M Wall Mounted Unit

- 1 No. FTXM20M9 Inverter Condenser R32

- 1 No. BRC073 Hard Wired Controller & 8M Connection Cable

- 1 No. KRP413A1S PCB Remote On Off Controller

5.4	STORAGE TANK & BOOSTER SET PACKAGE

Manufacturer:		Dutypoint Ltd

Supplier:		Dutypoint Ltd

Tel:			01452 300592

Email:			sales@dutypoint.com

Types:

MEDICAL CENTRE

BS/01

- 1 No. WX2-3060-1250 WRAS Approved ScubaTANK

Combined storage tank and variable speed twin pump booster set package featuring ultra-quiet constant-pressure operation.  Free-standing unit comprising an insulated tank with approximately 1,250 litres actual storage, stainless steel multistage submersible pumps; inverter drives and isolation panel with low level protection and common fault VFC.  Unit also includes isolation and non-return valves and stainless-steel pressure vessel and a 1" high flow solenoid inlet valve.

- 1 No. ProtectoRISE 1" Anti-Shock Air Release & Vacuum Breaker with Nipple & 90° PVC Elbow

- 1 No. SSFC40 1½" BSP Stainless Steel Flexible Connector

5.5	UNDERFLOOR HEATING

Manufacturer:		Giacomini UK Ltd

Tel:			01454 311012

Fax:			01454 3163453

Email:			enquiries@giacomini.co.uk

Supplier/Installer:	Ecofit Energy Systems Ltd

Tel:			01443 446904

Types:

COMMUNITY HUB

- Giacomini Solid Floor Underfloor Heating System with 1 No. Giacomini Mixing Manifold

Zones

- Zone Ref. UHZ/01 – Manifold Ref. UFM/01 – Z1.00.08 Library

- Zone Ref. UHZ/02 – Manifold Ref. UFM/01 – Z1.00.05 Office Room

Manifolds

- Ref. UFM/01 – Z1.00.07 Store 02

MEDICAL CENTRE

- Giacomini Solid Floor Underfloor Heating System with 5 No. Giacomini Mixing Manifolds

Zones

- Zone Ref. UHZ/01 – Manifold Ref. UFM/01 – Z2.00.20 Consult 01

- Zone Ref. UHZ/02 – Manifold Ref. UFM/01 – Z2.00.21 Consult 02

- Zone Ref. UHZ/03 – Manifold Ref. UFM/01 – Z2.00.22 Consult 03

- Zone Ref. UHZ/04 – Manifold Ref. UFM/01 – Z2.00.23 Consult 04

- Zone Ref. UHZ/05 – Manifold Ref. UFM/01 – Z2.00.10 Consult Circulation

- Zone Ref. UHZ/06 – Manifold Ref. UFM/01 – Z2.00.24 Lobby 02

- Zone Ref. UHZ/07 – Manifold Ref. UFM/01 – Z2.00.18 Dirty Utility

- Zone Ref. UHZ/08 – Manifold Ref. UFM/01 – Z2.00.17 Clean Utility

- Zone Ref. UHZ/10 – Manifold Ref. UFM/01 – Z2.00.25 Treatment 03

- Zone Ref. UHZ/11 – Manifold Ref. UFM/02 – Z2.00.26 Treatment 02

- Zone Ref. UHZ/12 – Manifold Ref. UFM/02 – Z2.00.27 Treatment 01

- Zone Ref. UHZ/13 – Manifold Ref. UFM/02 – Z2.00.03 Circulation Area/Waiting Area

- Zone Ref. UHZ/14 – Manifold Ref. UFM/02 – Z2.00.09 Reception

- Zone Ref. UHZ/15 – Manifold Ref. UFM/02 – Z2.00.12 Admin Office

- Zone Ref. UHZ/16 – Manifold Ref. UFM/02 – Z2.00.11 Interview Room

- Zone Ref. UHZ/17 – Manifold Ref. UFM/03 – Z2.01.21 Admin Room

- Zone Ref. UHZ/18 – Manifold Ref. UFM/03 – Z2.01.22 Office

- Zone Ref. UHZ/19 – Manifold Ref. UFM/03 – Z2.01.23 Staff Room

- Zone Ref. UHZ/20 – Manifold Ref. UFM/03 – Z2.01.20 Meeting Room

- Zone Ref. UHZ/21 – Manifold Ref. UFM/03 – Z2.01.07 Staff Circulation

- Zone Ref. UHZ/22 – Manifold Ref. UFM/03 – Z2.01.26 Lobby 03

- Zone Ref. UHZ/23 – Manifold Ref. UFM/03 – Z2.01.16 Office

- Zone Ref. UHZ/24 – Manifold Ref. UFM/03 – Z2.01.18 Dirty Utility

- Zone Ref. UHZ/25 – Manifold Ref. UFM/03 – Z2.01.17 Clean Utility

- Zone Ref. UHZ/26 – Manifold Ref. UFM/03 – Z2.01.15 Consult 05

- Zone Ref. UHZ/27 – Manifold Ref. UFM/04 – Z2.01.06 Consult Circulation

- Zone Ref. UHZ/28 – Manifold Ref. UFM/04 – Z2.01.02 Circulation & Waiting Room

- Zone Ref. UHZ/29 – Manifold Ref. UFM/04 – Z2.01.14 Consult 06

- Zone Ref. UHZ/30 – Manifold Ref. UFM/04 – Z2.01.13 Consult 07

- Zone Ref. UHZ/31 – Manifold Ref. UFM/04 – Z2.01.12 Counsellor Room

- Zone Ref. UHZ/32 – Manifold Ref. UFM/04 – Z2.01.11 Consult 08

- Zone Ref. UHZ/33 – Manifold Ref. UFM/04 – Z2.01.10 Consult 09

- Zone Ref. UHZ/34 – Manifold Ref. UFM/04 – Z2.01.09 Consult 10

- Zone Ref. UHZ/36 – Manifold Ref. UFM/04 – Z2.01.05 Admin Office

Manifolds

- Ref. UFM/01 – Z2.00.16 Cleaners Store

- Ref. UFM/02 – Z2.00.09 Reception

- Ref. UFM/03 – Z2.01.07 Staff Circulation

- Ref. UFM/04 – Z2.01.06 Consult Circulation

5.6	GRILLES & LOUVRES

Manufacturer:		Gilberts (Blackpool) Ltd

Supplier:		Gilberts (Blackpool) Ltd

Tel:			01253 766911

Fax:			01253 767941

Email:			sales@gilbertsblackpool.co.uk

Types:

MEDICAL CENTRE

Medical Centre EL, EL, EL, IL, IL, IL

- 6 No. WGC/38/875x395/BG/RLF

PPC RAL 3009 20% Finish

Medical Centre Staff Room

- 1 No. WGC/38/250x250/BG/RLF

PPC RAL 7006 20% Finish

Location??

- 2 No. WGF-38 275 x 125

Location??

- 6 No. WGF-38 395 x 875

5.7	THERMAL INSULATION

Manufacturer:

Supplier/Installer:	KAG Insulation Services Ltd

Tel:			07771 574743

Email:			bill.white@kaginsulationservices.co.uk

Types:

- Heating and domestic pipework insulated with foil faces phenolic foam sections, with external pipework additionally finished with aluminium cladding.

- Plantroom, external flanges and valves insulated with removable jackets.

- Soil, vent and rainwater stacks insulated with foil faced mineral wool sections, secured into position and sealed with matching foil tape.

- The internal MVHR fresh air intake and exhaust ductwork insulated with foil faced mineral wool ductwrap, secured into position with lacing wire and sealed with matching foil tape.

- The external AHU supply and return air ductwork insulated with foil faced mineral wool ductwrap and finished with aluminium cladding.

COMMUNITY HUB

- Heating Pipework

- Domestic Pipework

- Soil & Vent Pipework

- Rainwater Pipework

- MVHR FAI & Exhaust Ductwork

- External AHU Supply & Return Air Ductwork

MEDICAL CENTRE

- Heating Pipework

- Domestic Pipework

- Soil & Vent Pipework

- MVHR FAI & Exhaust Ductwork

- External AHU Supply & Return Air Ductwork

5.8	RADIANT PANELS

Manufacturer:		Lindab Ltd

Supplier:		Lindab Ltd

Tel:			01604 788383

Fax:			01604 788351

Types:

COMMUNITY HUB

RP.01/01 – Z1.01.20 WC 01

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/02 – Z1.01.30 WC 06

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/03 – Z1.00.29 WC 05

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/04 – Z1.00.28 WC 04

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/05 – Z1.00.27 WC 03

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/06 – Z1.00.11 WC’s

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/07 – Z1.00.25 WC 02

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/08 – Z1.00.24 WC 01

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/09 – Z1.01.23 WC 02

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.02/01 & RP.02/02 – Z1.00.13 Changing Room

- Atrium Plana Radiant Panel – 2 No. Sets of Hanging Pendulum 540-1000mm

RP.02/03 – Z1.00.26 AWC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.01/03 – Z1.00.29 WC 05

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.02/03 – Z1.00.26 AWC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.02/04 – Z1.01.13 AWC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.02/05 – Z1.00.10 Kitchen

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.02/06 – Z1.01.15 WC’s

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP.03/01 & RP.03/02 – Z1.00.21 Workshop

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

MEDICAL CENTRE

RP/01/01 – Z2.00.06 WC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP/01/02 – Z2.00.07 AWC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP/01/03 – Z2.00.13 Staff AWC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP/01/04 – Z2.01.24 Staff WC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP/01/05 – Z2.01.19 Staff WC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP/01/06 – Z2.01.03 WC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

RP/01/07 – Z2.01.04 AWC

- Atrium Plana Radiant Panel – 1 No. Sets of Hanging Pendulum 540-1000mm

5.9	GRILLES

Manufacturer:		Lindab Ltd (Enfield)

Manufacturer:		Lindab Ltd (Enfield)

Tel:			0208 805 3656

Fax:			0208 805 0558

Email:			enfield.sales@lindab.com

Types:

ATS.01/01 – Z2.01.17 Clean Utility

- 1 No. GSV-160-RAL9016

ATS.02/01 – Z2.00.17 Clean Utility

- 1 No. GSV-200-RAL9016

ATS.03/01 – Z2.00.25 Treatment 03

- 1 No. CD3-RAL9010M-300x300-FH RAL9010M

- 1 No. SEPB-250Ø 300x300 No Flange

ATS.03/06 – Z2.00.25 Treatment 02

- 1 No. CD3-RAL9010M-300x300-FH RAL9010M

- 1 No. SEPB-250Ø 300x300 No Flange

ATS.03/03 – Z2.00.27 Treatment 01

- 1 No. CD3-RAL9010M-300x300-FH RAL9010M

- 1 No. SEPB-250Ø 300x300 No Flange

ATS.04/01 – Z2.01.12 Counsellor Room

- 1 No. CD2C-RAL9010M-225x225-NO FH RAL9010M

- 1 No. SEPB-250Ø-Galv-225x225-NO FLNG

ATE.01/01 – Z2.00.06 WC

- 1 No. GEV-125-RAL9016

ATE.01/02 – Z2.01.02 Staff WC

- 1 No. GEV-125-RAL9016

ATE.01/03 – Z2.01.19 Staff WC

- 1 No. GEV-125-RAL9016

ATE.01/04 – Z2.01.03 WC

- 1 No. GEV-125-RAL9016

ATE.01/05 – Z2.01.08 Cleaners

- 1 No. GEV-125-RAL9016

ATE.01/06 – Z2.00.16 Cleaner Store

- 1 No. GEV-125-RAL9016

ATE.01/07 – Z2.00.29 Baby Change Room

- 1 No. GEV-125-RAL9016

ATE.02/01 – Z2.01.18 Dirty Utility

- 1 No. GEV-160-RAL9016

ATE.02/02 – Z2.00.07 AWC

- 1 No. GEV-160-RAL9016

ATE.02/03 – Z2.00.13 Staff AWC

- 1 No. GEV-160-RAL9016

ATE.03/01 – Z2.00.18 Dirty Utility

- 1 No. GEV-200-RAL9016

ATE.03/02 – Z2.01.04 AWC

- 1 No. GEV-200-RAL9016

ATE.04/01 – Z2.00.25 Treatment 03

- 1 No. CD3-RAL9010M-300x300-NO FH RAL9010M

ATE.04/02 – Z2.00.26 Treatment 02

- 1 No. CD3-RAL9010M-300x300-NO FH RAL9010M

ATE.04/03 – Z2.00.27 Treatment 01

- 1 No. CD3-RAL9010M-300x300-NO FH RAL9010M

L.03/01 – Z2.01.23 Staff Room

- 1 No. WL38-30FW-BM-Mill-200x200-NO FH

- 1 No. TEPB-100deep-Galv-100Ø-200x200-FLNG

ATG.01/01 – Z2.00.18 Dirty Utility

- 1 No. CD4-RAL9010M-150x150-NO FH

ATG.01/02 – Z2.00.17 Clean Utility

- 1 No. CD4-RAL9010M-150x150-NO FH

ATG.01/03– Z2.01.18 Dirty Utility

- 1 No. CD4-RAL9010M-150x150-NO FH

ATG.01/04 – Z2.01.17 Clean Utility

- 1 No. CD4-RAL9010M-150x150-NO FH

5.10	RADIATORS & VALVES

Manufacturer:		MHS Radiators Limited

Supplier: 		MHS Radiators Limited

Tel:			0345 521 5666

Fax:			01268 888260

Types:

COMMUNITY HUB

RAD.01/01 – Z1.00.07 Store 02

- 1 No. MXH-140-B05 Matrix H14 (H)0140 (W)0500 (D)032

RAD.02/01 – Z1.00.18 Lobby

- 1 No. AG-A-E11-0540-07 Ambiguard Type A c/w E11 Emitter (H)0540 (W)0700 (D)097

RAD.03/01 – Z1.00.09 Circulation 01

- 1 No. AG-A-E21-0540-06 Ambiguard Type A c/w E21 Emitter (H)0540 (w)0600 (d)097

RAD.04/01 – Z1.00.11 WC’s Circ.

- 1 No. AG-A-E21-0540-08 Ambiguard Type A c/w E21 Emitter (H)0540 (W)0800 (D)097

RAD.05/01 – Z1.00.12 Circulation 02

- 1 No. AG-A-E21-0540-11 Ambiguard Type A c/w E21 Emitter (H)0540 (W)1100 (D)097

RAD.06/01 – Z1.00.17 Store/Green Room

- 1 No. AG-A-E21-0540-15 Ambiguard Type A c/w E21 Emitter (H)0540 (W)1500 (D)097

RAD.07/01 – Z1.01.24 Store Room

- 1 No. AG-B-E11-0465-06 Ambiguard Type B c/w E11 Emitter (H)0465 (W)0600 (D)097

RAD.08/01 – Z1.01.12 Store Room

- 1 No. AG-B-E11-0565-05 Ambiguard Type B c/w E11 Emitter (H)0565 (W)0500 (D)097

RAD.09/01 – Z1.01.18 Kitchenette

- 1 No. AG-B-E21-0565-05 Ambiguard Type B c/w E21 Emitter (H)0565 (W)0500 (D)097

RAD.09/02 – Z1.01.01 Lobby 01

- 1 No. AG-B-E21-0565-05 Ambiguard Type B c/w E21 Emitter (H)0565 (W)0500 (D)097

RAD.10/01 – Z1.01.16 Circulation 03

- 1 No. AG-B-E21-0565-07 Ambiguard Type B c/w E21 Emitter (H)0565 (W)0700 (D)097

RAD.11/01 – Z1.01.06 Lobby 02

- 1 No. AG-B-E21-0565-08 Ambiguard Type B c/w E21 Emitter (H)0565 (W) 0800 (D)097

RAD.12/01 – Z1.01.02 Circulation 01

- 1 No. AG-B-E21-0565-11 Ambiguard Type B c/w E21 Emitter (H)0565 (W)1100 (D)097

RAD.13/01 – Z1.01.10 Circulation 02

- 1 No. AG-B-E21-0565-12 Ambiguard Type B c/w E21 Emitter (H)0565 (W)1200 (D)097

RAD.14/01 – Z1.01.08 Meeting/Office

- 1 No. AG-B-E21-0565-16 Ambiguard Type B c/w E21 Emitter (H)0565 (W)1600 (D)097

RAD.15/01 & RAD.15/02 – Z1.01.19 Community Room 01

- 2 No. AG-B-E21-0665-15 Ambiguard Type B c/w E21 Emitter (H)0665 (W)1500 (D)097

RAD.17/01 – Z1.01.22 Community Room 03

- 1 No. AG-B-E21-0665-18 Ambiguard Type B c/w E21 Emitter (H)0665 (W)1800 (D)097

RAD.18/01 & RAD.18/02 – Z1.01.03 STC Offices

- 2 No. G21-604 Galant Type 21 (H)0600 (W)1400 (D)070

RAD.19/01 – Z1.01.04 Store Room

- 1 No. MXH-350-B-05 Matrix H35 (H)0350 (W)0500 (D)032

RAD.20/02 & RAD.20/03 – Z1.01.11 Community Room 02

- 2 No. AG-B-E22-0665-18 Ambiguard Type B c/w E22 Emitter (H)0665 (W)1800 (D)161

RAD.21/01 - Z1.01.11 Community Room 02

- 1 No. AG-B-E22-0665-10 Ambiguard Type B c/w E22 Emitter (H)0665 (W)1000 (D)161

Valves

- 20 No. AGFVLVTRV-EXTERN External TRV & LSV Sets

- 6 No. VLVSTE-ACTRV Sterling Angled 15mm TRV Valve & Lockshield

- 3 No. AG-RAFN TRV Valve Body

- 2 No. AG-RLV Lockshield Valve

- 5 No. SG-RLV-CON Lockshield 15mm Compression Fitting

- 5 No. AG-FITTINGS Fittings for Copper Emitter

5.11	NATURAL VENTILATION

MEDICAL CENTRE

Manufacturer:		Monodraught Limited

Supplier/Installer:	Monodraught Limited

Tel:			01494 897700

Fax:			01494 532465

Email:			info@monodraught.com

Types:

WVU/01 – Z2.01.20 Meeting Room

- 1 No. Windcatcher X-Air 110 Natural Ventilation System – Medium Grey RAL 7037

WVU/02 – Z2.01.05 Admin Office

- 1 No. ABS 550 SUNCATCHER Natural Ventilation & & Daylight System

WVU/03 – Z2.01.02 Circ. & Waiting

- 1 No. Windcatcher X-Air 140 Natural Ventilation System – Medium Grey RAL 7037

ML.01/01 – Z2.00.20 Consult 01

- 1 No. VENTSAIR Natural Ventilation System

ML.01/02 – Z2.00.21 Consult 02

- 1 No. VENTSAIR Natural Ventilation System

ML.01/03 – Z2.00.22 Consult 03

- 1 No. VENTSAIR Natural Ventilation System

ML.01/04 – Z2.00.23 Consult 04

- 1 No. VENTSAIR Natural Ventilation System

ML.01/05 – Z2.00.11 Interview Room

- 1 No. VENTSAIR Natural Ventilation System

ML.01/06 – Z2.00.12 Admin Office

- 1 No. VENTSAIR Natural Ventilation System

iNVent Panel No. 1 (Supply Only)

- 1 No. iNVent2 Fully Automatic Control System with Night-Time Cooling Facility as standard, supplied with Fire Alarm, Heating System Interlock Facilities, External Rin Sensor & External Temperature Sensor.  Supplied complete with 60W 240V AC to 24V DC transformer for connection to mains socket/fused spur.

Zone 1: Consult 1 – 1 No. VA Controller with Temperature, CO2 Sensors & Override Control

Zone 2: Consult 2 – 1 No. VA Controller with Temperature, CO2 Sensors & Override Control

Zone 3: Consult 3 – 1 No. VA Controller with Temperature, CO2 Sensors & Override Control

Zone 4: Meeting Room – 1 No. WC Controller with Temperature, CO2 Sensors & Override Control

iNVent Panel No. 2 (Supply Only)

- 1 No. iNVent2 Fully Automatic Control System with Night-Time Cooling Facility as standard, supplied with Fire Alarm, Heating System Interlock Facilities, External Rin Sensor & External Temperature Sensor.  Supplied complete with 60W 240V AC to 24V DC transformer for connection to mains socket/fused spur.

Zone 1: Consult 4 – 1 No. VA Controller with Temperature, CO2 Sensors & Override Control

Zone 2: Interview Room – 1 No. VA Controller with Temperature, CO2 Sensors & Override Control

Zone 3: Admin Office – 1 No. VA Controller with Temperature, CO2 Sensors & Override Control

Zone 4: Waiting – 1 No. WC Controller with Temperature, CO2 Sensors & Override Control

iNVent Panel No. 1 (Supply Only)

- 1 No. iNVent2 Fully Automatic Control System with Night-Time Cooling Facility as standard, supplied with Fire Alarm, Heating System Interlock Facilities, External Rin Sensor & External Temperature Sensor.  Supplied complete with 60W 240V AC to 24V DC transformer for connection to mains socket/fused spur.

Zone 1: Admin Office 05 – 1 No. WC Controller with Temperature, CO2 Sensors & Override Control

COMMUNTIY HUB

Manufacturer:		Monodraught Limited

Supplier:		Monodraught Limited

Tel:			01494 897700

Fax:			01494 532465

Email:			info@monodraught.com

Types:

Library

- 2 No. WINDCATCHER X-Air 170 Natural Ventilation Systems – Medium Grey RAL 9037

Community Room

- 1 No. WINDCATCHER X-Air 200 Natural Ventilation System – Medium Grey RAL 9037

Meeting

- 1 No. ABS Circular 550 WINDCATCHER Natural Ventilation System – Medium Grey RAL 9037

iNVent Panel No. 1 (Supply Only)

- 1 No. iNVent2 Fully Automatic Control System with Night-Time Cooling Facility as standard, supplied with Fire Alarm, Heating System Interlock Facilities, External Rin Sensor & External Temperature Sensor.  Supplied complete with 60W 240V AC to 24V DC transformer for connection to mains socket/fused spur.

Zone 1: Library (2 No. Systems) – 1 No. WC Controller with Temperature, CO2 Sensors & Override Control

Zone 2: Community Room – 1 No. WC Controller with Temperature, CO2 Sensors & Override Control

Zone 3: Meeting – 1 No. WC Controller with Temperature, CO2 Sensors & Override Control

5.12	SANITARY WARE

MEDICAL CENTRE

Manufacturer:		Ideal Standard (UK) Ltd

Tel:			0870 129 6085

Email:			customercare@idealstandard.com

Manufacturer:		Kohler Mira Limited

Tel:			0800 001 4040

Email:			askus@mirashowers.com

Supplier:		Neville Lumb, Barking

Tel:			0208 477 4150

Fax:			0208 477 4180

Types:

Z2.00.06 WC

- 1 No. S0439HY Ideal Standard Contour 21+ BTW Rimless WC Bowl Standard Projection

- 1 No. S4066LJ Ideal Standard Contour 21 Standard Toilet Seat with Retaining Buffers – No Cover – Top Fixing Hinges – Grey

- 1 No. S361767 Ideal Standard Conceala 2 Universal Height Side Inlet Cistern with Syphon & Long Lever – 6 or 4.5 Litre Flush

- 1 No. MAC-7A MACFIT 4in 14’ Angle Pan Connector

- 1 No. S231401 Ideal Standard Portman 21 40cm Basin No O/F or Chain Hole One RH TH

- 1 No. E006267 Ideal Standard Basin Fixing Kit

- 1 No. 1.555.062 Rada Thermotap-3 L Copper

- 1 No. WST341/0020/CP Peerless CP 32mm US Flat Grated Waste 80mm 201436

- 1 No. A10R McAlpine Resealing Trap 1¼"

Z2.00.07 AWC

- 1 No. S0686AC Ideal Standard Contour 21+ DOC M White Rails BTW RH

Z2.00.13 Staff WC

- 1 No. S0684AC Ideal Standard Contour 21+ DOC M White Rails C/C RH

Z2.01.03 WC

- 1 No. S305401 Ideal Standard Contour 21 46cm High Close Coupled WC Bowl – 75cm Projection

- 1 No. S365401 Ideal Standard Contour 21 Standard Close Coupled Cistern with Syphon – No Lever – For Use with 75cm Projection Bowl

Bansals

15 No. S4399AA Ideal Standard Contemporary Flush Plate Chrome Plates

5.13	PUMPS

Manufacturer:		Grundfos Pumps Ltd

Email:			grundfos-uk.sales@grundfos.com

Supplier:		Action Pumps Ltd

Tel:			023 9226 8511

Fax:			023 9224 1263

Email:			sales@actionpumps.com

Types:

Community Hub

Ref. PMP/01 – LTHW CT – Z1.01.14 Plant Room

- 1 No. MAGNA1 32-80/180 
(99221235)

Ref. PMP/02 – LTHW VT – Z1.01.14 Plant Room

- 1 No. MAGNA1 25-80/180

(99221213)

Ref. PMP/03 – HWS Secondary – Z1.01.14 Plant Room

- 1 No. Comfort 15-14 B PM GB

(99164487)

Medical Hub

Ref. PMP/01 – LTHW Primary – Z2.00.14 Plant Room

- 1 No. MAGNA1 32-40/180

(99221233)

Ref. PMP/02 – HWS Primary – Z2.00.14 Plant Room

- 1 No. MAGNA1 25-40/180

(99221216)

Ref. PMP/03 – LTHW VT – Z2.00.14 Plant Room

- 1 No. MAGNA1 25-80/180

(9922213)

Ref. PMP/04 – HWS Secondary – Z2.00.14 Plant Room

- 1 No. UPS 15-50N

(97549426)

Ref. PMP/05 – HWS Secondary (Spare) – Z2.00.14 Plant Room

- 1 No. UPS 15-50N

(97549426)

5.14	EXTRACT FANS, MVHR’S & AHU

Manufacturer:		Nuaire Limited

Supplier:		Nuaire Limited

Tel:			02920 858439

Fax:			02920 858222

Email:			orders@nuaire.co.uk

Types:

COMMUNITY HUB

EF.01 – Z1.00.21 Workshop – Workshop Extract

- 1 No. OPUS95D-CRF OPUS Surface/Recessed Mounted Extract Fan Full Speed Control for Trickle & Boost, Run-On Timer, On/Off Control, Foam Filter

- 5 No. 230-PIRNT PIR Sensor – No Run-On Timer

EF.02 – Z1.01.18 Kitchenette – Kitchenette Extract

- 1 No. NA-E-100H 4" Energy Efficient Axial with Humidistat & Timer

EF.03 – Z1.01.20 WC 01 – WC01 Extract

- 1 No. OPUS40S-ESF OPUS Surface/Recessed Mounted Extract Fan, On/Off Control, Run-On Timer, Full Speed Controls for Trickle & Boost, Ecosmart Control Functions incl. Run Fail Relays Foam Filter

EF.04 – Z1.01.13 AWC – AWC Extract

- 1 No. OPUS40S-ESF OPUS Surface/Recessed Mounted Extract Fan, On/Off Control, Run-On Timer, Full Speed Controls for Trickle & Boost, Ecosmart Control Functions incl. Run Fail Relays Foam Filter

EF.05 – Roof – Toilet Extract

- 1 No. DE1-ES Dave Extract Fan Size 1, Supplied with Ecosmart Energy Efficient Control, Circular Spigots & Installation Brackets

- 2 No. CFC16 Flexible Connectors to Suit 150mm to 160mm DIA Spigots

- 3 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing Surface Mounted

EF.06 – Roof – 1F Toilet Extract

- 1 No. DE2-ES Dave Extract Fan Size 2, Supplied with Ecosmart Energy Efficient Control, Circular Spigots & Installation Brackets

- 2 No. CFC20 Flexible Connectors to Suit 200mm DIA Spigots

- 1 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing Surface Mounted

EF.07 – Roof – GF General Toilet Extract

- 1 No. DE4-ES Dave Extract Fan Size 4, Supplied with Ecosmart Energy Efficient Control, Circular Spigots & Installation Brackets

- 2 No. CFC25 Flexible Connectors to Suit 250mm DIA Spigots

- 1 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing Surface Mounted

MVHR/01 – Z1.00.05 Office Room

- 1 No. MRXBOXAB-ECO-LP2 Ceiling Void MVHR

- 1 No. MRXBOX95-PIR PIR Sensor

AHU01 – Roof

- 1 No. B832T/LN/CO-R BPS Size 3.25, Thermal Wheel Unit.  LPHW Heating Fitted.  No Cooling Coil.  Ecosmart Connect Control Selected.  Unit is Right-Handed.

- 1 No. ESCO-LCD Ecomsart Connect LCD Display (c/w Mounting Box)

- 1 No. B32A/VM-L BPS LPHW Valve Module in Protective Enclosure for BPS32 with Connect or Adapt Trend Control.  Includes PICV & Actuator

- 1 No. B32AT/RM-R Recirculation Module Left-Handed for Thermal Wheel Units

MEDICAL CENTRE

EF/01 – Roof – GF Toilet & Cleaner Extract

- 1 No. DE2A-ES Dave Extract Fan Size 2, Supplied with Ecosmart Energy Efficient Control, G3 Filter, Circular Spigots & Installation Brackets

- 2 No. CFC20 Flexible Connectors to Suit 200mm DIA Spigot

- 1 No. ES-JB Ecosmart Junction Box

- 5 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing – Surface Mounted

EF/02 – Roof – 1F Toilet Extract

- 1 No. DE1A-ES Dave Extract Fan Size 2, Supplied with Ecosmart Energy Efficient Control, G3 Filter, Circular Spigots & Installation Brackets

- 2 No. CFC16 Flexible Connectors to Suit 150mm to 160mm DIA Spigot

- 3 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing – Surface Mounted

EF/03 – Roof – 1F AWC & Cleaner Extract

- 1 No. DE1A-ES Dave Extract Fan Size 2, Supplied with Ecosmart Energy Efficient Control, G3 Filter, Circular Spigots & Installation Brackets

- 2 No. CFC16 Flexible Connectors to Suit 150mm to 160mm DIA Spigot

- 2 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing – Surface Mounted

EF.04 – Z2.01.23 Staff Room – Kitchenette Extract

- 1 No. NA-E-100H 4" Energy Efficient Axial with Humidistat & Timer

SF/01 – Z2.01.12 Counsellor Room – Counsellor Room Overheating Supply Fan

- 1 No. ILMEC-100 Mixed Flow Inline Fan with High Efficiency EC Motor, Control via 0.10V Signal

- 2 No. CFC10 Flexible Connectors to Suit 100mm DIA Spigot

- 1 No. ILMEC-010 Speed Control for IMLEC Range

MVHR/01 – Z2.00.25 Treatment 03

- 1 No. XBC15-H-NES XBOXER Supply & Extract HX Unit Incorporating High Efficiency Counterflow Plate Heat Exchanger with 1005 Bypass Facility, Automatic Control & Actuator, Backward Curved Impellers, IP54 EC Motors & Speed Control.  Double Skinned Construction (Patented).  GF Panel Filters.  Ecosmart Control of the Ventilation. Left-Handed.

- 1 No. XBC15-F7 F7 Filter Panel for XBC15 Unit

- 1 No. ES-CO2RMPP Ecosmart CO2 & Temperature Sensor Supplied with SELV AC Power Supply

MVHR/02 – Z2.00.26 Treatment 02

- 1 No. XBC15-H-NES XBOXER Supply & Extract HX Unit Incorporating High Efficiency Counterflow Plate Heat Exchanger with 1005 Bypass Facility, Automatic Control & Actuator, Backward Curved Impellers, IP54 EC Motors & Speed Control.  Double Skinned Construction (Patented).  GF Panel Filters.  Ecosmart Control of the Ventilation. Left-Handed.

- 1 No. XBC15-F7 F7 Filter Panel for XBC15 Unit

- 1 No. ES-CO2RMPP Ecosmart CO2 & Temperature Sensor Supplied with SELV AC Power Supply

MVHR/03 – Z2.00.27 Treatment 01

- 1 No. XBC15-H-NES XBOXER Supply & Extract HX Unit Incorporating High Efficiency Counterflow Plate Heat Exchanger with 1005 Bypass Facility, Automatic Control & Actuator, Backward Curved Impellers, IP54 EC Motors & Speed Control.  Double Skinned Construction (Patented).  GF Panel Filters.  Ecosmart Control of the Ventilation. Left-Handed.

- 1 No. XBC15-F7 F7 Filter Panel for XBC15 Unit

- 1 No. ES-CO2RMPP Ecosmart CO2 & Temperature Sensor Supplied with SELV AC Power Supply

MVHR/04 – Roof

- 1 No. XBC10-H-NES XBOXER Supply & Extract HX Unit Incorporating High Efficiency Counterflow Plate Heat Exchanger with 1005 Bypass Facility, Automatic Control & Actuator, Backward Curved Impellers, IP54 EC Motors & Speed Control.  Double Skinned Construction (Patented).  GF Panel Filters.  Ecosmart Control of the Ventilation. Left-Handed.

- 2 No. XBC15-HS-MS10 Matched Silencer, 1050mm Length on Supply/Discharge

- 2 No. XBC15-HE-MS10 Matched Silencer, 1050mm Length on Extract/Fresh Air

- 4 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing – Surface Mounted

- 1 No. XBC15-H-WP Weather Proofing Kit

Locations?

- 3 No. ES-LCD Ecosmart User Control with Touch Screen c/w Time Clock

Locations?

- 1 No. ES-JB Ecosmart Junction Box

Locations?

- 4 No. PVCSIL-1000 PVC Attenuator 1000mm Long Spigot Size 204 x 60mm

Locations?

- 2 No. ES-JB Ecosmart Junction Box

- 5 No. ES-PIR2 Ecosmart PIR Sensor in Round Housing – Surface Mounted

5.15	BOILERS

Manufacturer:		Remeha (Baxi Heating UK Limited)

Tel:			0118 918 3434

Supplier:		Pipe Center, Greenford

Tel:			0208 578 2300

Fax:			0208 575 3556

Email:			k83@greenford@wolseley.co.uk

Types:

COMMUNITY HUB

BLR/01 – Z1.01.14 Plant Room

- 2 No. 7699454 Quinta Ace 55 ML GB

- 1 No. KT00324 Fluecade for 2 Boilers In Line (QP65/90/115)

- 1 No. KT1100 Cascade for 2 No. QP65 Boilers – Wall Hung In Line

- 1 No. 114658 Low Loss Header DN65 4 Hole Boiler Side DN100 8 Hole S

- 1 No. 111067 Insulation – Low Loss Header

- 2 No. S101614 Grundfos UPM25/70 (130mm) Modulating Pump for QP 30, 40 & 65

MEDICAL CENTRE

BLR/01 – Z2.00.14 Plant Room

- 1 No. 7699454 Quinta Ace 55 ML GB

- 1 No. KT00310 Vertical Concentric Flue Kit Option QP08

- 1 No. KT00183 Low Loss Header Kit Single QP 30/45/65 c/w Pump

5.16	AIR/DIRT SEPARATOR

Manufacturer:		Flamco Group

Email:			info@flamcogroup.com

Supplier:		Pipe Center, Greenford

Tel:			0208 578 2300

Fax:			0208 575 3556

Email:			k83@greenford@wolseley.co.uk

Types:

MEDICAL CENTRE

ADS/01 – Z2.00.14 Plant Room

- 1 No. Flamcovent Clean Brass 1.25

5.17	PRESSURISATION UNIT

Manufacturer:		Mikrofill Systems Ltd

Tel:			03452 606020

Fax:			03452 606021

Email:			info@mikrofill.com

Supplier:		Pipe Center, Greenford

Tel:			0208 578 2300

Fax:			0208 575 3556

Email:			k83@greenford@wolseley.co.uk

Types:

MEDICAL CENTRE

PU/01 – Z2.00.14 Plant Room

- 1 No. Mikrofill 3

5.18	EXPANSION VESSELS

Manufacturer:		Flamco Group

Email:			info@flamcogroup.com

Supplier:		Pipe Center, Greenford

Tel:			0208 578 2300

Fax:			0208 575 3556

Email:			k83@greenford@wolseley.co.uk

Types:

MEDICAL CENTRE

EX/01 – Z2.00.14 Plant Room – LTHW

- 1 No. Flexcon 80 Litre

5.19	DOSING POTS

Manufacturer:		Jet (Wolseley)

Supplier:		Pipe Center, Greenford (Wolseley)

Tel:			0208 578 2300

Fax:			0208 575 3556

Email:			k83@greenford@wolseley.co.uk

Types:

COMMUNITY HUB

MEDICAL CENTRE

DP/01 – Z2.00.14 Plant Room

- 1 No. 6 Litre Dosing Pot

5.20	HOT WATER CYLINDERS

Manufacturer:		Gledhill Building Products Ltd

Tel:			01253 474550

Fax:			01253 474551

Email:			sales@gledhill.net

Supplier:		Pipe Center, Greenford

Tel:			0208 578 2300

Fax:			0208 575 3556

Email:			k83@greenford@wolseley.co.uk

Types:

COMMUNITY JUB

MEDICAL CENTRE

GWC/01 – Z2.00.14 Plant Room

- 1 No. ASL475IND150 150L IND S/S SLM

- 1 No. CB 35L Heating Expansion Vessel