## 7 USR
SOURCING REFERENCE: | FM16202 |  | Bidders are required to complete all RED highlighted cells. All costs are to be exclusive of VAT. The price Shown in cell D167 is what will be used for your bid All costs are to align to the Specification detailed within the Invitation to Quote documentation and all supporting attachments and subsequent clarifications.
SOURCING DOCUMENT TITLE: | Domestic Refurb Works 4
BIDDER NAME | [Bidder to add name]
Item Number | Description | Price | Notes & Comments
Prelims
1 A | All costs associated with Prelims & OHP.
1 B | All costs associated with Health & Safety.
1 C | Include for own welfare facility for the duration of the works.
0
External Works
2 A | Allow for supply of skips to dispose of objects and material as necessary.
2 B | Remove and dispose of all other items within gardens.
2 C | Provide tower scaffold platform to eaves level.
2 D | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe.
2 E | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc.; Photograph all main elevations and identified defects and report to C.A.
2 F | Clear out all gutters and down pipes; test and seal all joints with clear silicone mastic.
2 G | Prepare and apply two full coats of gloss paint, matching existing colour, to all timber surfaces including fascia and soffit boards, external store door etc.
2 H | Clean down externally all UPVC window cills and frames with white spirit; clean window glass inside and out, leave smear free.
2 I | Replace locks to front external door; provide 3 nr sets of keys including 1 master set to be mastered to new side door also.
0
Internal Works
KITCHEN
Floor Finishes
3 A | Lift and dispose of existing vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
3 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7386 Savana, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
3 C | Provide clear colour silicone sealant to junction of flooring and skirting.
3 D | Provide aluminium cover strips to doorways.
Decorations
3 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
3 F | Allow extra over for 2 nr additional coats to cover green coloured walls .
3 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
3 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
3 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
3 J | Allow to accept supply only quotation for new extractor hood from Howdens Joinery Ltd. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
3 K | Install new extractor unit; Allow for all carpentry and electrical works;
3 L | Allow a Provisional Sum of £500.00 for forming boxing to enclose new ventilation duct. | 500 | Provisional Sum
3 M | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
3 N | Provide new white fabric, washable, roller blind to window along front elevation.
3 O | Remove and dispose of existing fire extinguisher and provide new Chubb 1KG CO2 fire extinguisher; hang on wall bracket in kitchen.
3 P | Allow the Provisional Sum of £2,000.00 to complete works as directed by C.A. | 2000 | Provisional Sum
Mechanical & Electrical
3 Q | Disconnect and remove existing fluorescent tube light fitting in kitchen area and pendant style light fitting in dinning area.
3 R | Allow to provide and install new aluminium LED bulb track lighting with 5 Nr fittings; each to be fully adjustable; allow for all connections, junction boxes etc.
3 S | Disconnect, remove and dispose of existing through wall extractor in kitchen.
3 T | Provide new solid ducting (non flexi) to connect cooker extract to existing extract fan position; allow to run new duct through cavity wall to external face; include for new slotted ventilation grill, colour white.
2500
UTILITY, LOBBY, STORE & WC
Floor Finishes
4 A | Lift and dispose of existing carpet and vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
4 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
4 C | Extra over for cutting and sealing joints to match perimeter to manhole cover within Utility Room.
4 D | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
4 E | Provide and fix aluminium cover strips at door openings.
Doors
4 F | Remove and dispose of existing timber door between the Utility Room and side entrance Lobby.
4 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
4 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
Decorations
4 I | Prepare and apply two full coats of Dulux masonry, emulsion finished paint, colour Magnolia, to all blockwork walls generally.
4 J | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
4 K | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
4 L | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
4 M | Remove and dispose of all furiture and shelfing units.
4 N | Provide new white fabric, washable, roller blind to window above utility sink.
0
LIVING ROOM
Floor Finishes
5 A | Professionally clean carpet throughout.
5 B | Lift and dispose of existing carpet flooring, including underlay throughout; dispose of materials off-site.
5 C | Obtain and accept supply only quotation from Howdens Joinery Ltd for new laminate flooring comprising; OAK - Professional Range - code UK, F, 3552 Allow all necessary foam underlay, damp proof membrane, perimeter spacers, door threshold strip etc. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
5 D | Install new flooring; allow for any necessary carpentry works including to remove and refix all existing skirting boards etc.
Decorations
5 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
5 F | Allow extra over for 2 nr additional full coats to cover red coloured feature wall.
5 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
5 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
5 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
5 J | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
5 K | Remove and dispose of all furniture.
0
HALL STAIRS AND LANDING
Wall & Ceiling Finishes
6 A | Allow to overlay walls and ceilings with and additional layer of skim plaster approx. 3mm thick to achieve FD30 rating; First floor landing Stairway Ground floor hallway
6 B | Extra over to renew sockets and light switch back boxes to accommodate additional depth of walls; provide and fix new white UPVC facing plates / switch controls.
Floor Finishes
6 C | Professionally clean all carpets throughout.
6 D | Allow to remove timber pencil skirting on landing in conjunction with the above item (wall plastering works); replace with 100 x 25 mm pencil rounded softwood timber skirting.
Doors
6 F | Remove and dispose of existing timber doors to all bedrooms.
6 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
6 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
6 I | Provide and fix to all doors 1 Nr mortice lock, euro profile, with 3 Nr sets of keys for each lock as well as a master key for all bedroom door locks; include for all carpentry work.
Decorations
6 J | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
6 K | Extra over for 2 Nr additional full coats to existing walls where coloured; allow for removal of stickers and adhesive and prepare wall for redecoration.
6 L | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
6 M | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
6 N | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
6 O | Remove and dispose of all funiture and loose items.
6 P | Remove and dispose of fabric blind in 3rd bedroom and fixings and dispose
0
3 Nr BEDROOMS
Floor Finishes
7 A | Professionally clean all carpets throughout.
Decorations
7 C | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
7 D | Allow extra over for 2 nr additional coats to cover bedroom walls which are orange and blue.
7 E | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
7 F | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
7 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
7 H | Remove and dispose of all loose items and furniture.
7 I | Remove and dispose of metal curtain poles in all bedrooms; provide and install new timber curtain pole (loop curtain sytle) above all windows; pole to have round knob ends; include for drill and plugging to solid walls.
7 J | Allow the Provisional Sum of £2,000.00 to complete works as directed by the C.A. | 2000 | Provisional Sum
2000
BATHROOM
Floor Finishes
8 A | Lift and dispose of existing vinyl flooring; dispose of materials off site; make good subfloor as necessary.
8 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
8 C | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
8 D | Provide and fix aluminium single trim to joint between vinyl and carpet.
Decorations
8 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
8 F | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
8 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
8 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
8 I | Dispose of existing roller blind and renew with white fabric, washable, roller blind.
Mechanical & Electrical
8 J | Renew pilar taps to Wash Hand Basin and Bath.
8 K | Provide replacement shower attachment for existing electric shower over bath.
8 L | Clean extract unit thoroughly.
8 M | Allow a Provisonal Sum of £100.00 to connect existing light fitting to existing extractor unit; allow for extractor to be controlled by adjustable run on timer – set for minimum 10 minutes | 100 | Provisional Sum
100
LOFT
9 A | Remove and dispose of all debris from loft space.
9 B | Provide and lay 200 mm thick Rockwool thermal insulation to complete loft area; leave uniform throughout.
9 C | Provide 20 mm thick rigid foam insulation to all visible pipework where none exists.
0
GENERAL
Electrical Installation
10 A | Allow for equipotential and supplementary bonding; test the whole of the new electrical installation in accordance with the latest edition of the I.E.E. Regulations and provide NICEIC test certificates.
10 B | Allow for all necessary builders work in connection with the mechanical and electrical installations; including cutting holes, chases, mortices etc; making good all work disturbed.
10 C | Allow Provisional Sum of £1,000.00 to renew hard wiring for smoke alarm system, include to wire to CU; test and commission. | 1000 | Provisional Sum
Gas Installation
10 C | Undertake annual service to boiler and provide written service record; include to refill drained system, chlorinate HWS and CWS pipework and provide certificate; works to be completed by GAS SAFE qualified engineer only.
ASBESTOS SURVEY
10 D | Obtain a Refurbishment and Demolition Asbestos Survey prior to undertaking woks; provide an electronic copy of the report.
10 E | As part of asbestos survey obtain a floor plan drawing of the building showing all rooms and spaces to a recognisable scale; provide an electronic copy as a stand alone document.
CONTINGENCY
10 F | Allow a Provisional Sum of £500.00 for installation of telephone and television points in living room. | 500 | Provisional Sum
10 G | Allow Provisional Sum of £1,000.00 contingency to be used by CA as directed. | 1000 | Provisional Sum
2500
TOTAL |  | 7100
All prices are firm and fixed.
All prices are exclusive of VAT

## 11 USR
SOURCING REFERENCE: | FM16202 |  | Bidders are required to complete all RED highlighted cells. All costs are to be exclusive of VAT. The price Shown in cell D167 is what will be used for your bid All costs are to align to the Specification detailed within the Invitation to Quote documentation and all supporting attachments and subsequent clarifications.
SOURCING DOCUMENT TITLE: | Domestic Refurb Works 4
BIDDER NAME | [Bidder to add name]
Item Number | Description | Price | Notes & Comments
Prelims
1 A | All costs associated with Prelims & OHP.
1 B | All costs associated with Health & Safety.
1 C | Include for own welfare facility for the duration of the works.
0
External Works
2 A | Allow for supply of skips to dispose of objects and material as necessary.
2 B | Remove and dispose of all other items within gardens.
2 C | Provide tower scaffold platform to eaves level.
2 D | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe.
2 E | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc.; Photograph all main elevations and identified defects and report to C.A.
2 F | Clear out all gutters and down pipes; test and seal all joints with clear silicone mastic.
2 G | Prepare and apply two full coats of gloss paint, matching existing colour, to all timber surfaces including fascia and soffit boards, external store door etc.
2 H | Clean down externally all UPVC window cills and frames with white spirit; clean window glass inside and out, leave smear free.
2 I | Replace locks to front external door; provide 3 nr sets of keys including 1 master set to be mastered to new side door also.
0
Internal Works
KITCHEN
Floor Finishes
3 A | Lift and dispose of existing vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
3 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7386 Savana, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
3 C | Provide clear colour silicone sealant to junction of flooring and skirting.
3 D | Provide aluminium cover strips to doorways.
Decorations
3 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
3 F | Allow extra over for 2 nr additional coats to cover green coloured walls .
3 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
3 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
3 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
3 J | Allow to accept supply only quotation for new extractor hood from Howdens Joinery Ltd. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
3 K | Install new extractor unit; Allow for all carpentry and electrical works;
3 L | Allow a Provisional Sum of £500.00 for forming boxing to enclose new ventilation duct.
3 M | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
3 N | Provide new white fabric, washable, roller blind to window along front elevation.
3 O | Remove and dispose of existing fire extinguisher and provide new Chubb 1KG CO2 fire extinguisher; hang on wall bracket in kitchen.
3 P | Allow the Provisional Sum of £2,000.00 to complete works as directed by C.A. | 2000 | Provisional Sum
Mechanical & Electrical
3 Q | Disconnect and remove existing fluorescent tube light fitting in kitchen area and pendant style light fitting in dinning area.
3 R | Allow to provide and install new aluminium LED bulb track lighting with 5 Nr fittings; each to be fully adjustable; allow for all connections, junction boxes etc.
3 S | Disconnect, remove and dispose of existing through wall extractor in kitchen.
3 T | Provide new solid ducting (non flexi) to connect cooker extract to existing extract fan position; allow to run new duct through cavity wall to external face; include for new slotted ventilation grill, colour white.
2000
UTILITY, LOBBY, STORE & WC
Floor Finishes
4 A | Lift and dispose of existing carpet and vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
4 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
4 C | Extra over for cutting and sealing joints to match perimeter to manhole cover within Utility Room.
4 D | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
4 E | Provide and fix aluminium cover strips at door openings.
Doors
4 F | Remove and dispose of existing timber door between the Utility Room and side entrance Lobby.
4 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
4 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
Decorations
4 I | Prepare and apply two full coats of Dulux masonry, emulsion finished paint, colour Magnolia, to all blockwork walls generally.
4 J | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
4 K | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
4 L | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
4 M | Remove and dispose of all furiture and shelfing units.
4 N | Provide new white fabric, washable, roller blind to window above utility sink.
0
LIVING ROOM
Floor Finishes
5 A | Professionally clean carpet throughout.
5 B | Lift and dispose of existing carpet flooring, including underlay throughout; dispose of materials off-site.
5 C | Obtain and accept supply only quotation from Howdens Joinery Ltd for new laminate flooring comprising; OAK - Professional Range - code UK, F, 3552 Allow all necessary foam underlay, damp proof membrane, perimeter spacers, door threshold strip etc. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
5 D | Install new flooring; allow for any necessary carpentry works including to remove and refix all existing skirting boards etc.
Decorations
5 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
5 F | Allow extra over for 2 nr additional full coats to cover red coloured feature wall.
5 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
5 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
5 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
5 J | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
5 K | Remove and dispose of all furniture.
0
HALL STAIRS AND LANDING
Wall & Ceiling Finishes
6 A | Allow to overlay walls and ceilings with and additional layer of skim plaster approx. 3mm thick to achieve FD30 rating; First floor landing Stairway Ground floor hallway
6 B | Extra over to renew sockets and light switch back boxes to accommodate additional depth of walls; provide and fix new white UPVC facing plates / switch controls.
Floor Finishes
6 C | Professionally clean all carpets throughout.
6 D | Allow to remove timber pencil skirting on landing in conjunction with the above item (wall plastering works); replace with 100 x 25 mm pencil rounded softwood timber skirting.
Doors
6 F | Remove and dispose of existing timber doors to all bedrooms.
6 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
6 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
6 I | Provide and fix to all doors 1 Nr mortice lock, euro profile, with 3 Nr sets of keys for each lock as well as a master key for all bedroom door locks; include for all carpentry work.
Decorations
6 J | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
6 K | Extra over for 2 Nr additional full coats to existing walls where coloured; allow for removal of stickers and adhesive and prepare wall for redecoration.
6 L | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
6 M | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
6 N | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
6 O | Remove and dispose of all funiture and loose items.
6 P | Remove and dispose of fabric blind in 3rd bedroom and fixings and dispose
0
3 Nr BEDROOMS
Floor Finishes
7 A | Professionally clean all carpets throughout.
Decorations
7 C | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
7 D | Allow extra over for 2 nr additional coats to cover bedroom walls which are orange and blue.
7 E | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
7 F | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
7 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
7 H | Remove and dispose of all loose items and furniture.
7 I | Remove and dispose of metal curtain poles in all bedrooms; provide and install new timber curtain pole (loop curtain sytle) above all windows; pole to have round knob ends; include for drill and plugging to solid walls.
7 J | Allow the Provisional Sum of £2,000.00 to complete works as directed by the C.A. | 2000 | Provisional Sum
2000
BATHROOM
Floor Finishes
8 A | Lift and dispose of existing vinyl flooring; dispose of materials off site; make good subfloor as necessary.
8 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
8 C | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
8 D | Provide and fix aluminium single trim to joint between vinyl and carpet.
Decorations
8 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
8 F | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
8 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
8 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
8 I | Dispose of existing roller blind and renew with white fabric, washable, roller blind.
Mechanical & Electrical
8 J | Renew pilar taps to Wash Hand Basin and Bath.
8 K | Provide replacement shower attachment for existing electric shower over bath.
8 L | Clean extract unit thoroughly.
8 M | Allow a Provisonal Sum of £100.00 to connect existing light fitting to existing extractor unit; allow for extractor to be controlled by adjustable run on timer – set for minimum 10 minutes | 100 | Provisional Sum
100
LOFT
9 A | Remove and dispose of all debris from loft space.
9 B | Provide and lay 200 mm thick Rockwool thermal insulation to complete loft area; leave uniform throughout.
9 C | Provide 20 mm thick rigid foam insulation to all visible pipework where none exists.
0
GENERAL
Electrical Installation
10 A | Allow for equipotential and supplementary bonding; test the whole of the new electrical installation in accordance with the latest edition of the I.E.E. Regulations and provide NICEIC test certificates.
10 B | Allow for all necessary builders work in connection with the mechanical and electrical installations; including cutting holes, chases, mortices etc; making good all work disturbed.
10 C | Allow Provisional Sum of £1,000.00 to renew hard wiring for smoke alarm system, include to wire to CU; test and commission. | 1000 | Provisional Sum
Gas Installation
10 C | Undertake annual service to boiler and provide written service record; include to refill drained system, chlorinate HWS and CWS pipework and provide certificate; works to be completed by GAS SAFE qualified engineer only.
ASBESTOS SURVEY
10 D | Obtain a Refurbishment and Demolition Asbestos Survey prior to undertaking woks; provide an electronic copy of the report.
10 E | As part of asbestos survey obtain a floor plan drawing of the building showing all rooms and spaces to a recognisable scale; provide an electronic copy as a stand alone document.
CONTINGENCY
10 F | Allow a Provisional Sum of £500.00 for installation of telephone and television points in living room. | 500 | Provisional Sum
10 G | Allow Provisional Sum of £1,000.00 contingency to be used by CA as directed. | 1000 | Provisional Sum
2500
TOTAL |  | 6600
All prices are firm and fixed.
All prices are exclusive of VAT

## 14 USR
SOURCING REFERENCE: | FM16202 |  | Bidders are required to complete all RED highlighted cells. All costs are to be exclusive of VAT. The price Shown in cell D167 is what will be used for your bid All costs are to align to the Specification detailed within the Invitation to Quote documentation and all supporting attachments and subsequent clarifications.
SOURCING DOCUMENT TITLE: | Domestic Refurb Works 4
BIDDER NAME | [Bidder to add name]
Item Number | Description | Price | Notes & Comments
Prelims
1 A | All costs associated with Prelims & OHP.
1 B | All costs associated with Health & Safety.
1 C | Include for own welfare facility for the duration of the works.
0
External Works
2 A | Allow for supply of skips to dispose of objects and material as necessary.
2 B | Remove and dispose of all other items within gardens.
2 C | Provide tower scaffold platform to eaves level.
2 D | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe.
2 E | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc.; Photograph all main elevations and identified defects and report to C.A.
2 F | Clear out all gutters and down pipes; test and seal all joints with clear silicone mastic.
2 G | Prepare and apply two full coats of gloss paint, matching existing colour, to all timber surfaces including fascia and soffit boards, external store door etc.
2 H | Clean down externally all UPVC window cills and frames with white spirit; clean window glass inside and out, leave smear free.
2 I | Replace locks to front external door; provide 3 nr sets of keys including 1 master set to be mastered to new side door also.
0
Internal Works
KITCHEN
Floor Finishes
3 A | Lift and dispose of existing vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
3 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7386 Savana, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
3 C | Provide clear colour silicone sealant to junction of flooring and skirting.
3 D | Provide aluminium cover strips to doorways.
Decorations
3 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
3 F | Allow extra over for 2 nr additional coats to cover green coloured walls .
3 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
3 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
3 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
3 J | Allow to accept supply only quotation for new extractor hood from Howdens Joinery Ltd. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
3 K | Install new extractor unit; Allow for all carpentry and electrical works;
3 L | Allow a Provisional Sum of £500.00 for forming boxing to enclose new ventilation duct. | 500 | Provisional Sum
3 M | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
3 N | Provide new white fabric, washable, roller blind to window along front elevation.
3 O | Remove and dispose of existing fire extinguisher and provide new Chubb 1KG CO2 fire extinguisher; hang on wall bracket in kitchen.
3 P | Allow the Provisional Sum of £2,000.00 to complete works as directed by C.A. | 2000 | Provisional Sum
Mechanical & Electrical
3 Q | Disconnect and remove existing fluorescent tube light fitting in kitchen area and pendant style light fitting in dinning area.
3 R | Allow to provide and install new aluminium LED bulb track lighting with 5 Nr fittings; each to be fully adjustable; allow for all connections, junction boxes etc.
3 S | Disconnect, remove and dispose of existing through wall extractor in kitchen.
3 T | Provide new solid ducting (non flexi) to connect cooker extract to existing extract fan position; allow to run new duct through cavity wall to external face; include for new slotted ventilation grill, colour white.
2500
UTILITY, LOBBY, STORE & WC
Floor Finishes
4 A | Lift and dispose of existing carpet and vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
4 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
4 C | Extra over for cutting and sealing joints to match perimeter to manhole cover within Utility Room.
4 D | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
4 E | Provide and fix aluminium cover strips at door openings.
Doors
4 F | Remove and dispose of existing timber door between the Utility Room and side entrance Lobby.
4 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
4 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
Decorations
4 I | Prepare and apply two full coats of Dulux masonry, emulsion finished paint, colour Magnolia, to all blockwork walls generally.
4 J | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
4 K | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
4 L | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
4 M | Remove and dispose of all furiture and shelfing units.
4 N | Provide new white fabric, washable, roller blind to window above utility sink.
0
LIVING ROOM
Floor Finishes
5 A | Professionally clean carpet throughout.
5 B | Lift and dispose of existing carpet flooring, including underlay throughout; dispose of materials off-site.
5 C | Obtain and accept supply only quotation from Howdens Joinery Ltd for new laminate flooring comprising; OAK - Professional Range - code UK, F, 3552 Allow all necessary foam underlay, damp proof membrane, perimeter spacers, door threshold strip etc. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
5 D | Install new flooring; allow for any necessary carpentry works including to remove and refix all existing skirting boards etc.
Decorations
5 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
5 F | Allow extra over for 2 nr additional full coats to cover red coloured feature wall.
5 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
5 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
5 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
5 J | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
5 K | Remove and dispose of all furniture.
0
HALL STAIRS AND LANDING
Wall & Ceiling Finishes
6 A | Allow to overlay walls and ceilings with and additional layer of skim plaster approx. 3mm thick to achieve FD30 rating; First floor landing Stairway Ground floor hallway
6 B | Extra over to renew sockets and light switch back boxes to accommodate additional depth of walls; provide and fix new white UPVC facing plates / switch controls.
Floor Finishes
6 C | Professionally clean all carpets throughout.
6 D | Allow to remove timber pencil skirting on landing in conjunction with the above item (wall plastering works); replace with 100 x 25 mm pencil rounded softwood timber skirting.
Doors
6 F | Remove and dispose of existing timber doors to all bedrooms.
6 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
6 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
6 I | Provide and fix to all doors 1 Nr mortice lock, euro profile, with 3 Nr sets of keys for each lock as well as a master key for all bedroom door locks; include for all carpentry work.
Decorations
6 J | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
6 K | Extra over for 2 Nr additional full coats to existing walls where coloured; allow for removal of stickers and adhesive and prepare wall for redecoration.
6 L | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
6 M | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
6 N | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
6 O | Remove and dispose of all funiture and loose items.
6 P | Remove and dispose of fabric blind in 3rd bedroom and fixings and dispose
0
3 Nr BEDROOMS
Floor Finishes
7 A | Professionally clean all carpets throughout.
Decorations
7 C | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
7 D | Allow extra over for 2 nr additional coats to cover bedroom walls which are orange and blue.
7 E | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
7 F | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
7 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
7 H | Remove and dispose of all loose items and furniture.
7 I | Remove and dispose of metal curtain poles in all bedrooms; provide and install new timber curtain pole (loop curtain sytle) above all windows; pole to have round knob ends; include for drill and plugging to solid walls.
7 J | Allow the Provisional Sum of £2,000.00 to complete works as directed by the C.A. | 2000 | Provisional Sum
2000
BATHROOM
Floor Finishes
8 A | Lift and dispose of existing vinyl flooring; dispose of materials off site; make good subfloor as necessary.
8 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
8 C | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
8 D | Provide and fix aluminium single trim to joint between vinyl and carpet.
Decorations
8 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
8 F | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
8 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
8 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
8 I | Dispose of existing roller blind and renew with white fabric, washable, roller blind.
Mechanical & Electrical
8 J | Renew pilar taps to Wash Hand Basin and Bath.
8 K | Provide replacement shower attachment for existing electric shower over bath.
8 L | Clean extract unit thoroughly.
8 M | Allow a Provisonal Sum of £100.00 to connect existing light fitting to existing extractor unit; allow for extractor to be controlled by adjustable run on timer – set for minimum 10 minutes | 100 | Provisional Sum
100
LOFT
9 A | Remove and dispose of all debris from loft space.
9 B | Provide and lay 200 mm thick Rockwool thermal insulation to complete loft area; leave uniform throughout.
9 C | Provide 20 mm thick rigid foam insulation to all visible pipework where none exists.
0
GENERAL
Electrical Installation
10 A | Allow for equipotential and supplementary bonding; test the whole of the new electrical installation in accordance with the latest edition of the I.E.E. Regulations and provide NICEIC test certificates.
10 B | Allow for all necessary builders work in connection with the mechanical and electrical installations; including cutting holes, chases, mortices etc; making good all work disturbed.
10 C | Allow Provisional Sum of £1,000.00 to renew hard wiring for smoke alarm system, include to wire to CU; test and commission. | 1000 | Provisional Sum
Gas Installation
10 C | Undertake annual service to boiler and provide written service record; include to refill drained system, chlorinate HWS and CWS pipework and provide certificate; works to be completed by GAS SAFE qualified engineer only.
ASBESTOS SURVEY
10 D | Obtain a Refurbishment and Demolition Asbestos Survey prior to undertaking woks; provide an electronic copy of the report.
10 E | As part of asbestos survey obtain a floor plan drawing of the building showing all rooms and spaces to a recognisable scale; provide an electronic copy as a stand alone document.
CONTINGENCY
10 F | Allow a Provisional Sum of £500.00 for installation of telephone and television points in living room. | 500 | Provisional Sum
10 G | Allow Provisional Sum of £1,000.00 contingency to be used by CA as directed. | 1000 | Provisional Sum
2500
TOTAL |  | 7100
All prices are firm and fixed.
All prices are exclusive of VAT

## 22 USR
SOURCING REFERENCE: | FM16202 |  | Bidders are required to complete all RED highlighted cells. All costs are to be exclusive of VAT. The price Shown in cell D167 is what will be used for your bid All costs are to align to the Specification detailed within the Invitation to Quote documentation and all supporting attachments and subsequent clarifications.
SOURCING DOCUMENT TITLE: | Domestic Refurb Works 4
BIDDER NAME | [Bidder to add name]
Item Number | Description | Price | Notes & Comments
Prelims
1 A | All costs associated with Prelims & OHP.
1 B | All costs associated with Health & Safety.
1 C | Include for own welfare facility for the duration of the works.
0
External Works
2 A | Allow for supply of skips to dispose of objects and material as necessary.
2 B | Remove and dispose of all other items within gardens.
2 C | Provide tower scaffold platform to eaves level.
2 D | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe.
2 E | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc.; Photograph all main elevations and identified defects and report to C.A.
2 F | Clear out all gutters and down pipes; test and seal all joints with clear silicone mastic.
2 G | Prepare and apply two full coats of gloss paint, matching existing colour, to all timber surfaces including fascia and soffit boards, external store door etc.
2 H | Clean down externally all UPVC window cills and frames with white spirit; clean window glass inside and out, leave smear free.
2 I | Replace locks to front external door; provide 3 nr sets of keys including 1 master set to be mastered to new side door also.
0
Internal Works
KITCHEN
Floor Finishes
3 A | Lift and dispose of existing vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
3 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7386 Savana, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
3 C | Provide clear colour silicone sealant to junction of flooring and skirting.
3 D | Provide aluminium cover strips to doorways.
Decorations
3 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
3 F | Allow extra over for 2 nr additional coats to cover green coloured walls .
3 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
3 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
3 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
3 J | Allow to accept supply only quotation for new extractor hood from Howdens Joinery Ltd. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
3 K | Install new extractor unit; Allow for all carpentry and electrical works;
3 L | Allow a Provisional Sum of £500.00 for forming boxing to enclose new ventilation duct. | 500 | Provisional Sum
3 M | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
3 N | Provide new white fabric, washable, roller blind to window along front elevation.
3 O | Remove and dispose of existing fire extinguisher and provide new Chubb 1KG CO2 fire extinguisher; hang on wall bracket in kitchen.
3 P | Allow the Provisional Sum of £2,000.00 to complete works as directed by C.A. | 2000 | Provisional Sum
Mechanical & Electrical
3 Q | Disconnect and remove existing fluorescent tube light fitting in kitchen area and pendant style light fitting in dinning area.
3 R | Allow to provide and install new aluminium LED bulb track lighting with 5 Nr fittings; each to be fully adjustable; allow for all connections, junction boxes etc.
3 S | Disconnect, remove and dispose of existing through wall extractor in kitchen.
3 T | Provide new solid ducting (non flexi) to connect cooker extract to existing extract fan position; allow to run new duct through cavity wall to external face; include for new slotted ventilation grill, colour white.
2500
UTILITY, LOBBY, STORE & WC
Floor Finishes
4 A | Lift and dispose of existing carpet and vinyl flooring throughout; dispose of materials off site; make good subfloor as necessary.
4 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
4 C | Extra over for cutting and sealing joints to match perimeter to manhole cover within Utility Room.
4 D | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
4 E | Provide and fix aluminium cover strips at door openings.
Doors
4 F | Remove and dispose of existing timber door between the Utility Room and side entrance Lobby.
4 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
4 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
Decorations
4 I | Prepare and apply two full coats of Dulux masonry, emulsion finished paint, colour Magnolia, to all blockwork walls generally.
4 J | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
4 K | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
4 L | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
4 M | Remove and dispose of all furiture and shelfing units.
4 N | Provide new white fabric, washable, roller blind to window above utility sink.
0
LIVING ROOM
Floor Finishes
5 A | Professionally clean carpet throughout.
5 B | Lift and dispose of existing carpet flooring, including underlay throughout; dispose of materials off-site.
5 C | Obtain and accept supply only quotation from Howdens Joinery Ltd for new laminate flooring comprising; OAK - Professional Range - code UK, F, 3552 Allow all necessary foam underlay, damp proof membrane, perimeter spacers, door threshold strip etc. Contact information is Graeme on 01483 756484 Unit 20, Goldsworth Park Trading Estate, Kestrel Way Woking GU21 3BA
5 D | Install new flooring; allow for any necessary carpentry works including to remove and refix all existing skirting boards etc.
Decorations
5 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
5 F | Allow extra over for 2 nr additional full coats to cover red coloured feature wall.
5 G | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
5 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
5 I | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
5 J | Remove and dispose of metal curtain pole above rear and front windows; provide and install new timber curtain pole (loop curtain sytle); pole to have round knob ends; include for drill and plugging to solid walls.
5 K | Remove and dispose of all furniture.
0
HALL STAIRS AND LANDING
Wall & Ceiling Finishes
6 A | Allow to overlay walls and ceilings with and additional layer of skim plaster approx. 3mm thick to achieve FD30 rating; First floor landing Stairway Ground floor hallway
6 B | Extra over to renew sockets and light switch back boxes to accommodate additional depth of walls; provide and fix new white UPVC facing plates / switch controls.
Floor Finishes
6 C | Professionally clean all carpets throughout.
6 D | Allow to remove timber pencil skirting on landing in conjunction with the above item (wall plastering works); replace with 100 x 25 mm pencil rounded softwood timber skirting.
Doors
6 F | Remove and dispose of existing timber doors to all bedrooms.
6 G | Provide and fix new flush FD30 rated doors; include for reuse of lining and architraves; hang doors on 3 nr new 100 mm steel butt hinges; provide lever furniture with brushed aluminium finish; door to be permanently marked FD30. Approx. door sizes 838 x 1981 x 44 mm thick
6 H | Extra over for all doors to have Man McGowan (or other approved equivalent) smoke seals to all edges of doors.
6 I | Provide and fix to all doors 1 Nr mortice lock, euro profile, with 3 Nr sets of keys for each lock as well as a master key for all bedroom door locks; include for all carpentry work.
Decorations
6 J | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
6 K | Extra over for 2 Nr additional full coats to existing walls where coloured; allow for removal of stickers and adhesive and prepare wall for redecoration.
6 L | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
6 M | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
6 N | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
6 O | Remove and dispose of all funiture and loose items.
6 P | Remove and dispose of fabric blind in 3rd bedroom and fixings and dispose
0
3 Nr BEDROOMS
Floor Finishes
7 A | Professionally clean all carpets throughout.
Decorations
7 C | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
7 D | Allow extra over for 2 nr additional coats to cover bedroom walls which are orange and blue.
7 E | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
7 F | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
7 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
7 H | Remove and dispose of all loose items and furniture.
7 I | Remove and dispose of metal curtain poles in all bedrooms; provide and install new timber curtain pole (loop curtain sytle) above all windows; pole to have round knob ends; include for drill and plugging to solid walls.
7 J | Allow the Provisional Sum of £2,000.00 to complete works as directed by the C.A. | 2000 | Provisional Sum
2000
BATHROOM
Floor Finishes
8 A | Lift and dispose of existing vinyl flooring; dispose of materials off site; make good subfloor as necessary.
8 B | Provide and lay new Gerfloor Tarasafe Plus non slip sheet vinyl flooring, Colour 7731 Marbre, with matching coloured welded joints; fix with approved adhesive in accordance with manufacturers instruction; including latex levelling screed as necessary.
8 C | Provide clear colour silicone sealant to junction of flooring and skirting throughout.
8 D | Provide and fix aluminium single trim to joint between vinyl and carpet.
Decorations
8 E | Prepare and apply one mist and two full coats of Dulux Diamond Matt emulsion paint, colour Magnolia, to all plastered walls generally.
8 F | Prepare and apply two full coats of Silk vinyl emulsion paint to all plastered ceilings generally.
8 G | Prepare and apply one undercoat coat and two full coats of gloss paint on all timber surfaces including doors, door frames, skirtings, window boards etc.
8 H | Prepare and apply one undercoat coat and two full coats of gloss paint on all new and existing visible metal surfaces including pipes etc.
Furniture & Equipment
8 I | Dispose of existing roller blind and renew with white fabric, washable, roller blind.
Mechanical & Electrical
8 J | Renew pilar taps to Wash Hand Basin and Bath.
8 K | Provide replacement shower attachment for existing electric shower over bath.
8 L | Clean extract unit thoroughly.
8 M | Allow a Provisonal Sum of £100.00 to connect existing light fitting to existing extractor unit; allow for extractor to be controlled by adjustable run on timer – set for minimum 10 minutes | 100 | Provisional Sum
100
LOFT
9 A | Remove and dispose of all debris from loft space.
9 B | Provide and lay 200 mm thick Rockwool thermal insulation to complete loft area; leave uniform throughout.
9 C | Provide 20 mm thick rigid foam insulation to all visible pipework where none exists.
0
GENERAL
Electrical Installation
10 A | Allow for equipotential and supplementary bonding; test the whole of the new electrical installation in accordance with the latest edition of the I.E.E. Regulations and provide NICEIC test certificates.
10 B | Allow for all necessary builders work in connection with the mechanical and electrical installations; including cutting holes, chases, mortices etc; making good all work disturbed.
10 C | Allow Provisional Sum of £1,000.00 to renew hard wiring for smoke alarm system, include to wire to CU; test and commission. | 1000 | Provisional Sum
Gas Installation
10 C | Undertake annual service to boiler and provide written service record; include to refill drained system, chlorinate HWS and CWS pipework and provide certificate; works to be completed by GAS SAFE qualified engineer only.
ASBESTOS SURVEY
10 D | Obtain a Refurbishment and Demolition Asbestos Survey prior to undertaking woks; provide an electronic copy of the report.
10 E | As part of asbestos survey obtain a floor plan drawing of the building showing all rooms and spaces to a recognisable scale; provide an electronic copy as a stand alone document.
CONTINGENCY
10 F | Allow a Provisional Sum of £500.00 for installation of telephone and television points in living room. | 500 | Provisional Sum
10 G | Allow Provisional Sum of £1,000.00 contingency to be used by CA as directed. | 1000 | Provisional Sum
2500
TOTAL |  | 7100
All prices are firm and fixed.
All prices are exclusive of VAT