## Asset Template
Site | Location | Sub Location | Sub Location 2 | Sub Location 3 | Sub Location 4 | Asset Number | Asset Category | Sub Category | SubSub Category | Department | System | Make | Model | Notes | Description Line 1 | Serial Number | Value (ex.VAT) | Energy Consumption
RAL | R001 | Ground | G.123 | Office |  | ACP/R001/001 | Air Con Plant |  |  |  |  | Airedale | V.12 |  | Air Conditioning Plant Internal/external | 123456789 | 3000
RAL | R001 | 1st Floor | 1.18 | Lab |  | ACP/R001/002 | Air Con Plant |  |  |  |  | Airedale | V.12 |  | Air Conditioning Plant Internal/external | 234567891 | 2800

## Asset List with codes
RAL Estates Asset Codes |  |  | Revision 5 - 09/12/2019
STFC agrees that only the items identified as "Included" are to be included in the asset list issued by Contractor at handover.
STFC requires Contractor to review all the items belonging to the red category "To be Reviewed"
NA | Assets not part of the project
Included | Assets will be included in the asset list issued by contractor to client at handover
Not Included | Assets will not be included in the asset list issued by contractor to client at handover
To be Reviewed | Assets to be reviewed by Contractor and allocated to one of the three categories above
Asset Code | Asset Type | Description | Category
ABC | Air Blast Chiller
ABL | Architectural Building Lighting | External building lighting
ACP | Air Conditioning Plant External
ACP | Air Conditioning Plant Internal
ACP | Air Conditioning Plant Menerga
ACS | Air Conditioning Split
ADS | Air-Dirt Separator
AES | Auxiliary Energy Storage | Such as Tesla Energy Storage systems
AFU | Air Filtration Unit
AHF | Active Harmonic Filter
AHP | Air Source Heat Pump
AHU | Air Handling Unit
AST | Automated Sensor Taps
BAR | Vehicle Barriers
BAT | Batteries
BCP | Battery Charger Change Over Panel
BCU | Battery Charging Unit
BMS | BMS Controller
BMS | RDM
BMS | BMS IQ View
BMS | BMS UPS
BMS | BMS Supervisor
BMS | Building Management System
BMW | Boosted Mains Water
CAC | Compressed Air Compressor
CAD | Compressed Air Dryer
CAF | Compressed Air Filters
CAS | Condensed Air Separator
CHP | Combined Heating and Power
CHR | Air Conditioning Chiller
CLS | Combined Lighting System | Combined system for Standard and Emergency Lighting
CRC | Computer Rack Cooling
CTV | Closed Circuit Television Camera
DAU | Automatic Doors
DDA | Disabled Access Doors
DFD | Fire Doors
DHW | Domestic Hot Water Heater
DID | Industrial Doors
DRA | Disabled Refugee Alarm
DTX | Distribution Transformer
DWB | Gas Fired Water Heater
DWC | Drinking Water Chiller
DWH | Wall Mounted Kettles
EDB | Electrical Distribution Board
EEM | Earth Mat
EFP | Electrical Feeder Pillar
ELS | Emergency Lighting System
EPO | Emergency Power Off
ESA | Electrical Switch Area
EXP | Expansion Vessels
EXT | Extract Fans
FAB | Fire Alarm Battery
FAC | Automated Smoke Curtain
FAS | Fire Alarm Systems
FCU | Air Conditioning Fan Coil Unit
FEV | Fume Extract Ventilation
FHY | Fire Hydrants
FSS | Fire Suppression Systems CO2
FSS | Fire Suppression Systems Kitchen Hood
FSS | Fire Suppression Systems GAS
FWI | Fixed Wiring Installation
GDS | Gas Detection System
GEN | Generators
GRB | Grease Traps
HDR | Hand Dryers
HLP | Disabled Assistance Alarm
HRX | Hand Rails Roof
HTB | Heating Boiler
HTR | Heating Radiant Tube
HUM | Air Conditioning Humidifier
HVP | High Voltage Protection Relays
HVS | High Voltage Switchgear
HVS | High Voltage Distribution
IDS | Intruder Alarm
KLA | Klaxon
KLX | Klaxon Mechanical
LAD | Lift Auto Dialer
LDS | Leak Detection System
LEG | Sentinel Cold Water Outlet
LEG | Sentinel Hot Water Outlet (Local TMV)
LEG | Little Used Outlet
LEG | Shower (TMV)
LEG | Sentinel Hot Water Outlet
LEG | Hot Water Cylinder With Return
LEG | Sentinel Mains Cold Water Outlet
LEG | Point Of Use Water Heater
LEG | Hot Water Cylinder
LEG | Cold Water Storage Tank
LEG | Shower (Emergency - Stand Alone)
LEG | Water Heater - Stored
LEG | Calorifier
LEG | Instantaneous Water Heater
LEG | Andrews Water Heater with Return
LEG | Shower (Electric)
LEG | Andrews Water Heater
LEG | Thermostatic Mixing Valve
LEV | Fume Cupboard
LPS | Lightning Protection System
LVB | Low Voltage Circuit Breaker
LVP | Low Voltage Protection Relay
LVS | Low Voltage Switchgear
MSF | Mansafe System
MTV | Motorised Valves
PFC | Power Factor Correction
PMP | Pump
PPA | Personal Panic Alarm | Wall mounted panic alarms
PRU | Pressurisation Unit
PRV | Pressure Relief Valve
RLL | Lift-Traction
RLL | Lift-Hydraulic
RLL | Lift-Passenger
RLO | Crane, Overhead
RLO | Crane, Jib
RLO | Cranes
ROS | Reverse Osmosis System
RPZ | Reduced Pressure Zone Valves
SLS | Standard Lighting System
SPD | Search Protection Device
SPS | Sewage Pumping Station
SPV | Solar Photovoltaic System
SRD | Revolving Doors
STB | Steam Boilers
STS | Street Lighting System
SWS | Site Warning System
TEA | Trade Effluent Alarm
TFS | Toilet Flushing System
TUN | Turnstile
TXP | Transformer Protection Relay
UPB | Unit Protection System
UPS | Uninterruptible Power Supplies
VEH | Vehicles
VEH | Vehicles Electric
VRF | VRF Compressor Unit Ext
VRF | Fan Coil Units DX Internal
VTX | Voltage Transformer
WSU | Water Softener Unit

## Naming Convention
LOCATIONS
Category | Prefix | Descriptor
SITE (Geographical site) | RAL/TCH/CHB/DL/ROE | Rutherford Appleton Laboratory/The Coseners House Hotel/Daresbury Laboratory/Royal Observatory Edinburgh (UKATC)
LOCATION (Building) | R001 etc. | STFC building number - 4 digits long
SUB-LOCATION (Floor) | Tunnel/Basement/Ground/Mezzanine/1st/2nd/3rd | As prefix format
SUB-LOCATION 2 (room) | T.01 | Tunnel number 1 (3 digits 1 decimal point)
| B.01 | Basement room 1 (3 digits 1 decimal point)
| G.01 | Ground floor room 1 (3 digits 1 decimal point)
| 1.01 | First floor room 1 (3 digits 1 decimal point)
| 2.01 | Second floor room 1 (3 digits 1 decimal point)
| 3.01 | Third floor room 1 (3 digits 1 decimal point)
| 4.01 | Fourth floor room 1 (3 digits 1 decimal point)
| #U.## | Prefix 'U' is added to the floor number descriptor (as the second digit) to describe 'Utility' areas. These include; Toilets, Kitchens, Plant rooms, Switch rooms/cupboards, Cleaners cupboards. This is an additional descriptor and does not interupt the sequential numbering of the rooms. For example, G.01 (Office) G.02 (Lab) GU.03 (Cleaners Cupboard).
| C.01 | Corridor number 1 (3 digits 1 decimal point)
| S.01 | Staircase number 1 (3 digits 1 decimal point)
Asset Number Format Example
PREFIX/BUILDING NUMBER/THREE DIGIT SEQUENTIAL NUMBER
E.G. XYZ/R001/001
XYZ/R001/002
XYZ/R001/003
XYZ/R001/004
UVW/R001/001
UVW/R001/002
UVW/R001/003
UVW/R001/004
Site | Location | Sub Location | Sub Location 2 | Sub Location 3 | Sub Location 4 | Address Line 1 | Address Line 2 | Address Line 3 | Address Line 4 | Telephone | Email Address | Fax | Town | County | Post Code | Country
RAL | R### | Ground | G.01 | Office
RAL | R### | Ground | G.02 | Lab
RAL | R### | 1st Floor | 1.01 | Office
RAL | R### | 1st Floor | 1U.01 | Kitchen
RAL | R### | 1st Floor | 1U.02 | Toilet
RAL | R### | 1st Floor | 1C.03 | Corridor
RAL | R### | 2nd Floor | 2U.01 | Plant room
RAL | R### | 2nd Floor | 2U.02 | Switch room
RAL | R### | - | 1S.01 | Staircase

## Lists
Lists
NA
Included
Not Included
To be Reviewed