Clarifications

Scaffolding hire for Hall 1&2 to be maintained by tender (loading platform 300kg m² 10m x 6m).

Refit dock access, egress and loading platform to be supplied with tender.

Handrails are in place in Halls 1&2, Outer dock to be installed by others week 22/23.

Distribution for Hall 1&2 located within plant room, centre spine 3rd floor. Inverters to be located within the adjacent storeroom.

Distribution including 60947-2 MCCB’s to be installed by others. Final circuits and associated containment to be included with tender.

Outer Dock 19m to roof line.

Hall 1&2 23m to roof line.

Hall 1&2 roof (each) is 100m x 25m.

DNO approval licence obtained. No export licence to be sought.

Storage of materials – PSY will assist with material storage and movements.

Crane will need to be provided for material loadout onto access platform for Hall 1&2 plus outer dock.

Temporary bridge to remain between hall 1&2 (under contract with access scaffold).

Walkway around the perimeter and raised down the centre to be left for maintainability on each roof – minimum 600mm.

Unistrut or equivalent to be hot dipped galvanised.

Tray work to be minimum medium gauge and hot dipped galvanised.

Basket to be black Pemsa

Electricity unit import cost 30-day example,

Day unit 0700 to 2400			259,071kwh @ 36.372p

Night unit 0000 to 0700		86,027kwh @ 22.058p