## Sheet1
AW5.2 Price Schedule
SOURCING REFERENCE: | FM17014 |  | You are required to complete all RED highlighted sections within this Pricing Schedule. Your Total Price for Schedule 1 will be used to evaluate your bid response. Please ensure that you DO NOT alter Schedule 1. Any alterations may result in your Pricing being disqualified. All prices entered into this schedule are to be exclusive of VAT.
SOURCING DOCUMENT TITLE: | AHU refurbishment works
BIDDER NAME | [Bidder to add name]
Item Number | Description | Price | Notes & Comments
ARCHITECTURAL SCOPE OF WORKS
1 | General Conditions & Preliminiaries Items
1.1.01 | Preparation of Construction Phase Health and Safety Plan | 0
1.1.02 | Site Management | 0
1.1.03 | Site Support - Labouring and Cleaning | 0
1.1.04 | Storage Units/Welfare Cabin/Office | 0
1.1.05 | Site Fencing | 0
1.1.06 | Welfare cleaning/disposables/first aid | 0
1.1.07 | Mobile Data | 0
1.1.08 | Printer | 0
1.1.09 | Stationary | 0
1.1.10 | Plant to maintain site temporary power supplies and lighting | 0
1.1.11 | Personal Protective Equipment | 0
1.1.12 | Temporary protection | 0
1.1.13 | Parking off site | 0
1.1.14 | Waste Management | 0
1.1.15 | Access Equipment | 0
1.1.16 | Builders cleaning | 0
1.1.17 | Contractor design and as-built information | 0
1.1.18 | Out of hours working | 0
1.1.19 | Maintaining Fire Exit routes | 0
1.1.20 | Allow for any other works not noted / allowed for above but required or indicated on the drawings and in the specifications (Contractor to detail hereunder) :-
| 1.1.20.1 ……………………………. | 0
| 1.1.20.2 ……………………………. | 0
| 1.1.20.3 ……………………………. | 0
2 | Schedule of Works
General, AHU 1/493
2.3.01 | Clean internal sections and chambers, AHU - 1/493 | 0
2.3.02 | Replace existing valves, commissioning station, test points, connections, coils etc. AHU - 1/493 | 0
2.3.03 | Re-lag damaged section of insulation and cladding, AHU - 1/493 | 0
2.3.04 | Reinstate of internal lighting and filter differential pressure dial, AHU - 1/493 | 0
2.3.05 | Strip existing fan, motor and interver and replace with new motor and plug fan, AHU - 1/493 | 0
2.3.06 | Replacement works for existing filter, AHU - 1/493 | 0
2.3.07 | Test & Commissioning works, AHU - 1/493 | 0
2.3.08 | Allow for any other works not noted / allowed for above but required or indicated on the drawings and in the specifications (Contractor to detail hereunder) :- | 0
2.3.09 | 2.3.09.1 ……………………………. | 0
General, AHU 2/783
2.4.01 | Clean internal sections and chambers, AHU - 2/783 | 0
2.4.02 | Replace existing valves, commissioning station, test points, connections, coils etc. AHU - 2/783 | 0
2.4.03 | Re-lag damaged section of insulation and cladding, AHU - 2/783 | 0
2.4.04 | Reinstate of internal lighting and filter differential pressure dial, AHU - 2/783 | 0
2.4.05 | Strip existing fan, motor and interver and replace with new motor and plug fan, AHU - 2/783 | 0
2.4.06 | Replacement works for existing filter, AHU - 2/783 | 0
2.4.07 | Test & Commissioning works, AHU - 2/783 | 0
2.4.08 | Allow for any other works not noted / allowed for above but required or indicated on the drawings and in the specifications (Contractor to detail hereunder) :- | 0
2.4.09 | 2.4.09.1 ……………………………. | 0
General, AHU 1/492
2.6.01 | Clean internal sections and chambers, AHU - 1/492 | 0
2.6.02 | Replace existing valves, commissioning station, test points, connections, coils etc. AHU - 1/492 | 0
2.6.03 | Re-lag damaged section of insulation and cladding, AHU - 1/492 | 0
2.6.04 | Reinstate of internal lighting and filter differential pressure dial, AHU - 1/492 | 0
2.6.05 | Strip existing fan, motor and interver and replace with new motor and plug fan, AHU - 1/492 | 0
2.6.06 | Replacement works for existing filter, AHU - 1/492 | 0
2.6.07 | Test & Commissioning works, AHU - 1/492 | 0
2.6.08 | Allow for any other works not noted / allowed for above but required or indicated on the drawings and in the specifications (Contractor to detail hereunder) :- | 0
2.6.09 | 2.6.09.1 ……………………………. | 0
General, AHU 3/785
2.8.01 | Clean internal sections and chambers, AHU - 3/785 | 0
2.8.02 | Replace existing valves, commissioning station, test points, connections, coils etc. AHU - 3/785 | 0
2.8.03 | Re-lag damaged section of insulation and cladding, AHU - 3/785 | 0
2.8.04 | Reinstate of internal lighting and filter differential pressure dial, AHU - 3/785 | 0
2.8.05 | Strip existing fan, motor and interver and replace with new motor and plug fan, AHU - 3/785 | 0
2.8.06 | Replacement works for existing filter, AHU - 3/785 | 0
2.8.07 | Test & Commissioning works, AHU - 3/785 | 0
2.8.08 | Allow for any other works not noted / allowed for above but required or indicated on the drawings and in the specifications (Contractor to detail hereunder) :- | 0
2.8.09 | 2.8.09.1 ……………………………. | 0
3 | Provisional Sums
3.1.01 | Provisional Sum - Electrical Services | 2000
3.1.02 | Provisional Sum - Mechanical Services | 2000
3.1.03 | Provisional Sum - Builder's Work | 2000
3.1.04 | Provisional Sum - Client Contingency | 2000
TOTAL |  | 8000
All prices are firm and fixed.
All prices are exclusive of VAT