**Specification:**

* 1 year or multiyear maintenance service contract comprehensive extended warranty cover includes one annual service and one dose mapping service at 6 month interval for one canister run. Includes all call-outs, labour, travel and parts. Includes power supply, HV cable & 4pi emitter. Routine wipe test including certificate of non-contamination
* Equipment: RS3400 Gamma Irradiator (X-Ray Blood Irradiator) s/n 6618
* Location: Haematology Laboratories
* Response time: please advise
* Coverage time: please advise
* Dose mapping results: confirm the time frame
* Cancellation terms: please confirm
* Payment terms: please confirm