Specification:

- 1 year or multiyear maintenance service contract comprehensive extended warranty cover includes one annual service and one dose mapping service at 6 month interval for one canister run. Includes all call-outs, labour, travel and parts. Includes power supply, HV cable & 4pi emitter. Routine wipe test including certificate of non-contamination

- Equipment: RS3400 Gamma Irradiator (X-Ray Blood Irradiator) s/n 6618

- Location: Haematology Laboratories

- Response time: please advise

- Coverage time: please advise

- Dose mapping results: confirm the time frame

- Cancellation terms: please confirm

- Payment terms: please confirm