HDC202306 – RFQ - Clarifications received up until 23rd August 2023

You are looking for a potential modular system for the wheeled sports area. The obvious solution here is a modular pump track, would this be desirable considering there is already a pump track on site? If you envisioned a different form of modular system what might be?

Yes, this is the sort of system we are looking at but something easier to use than the existing tarmac surfaced pump track and something other wheeled sports users can utilize.

What is the existing surface here and what are the dimensions of the space available and what are the existing levels like?

Surface is currently vegetated soil and is uneven. Some ground prep will be required, and drainage included.  22m x 35m approx. 750m2 approx. Area can be viewed on google and we recommend a site visit.

For the timber and steel features on the skills trail do you envisage 'north shore' style features, ladders, bridges and drops etc.?

Yes.

Is there a surfacing specification for this trail?

No, but we are looking for a fine gravel surface similar to that on our existing jump tracks.