## Cover
EXTENSION TO AND
REFURBISHMENT OF
EXISTING BUILDING
at
PAMBER HEATH MEMORIAL HALL
REQUIRED CONTRACT
SUM ANALYSIS
JUNE 2022
Prepared by:
CHARTERED QUANTITY SURVEYORS
ARENA BUSINESS CENTRE
THE SQUARE
BASING VIEW
BASINGSTOKE
HAMPSHIRE
RG21 4EB
T:01256 638008

## Summary
PAMBER HEATH MEMORIAL HALL
REQUIRED CONTRACT SUM ANALYSIS
CONSTRUCTION SUMMARY
Element
| Description |  |  | Total | Comments
£
Any errors or omissions in any quantities and / or descriptions contained in the Contract Sum Analysis shall be at the sole risk of the Contractor and
shall not amend, modify, limit or restrict the Scope of the Works (including the design thereof) as set out in the Employer’s Requirements and / or the
Contractor’s Proposals.
1 | BUILDING WORKS |  |  | 0
2 | EXTERNAL WORKS |  |  | 0
3 | FEES |  |  | 0
4 | SUB TOTAL |  | £ | 0
5 | PRELIMINARIES |  |  | 0
6 | CONTRACTORS OH&P | 0 |  | 0
7 | SUB TOTAL |  | £ | 0
8 | CONSTRUCTION CONTINGENCY | 0 |  | 0
9 | CONSTRUCTION COST PLAN TOTAL |  | £ | 0 | Excluding VAT

## Building
PAMBER HEATH MEMORIAL HALL
REQUIRED CONTRACT SUM ANALYSIS
BUILDING WORKS
Element
| Description | Quantity | Unit | Rate | Extension |  | Total | Comments
|  |  |  | £ | £ |  | £
1 | DEMOLITIONS AND ALTERATIONS |  |  |  |  | £ | 0
.01 | Strip out existing building and prepare for building works | 377 | m² |  | 0
.02 | Strip out existing male WC; 3nr urinals, 2nr sinks, 2nr WC's and cubicles, 1nr cleaner cupboard | 1 | item |  | 0
.03 | Strip out existing female WC; 2nr sinks, 2nr WC's and cubicles | 1 | item |  | 0
.04 | Strip out disabled WC | 1 | item |  | 0
.05 | Break out concrete plinth to oil tank; make good floor and leave as fair concrete finish | 1 | item |  | 0
.06 | Remove existing floor finishes and leave ready for new | 122 | m² |  | 0
.07 | Protect retained floor finishes | 255 | m² |  | 0
.08 | Remove ceiling finishes | 95 | m² |  | 0
.09 | Clean down and make good retained ceiling finishes | 282 | m² |  | 0
.10 | Remove internal and external door leafs and frames doors | 11 | nr |  | 0
.11 | Block up door opening in 2nr skins blockwork | 4 | nr |  | 0
.12 | Remove internal partitions | 22 | m |  | 0
.13 | Remove windows | 2 | nr |  | 0
.14 | Remove windows and infill openings in 2nr skins of blockwork | 5 | nr |  | 0
.15 | Remove section of external cavity wall construction [no steelwork required above] | 30 | m² |  | 0
.16 | Form openings in external wall; 1500 wide x 3m high; 2nr lintels over | 1 | nr |  | 0
.17 | Form opening in external wall for single door [to Store] | 1 | nr |  | 0
.18 | Form opening in external wall for pair doors [to Main Hall] | 1 | nr |  | 0
.19 | Remove roof coverings and roof structure to flat roof areas and leave ready for new works | 156 | m² |  | 0
.20 | Retain existing pitched roof structure and coverings; allow for timber treatment to structure and making good existing coverings | 272.8 | m² |  | 0
.21 | Remove section of existing roof coverings for new roof structure and make good existing on completion of extension | 1 | item |  | 0
.22 | Remove external canopy flat roof | 1 | item |  | 0
.23 | Remove high level windows and block up (3nr) | 1 | item |  | 0
.24 | Asbestos removal works | 1 | item |  | 0
|  |  |  | £ | 0
2 | SUBSTRUCTURE |  |  |  |  | £ | 0
.01 | Break up and remove concrete | 30 | m² |  | 0
.02 | Break up and remove soft play | 40 | m² |  | 0
.03 | Excavate to reduce levels and dispose off site; 0.5m deep | 275 | m² |  | 0
.04 | Extra for excavation adjacent existing building | 41 | m |  | 0
.05 | Mass concrete pad foundations to main frame; 750 wide x 750 x 600 deep; excavate, dispose off site and mass concrete strip footings | 5 | nr |  | 0
.06 | Mass concrete pad foundations to canopies; 1000 wide x 1000 x 600 deep; excavate, dispose off site and mass concrete strip footings | 2 | nr |  | 0
.07 | Mass concrete foundations; 600 wide x 600 deep; excavate, dispose off site and mass concrete strip footings | 110 | m |  | 0
.08 | Mass concrete foundations; 450 wide x 600 deep; excavate, dispose off site and mass concrete strip footings | 35 | m |  | 0
.09 | Extra for breaking out existing slab for new foundations and making good on completion; 450 wide | 13 | m |  | 0
.10 | Blockwork and concrete filled cavity below dpc for external walls; 450 high | 85 | m |  | 0
.11 | Facing brickwork below dpc; one brick thick engineering brickwork (£600/1,000 in Stretcher bond); 450 high | 85 | m |  | 0
.12 | Blockwork below dpc for internal walls; 140 thick; 600 high | 60 | m |  | 0
.13 | Ground bearing slab; 150 thick A142 mesh reinforced slab, 150 thick hardcore | 235 | m² |  | 0
.14 | Extra for joint at junction with existing building | 41 | m |  | 0
|  |  |  | £ | 0
3 | FRAME & UPPER FLOORS |  |  |  |  | £ | 0
.01 | Structural steel isolated beams to roof and upper floors | 2.5 | t |  | 0
.02 | Allow for padstones | 15 | nr |  | 0
.03 | Fire protection to steel frame | 54 | m |  | 0
|  |  |  | £ | 0
4 | STAIRS |  |  |  |  | £ | 0
.01 | Access hatch and ladder to loft space | 1 | nr |  | 0
.02 | Form ramp at change in levels between Corridor and Classroom | 1 | item |  | 0
.03 | Balustrades to ends of ramp | 2 | nr |  | 0
|  |  |  | £ | 0
5 | ROOF STRUCTURE |  |  |  |  | £ | 0
.01 | Allowance for steelwork to support main roof - See Frame & Upper Floors above |  |  |  | 0
.02 | Timber posts and eaves beams to support external covered areas | 45 | m |  | 0
.03 | Timber boarded soffit to covered ways; Larch cladding to match walls | 61 | m² |  | 0
.04 | Plates, joists and firrings to form covered ways | 61 | m² |  | 0
.05 | Pitched roof construction; roof trusses including plates, joists, bracings (measured on plan area); 28 degree pitch | 287 | m² |  | 0
.06 | Pitched roof construction; roof trusses including plates, joists, bracings (measured on plan area); 16 degree pitch | 178 | m² |  | 0
.07 | Insulation between and across joists; 450 thick | 385 | m² |  | 0 |  |  | Excludes Main Hall
.08 | Stud wall to form attic area; 2m high; scab stud with metal plates to posts | 64 | m² |  | 0
.09 | Insulation between studs; 120 thick | 64 | m² |  | 0
.10 | Chipboard decking in Store area | 67 | m² |  | 0
.11 | Eaves fascia and soffit detail | 80 | m |  | 0
.12 | Verge detail | 42 | m |  | 0
|  |  |  | £ | 0
6 | ROOF COVERINGS |  |  |  |  | £ | 0
.01 | Forticrete Low Pitch concrete interlocking roof tiles, PC rate of £20/m2 supply only; on breather membrane, battens | 517 | m² |  | 0
.02 | Ridge tile | 34 | m |  | 0
.03 | Verge tile | 46 | m |  | 0
.04 | Valley flashings | 40 | m |  | 0
.05 | Valley gutter and all necessary support timber | 3 | m |  | 0
.06 | Eaves | 80 | m |  | 0
.07 | Hip tile | 5 | m |  | 0
.08 | Fibre cement profile 6 roofing to Cycle shed lean to | 15 | m² |  | 0
.09 | Sarnafil single ply membrane flat roof covering on plywood decking (non insulated) | 46 | m² |  | 0
.10 | Perimeter details to Sarnafil | 34 | m |  | 0
.11 | Rainwater goods; upvc rainwater gutters | 80 | m |  | 0
.12 | Rainwater goods; upvc rainwater downpipes max 3m length and all necessary outlets, swannecks and shoes | 10 | nr |  | 0
.13 | Flashing to masonry abutments | 18 | m |  | 0
|  |  |  | £ | 0
7 | EXTERNAL WALLS |  |  |  |  | £ | 0
.01 | Blockwork cavity wall construction; inner skin, insulated cavity and outer skin; 140 thick blockwork, 125 cavity with 100 thick insulation, 100 thick blockwork outer skin (measured gross to allow for cavity closers and lintels) | 298 | m² |  | 0
.02 | Allowance for tying blockwork to existing structure | 42 | m |  | 0
.03 | Extra over for facing brickwork outer skin in lieu blockwork (PC rate of £600/1,000 supply only facings); Stretcher bond, cement mortar | 298 | m² |  | 0
.04 | Extra over for tile hanging on blockwork outer skin; horizontal to match roof (PC rate £25/m2 supply only) on battens and breather membrane | 0 | m² |  | 0 |  |  | All Brickwork shown on elevations
.05 | Brick on end soldier course window heads | 5 | m |  | 0
.06 | Brick steps to changing room & metal railing | 1 | item |  | 0
|  |  |  | £ | 0
8 | WINDOWS AND EXTERNAL DOORS |  |  |  |  | £ | 0
.01 | Overhaul existing UPVC windows; ease, adjust and leave in good working order | 6 | nr |  | 0
.02 | UPVC windows; double glazed with espagnolette and locking handles | 20 | m² |  | 0
.03 | Window boards; MDF for paint finish | 24 | m |  | 0
.04 | Velux Roof lights; SK06 | 2 | nr |  | 0
.05 | Overhaul existing external doors; ease, adjust and leave in good working order | 4 | nr |  | 0
.06 | Single door and frame; steel faced | 4 | nr |  | 0
.07 | Pair UPVC doors and frame; double glazed with espagnolette and locking handles | 2 | nr |  | 0
|  |  |  | £ | 0
9 | INTERNAL WALLS AND PARTITIONS |  |  |  |  | £ | 0
.01 | Blockwork uninsulated cavity wall construction; 140 thick and 100 thick blockwork | 20 | m² |  | 0
.02 | Blockwork; 140 thick internal walls | 126 | m² |  | 0
.03 | Blockwork; 100 thick internal walls | 45 | m² |  | 0
.04 | Metal stud partitions; insulated, plaster boarded and skim coat finish both sides; first floor | 15 | m² |  | 0
.05 | WC cubicles and IPS panelling to WC | 6 | nr |  | 0
.06 | Children's WC cubicles and IPS panelling to WC (Feature) | 2 | nr |  | 0
.07 | Changing Room cubicles and IPS panelling to WC | 2 | nr |  | 0
|  |  |  | £ | 0
10 | INTERNAL DOORS |  |  |  |  | £ | 0
.01 | Overhaul existing internal doors; ease, adjust and leave in good working order | 6 | nr |  | 0
.02 | Pair solid flush doors and door frame; hinges, top and bottom bolts, lock, latch and handles; paint finish | 4 | nr |  | 0
.03 | Single solid flush doors and door frame; hinges, top and bottom bolts, lock, latch and handles; paint finish | 9 | nr |  | 0
.04 | Extra for fire rated doors | 3 | nr |  | 0
.05 | Extra for vision panels | 3 | nr |  | 0
.06 | Extra for accessible door leaf width | 6 | nr |  | 0
.07 | Serving hatch roller shutter door; 1200 x 1200 | 1 | nr |  | 0
|  |  |  | £ | 0
11 | FINISHINGS |  |  |  |  | £ | 0
.01 | Floor finishings
.01 | Insulation 100 thick and screed | 235 | m² |  | 0
.03 | Flooring to match Main Hall | 26 | m² |  | 0 |  |  | Budget allowance (flooring not known assumed vinyl)
.04 | Stained timber floor to stage area (See Fixtures and Fittings)
.05 | New vinyl on existing floor (PC rate £50/m2 supplied and installed); levelling screed to existing surface | 124 | m² |  | 0
.06 | Vinyl flooring (PC rate £50/m2 supplied and installed) | 180 | m² |  | 0
.07 | Coved skirting to vinyl floor | 175 | m |  | 0
.08 | MDF skirting 15 thick x 100 high | 240 | m |  | 0
|  |  |  | £ | 0
.02 | Wall finishings
.01 | Plaster and skim coat finish to masonry walls | 649 | m² |  | 0
.02 | Clean down facing brickwork walls and leave in good condition (no allowance for repointing) | 200 | m² |  | 0 |  |  | Approximate area
|  |  |  | £ | 0
.03 | Ceiling finishings
.01 | Plasterboard and skim coat finish to flat soffits | 298 | m² |  | 0
.02 | Remove ceiling tiles, clean down grid and install new tiles | 223 | m² |  | 0
|  |  |  | £ | 0
.04 | Decorations
.01 | Mist coat and two coat emulsion paint finish to all plaster surfaces; walls | 998 | m² |  | 0
.02 | Mist coat and two emulsion paint finish to plaster ceiling | 376 | m² |  | 0
.03 | Decoration to skirting and window boards; Trade eggshell paint finish | 264 | m |  | 0
.04 | Allowance for redecoration of existing joinery | 1 | item |  | 0
|  |  |  | £ | 0
12 | FIXTURES AND FITTINGS |  |  |  |  | £ | 0
.01 | Kitchen 2; Basic standard kitchen fittings, worktops and appliances | 1 | item |  | 0
.02 | Kitchen 1 retained; allow for protection and cleaning existing kitchen fittings and leaving in good working order | 1 | item |  | 0
.04 | Classroom Entrance benches and hooks | 1 | item |  | 0
.05 | Classroom fittings, worktop and sink | 1 | item |  | 0
.06 | Vanity unit to Children's WC | 1 | item |  | 0
.07 | Changing Room bench and hooks | 2 | nr |  | 0
.08.1 | Stage and 2nr sets access steps | 20 | m² |  | 0
.08.2 | Fascia boarding 500 high; 25 thick t&g boarding | 5 | m |  | 0
.08.3 | Extra for sets of steps | 2 | nr |  | 0
.08.4 | 50 x 150 joists and hardwood t&g floor boards | 20 | m² |  | 0
.09 | Allowance for shelving to Store areas | 1 | item |  | 0
|  |  |  | £ | 0
13 | SERVICES INSTALLATIONS |  |  |  |  | £ | 0
.01 | Sanitary ware; Ideal Standard or similar
.01 | WC and basins | 8 | nr |  | 0
.02 | Children's WC and basins | 3 | nr |  | 0
.03 | Urinals and division panels | 3 | nr |  | 0
.04 | Accessible WC doc M pack | 1 | nr |  | 0
.05 | Cleaners sink | 1 | nr |  | 0
|  |  |  | £ | 0
.02 | Mechanical Installation
.01 | Extension to existing system; distribution pipework, insulation and controls for hot and cold water supplies | 1 | item |  | 0
.02 | Hot, cold water and waste to new WC areas and kitchens | 1 | item |  | 0
.03 | Extract ventilation to WC areas and kitchens | 1 | item |  | 0
.04 | Installation of sanitary ware | 1 | item |  | 0
.05 | Heating installation; panel radiators to new areas | 235 | m² |  | 0
.06 | Allow for alterations to radiators in existing areas | 1 | item |  | 0
|  |  |  | £ | 0
.03 | Electrical Engineering services
.01 | Extension of existing system, retain existing distribution boards, new sub mains boards; wiring circuits, containment to small power, lighting, kitchen circuit | 1 | item |  | 0
.02 | NO ALLOWANCE FOR INCREASE TO INCOMING POWER SUPPLY
Works to new building areas
.03 | Lighting circuits and switching | 235 | m² |  | 0
.04 | Small power circuits and socket outlets | 235 | m² |  | 0
.05 | LED surface mounted lighting | 235 | m² |  | 0
Works to existing building areas
.06 | Rewiring of lighting circuits and new switch plates | 377 | m² |  | 0
.07 | Rewiring of small power circuits and new socket outlet plates | 377 | m² |  | 0
Generally
.08 | Security installation - EXCLUDED |  | item |  | 0
.09 | Data installation | 612 | m² |  | Exc
.10 | Fire and smoke detection installations | 612 | m² |  | 0
.11 | External building lighting | 1 | item |  | 0
.12 | Generator connection unit with manual switch over | 1 | item |  | 0 |  |  | Generator to be hired when required 3-phase option to be explored
|  |  |  | £ | 0
.04 | BWIC with services installations
.01 | BWIC | 612 | m² |  | 0
|  |  |  | £ | 0
17 | BUILDING WORKS TOTAL |  |  |  |  | £ | 0

## External Works
PAMBER HEATH MEMORIAL HALL
REQUIRED CONTRACT SUM ANALYSIS
EXTERNAL WORKS
Element
| Description | Quantity | Unit | Rate | Extension |  | Total | Comments
|  |  |  | £ | £ |  | £
1 | DRAINAGE |  |  |  |  | £ | 0
01 | Foul Drainage
.01 | Remove existing redundant manhole and block up pipework | 3 | nr |  | 0
.02 | Foul drain runs; 100 diameter pipework; bed and surround in granular material; average not exceeding 1m deep | 61 | m |  | 0
.03 | Extra for concrete surround | 23 | m |  | 0
.04 | Rest bends | 4 | nr |  | 0
.05 | Inspection chambers; not exceeding 1m deep | 3 | nr |  | 0
.06 | Manholes; not exceeding 1.5m deep | 1 | nr |  | 0
.07 | Connection to existing foul water drain on site | 1 | item |  | 0
02 | Surface Water Drainage
.01 | Surface water drain runs; 100 diameter pipework; bed and surround in granular material; average not exceeding 1m deep | 150 | m |  | 0
.02 | Rest bends / bottle traps | 4 | nr |  | 0
.03 | Rodding eye | 1 | nr |  | 0
.04 | Road gulleys | 5 | nr |  | 0
.05 | Inspection chambers; not exceeding 1m deep | 1 | nr |  | 0
.06 | Manholes; not exceeding 1.5m deep | 1 | nr |  | 0
.07 | Connection to existing surface water drain on site | 2 | nr |  | 0
.08 | Soakaway | 1 | nr |  | 0
.09 | ACO drain to front entrance (4m wide) | 1 | item |  | 0
|  |  |  | £ | 0
2 | EXTERNAL WORKS |  |  |  |  | £ | 0
.01 | Site clearance; removal of vegetation and hedges as necessary | 1 | item |  | 0
.02 | Break up existing tarmacadam paving | 785 | m² |  | 0
.03 | Remove existing kerbs and haunching | 200 | m |  | 0
.04 | Break up Grasscrete paving | 385 | m² |  | 0
.05 | Remove fencing and gates | 25 | m |  | 0
.06.1 | Car park; excavation, MOT type 1 sub base, road base, base course, wearing course | 1655 | m² |  | 0
.06.2 | Reduced allowance for fill under existing macadam area | 1170 | m² |  | 0
.07 | Kerb; HB2 and concrete bed and haunching | 200 | m |  | 0
.08 | Bollards to side access; lighting | 6 | nr |  | 0
.09 | Concrete bollards to car park perimeter | 23 | nr |  | 0
.10 | Cycle hoops | 12 | nr |  | 0
.11 | Existing crossover retained, allow for minor improvements | 1 | item |  | 0
.12 | Access ramp to front entrance including side wall and handrail (37m2 paving to ramp, 15m wall and handrail) | 1 | item |  | 0
.13 | Level access to front entrance (35m2) | 1 | item |  | 0
.14 | Low level wall and footing to Cycle store | 20 | m |  | 0
.15 | External ramps to changing areas; including railings | 2 | nr |  | 0
.16 | External Play Area; rubber matting, including all necessary groundworks under | 40 | m² |  | 0
.17 | Lockable steel access gate | 1 | nr |  | 0
.18 | Line markings to standard bay | 48 | nr |  | 0
.19 | Line markings to disabled bay | 4 | nr |  | 0
.20 | Access give way markings and signage | 1 | nr |  | 0
.21 | Hedge planting | 1 | item |  | 0
.22 | Electric Car charging points (2nr) | 1 | item |  | 0
0
3 | EXTERNAL SERVICES |  |  |  |  | £ | 0
.01 | Incoming services
.01 | All services assumed adequate; NO PROVISION FOR INCOMING SERVICES |  |  |  | 0
|  |  |  | £ | 0
.02 | Builders work in connection with services
.01 | EXCLUDED |  | m | 25 | 0
|  |  |  | £ | 0
4 | EXTERNAL WORKS TOTAL |  |  |  |  | £ | 0

## Fees
PAMBER HEATH MEMORIAL HALL
REQUIRED CONTRACT SUM ANALYSIS
FEES
Element
| Description | Quantity | Unit | Rate | Extension |  | Total | Comments
|  |  |  | £ | £ |  | £
1 | FEES |  |  |  |  | £ | 0
.01 | Architect |  | Item |  | 0
.02 | Structural Engineer |  | Item |  | 0
.03 | Others |  | Item |  | 0
.04 | Others |  | Item |  | 0
|  |  |  | £ | 0
2 | FEES |  |  |  |  | £ | 0