## Cover
Statement of Requirement
Module 3 - Section 11
Communication Information Systems
CORE REQUIREMENTS
RAF COSFORD SPECIFIC REQUIREMENTS
RAF SHAWBURY SPECIFIC REQUIREMENTS
RAF VALLEY SPECIFIC REQUIREMENTS

## Core
Module 3 - Section 11
COMMUNICATIONS & INFORMATION SYSTEMS
| 11.A | GENERAL REQUIREMENTS
| 11.A.1 | SCOPE OF WORK
| 11.A.1.a | Provide the duties and functions of an Air Command Airfield Support Team (AST) which will endure post MARSHALL at all stations bar RAF High Wycombe. The AST duties are currently embedded within the technical support and Depth A and B repair and maintenance responsibilities of all Ground Radio communications, radar and airfield aids provided to or installed at relevant RAF Units and parented units. The corrective and scheduled maintenance tasks to navigational aids as defined by Air Command (AOBM) are in the process of being transferred to AQUILA, under Programme MARSHALL, and are out of scope for HADES. The role, responsibilities of the ASTs are to provide non-Air traffic Equipment support to the operation of the airfield and station, or station if there is no active runway. Post MARSHALL, the residual communications (radio & landline) support tasks are overseen by A6 staffs. The principle roles of the ASTs include support to management radio (primarily to enable effective control of runway access but also for crash, crisis, security and station management), support to frequency management, electromagnetic radiation safety, support to some portable access devices, (Portable Appliance Testing (PAT), some items outside other contracts will require testing), testing, support/repair of landlines bespoke to the station outside of GRAPEVINE 2, support to the station’s ground defence control system including comms to sangers (radio & tactical landline), provide deployable public address system support (for events, for cordon control, and for back-up comms using GFE), and support to Telebrief, Have Quick II and RVR where they are installed. Support to crash site comms will require AST personnel to deploy for up to 4 miles from the station perimeter for up to 8 hours, using GFE military tentage and support. The duties of ASTs are taught in CN4032. The organization shall be an approved organization in accordance with the MAA’s Air Traffic Management Equipment Approved Organization Scheme (AAOS), or have a contracted route to achieving approval in accordance with the AAOS. |  |  |  |  | AL137
| 11.A.1.b | The Contractor is to assist in the installation or recovery of any item of C-E equipment that was sponsored under MoD Electrical Engineering Instructions (EEIs), any C-E equipment installed under JSP 604 regulations (including JSP 440 & JSP 480), or as required by RAF directive. Assist third line maintenance teams and calibration teams in the performance of their duties and abide by the provisions of AP 600 and with any other extant orders, instructions and directions, and attend Siting Board meetings to safeguard the integrity of Ground Radio Installations. (AAOS) |  |  |  |  | AL137
| 11.A.1.c | On specified Stations, the contractor is to discharge the responsibilities of OC Comms Flt, as authorised by the Authority and defined in AP600, AP7004 and JSP 440.
| 11.A.1.d | See Specific Unit | RAF Cosford | RAF Valley
| 11.A.2 | DEFINITIONS & DEPTHS OF MAINTENANCE
Lines of Maintenance
| 11.A.2.a. | First Line. The maintenance organisation immediately responsible for the maintenance and preparation for use of complete systems or equipment. First Line organisations normally undertake Depth A maintenance but may be authorised to undertake some Depth B maintenance. MAA 02 and AP600 REFERS (AAOS) |  |  |  |  | AL137
| 11.A.2.b. | Second Line. The maintenance organisation responsible for providing maintenance support to specified First Line organisations. Second Line organisations normally undertake Depth B maintenance but may be authorised to undertake some Depth C maintenance. (AAOS) |  |  |  |  | AL137
| 11.A.2.c. | Third Line. The maintenance organisation within the services but excluding the organisations within first and second line. Third Line organisations, although able to undertake all depths of maintenance, normally undertake Depth C and D maintenance.(AAOS) |  |  |  |  | AL137
| 11.A.2.d. | Depth A. That maintenance which is directly concerned with preparing end items for use, and keeping them in day to day order. It may include such operations as functional testing, replenishment, maintenance, re-arming, role changing, minor modification, fault diagnosis, and corrective maintenance by replacement, adjustment or minor repair. In accordance with AP100c-10 & AP600-Chap3.8(AAOS) |  |  |  |  | AL137
| 11.A.2.e. | Depth B. That maintenance which is required on items and assemblies which are in an unacceptable condition or which require preventive maintenance. This may include scheduled maintenance, embodiment of prescribed modifications, bay maintenance of assemblies, and corrective maintenance beyond Depth A but within generally provisioned resources. In accordance with AP100c-10 & AP600-Chap3.8 (AAOS) |  |  |  |  | AL137
| 11.A.2.f. | Depth C. That maintenance which is the repair, partial reconditioning and modification requiring special skills, special equipment or relatively infrequently used capability which is not economic to provide generally, but which is short of complete strip, reconditioning and reassembly. In accordance with AP100c-10 & AP600-Chap3.8 (AAOS) |  |  |  |  | AL137
| 11.A.2.g. | IHub iAdmin. The definitions of the Senior Information Officer (SIO), Senior Information Risk Owner (SIRO), Data Protection Officer, Freedom of Information Officer who is invariably also the Records Officer, Information Support Officer (ISO) and Information Support Administrator, are contained in AP7004. The definitions of mail clerk, filing clerk, and password reset clerk, are self evident. This contract is to provide Information Support Officers, Records Manager and Information Support Administrators who will work to the Information Manager, who is normally a Crown Servant (Civil Servant or RAF Officer, WO or SNCO dependent on station size). The contract staff should expect to work closely with the Data Protection Officer.
| 11.A.3 | REFERENCES & ABBREVIATIONS
| 11.A.3.a | See Section 1: General Core Information For (References & Abbreviations).
| 11.A.4 | SAFETY PROVISIONS
| 11.A.4.a | All activities associated with the maintenance of electrical equipment must comply with AP120A-0001-01 Precautions against Electrical Shock in Maintenance Areas, and ensure that at least 2 personnel are present whenever working on electrically live equipment with hazardous voltages.
| 11.A.4.b | Special awareness of the following hazards is required: High voltage, Radio Frequency (RF) radiation, radio active valves, wet batteries, Working at height and Cathode Ray Tubes (CRTs). (AAOS) |  |  |  | AL137
| 11.A.4.c | Intrinsically safe radios as per AP600.
| 11.A.4.d | A majority of the activities associated with DATO are carried out in an office environment but the duties also require every location on the station or outstation with a telephone socket to be visited periodically.
| 11.A.4.e | All activities associated with the tasks of Information Support Officers and Information Support Administrators in an iHub are carried out in an office environment.
| 11.A.4.f | Most activities associated with the tasks of COMSEC Custodian and Alternate and Assistant are carried out in security vaults or in locked offices with Grade 1 Type 1 manifold locks which are treated as Top Secret vaults, but incumbents are expected to travel to the working locations of their Authorised Holders to ensure the security of distributed material. Locations such as RAF Boulmer and RAF High Wycombe have bunkers, and although the functional accommodation within them is office based, contractors must conform to local bunker working policy and safety practices, and attend periodic bunker safety training.
| 11.A.5 | DESCRIPTION OF EXISTING CONDITIONS
| 11.A.5.a | The AST tasks, functions and outputs are required within UK, both on station and off station in support of an Incident Commander (Crown Servant), in all weathers and terrain. The HADES contractor must have someone at 90 minutes to report, in order to generate, issue and deploy with the Incident Commander if required, and set up the radio & landline communications as per Incident Commander’s instructions. There are – in most Post Crash Plans – 4 requirements: sideways comms (Blue Light), comms back to base (initially mobiles but 90SU on standby to arrive many hours later); cordon comms (mostly MRE), and point comms (MRE or field telephone or mobile). Sometimes a Mountain Rescue Team (MRT) will have secured the crash-site, so the task is then to take over the provision of comms using the station’s assets so the MRT can withdraw (taking their comms with them). The MAC contractor’s staff must expect to live in field conditions, but be fed & tented as per other crash site personnel. They need to stay at the site as directed by the DO. For Counter Terrorist response, the MAC contractor must be prepared to redeploy on station to the control centre to assist recovering comms failures as directed by the DO, and to travel in military vehicles under escort, that escort might be live armed (Op CITADEL). Contractors' personnel must accept they may have to sight body parts.
| 11.A.5.b to 11.A.5.c | See Specific Unit | RAF Cosford b only | RAF Shawbury b - c | RAF Valley b only |  | AL79
| 11.A.6 | HOURS OF OPERATION
| 11.A.6.a | See Module 1 Section 1: General Contract Information 1.A.7
| 11.B | PERSONNEL REQUIREMENTS
| 11.B.1 | MINIMUM STANDARDS
In addition to the stipulations of the Conditions of Contract, the following minimum standards shall apply:
| 11.B.1.a | Junior Management, Supervisors and Tradesmen. The contractor's staff will be expected to have an understanding of RAF Trade Group 4, Information and Communications Technology Technicians (ICT techs), or Communications Infrastructure Technicians (CI Techs) and ICT Managers (ICTMs). The Authority requires the Contractor to undertake any trade qualification training for contract employees at the Contractor's T&S expense.
| 11.B.1.b | Ground Radio. Provide personnel appropriately qualified and experienced in the operation, repair, maintenance and installation of communication equipment. Personnel should be a technician (Trade Group 3, Trade Group 4 or civilian equiv) with suitable appropriate experience and training. Evidence and assessment needed.
| 11.B.1.c | Information Support Administrators. There must be at least one Information Support Administrator in each iHub who is SC Cleared on duty at all times during normal working hours, or as required by specific station requirements.
| 11.B.2 | EXPERIENCE
| 11.B.2.a | The minimum experience levels for Contractor’s employees engaged in COMSEC duties under this contract is that they should have some experience in handling UK sensitive Cryptographic material as a minimum and would require DV clearance. There will also be a requirement for them to attend the Tempest background and familiarisation course at CESG, Cheltenham and at earliest opportunity attend a TCCO seminar (held at RAF Digby).
| 11.B.2.b | iHub - Contractor Personnel employed on duties within the iHub will have a minimum educational standard of 2 GCSE passes at Grade C or better, including English Language or recognised equivalents and hold an ECDL Licence Level 2 or above.
| 11.B.3 | SPECIALIST REQUIREMENTS
| 11.B.3.a | The AST Team Leader is required to hold a current Working at Height Authorised Person qualification iaw JSP 375 Vol 3. Re-certification of this qualification is required every 4 years.
| 11.B.3.b | There is a working at height requirement associated with this task and all personnel employed in this area must be physically and mentally able to carry out climbing tasks.
| 11.B.3.c | ESDS Auditor. The person engaged in the duties of ESDS Auditor, normally the unit ESDS Co-ordinator, is to be trained to a standard equivalent to the RAF qualification TQA Q-ESDS-AUD or suitably qualified and experienced commensurate with the responsibility and nature of the task.
| 11.B.4 | Airfield Support Team (AST). The Authority has let a contract to AQUILA, under Programme MARSHALL, which will outsource maintenance of all C-E equipment that is dedicated to supporting Air Traffic Control. Historically such equipment maintenance formed a majority of the responsibilities of Ground Radio Maintenance Sections (GRMSs). Many GRMSs have been contractorised. MARSHALL will remove a majority of tasks, the following tasks are those 'out of scope' of MARSHALL that endure, noting that post crash comms duties are only applicable to active airfields.
| 11.B.4.a | New: Management Radio Equipment (MRE). Complying with the MAA's Safety Case, is being deployed on RAF stations, including airfields. The contractors personnel are expected to undergo training on Course Number CN4032 delivered at No 1 RS Cosford. New MRE has 3 components: intrinsically safe radios (for use with aircraft, weapons (not firearms), explosives and fuel/lubricants), standard radios, and base stations which include power, antennae and cabling. On MRE and base stations, carry out fault rectification, return faulty items for replacement, condition new items, carry out maintenance, install MRE in green fleet vehicles, assist in installing in White Fleet vehicles but all drilling and irregular openings must be performed by the White Fleet contractor or their approved representative, manage MRE requirements during exercises, operations and crisis - including creating 'go-packs', liaise with A6 Leeming/90SU over frequency allocations ensuring station MRE complies with issued frequency assignments, co-operate with and conduct MRE audits as per Signals Plan or as requested by A6, and carry out battery conditioning. (AAOS) |  |  |  | AL137
| 11.B.4.b | Public Address. Most RAF Stations have a public address system. Where this is provided by DIO it is a fixture within DIO's contract. However, most Stations, and for HADES assume all 16 Stations, have a portable public address system which is commercially sourced and warranted by the Authority. This PA system, with mobile generator, is used as part of crowd cordon control at crash sites, but is also used for media and communication purposes. The contractor is to manage bookings, referring conflicts to the Authority, sustain and maintain the PA system, deploy it in either Authority or contractor vehicles, test it, repair as required, source replacement items (at Authority expense), handover the PA system to the User, lead in making it function correctly (e.g. echo cancellation), and collapse and return to store.
| 11.B.4.c | Manage Station Crash Communication Equipment. On all stations with airfields or helicopter landing zones, so registered with the MAA for post crash management audits, maintain, test, deploy, recover and sustain/repair a station crash 'go-pack' comprising mobiles, walkie talkies, MRE, field telephones, field switchboards (i.e. PABX3) and rolls of DON-10, in a 'go' container. Participate in exercises, monthly testing and repair/replacement as required. Report any deficiencies to station Ops and Sy personnel. Activate, at readiness, as per the Station readiness state (normally derived from the varied opening hours), and deploy with or following the nominated Incident Commander.
| 11.B.4.d | Attend Station Siting Board Meetings. Maintain airfield/station integrity/infringement maps and Registers iaw JSP 604 Lft 3032 Radio Site Clearance, and AP 600 Chapter 6. Carry out radio site integrity checks at least weekly. This task should cover all aspects of Tech Safeguarding iaw the RA3136. Report any infringement against the station map to the station Flight Safety Officer and formally record such notification, and inform whomever is OC Comms (Serviceman, Civil Servant or Contractor).
| 11.B.4.e | Perform Building Custodian duties on Allocated Buildings. Carry out checks as per AP600 on buildings used as functional or technical accommodation for C-E equipment including remote sites for that Unit and other locations, including those sites with MARSHALL supported equip. WAM nodes will be placed on more locations that will need support. Comply with Operations; WIDEAWAKE, ROUNDUP and CITADEL. Report all Works issues via Infra Wks Svcs, Prepare equipment for scheduled power outages including transition to standby power, and recover from power outages by graceful power-up. Inspect all First Aid and Fire Extinguishers for their serviceability dates and Report to MedCen & Fire staffs all that are within a month of becoming out of date.
| 11.B.4.f | Carry Out Aircraft Serving Platform (ASP) emergency telephone procedures. Where the airfield or helicopter landing zone has an ASP emergency telephone, instigate a call from the ASP emergency telephone daily before flying starts, or, if 24 hour flying, with agreement of the Senior Operations Officer, ensuring that "This is a Test" is clearly enunciated at the start of each call. Report all findings to the DATO or the equivalent.
| 11.B.4.g | Control Test & Measuring Equipment (TME). Perform required maintenance on TME as required by TMEC, iaw JSP 509 and JSP 886 Vol 7 (Calibration). Return TME for calibration as required by TMEC.
| 11.B.4.h | Manage AST Tools. Carry out hand tool procedures iaw MAP-01 Chapter 6, and maintain any ground support equipment (GSE) as registered on the station's GSE Register and allocated to (GRMS) AST as per MAP 01 Chapter 13. Carry out Portable Appliance Testing (PAT) on relevant AST equipment and record when the next testing is due, (nominally annually unless specifically directed otherwise). Maintain a register of all Tools and all GSE holdings (accepting that some stations have separate lists and some combine them).
| 11.B.4.i | Maintain an Inventory of AST Equipment. Carry out the demand and receipt of items and inventory checks as required (JSP 886 Part 2). The Authority will require that the contractor accepts an Inventory of Authority equipment issued directly to (GRMS) AST, and that the AST receives tools and GSE from other parts of the station, complying with their checks.
| 11.B.4.j | Deploy, Operate and Sustain Station Field Radio Comms. Such radio comms are provided for routine station management, for security, for control of aircraft operating surfaces by ATC, and for the command and control of counter terrorist activity. The Authority uses CT States, which will be explained to the winning contractor, and what is meant by ROUND-UP & WIDEAWAKE & CITADEL. The MAC contractor is expected to create a CT go-pack as per the Station Ground Defence Plan, which can, if the Station Commander decides, also be the post-crash comms go-pack. The contractor's employees are not expected to deploy with the Quick Response/Reaction Team or participate in exchanges of fire, but must be prepared to break Op ROUNDUP & OP CITADEL and deploy outside with an escort in order to set up any contingent ops room (i.e. GDCC), its ground defence comms, and stay in the GDCC or a Sector HQ (as directed by the Grnd Defence Commander (nominally OC Sy) to deploy to set up, check, hand over to use and as required repair (may involve running new DON 10 or going forward to a sanger), and stay on shift for up to 10 hours. The MAC contractor needs to plan a relief, until after 20 hours when RED should go to AMBER and on –call activity resumes.
| 11.B.4.k | Visit Station Outstations that house C-E Equipment. Carry out monthly site building checks (security, works services, non-MARSHALL C-E equipment condition/faults) and inform appropriate agency and record site visitor in a log book.
| 11.B.4.l | Manage Maintenance of non ATM (so non MARSHALL) Equipment (TELEBRIEF, IRVR, and Antennae, Aerial & Mast Systems). As per the Register of C-E equipment per site, and in accordance with AP600, AP116N-0302-21, AP116E-1700-13 and -45, and MAA RA 3275 - usually on commercial warranted RVR equipment, maintain and report any serviceability to OC C4i Sqn/Flt and to the MAC contract monitoring staffs. (AAOS) |  |  |  | AL137
| 11.B.4.m | Perform Duties of Radiation Protection Supervisor. In accordance with JSP 392 Part 2, ensure work is carried out safely and assist the Radiation Security Officer (RSO) who will be nominated by name (may be Service, Civil Servant or Contractor).
| 11.B.4.n | Control Allocated Fuels & Lubricants. In accordance with JSP 375 Pt 2 Vol 1, JSP 515, and JSP 886 Vol 6 Part 2, ensure COSHH procedures are followed, carry out monthly checks on fuel & lubricants ordering replacements to meet pre-authorised holdings, dispose of out of date fuel and lubricants correctly.
| 11.B.4.o | Assist with MOB Radio Frequency List & Restricted Radio Frequency List. In accordance with AP600 procedures, understand the frequency allocations to the Station, understand the process to obtain temporary frequencies (for exercises, operations & crisis), manage on-site radio interference and raise interference reports, work with the Air Command Spectrum Management staffs and will be covered by AST and/or contracted OC Comms. This will include ensuring that MARSHALL equip details are registered, protect any copies of the Air Restricted Frequency List and Joint Restricted Frequency List and allow access only to Stn Cdr, Operations & C4i staffs unless tasked by the Authority.
| 11.B.4.p | Create then Maintain Radio Frequency Hazard Map for Station and Outstations. In accordance with JSP 392 and JSP 604 Lft 3032, create and maintain an A size Station Map, including Outstations, showing all radio frequency radiation (not ionising radiation) sources, their power, and therefore their hazard areas. Aquila/MARSHALL will provide details of any hazards from ATM equip installed. The Unit will still need to manage all aspects of hazard. Ensure copies are available to all building custodians.
| 11.B.4.q | Air show/Station Open Day Comms. Support radio communications planning, radio pattern/nets, and assist resolving jamming/interference during Station Air shows and Open Days. Provide and distribute, then recover, radio call-sign matrices using COMSEC Custodian provided call sign books.
| Item No | Requirement | Related Requirement | Contractor Responsibilities Estimated Quantity | Performance Standard | AL 100
11.C | 11 | PERFORMANCE REQUIREMENTS
11.C.1 | 11.01 | OPERATIONS
11.C.1.a | 11.01.01 | Ensure that Communications Systems are operable and providing services as required by the MoD iaw appropriate maintenance/support policy statements, includes Ground radio and Commcen requirements. | Nothing additional. | See Specific Unit Tables | Complies with PI - Scheduled maintenance - criterions 1-5 PI - Services - criterions 1-5 PI - Procedures - criterions 1-5
11.C.1.b | 11.01.02 | Provide an AST | Trained to CN4032. Some stations provide parenting support to other (smaller) establishments. The intent is to prepare, manage and sustain emergency crisis packs of radios and support equipment (GFE) to issue to on-duty teams, with other tasks carried out during normal working hours noting the need to deploy in the event of a crash. | 1 Team of 3 trained posts. For flying stations, 1 AST Member on duty during airfield opening times. For stations without active runways, 1 AST Member on duty during normal Station working hours. 1 AST Member to be ‘on call’ out of hours with 4 hours to respond. TRAINED TO CN40432 | Complies with PI - Management systems - criterions 1-5 PI - Personnel - criterions 1-5 PI - Procedures - criterions 1-5
11.C.2 | 11.02 | MAINTENANCE
11.C.2.a | 11.02.01 | Perform preventive & corrective maintenance at relevant RAF unit and parented units on communication systems in accordance with the appropriate equipment Air Publications, not covered by Project Marshall. (AAOS) | The maintenance of major radio iaw AP600 and corrective maintenance to other (CE), essential to the next days operations, will be undertaken after flying has finished (normal, weekend or extended flying). These may only be varied with the agreement of, or at the request of, the SATCO. | As required TO BE CARRIED OUT IAW AP600 ONCE FLYING HAS FINISHED TO ENSURE NO IMPACT ON NEXT DAYS OPERATIONS. | Complies with PI - Scheduled maintenance - criterions 1-5 or Unscheduled maintenance criterions 1-5 PI - Management systems criterion 1-5 | AL137
11.C.2.b | 11.02.02 | Maintain maintenance and modification records iaw AP 600 Chap 3.22. (AAOS) | Records maintained for all equipment. | One record for each piece of equipment MAINTAINED IAW AP600 CHAP 3.22. RECORDS ARE TO BE PROVIDED TO THE AUTHORITY WITHIN 5 WORKING DAYS OF REQUEST. | Complies with PI - Documentation - criterions 1-5 | AL137
11.C.2.c | 11.02.03 | Generate, update & maintain site restriction maps /drawings/charts also to create and maintain Technical Safeguarding iaw AP600, AP100G-03 and JSP 604 Lft 3032 and Radiation Hazard (RADHAZ) maps depicting the location of hazard in regards to the emanating source iaw AP110A-0102-1D&E and JSP 604 Lft 3032 , on behalf of the Comms Manager. | Nothing additional. Note : Liaise with Armoury personnel with reference to the siting of explosive storage areas. | 1 x map per site. 1 x RADHAZ map. TO BE COMPLETED AND UPDATE IAW AP600, AP100G-03 and JSP 604 Lft 3032 and Radiation Hazard (RADHAZ) maps depicting the location of hazard in regards to the emanating source iaw AP110A-0102-1D&E and JSP 604 Lft 3032. TO BE PROVIDED TO TEH AUTHORITY WITHIN 2 WORKING DAYS. | Complies with PI - Documentation - criterions 1-5
11.C.2.d | 11.02.04 | Carry out management radio installations in accordance with AP600. | Nothing additional. | As required. TO BE CARRIED OUT IAW AP600 | Complies with PI - Equipment condition - criterions 1-5 PI - Equipment (GF) systems criterion 1-5
11.C.2.e | 11.02.05 | Carry out the duties and responsibilities of a Working at Height Authorised Person iaw JSP 375 Vol 3. | For all climbing within GRMS areas only and ensure all permits raised prior to climb. | As required. TO BE CARRIED OUT IAW JSP375 VOL 3. PERMITS TO BE PROVIDED TO THE AUTHORITY UPON REQUEST. | PI - Personnel - criterions 1-5
11.C.2.f | 11.02.06 | Embody MODs, PWIs, STIs and SIs iaw relevant instructions. | To be carried out within notified timescales provided with each embodiment. | As required. To be carried out within notified timescales provided with each embodiment. | Complies with PI - Management systems - criterions 1-5 PI - Personnel - criterions 1-5
11.C.2.g | 11.02.07 | The New Management Radio Equipment (MRE), has base stations as well as handsets and these base-stations have aerials/antennae cleated to masts and/or mounted on the roofs of HASs, WOCs, PBFs and Stn Buildings. The AST are expected to supervise repair, with most climbing tasks conducted by 90SU’s Regional Infrastructure Tech Teams on a call-out basis for unscheduled arisings and scheduled servicing visits. The AST is there to resolve simple faults as well as assist 90SU’s teams and such assistance involves some climbing as well acting as safety-man. Two new radio systems are coming into service: standard radios & base stations and, intrinsically safe radio handsets for use with 2MT, refuellers, medics, bomb dumps, armourers – these handsets have a reduced power and range, but they do not cause ‘sparks’. (AAOS) | Records maintained for all equipment. | As required. ALL EQUIPMENT TO BE MAINTAINED SERVICEABLE. | Complies with PI - Equipment condition - criterions 1-5 PI - Equipment (GF) systems criterion 1-5 | AL137
11.C.2.h | 11.02.08 | Control and maintain tools & equipment, within this Section. | There should be no instance of maintenance delay due to lack of tools. | As required There should be no instance of maintenance delay due to lack of tools. | Complies with PI - Equipment condition - criterions 1-5 PI - Equipment (GF) systems criterion 1-5
11.C.2.i | 11.02.09 | Control and maintain minor electrical GSE equipment, within this Section iaw JAP100E-10. | Nothing additional. | As required IAW JAP100E-10. ALL U/S ITEMS TO BE REPORTED WITHIN ONE WORKING DAY | Complies with PI - Equipment condition - criterions 1-5 PI - Equipment (GF) systems criterion 1-5
11.C.2.j | 11.02.10 | Control and manage all section Air Publications. | Includes incorporation of amendments and originating of amendment proposals. All surplus publications to be declared to the appropriate agency for disposal. | As required. AMENDMENTS TO BE MADE WITHIN 5 WORKING DAYS OF RECEIPT. | Complies with PI - Documentation - criterions 1-5
11.C.2.k | 11.02.11 | Control and operate the section transport iaw MT regulations. | No instance of equipment downtime due to lack of control of transport. | As required TO BE COMPLETED IAW MT REGULATIONS. No instance of equipment downtime due to lack of control of transport. | Complies with PI - Regulations and legislation - criterions 1-5 PI - Training - criterions 1-5
11.C.2.l | 11.02.12 | Perform preventive/corrective maintenance on all headsets iaw the appropriate Air Publications. (Excluding Air Traffic Control headsets). | Headsets used by; Station personnel other than ATC. | As required. ALL HEADSETS TO BE MAINTAINED SERVICEABLE IAW RELEVANT AIR PUBLICATIONS. | Complies with PI - Scheduled maintenance - criterions 1-5
11.C.2.m to 11.C.2.o | 11.02.13 to 15 | See Specific Unit | RAF Valley 11.02.13 - 11.02.15 (m - o)
11.C.3 | 11.03 | SITING BOARDS
11.C.3.a | 11.03.01 | Attend siting board meetings iaw JSP 604 Lft 3032 & AP100G-03 | All meetings involving ground radio installations to be attended. | As required. | PI - Personnel criterion 1-5 PI - Management systems criterion 1-5
11.C.4 | 11.04 | TEST EQUIPMENT
11.C.4.a | 11.04.01 | Control and maintain test equipment. | Liaise with the TMEC for the delivery and collection of test equipment. | As required ALL U/S ITEMS TO BE REPORTED WITHIN ONE WORKING DAY | Complies with PI - Equipment Condition - criterions 1-5
11.C.5 | 11.05 | BATTLE DAMAGE REPAIR
11.C.5.a to 11.C.5.b | 11.05.01 to 02 | See Specific Unit | RAF Shawbury 11.05.01 - 11.05.02 (a - b) |  |  | AL79
11.C.6 | 11.06 | PERFORMANCE REQUIREMENTS - DATO
|  | DATO | Nothing additional. | See Core Table | Not in Scope | AL104
11.C.7 | 11.07 | iHub iAdmin
|  | Information Support Officer or Administrator. | Nothing additional. | See Core Table | In Scope | AL104
11.C.7.a | 11.07.01 | Information Management Policy and Practices: advise all staff on IM policy and protocols, and use of the organisation’s information systems; monitor information activities to ensure compliance with the law, and Air Command/Unit policy; MOD Directories: Audit business and user profiles in Directories; raise amendments when requested. Support for, and advice to, Unit Staff: advise all staff on use of the applications available on NSoIT ; support unit staff in routine information management activity; trouble-shoot as required (e.g. locating lost information or folders); undertake general administrative functions as required by local Command; Point Of Contact for IS providers: provide the Local Point of Contact (LPOC) for resolution of IM problems on, or in direct support of, operations and training. | Management of Site Mailboxes (closing down, monitoring, distribution of messages); Management of High Grade Messaging: manage the automatic distribution mechanisms (allocation of SICs); act as Guaranteed Action Point (GAP), ensuring High Grade Messages are addressed within timescale of precedence; Suitable for outsourcing as long as distribution timescales can be achieved and maintained through the contract. Collaboration: Provide advice and guidance online chat meetings, chat rooms, conferences and teleconferences. Information Dissemination: manage organisation’s Internet sites (unless task is allocated elsewhere); publish or forward messages received to appropriate staff; disseminate key information on behalf of owners (who will state what is key); provide service for transferring information between different environments (e.g. to and from tactical systems, IMPEX). | See Specific Unit Tables. SERVICES TO BE PROVIDED AS REQUIRED AND IAW TIMESCALE OF PRECEDENCE. | Complies with PI - Audits, Inspections & Checks - criterions 1-5 PI - Procedures - criterion 1-5
11.C.7.b | 11.07.02 | Document and Record Management: create and manage the organisation’s file plan; create, maintain, and delete sites; establish and maintain appropriate access permissions to SharePoint, records; set up default metadata in team sites and the Electronic Document and Record Management System (EDRMS); maintain and promulgate record retention instructions; set retention schedules for all record holdings in accordance with JSP 441 (and with advice from ISS Des CMI Info Policy team as required); review record holdings in accordance with retention schedule, and with advice from appropriate unit staff; manage physical records (paper, CDs, tapes, film, etc) and their repositories; arrange the transfer of physical records to the appropriate authority, or their destruction/deletion, as required by JSP 441; create and manage document templates. | Correspondence management: scan and register documents; maintain paper logs. User Account Management in NSoIT and other systems: create, amend and close user accounts; monitor capacity; undertake roles of Local Security Officer (LSO). Physical Mail receipt and distribution. Maintenance and management of the physical file and record holdings on a unit. | See Specific Unit Tables MAINTAIN FILE SYSTEMS IAW RMS AND JSP 441 | PI - Procedures - criterion 1-5 PI - Plans - criterion 1-5
11.C.7.c | 11.07.03 | Information Handling: Advise on the rules for the secure storage and transmission of information (in particular protectively marked material, and personal information as defined by the Data Protection Act); account for all portable media devices (including laptops, memory sticks and CDs/DVDs); ensure their users are aware of the regulations. |  | See Specific Unit Tables. ADVICE TO BE GIVEN AS REQURIED IAW AGREED TIMESCALES. | Complies with PI - Procedures - criterions 1-5 PI - Reports - criterions 1-5 PI - Regulations and legislation -criterions 1-5
11.C.7.d | 11.07.04 | Training requirements; The Duties of ihub iAdmin are taught in CN4002 | Nothing additional. | On commencement | PI - Training - criterion 1-5
11.D | 11.08 | WATCHKEEPING REQUIREMENTS
11.D.1 | 11.08.01 | See Section 2: Management & Administration - 02.02.17 (2.D.1)
11.E | 11.09 | UNFORESEEN TASKING (UT)
11.E.1 | 11.09.01 | See Section 2: Management & Administration - 02.02.18 (2.E.1)
11.F | 11.1 | RECORDS AND DELIVERABLES
11.F.1.a | 11.10.01 | Validate the MoD Register of Radio Sites and the Command records of V/UHF Radio Sigs Plan 2004/1 and V/UHF Management Radio RAF Sigs Plan 2016/1 iaw AP600 Chap 8.3. | All submissions to be accurate and submitted within timescales notified in AP600. | REGISTER IS TO BE VALIDATED Annually And TO BE AMENDMENDED WHEN REQUIRED or on any change during the current year. (see specific unit) IAW AP600 | Complies with PI - Authorizations - criterions 1-5
11.F.1.b | 11.10.02 | Provide equipment availability statistics for major equipment; will need to interact with Aquila service Desk and Technicians as directed by the Authority, (i.e. through ERO) in accordance with AP 600. | Return submitted within AP 600 timescales. | STATSTICS TO BE PROVIDED 12 times per year IAW AP600. | Complies with PI - Scheduled maintenance - criterions 1-5
11.F.1.c | 11.10.03 | Certify and authorize tradesmen iaw AP600. | Certification and authorization as required by AP600 for engineering tradesmen employed on the activities above. Records to be immediately available to the Authority and maintained using the RAF F4820 or an alternative acceptable to the Authority. | 1 set per tradesman. RECORDS TO BE PROVIDED TO THE AUTHORITY UPON REQUEST. | PI - Management systems criterion 1-5
11.F.1.d | 11.10.04 | Maintain a record of tradesmen's training, qualifications, experience and colour perception standard. | Records to be maintained iaw AP600 using the RAF Form 4820 or an alternative acceptable to the Authority. Records to be immediately available to the Authority. | 1 set of records per tradesman. RECORDS TO BE MAINTAINED IAW AP600 USING RAF FORM 4820. RECORDS ARE TO BE PROVIDED TO THE AUTHORITY UPON REQUEST. | PI - Management systems criterion 1-5
11.F.1.e | 11.10.05 | Maintain maintenance and modification records iaw AP 600. | Records maintained for all equipment. | One record for each piece of equipment. RECORDS TO BE MAINTAINED AND RECORDED IAW AP600 RECORDS ARE TO BE PROVIDED TO THE AUTHORITY WITHIN 2 WORKING DAYS OF REQUEST. | Complies with PI - Regulations and legislation - criterions 1-5
11.F.1.f | 11.10.06 | Maintain a Corrosion Control Register (CCR) for Ground Radio Installations. | To be maintained iaw AP100E-10. | As required. TO BE MAINTAINED IAW AP100E-10. TO BE PROVIDED TO THE AUTHORITY WITHIN 2 WORKING DAYS OF REQUEST. | Complies with PI - Documentation - criterions 1-5
11.F.1.g | 11.10.07 | Maintain record of work services to allotted buildings. | Nothing additional. | 1 record book covering all sites. WORK SERVICES TO BE RAISED AND RECORDED IMMEDIATILY | PI - Management systems criterion 1-5
11.G |  | EQUIPMENT, MATERIALS AND FACILITIES
11.G.1 | 11.11 | GOVERNMENT FURNISHED EQUIPMENT, MATERIALS & FACILITIES - (GFE & GFM & GFF)
11.G.1.a | 11.11.01 | See Section 2: Management & Administration. GFE = 02.02.30 GFM = 02.02.30 GFF = 02.02.31 GFE = 2.G.1 GFM = 2.G.1 GFF = 2.G.2
11.G.2 | 11.12 | CONTRACTOR FURNISHED EQUIPMENT (CFE & CFM)
11.G.2.a | 11.12.01 | See Section 2: Management & Administration. CFE = 02.02.32 CFM = 02.02.32 (CFE = 2.G.3 CFM = 2.G.3)

## Core Table
REGION ONE SECTION 11 - CIS
iHub Team
| Sgt ISO | Cpl iSA | SAC iSA | C2 | D | E2 | E1 | SZ | FTRS | Contractor | TOTAL
Cosford | 0 | 0 | 0 | [7 empty] | 0 | AL104
Shawbury | 1 | 0 | 0 | [7 empty] | 1
Valley | 0 | 0 | 1 | [7 empty] | 1
DATO Team
| Sgt | Cpl | SAC | C2 | D | E2 | E1 | SZ | FTRS | Contractor
Cosford | [10 empty] | 0
Shawbury | [10 empty] | 0
Valley | [10 empty] | 0
ASTs | COS | SHY | VAL
| YES | YES | YES
The Table above highlights the Stations were RAF personnel will be replaced by contractor staff once HADES is in place ( iHubTeam & DATO TEAM) as part of the A6 manpower relocation review

## COS
Module 3 - Section 11 - RAF Cosford
COMMUNICATIONS INFORMATION SYSTEMS
| Removed | AL60
11.A.5.b | Accommodation is as follows: RAT Cosford workshop and/or office space will be provided.

## SHY
Module 3 - Section 11 - RAF Shawbury
COMMUNICATIONS INFORMATION SYSTEMS
|  | Removed |  |  |  | AL18
| Item No | Requirement | Related Requirement | Contractor Responsibilities Estimated Quantity | Performance Standard | AL 100
11.C.5.a | 11.05.01 | Provide an ISA | To perform the duties of an ISA iaw the local Terms of Reference and as detailed at AP 7004 | DUTIES TO BE CARRIED OUT IAW TORS AND AS DETAILED IN ASP 7004 | Complies with PI - Management systems - criterions 1-5 PI - Personnel - criterions 1-5 | AL79
11.C.5.b | 11.05.02 | Provide an AST role | To provide support for those parts of GRMS that are not covered by Project Marshall. To include but not limited to: installation of vehicle communication equipment, co-ordination of maintenance of the NMRE, assist with the Radio Frequency and Restricted Frequency Lists, assist with the production and maintenance of site restriction maps / drawings / charts including RADHAZ map, assist with the Technical Safeguarding, assist with siting boards, assist with CIS Recovery and maintain a Corrosion Control Register | DUTIES TO BE CARRIED OUT IAW TORS | Complies with PI - Management systems - criterions 1-5 PI - Personnel - criterions 1-5
|  | Removed |  |  |  | AL18

## VAL
Module 3 - Section 11 - RAF Valley
COMMUNICATIONS INFORMATION SYSTEMS
|  | Removed |  |  |  | AL60
| 11.A.5.b | Accommodation is as follows: RAF Valley Office, Workshop, Store Room and Ablutions RAF Valley - 2 offices, workshop, restroom, storeroom and ablutions. RLG Mona - workshop, restroom and ablutions. |  |  |  | AL131
| Item No | Requirement | Related Requirement | Contractor Responsibilities Estimated Quantity | Performance Standard | AL100
11.C.2.m | 11.02.13 | Control and operate the section transport iaw MT regulations. | Nothing additional. | As required. TO BE MAINTAINED IAW WITH MT REGULATIONS | Complies with PI - Scheduled maintenance - criterions 1-5 PI - Management systems criterion 1-5
11.C.2.n | 11.02.14 | Control and maintain minor electrical GSE iaw JAP 100E-10. | Nothing additional. | 93 items of GSE to be maintained iaw JAP 100e-10. ALL U/S ITEMS TO BE REPORTED WITHIN ONE WORKING DAY | Complies with PI - Scheduled maintenance - criterions 1-5
11.C.2.o | 11.02.15 | Maintain and repair headsets. | For guidance regarding the equipment maintained see Table 11-2. | As per Table 11-2. ALL HEADSETS TO BE MAINTAINED SERVICEABLE IAW RELEVANT AIR PUBLICATIONS. | Complies with PI - Scheduled maintenance - criterions 1-5
TABLE 11-1
| The levels of maintenance required for each equipment are defined as follows: |  |  | Level 1 - First line.
|  | Level 2 - Second Line. | Level 3 - Depth A. | Level 4 - Depth B.
|  | Level 5 - Preventive Maintenance. | Level 6 - Corrective Maintenance. | Level 7 - Mods, PWIs, STIs and SIs.
DATA SHEET - RAF Valley
| Ser | Equipment Maintained |  | Level of Maintenance | No Installed | AL131
| 1 | MGRI 23563/1 | Philips Handheld | 1 to 7 | 61
| 2 | MGRI 23564/1 | Philips FM 1100 UHF Vehicle | 1 to 7 | 12
| 3 | FGRI 23564/7 | Philips FM 1100 UHF Desktop | 1 to 7 | 17
| 4 | FGRI 23562/1-F | Philips Base Station 1 Location Remote | 1 to 7 | 2
| 5 | MGRI 23562/2-CC | Philips Base Station 2 Location Remote | 1 to 7 | 1
| 6 | BCU 23563 | Philips Battery Charger | 1 to 7 | 14
| 7 | MGRI 23559/1 | Ascom | 1 to 7 | 14
| 8 | Dipole End | Philips End Fed UHF Antenna | 1, 3, 5, 6 | 2
| 9 | Dipole Folded | Philips Foled Dipole UHF Antenna | 1, 3, 5, 6 | 10
| 10 | 4 PORT UTXC | 4 Port UHF Combiner | 1 to 7 | 2
| 11 | ALGON | Skirted Biconical Aerial | 1, 3, 5, 6 | 2
| 12 | RA 957 | VHF Aerial 2DBI | 1,3,5,6 | 20
| 13 | AN3DH80 | Pye Folded Dipole | 1,3,5,6 | 7
| 14 | PC-3-DC | PC3 Controller | 1 to 7 | 2
| 15 | RA 978 | Antenna UHF | 1,3,5,6 | 27
| 16 | Tower/Fran | 15ft Frangible Tower u/w HRDF | 1,3,5,6 | 3
| 17 | Mast | Abacus 13M Steel Mast | 1 to 7 | 1
| 18 | ALFENS | Low Flying Enquiry System | 1,3,5,7 | 10
| 19 | ET | Electronic Tote | 1,3,5,7 | 14
| 20 | ENTEL | HT 982 | 1 to 7 | 12
| 21 | Tower | 45ft Hybrid Antenna Tower | 1 to 7 | 2
| 22 | ARIP | Equipment rack | 1 to 5 & 7 | 1
DATA SHEET - RLG MONA
| 1 | MGRI 23563/1 | Philips Handheld | 1 to 7 | 2
| 2 | MGRI 23563/3 | Philips Handheld cw Complex Adaptor | 1 to 7 | 1
| 3 | ACO 600 | Aerial C/Over Panel V/UHF | 1 to 7 | 2
| 4 | MGRI 23564/1 | Philips FM 1100 UHF Vehicle | 1 to 7 | 4
| 5 | FGRI 23562/1-F | Philips Base Station 1 Location Remote | 1 to 7 | 1
| 6 | AJE-41 | Biconical Monopole Aerial | 1,3,5,6 | 2
| 7 | BCU 23563 | Philips Battery Charger | 1 to 7 | 1
| Ser | Equipment Maintained |  | Level of Maintenance | No Installed
| 1 | 5820-99-9793486 | TAIT Handheld | 1 to 5 | 71
| 2 | 5820-99-2576813 | TAIT UHF Vehicle | 1 to5 | 16
| 3 | 5820-99-8646980 | TAIT UHF Desktop | 1 to 5 | 8
| 4 | 6130-99-2651708 | TAIT DESKTOP PSU | 1 to 5 | 8
| 5 | 5820-99-6931664 | TAIT Base Station 1 Location Remote | 1 to5 | 2
| 6 | 5820-99-6931664 | TAIT Base Station 2 Location Remote | 1 to 5 | 1
| 7 | 5820-99-3789138 | TAIT UHF Tac Pack | 1 to 5 | 1
| 8 | 6130-99-2199336 | TAIT UHF TAC PACK PSU | 1 to 5 | 1
| 9 | 6130-99-9203154 | TAIT Battery Charger Single Way | 1 to 5 | 9
| 10 | 6130-99-4188504 | TAIT Battery Charger 6 Way | 1 to5 | 13
| 11 | 5920-99-2025689 | VA911 Marine band MRE | 1 to 5 | 2
| 12 | ENTEL | HT 982 | 1 to 7 | 12
| 13 | ARIP | Equipment rack | 1 to 5 & 7 | 1
| 14 | DX502 | VVLP Radio Base Unit (Fire Section) | 1 to 7 | 1
Table 11-2
Headsets Subject To Repair
|  | Sec/Ref | Description | Unit Holding | Annual Arising
|  | 10AH 9535231 | Groundcrew Headset | 45 | 100
|  | 10AH 6369202 | Airlite Headset | 3 | 6
|  | 10AH 7684921 | Bay Use Headset | 6 | 4
|  | 10AH 9702833 | Simulator Use Headset | 6 | 10
|  | 10AH 8063880 | Simulator Use Headset | 15 | 5
|  | 5E 1116728 | Long Lead | 20 | 5
|  | 10AH 0005984 | Jetguard Headset (to replace 10AH 9535231) | 100 | 50