# Ref : Design and Refurbishment of Big Lottery Fund Offices Apex House BIG001-0747

Clarification  Document  2

Upload Date: 8 July 2016

|  | Clarification |
| --- | --- |
| ITT Amendment 1 Contractors should allow in their price for the undertaking of a fully intrusive Refurbishment and Demolition survey of Big Lottery Fund’s demise and any additional areas where it is reasonable to expect that the contractor will to undertake works. The Asbestos report should be undertaken, as a minimum, in accordance with the requirements of the Control of Asbestos Regulations 2012 and prior to commencement of any construction activity. The survey report must be written on the joint behalf of the contractor and Big Lottery Fund so that the Fund can rely on the findings for the future operation and maintenance of the demise. |  |
| ITT Amendment 2 The member of staff referred to in the Design Criteria (Page 12 bullet 1) has Asperger’s Syndrome and requires a working space that minimises distraction and anxiety. The specification for this room is:- - Opaque Glass - Natural Daylight - Zero crosstalk contamination - Lighting as per revised M&E specification attached - Permanent placement 3rd floor (no restriction on temporary duration during the works) - Decorative colour TBA but may differ from the substantive office décor - The room will need to be provided as temporary accommodation elsewhere during the refurbishment of the 3rd floor |  |
| ITT Amendment 3 Supplementary pre construction information Please find attached recently received details of Asbestos Survey carried out on ground and first floors by the landlord. - TES016-132-Apex House-3 Embassy Drive-Edgbaston-Targeted Pre-Refurbishment Survey-Estilo-15 06 2016.pdf - ATH-16-06-0762.pdf |  |
| ITT Amendment 4 - Please find attached revised AECOM Scope of Works, revision A1. Changes highlighted. - Please note: under ‘Lighting and Controls’ section – Quiet Room – refers to Multi Faith Room on the indicative drawings. The requirement for 6k LED Panel 5 (flicker free version) and following design note refers to the Quiet Office on the indicative drawings. |  |
| ITT Amendment 5 Contractors should allow for fitting balancing valves and commissioning sets on each fan coil unit. |  |
| 1 | Question: Tendering contractor requested indicative floor plans showing current position of staff and their departments, to help them understand require re-location during construction. Answer: Team floor plans as attached |
| 2 | Question: Will the control valves for the mechanical systems be PICV, or standards 4 port control valves? Answer: The Landlord is intending to use PICV valve technology rather than 4 port valving in their re-working of the mechanical system |
| 3 | Question: Will the CAT5e data cabling be used in the refurbished spaces? Answer: The existing data cabling is CAT5e it is proposed that CAT5e is the specification moving forward |
| 4 | Question: Are there any requirements for raised desks? Answer: There is a requirement for 11 sit/stand electrically operated desks (as indicatively shown on the attached plans) |
| 5 | Question: What standard of cooking will the kitchen need to support? Answer: There is no requirement for ‘full cooking’ within the kitchens only; the re-heating of food (inc microwaves and toasters), and cold food preparation. |