Derbyshire Community Health Services

ESTATES - NEWHOLME HOSPITAL


[image: image1.png]NHS|

Derbyshire Community

Health Services
NHS Foundation Trust




[image: image3.png]



SPECIFICATION FOR THE DENTAL EQUIPMENT SERVICE CONTRACT

OCTOBER 201[image: image2.png]


7


SPECIFICATION FOR THE DENTAL EQUIPMENT SERVICE CONTRACT

GENERAL CONDITIONS AND PRELIMINARIES

DEFINITION


For the purpose of the Contract the "Employer" shall mean:
OF PARTIES







Derbyshire Community Health Services 






and the Supervising Officer shall mean:






Mr D F Woods 






Estates Officer (Engineering)






Estates Department






Newholme Hospital






Baslow Road






Bakewell






Derbyshire    DE45 1AD






Telephone No:  01629 817922





The Contract Administrator shall mean:






Mr T Gent





Deputy Head of Estates





Estates Department






Newholme Hospital






Baslow Road






Bakewell






Derbyshire    DE45 1AD






Telephone No:  01629 817915





or their designated representative.





The Contract shall be formed on the basis of the NHS 





Conditions of Contract for the Supply of Services and the 





Special Conditions contained within the specification.

DENTAL SERVICE CONTRACT
1.
Scope of Works

The successful contractor will be required to inform the establishment prior to each service visit.  Site addresses, opening times and telephone numbers are to be supplied by the Supervising Officer upon award.

One service visit to be carried out per annum.  This is to take place within one month of the contract commencing.

On the first service visit all items of equipment on the schedule are to have a unique identification number label fixed in a prominent position.  These numbers are to be recorded along with all equipment details such as the make, type, model and serial number.  A copy of this inventory is to be submitted to the Derbyshire Community Health Services Supervising Officer.

Annual Servicing: the Contractor shall submit service sheets to cover all items of equipment, detailing the servicing carried out and reporting the general condition of each item of equipment, signed by a member of the dental surgery staff and submitted to the Derbyshire Community Health Services Supervising Officer after completion.
Ad-hoc Repairs: the Contractor shall submit repair sheets to cover repairs and call-outs to equipment, signed by a member of the dental surgery staff and submitted to the Derbyshire Community Health Services Supervising Officer after completion.
A call out service shall be available for the out-of-hours service, including Public Holidays.  Response times shall be within a range of 2 to 8 hours depending on criticality and consultation with the Supervising Officer.
The Contractor shall allow in the tender price for all 'renewable' items required for each service, such as filters, oils and gaskets etc.

Where repairs or any other remedial work is required other than as called for in this specification, the contractor shall submit a quotation for approval by the Derbyshire Community Health Services Supervising Officer.

The Contractor shall provide an emergency call out service for the equipment covered by this specification and shall inform the Supervising Officer of a telephone number for contact at all times.
All equipment is to be serviced in accordance with the manufacturer’s instructions.  Internal surfaces must be cleaned of accumulated dust to prevent contamination and transmission of infection.  Call out response time shall be within a working day depending on criticality and consultation with the Supervising Officer.  Every effort will be made to keep equipment working until replacement parts are sourced.  This will include the loaning of equipment from the successful Contractor.
The Contractor shall identify obsolete equipment and inform the Derbyshire Community Health Services Supervising Officer.

The two stage filters on the air compressors are to be replaced on the service visit.

The air compressors to be drained of oil on the service visit.

The Contractor shall identify any compressors without two stage filters and submit quotations to supply and fit to the Derbyshire Community Health Services Supervising Officer.

N.R.P.B. Radiological tests are to be carried out by others.

2.
Price
Companies should quote for all expenses for visits to site, materials used and labour necessary to comply with this specification.

Prices must be firm for a period of 1 year from the commencement of the contract.

Prices for subsequent years of the contract may be subject to annual review dependant upon market conditions.  Any increase requested by the company will need to be supported by a detailed explanation and evidence of increased costs, which should be submitted at least 2 months before the anniversary of the contract.  The trust reserves the right to reject any such request and to re-quote the contract.  

The contract is for a 3 year period subject to annual review and satisfactory performance on the part of the company, with an option to extend a further year.

Companies should quote prices on the Offer Schedule.  

The Supervising Officer may, without invalidating the contract, order an addition to and omission from, or other change in the works or the period in which they are carried out, and any such instruction shall be valued by the Supervising Officer on a fair and reasonable basis using relevant prices in the priced specification or other agreed rate between themselves and the company.

3.
Sites and Service Contract Schedule 

See Appendix A.

4.
Pricing Schedule

See Appendix B.

5.
Invoicing Requirements

A purchase order will be issued to cover the service and the order number must be quoted on all invoices.  Works to be invoiced after each inspection with an itemised list of equipment inspected.  Payment will be made within 30 days of the invoice date or receipt of invoice whichever is the later.

6.
Standards

A high level of service is required and the company’s staff will be expected to re-attend on any areas of work that are found to be unsatisfactory.  

All works shall be to the entire satisfaction of the Supervising Officer who shall be:

Mr D Woods

Estates Manager 
Derbyshire Community Health Services Estates

Newholme Hospital

Baslow Road

Bakewell

Derbyshire DE45 1AD

No work shall be permitted without the authority of the Supervising Officer or his nominated deputy.

7.
Audit of Contracts Personnel

The successful Contractor’s Service Personnel will be audited for compliance by the Supervising Officer at the commencement of the Contract.  This will take place thereafter annually.

8.
Statutory Requirements

The company will be expected to meet the full requirements of all associated legislation including:

· Registered HRPB Certified

· Pressure systems and Transportable Gas Containers Regulations 1989

· Health & Safety at Work Act 1974

· Health & Safety arrangements for the Control of Estates Contractors and Estates Personnel – HP&DPCT Safety Guidance Document

· The IEE Wiring Regulations 17th Edition 

The Company will maintain an awareness of current and future aspects of legislation affecting the service and advise the trust of any changes, irrespective of the trust or company’s responsibilities as part of a comprehensive advisory service.

The company is to take note that he should also inform his relevant sub-Contractors who will be involved on this project to ensure they are fully aware of their responsibilities under the regulations.

The contract shall be formed on the basis of the NHS Conditions of Contract for the Supply of Services and the Special Conditions contained within the specification.

9.
Working Arrangements
The companies are advised that they may be working in an operational area and must therefore allow for any inconvenience and disruption to the work, which may occur.

All works will be carried out during normal working hours, ie 08:00 am – 17:00 pm Monday to Friday.

10.
Monitoring of Works
On completion of the works following each visit the company is to forward all paperwork to the Supervising Officer without delay.

11.
Security


The company is to ensure that security of the premises and equipment is maintained at all times.  The company is not to leave site until arrangements have been made to lock up the premises.

Contractor’s staff when on site must wear, at all times, ID badges complete with photograph and company name.  All staff shall report to Reception for signing in and out of the visitor’s book on each visit to site.

The Contractor shall remove any of its staff from the premises where the Trust’s Supervising Officer requests on grounds of efficiency or public interest.

12.
Cleanliness of Work


The company is to ensure that any items that are moved are replaced at the end of each working day to enable staff to carry out their normal duties.  All company materials and equipment to be removed from site at the end of each working day.

13.
Contract Award Criteria


The contract will be awarded on the basis of the most economically advantageous offer judged on price, quality of service, delivery performance and overall cost effectiveness factors.

14.
Fire Precautions


Before any works of maintenance, adaptation or extension to existing buildings are carried out, the Contractor is to discuss his proposals with the Unit General Manager and/or the Senior Officer responsible for the Fire Precautions, to ensure that the extent of any fire hazards in the work are known fully to both the Contractor and the Trust Authority.  The Contractor is to draw the attention of all his workmen to the special vulnerability of Trust patients in the event of fire, and the dangers involved in the careless disposal of matches, cigarettes and tobacco ash, must be passed onto them.

Smoking must not be permitted in roof spaces and the Contractor’s workmen are to be required to strictly confirm to all “NO SMOKING” rules applicable in the specific areas of the Trust.

The Contractor shall take all reasonable precautions to avoid the outbreak of fire on site of the works and the adjacent buildings.

The Contractor shall allow facilities for the Trust Fire Safety Adviser to inspect the site and buildings to ensure that the fire precautions are adequate and that the Contractor shall comply with any reasonable request that the Fire Safety Adviser may make in this connection.

The use of asphalt boilers and similar containers will not be allowed on combustible roofs and floors.  Petrol, diesel, acetylene, propane, butane or similar gas cylinder shall be in store in a properly constructed fireproof store sited not less than 10 metres from the nearest Hospital building.  The store shall be kept locked and shall be signposted appropriately.

Danger no smoking or naked lights
The Contractor shall provide a suitable type of fire extinguisher adjacent to the store and any point where the work necessitates the use of petrol, diesel or gas cylinder.

The Contractor shall allow for all necessary safety precautions when using petrol, diesel, acetylene, propane or similar gases.  In accordance with the highly Flammable Liquids and liquefied Petroleum Gas Regulations 1972 and any relevant Codes of Practice.

All inflammable rubbish or debris shall be disposed of quickly and not allowed to accumulate on site.  Where a fire is made to burn inflammable rubbish or debris the fires must be completely extinguished daily before the Contractors or sub-Contractors employees leave the site.

The Contractor shall be responsible for ensuring that all his Sub-Contractors’ workmen employed on any works within the premises shall know the means of giving alarm in the case of fire which apply to that part of the premises in which they are working:

That on discovery of a fire or suspicion of fire, the alarm is to be given immediately, in the manner prescribed for those premises.

He will also be responsible for ensuring that the above mentioned workmen know the location of the fire fighting equipment provided in that part of the premises in which they are working.

When work necessitates the use of high temperatures sources of ignition, a “hot work permit” shall be obtained from the Maintenance Manager or one of his Deputies, and the Contractor shall provide a suitable portable fire extinguisher, which shall be kept readily available.

Welding and similar operations shall not be executed until all surrounding inflammable materials have been adequately protected and the “hot work permit” has been obtained.

The Contractor shall provide a suitable portable fire extinguisher that shall be kept readily available.

That on discovery of a fire, or suspicion of fire, the alarm is to be given immediately, in the manner prescribed for those premises.
15.
Site Working (Programme)


All site working shall be pre agreed between the Contractor, Supervising Officer and premise users.  Prior to commencement of the works the Contractor shall submit to the Supervising Officer a programme of works clearly identifying his working path and including dates and times he will be at each site.  The Contractor shall ensure his staff are aware of the need to report and sign in and out at sites during his works and inform staff of their whereabouts and the tasks they are performing.  The Contractor and his staff at all times shall wear an identification card displaying his photograph, company name and the wearer’s name and signature.

16.
Permit to Work


Before any works are started a permit to work shall be issued to the Contractor for each particular task he is performing by the Supervising Officer.  The permit to work procedure is detailed below:-


Agreement as To Safe Working Procedures/Permits To Work
a)
Where the operations of a Contractor may put any person at risk, that Contractor must advise the Derbyshire Community Health Services Management and agree safe working procedures, if necessary involving permits to work, and any necessary warning notices.  Equally, the Estates Department accepts its own responsibilities in this regard, but the final decision as to whether or not any Safe Working Procedures need to be agreed will remain at the absolute discretion of Derbyshire Community Health Services Management.

b)
Safe systems at work are the responsibility of the Contractor unless work is being carried out jointly with Derbyshire Community Health Services personnel.  In such cases system of work must be approved by the Derbyshire Community Health Services representative.

c)
Certain operational activities such as confined space working - isolation of plant and equipment - trench work, require a formal system of operation to be adopted.  These activities are best controlled with the aid of a "Permit to Work System".

d)
General Principles - Permits to Work

A Permit to Work system is an essential part of any special safety procedure and therefore, work shall not be carried out in potentially hazardous areas without the issue of a Permit to Work.  Permit to Work systems are not installed to make life difficult for management and employees.  They are there:-


-
to ensure work can proceed safely without risks to health.


-
to ensure workers and other employees are not exposed to hazardous 
conditions.

-
to ensure employees do not cause hazardous conditions for others.


-
to comply with legal requirements.


-
to ensure that fires are not started inadvertently.

This means removing all known hazards as far as possible and controlling any residual hazards by the use of suitable precautions.  Permits to Work are no substitute for standard operating procedures and wherever possible hazards shall be eliminated from routine jobs to allow them to be undertaken without a permit to work.

17.
Notes
a) The occupants of the premises must be notified of any works.

b) Aborted visits i.e. sickness, access problems etc must be reported immediately to the supervising officer and a return visit made within seven working days.

c) Work extra to the contract must be authorised by the supervising officer and a day work sheet submitted for approval.

d) Great care must be taken to ensure all equipment is properly reinstated after completion of servicing and repair.

e) If any appliance is found to have dangerous or potentially dangerous faults, the Supervising Officer must be contacted immediately for a decision on repair or removal.

f) Report all appliance faults to the Supervising Officer at Derbyshire Community Health Services, Estates Department on (01629) 817922.

APPENDIX A

Dental Equipment Sites and Service 
Contract Schedule

Dental Equipment Sites and Service Contract Schedule

	Buxton Health Centre

Bath Road

Buxton

Derbyshire

SK17 6HH

Tel: 01298 79251
	Peak scientific Compressor

Belmont Pro II Chair

Belmont Dental cart Voyager ll

Belmont Dental light 502T

Durr VS300 Suction Machine 

Tridac suction unit

Kodak 2200 X-Ray Machine 
Minerva Mini Dental Unit

SDI Ultramat 2 Amalgamator

Velopex Intra-X X-Ray Developer

Satelec mini LED light cure

	Springs Health Centre

Clowne

Chesterfield

S43 4PL

Tel: 01246 819444


	Belmont Voyager Chair

Belmont Voyager Dental Unit

Belmont Voyager Light Equipment

Cattani 1-1 Oil Free Compressor

Cattani Turbojet 1 Suction Machine
Coltene Coltolux 4 Light Cure

Dentsply SPS Scaler

Kodak 2200 X-Ray Machine

Satelec X Mind 
Pano OPG X-Ray Machine

SDI Ultramat 2 Amalgamator

Velopex Extra-X X-Ray Developer



	Scarsdale NHS Direct

Newbold Road

Chesterfield

Derbyshire

S41 7PF

Tel: 01246 231255
	Bambi 89 Compressor 
Belmont Voyager Chair 
Belmont Voyager Dental Unit

Belmont Voyager Light Equipment

Durr VS300 Suction Machine 

Velopex Extra Developer

Gendex 2000 OPG X-Ray 
SDI Ultramat 2 Amalgamator

Hilux optimax light cure

Satelec Piezo Scaler

X Mind Pano model Sl 4pt-11

	Shirebrook Health Centre – Surgery 1 Patchwork Row

Shirebrook

Mansfield

NG20 8AL

Tel: 01623 742420
	Belmont Voyager 11L Chair

Belmont Voyager Cuspidor

Dentsply Seri-Mate Built-In Scaler

Vivadent Silamat S5 Amalgamator
Trophy Elitys X-Ray Machine

Perfection Plus Light Cure


	Shirebrook Health Centre – Surgery 2
17 Patchwork Row

Shirebrook

Mansfield

NG20 8AL

Tel: 01623 742420
	Belmont 48 Light Equipment 
Belmont NDLC Light Equipment 
Belmont Pro II Chair

Belmont Voyager Dental Unit 

Cattani Turbojet 1 Suction Machine 

Dentsply G90 Built-In Scaler 
Woodpecker Light Cure 

Amalgamator Vibracap S4

Elitys x-ray unit

Compressor DT30


	Shirebrook Health Centre – Surgery 3
17 Patchwork Row

Shirebrook

Mansfield

NG20 8AL

Tel: 01623 742420
	Belmont Voyager Dental Unit

Belmont Pro II Chair

Vivadent Silamat S5 Amalgamator

Suction VSA300 Durr

Trophy Elitys X-Ray Machine

OPG X-Mind  - xray room 

Velopex Extra X Processor xray room

	Fairfield Sure Start

Dental Dept.

Surgery 1

Victoria Park Road

Fairfield

Buxton 

SK17 7PE

Tel: 01298 74895
	Belmont 48 Light Equipment 
Belmont Voyager Chair 
Belmont Voyager Dental Unit 
Cattani Compressor

Cattani TB1 Suction Machine

Dentsply G90 Built-In Scaler
Ivoclar Silamat S5 Amalgamator 

Dentmate ledex WL 070 curing light

Kodac 2000 Elitys trophy X-Ray Machine

Velopex Extra-X X-Ray Developer


	Fairfield Sure Start

Dental Dept.

Surgery 2

Victoria Park Road

Fairfield

Buxton 

SK17 7PE

Tel: 01298 74895
	Belmont 48 Light Equipment 
Belmont Voyager Chair 
Belmont Voyager Dental Unit 
Cattani Compressor

Cattani TB1 Suction Machine

Dentmate ledex WL 070 curing light

Dentsply G90 Built-InScaler 
Ivoclar Silamat S5 Amalgamator 
Kodac 2000 X-Ray Machine 


	Alfreton Primary Care Centre (Parkside Medical)

Surgery 1

Church Street

Alfreton

Derbyshire

DE55 7BD

Tel: 01773 546800

	Belmont NDLU Light Equipment

Belmont Progress Chair

Belmont Voyager Dental Unit

Jun Air Twin Oil Free Compressor

Satelec Piezo Scaler

Satelec X Mind DC X-Ray Machine
Tridac Varident 80 Suction Machine

Vivadent Silamat Plus Amalgamator



	Alfreton Primary Care Centre (Parkside Medical)

Surgery 2

Church Street Alfreton Derbyshire DE55 7BD

Tel: 01773 546800

Invoices for 2nd Surgery should be sent to Refine

	Belmont DCI Cart Dental Unit

Belmont Progress Chair

Daray Bi-Lite Light Equipment

Dentsply Cavitron Scaler

Jun Air Twin Oil Free Compressor

Satelec X Mind DC X-Ray Equipment

Tridac Varident 80 Cuspidor

Tridac Varident 80 Suction Machine



	Coleman Dental Clinic

Surgery 1

Coleman Street

Alvaston

Derby

DE24 8NH

Tel: 01332 861170
	Belmont DCI Cart Dental Unit 
Belmont NDL U504 Light Equipment 
Belmont Progress Chair

Woodpecker  Led curing light

Silamat S5 amalgamator

Satelec Peizo Scaler

Satelec X Mind DC X-Ray Equipment

Tridac Varident 80 Cuspidor

Tridac Varident 80 Suction Machine

Mini Scav (not used)

Bambi dt/30d compressor in stock room

	Coleman Dental Clinic

Surgery 2

Coleman Street

Alvaston

Derby

DE24 8NH

Tel: 01332 861170
	Belmont DCI Cart Dental Unit Belmont NDL U504 Light Equipment Belmont Progress Chair

3m Sepe cap mix

Satelec Peizo Scaler

Tridac Varident 80 Cuspidor

Tridac Varident 80 Suction Machine

New Xray on order

Woodpecker LED-B Light Cure

	Ilkeston Community Hospital Surgery 1

Dental Dept.

Heanor Road

Ilkeston

Derbyshire

DE7 8LN

Tel: 01159 305522
	Adec 2541 Dental Unit

Belmont Voyager Chair

Cattani Turbo Jet 2 Suction Machine 
Daray Bi-Lite Light Equipment 
Demitron VCL300 Light Cure

Oil Single Compressor

Satelec SP Neutron Scaler

Tridac CS904 Cuspidor

Villa System Explor-X HFX-Ray Equipment

Vivadent Silamat Plus Amalgamator


	Ilkeston Community Hospital Surgery 2

Dental Dept.

Heanor Road

Ilkeston

Derbyshire

DE7 8LN

Tel: 01159 305522
	Adec 2542 Dental Unit

Bambi 75/500 Compressor (Roof Space)

Belmont Bel 7 Chair

Cattani Turbo Jet 2 Suction Machine

Daray Bi-Lite Light Equipment
Davis Curelux Light Cure

Medivance Intra-X X-Ray Developer

Satelec SP Neutron Scaler

Tridac CS904 Cuspidor

Villa Medical Explor-X X-Ray Equipment

Vivadent Silamat Plus Amalgamator


	Long Eaton Health Centre Surgery 1

Midland Street

Long Eaton

Notts

NG10 1NY

Tel: 01158554000
	Jun air compressor

Belmont DCI Cart Dental Unit Belmont NDL Light Equipment 

Belmont Progress Chair Dentsply Cavitron SPS Scaler 
Woodpecker Light Cure 

Medivance X-Ray Developer
Satelec X Mind DC X-Ray Equipment
Cattani Aspi-jet
Vivadent Silamat S5 Amalgamator

Cattani Scavenger


	Mill Hill Dental Clinic

Surgery 1

2 Mill Hill Road

Derby

DE3 6SF

Tel: 01332 364540
	Voyager II
Belmont Bel 7 Chair
Daray Bi-Lite Light Equipment
CU 100A light cure
Tridac Varident 80 Cuspidor
Villa Medical Endos Xray Machine
Vivadent Silamat S5 Amalgamator

	Mill Hill Dental Clinic

Surgery 2

2 Mill Hill Road

Derby

DE3 6SF

Tel: 01332 364540
	Adec OO44 Cart Dental Unit

Belmont NDL Light Equipment

Belmont Progress Chair

Tridac Varident 80 Cuspidor

Vivadent Silamat Plus Amalgamator

	Mill Hill Dental Clinic

Surgery 3

2 Mill Hill Road

Derby

DE3 6SF

Tel: 01332 364540
	Adec OO44 Cart Dental Unit

Belmont Bel 7 Chair

Daray MK II Light Equipment
Tridac Varident 80 Cuspidor

Vivadent Silamat S5 Amalgamator

	Swadlincote Health Centre Surgery 1

Civic Way

Swadlincote Derbyshire

DE11 0AE

Tel: 01283 818000
	Belmont NDL Light Equipment

Belmont Progress Chair
Belmont Voyager Dental Unit

Jun Air Compressor

Satelec X Mind X-Ray Equipment

Tridac Varident 80 Suction Machine

Woodpecker Light Cure

	Derby City Hospital
Childrens Dept.
Uttoxeter Road

Derby

DE22 3NE

Tel: 01332 340131
	Belmont DCI Cart Dental Unit (Spare unit)

Belmont Voyager Cart Dental Unit 

Amalgamator Silamat (Paeds)

Belmont Clesta 11 dental cart (Adult) 

Cavitron Scaler (Adult list)

Amalgamators Satelec(Adults)

	@ Wheatbridge
Surgery 1
30 Wheatbridge Road

Chesterfield

S4 2AB

Tel: 01246 223350
	Belmont Clesta Dental Unit

Belmont Pro II Chair

Perfection Plus CU100R
Dentsply G90 Built-In Scaler Durr VS300S Suction Machine Faro EDI Light Equipment

Gendex Denoptics Quad 4 X-Ray Developer

Gendex Expert DC X-Ray Machine

Metasys Compressor

Unodent Luna Tec Amalgamator

	@ Wheatbridge
Surgery 2
30 Wheatbridge Road

Chesterfield

S4 2AB

Tel: 01246 223350
	Belmont Clesta Chair

Belmont Clesta Dental Unit 
Faro EDI Light equipment 

Dentsply G90 Built-In Scaler 
Durr VS300 Suction Machine 
Gendex Expert X-Ray Machine  

Woodpecker LED – B Light Cure 

Metasys Compressor

SDI Ultramat 2 Amalgamator

	@ Wheatbridge
Surgery 3
30 Wheatbridge Road

Chesterfield

S4 2AB

Tel: 01246 223350
	Belmont Clesta Chair 

Belmont Clesta Dental Unit  

Faro EDI Light equipment

Dentsply G90 Built-In Scaler 
Durr VS300 Suction Machine
Gendex Expert X-Ray Machine  

Perfection Plus CU100A

Metasys Compressor

SDI Ultramat 2 Amalgamator

	@ Wheatbridge
Surgery 4
30 Wheatbridge Road

Chesterfield

S4 2AB

Tel: 01246 223350
	Belmont Clesta Chair 

Belmont Clesta Dental Unit  

Faro EDI Light equipment

Dentsply G90 Built-In Scaler Durr VS300 Suction Machine Gendex Expert X-Ray Machine  

Perfection Plus CU100A

Metasys Compressor

SDI Ultramat 2 Amalgamator

	Dental Clinic

Whitworth Hospital

330 bakewell road

Matlock

DE4 2JD

Tel. 01629 580211
	Ash Coolbeam Light Equipment

RA scavenger – Cattani

Cattani compressor

Belmont 037 Chair

Coltene Coltolux 3 Light Cure

Phot-X II Belmont intra oral

Medivance Intra-X X-Ray Developer 

Belmont Voyager II dental cart

S.D.I Ultramat 2 Amalgamator

Durr dental suction unit


	@ Wheatbridge
Surgery 5
30 Wheatbridge Road

Chesterfield

S4 2AB

Tel: 01246 223350
	Belmont Clesta Chair

Belmont Clesta Dental Unit  

Faro EDI Light equipment

Dentsply G90 Built-In Scaler 
Durr VS300 Suction Machine 
Gendex Expert X-Ray Machine 

Perfection Plus CU100A

Metasys Compressor

	Dental Access Centre

Surgery 1

10 Nelson Street

Off London Road

Leicester

LE1 7BA

Tel: 0116 2957695

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Glenvale Day Unit

Bradgate Mental Health Unit

Groby Road

Leicester

LE3 9EJ

Tel: 01162255398

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Hinckley Dental Clinic

Hinckley Health Centre

Hill Street

Hinckley

Leicestershire

LE10 1DS

Tel: 01455 441843
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Leicester Royal Infirmary GA Suite

The Dental Space
Level 4

Balmoral Building
Infirmary Close
Leicester

LE1 5WW


	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Loughborough Dental Clinic
Surgery 1
Loughborough Hospital

Epinal Way

Loughborough

Leicestershire 

LE11 5JY

Tel: 01509 564417
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Loughborough Dental Clinic
Surgery 2
Loughborough Hospital

Epinal Way

Loughborough

Leicestershire 

LE11 5JY

Tel: 01509 564417

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Loughborough Dental Clinic
Store Room
Loughborough Hospital

Epinal Way

Loughborough

Leicestershire 

LE11 5JY

Tel: 01509 564417
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Melton Dental Clinic

Melton Mowbray Hospital

Dee Close

Off Thorpe Road

Melton Mowbray

Leicestershire

LE13 1SJ

Tel: 01664 854919
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Merlyn Vaz Health & Social Care Centre
Surgery 1
Dental Clinic

Spinny Hill Road

Leicester

LE5 3GH

Tel: 0116 2943040
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Merlyn Vaz Health & Social Care Centre
Surgery 2
Dental Clinic

Spinny Hill Road

Leicester

LE5 3GH

Tel: 0116 2943040
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Merlyn Vaz Health & Social Care Centre
Surgery 3
Dental Clinic

Spinny Hill Road

Leicester

LE5 3GH

Tel: 0116 2943040
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Merlyn Vaz Health & Social Care Centre
Surgery 4
Dental Clinic

Spinny Hill Road

Leicester

LE5 3GH

Tel: 0116 2943040
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Merlyn Vaz Health & Social Care Centre
X-Ray Room
Dental Clinic

Spinny Hill Road

Leicester

LE5 3GH

Tel: 0116 2943040
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Merlyn Vaz Health & Social Care Centre
Compressor Room
Dental Clinic

Spinny Hill Road

Leicester

LE5 3GH

Tel: 0116 2943040

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
Surgery 1
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
Surgery 2
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
Surgery 3
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
Surgery 4
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
Surgery 6
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106
	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
X-Ray Room
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required


	Westcotes Dental Clinic
Compressor Room
Westcotes Health Centre

Fosse Road South

Leicester 

LE3 0LP

Tel: 0116 2953106

	Site ceased to be managed by DCHS e/o November2017
Repair Cover only required



APPENDIX B
Dental Equipment Pricing Schedule
PRICES
	Location of Equipment


	Cost per Annum/per Site £

	Buxton Health Centre
	

	Springs Health Centre
	

	Scarsdale NHS Direct
	

	Shirebrook Health Centre
	

	Alfreton Primary Care
	

	Coleman Dental Clinic
	

	Ilkeston Community Hospital
	

	Long Eaton Health Centre
	

	Mill Hill Dental Clinic
	

	Derby City Hospital
	

	Fairfield Sure Start
	

	Whitworth Hospital
	

	@ Wheatbridge
	

	Dental Access Centre 
	N/A

	Glendale Day Unit
	N/A

	Hinckley Dental Clinic
	N/A

	Leicester Royal Infirmary
	N/A

	Loughborough Dental Clinic 
	N/A

	Melton Mowbray Dental Clinic
	N/A

	Merlyn Vaz
	N/A

	Westcotes Dental Clinic
	N/A

	Total cost per annum
	

	
	


Contract period = 3 years with a view to extend for a further 2 years.
Call Out Charges below only applicable outside the Tender Specification.

During normal office hours

- 
Call Out Charge 
£







Hourly Rate

£

Outside normal office hours
-
Call Out Charge
£







Hourly Rate

£

Transport/Mileage 


-
Charge per mile 
£
No. of Engineers covering our area =
Derbyshire Community Health Services


is responsible for providing NHS Services in the Derbyshire County area and is hosted by Derbyshire County Primary Care Trust.











PAGE  
2
DFW/MB/F/DentalEquipmentServiceContractSpec Updated 10-04-17

