## Sheet1
CLARIFICATION LOG
Tender: | Provision of 60-65 kW Solar Panel System at TR20 8PL
Tender Reference: | GGHRDI-002
Published Date: | 2023-10-17
Version number: | 0.3
Number | Clarification | Response | Reply date
1 | Please advise if it is possible to undertake a site visit at all as there are a number of site-specific variables that affect the design, specification, price & estimated output of a solar PV system? | Yes. Please contact nicola@moorvue.com to arrange a visit. However, it is worth noting that the building hasn't yet been built so very little to see. | 2023-10-24
2 | Roof width 18.288m- is this the width of the building? | Yes | 2023-10-24
3 | Roof construction - is this metal , corrugated ? | Roof fibre cement, ridge to be closed. | 2023-10-24
4 | Electricity consumption - is this all daytime consumption? | Mostly daytime. But some will be used at night for freezers. | 2023-10-24
5 | Is electricity 3 phase? | Yes | 2023-10-24
6 | Will there be a consumer board in the agricultural building ? | Yes | 2023-10-24
7 | When will the building construction be completed? | By 31 July 2024 but possibly sooner (subject to tender) | 2023-10-24
8 | Would we be able to utilise any existing scaffolding already in place? | It is not envisaged that scaffolding will be used for construction of the building. | 2023-10-24
9 | Can you confirm direction of the half roof to be use | 150 degrees SE | 2023-10-25
10 | Is width of 18.288m of one side or whole building – In case this is for the complete building only half can be used | Yes the whole building is 18.288 wide so it will not be half of this as the roof is at 15 degree pitch so the roof could be about 12mts each side | 2023-10-25
11 | Can you provide building drawings? CAD/pdf | See attached | 2023-10-25
12 | Can you confirm the size of cable and breaker for connecting the inverter to electrical system | This could possibly depend on the size of the solar panel kit, the main electric board is no more than 40mts away from the new building. | 2023-10-25
Clarifications will be published against the Contract Notice on Contracts Finder.
If interested in tendering for this project please ensure you add a "watch this notice" for alerts as from time to time additional information or clarifications may be published related to this tender.
It will be the responsibility of Bidders to ensure they are aware of all published clarifications and ensure that their bid has taken these into account.
In the event of any queries please contact: jackie@jackiegeorge.co.uk