

www.gov.uk/naturalengland

Request for Quotation

1. **Replace Short Drove Dyke bridge and (2) Replace Caldecote Dyke bridge at Holme Fen NNR**

You are invited to submit a quotation for the requirement described in the specification below.

Please confirm, by email, receipt of these documents and whether you intend to submit a quote.

Your response should be returned to the following email address by: 12 August 2022

Email: katy.smith@naturalengland.org.uk

Date: 12 August 2022

Time: 12:00 BST

Ensure you state the reference number and ‘Final Submission’ in the subject field to make it clear that it is your response.

**Contact Details and Timeline**

**Katy Smith** will be your contact for any questions linked to the content of the quote pack or the process. Please submit any questions by email and note that, unless commercially sensitive, both the question and the response will be circulated to all tenderers.

|  |  |
| --- | --- |
| Action | Date |
| Date of issue of RFQ | [22/7/2022] at [12:00 BST] |
| Deadline for clarifications questions | [15/08/2022] at 12:00 BST |
| Deadline for receipt of Quotation | 12/8/2022 at 12:00 BST |
| Intended date of Contract Award | 19/8/2022 |
| Intended Contract Start Date | ASAP before November |
| Intended Delivery Date / Contract Duration | ASAP before November |

### Glossary

Unless the context otherwise requires the following words and expressions used within this Request for Quotation shall have the following meanings (to be interpreted in the singular or plural as the context requires):

|  |  |
| --- | --- |
| “Authority” | Means the Department for Environment, Food and Rural Affairs acting as part of Natural England |
| “RFQ” | Means this Request for Quotation and all related documents published by the Authority and made available to suppliers |
| “Contract” | Means the contract to be entered into by the Authority and the successful supplier. |

### 

### Conditions applying to the RFQ

You should examine your response to the RFQ and related documents ensuring it is complete prior to submitting your completed quotation.

Your quotation must contain sufficient information to enable the Authority to evaluate it fairly and effectively. You should ensure that you have prepared your quotation fully and accurately and that prices quoted are arithmetically correct for the units stated.

The supplier by submitting a quotation is deemed to accept the terms and conditions in the RFQ. Failure to comply with the instructions set out in the RTQ may result in the supplier’s exclusion from this procurement.

### Acceptance of Quotations

By issuing this RFQ the Authority does not bind itself to accept any quotation and reserves the right not to award a contract to any supplier who submits a quotation.

#### Costs

The Authority will not reimburse you for any costs and expenses which you incur preparing and submitting your quotation, even if the Authority amends or terminates the procurement process.

#### Mandatory Requirements

The RFQ includes mandatory requirements and, if you do not comply with them, your quotation will not be evaluated. All mandatory requirements are set out in Bravo.

#### Clarifications

The Authority reserves the right to discuss, confidentially, any aspect of your quotation with you prior to any award of Contract to clarify matters.

#### Amendments

The Authority may amend the RFQ at any time prior to the deadline for receipt. If it amends the RFQ the Authority will notify you in writing and may extend the deadline for receipt in order to give you a reasonable time in which to take the amendment into account.

#### Conditions of Contract

Please note that the terms and conditions that will apply to this contract can be viewed on our internet page [www.gov.uk/government/organisations/natural-england/about/procurement](http://www.gov.uk/government/organisations/natural-england/about/procurement). These will be included in any contract awarded as a result of this RFQ process. The Authority will not accept any material changes to these terms and conditions proposed by a supplier.

#### Specification

1. Caldecote Dyke Bridge:

This bridge is to be removed and replaced completely, in the same location. The new bridge needs to be approx. 3.6m width (50cm wider than the existing bridge) and approx. 9.3m length. It requires hand rails for members of the public. It needs to be able to take at least a 14 ton digger. The width of the dyke at water level is approx. 4.9m. It is not known what foundations are in place; the supplier will need to investigate this to inform their quotation preparation. Major foundation works will not be suitable for the site. Materials should blend into the environment and where applicable [Government Timber Policy](https://www.gov.uk/government/publications/timber-procurement-advice-note-tpan-comply-with-tpp) and Government [Sustainable Buying Standards](https://www.gov.uk/government/publications/sustainable-procurement-gbs-for-construction-projects) must be adhered to.



*Image: Existing Caldecote Dyke bridge.*

1. Short Drove Dyke Bridge:

This bridge is to be removed and replaced with an earth and pipe culvert. The culvert should be 60cm or more with revetement/edging to the culvert to support the edges. A volume of clay will need to be supplied to create the foundation. Culvert must be a minimum of 3.5m wide and approx. 4.2m span. It must take up to a 14 ton digger. It does not require handrails. Materials should blend into the environment and where applicable [Government Timber Policy](https://www.gov.uk/government/publications/timber-procurement-advice-note-tpan-comply-with-tpp) and Government [Sustainable Buying Standards](https://www.gov.uk/government/publications/sustainable-procurement-gbs-for-construction-projects) must be adhered to.




*Image: Existing Short Drove Dyke bridge.*

Site information

The site is a SSSI and the ground is particularly sensitive to damage as it is soft peat. The work must be carried out in a low-impact way, with tracked machines or low ground pressure ATVs. It is anticipated this work will be completed in the window of present – November when the site is ‘relatively’ dry. Appropriate biosecurity measures such as cleaning machinery must be put in place. Access for any machinery is limited and will need to be agreed ahead of works.

Location

Holme Fen NNR is located just east of Holme village, south of Peterborough. The map below shows the approximate locations of the two bridges. The dark blue line is the Holme Lode road (accessed via the northern of the two level crossings at Holme village). Light blue marks the pedestrian access routes.



Other information:

A written outline of how the works will be carried out in line with the guidance above and risk assessments will be required from the contractor before any work takes place.

The NNR team will:

* Provide up to date site risk assessment, site hazards map and emergency plan.
* Support with necessary path closures and health and safety signage if required and on prior agreement with contractor.

We hope that the above provides adequate information for a quote. For any questions or to arrange a site visit to assess works please call Katy Smith on 07920 072006.

We require any contractors completing this work to be able to adhere to CDM regulations and supply the necessary paperwork associated with this – i.e. construction phase plan etc.

We recommend a site visit to obtain more accurate measurements of ditch spans/depths etc.

Prices will remain fixed for the duration of the contract award period. We may at our sole discretion extend this contract to include related or further work. Any extension shall be agreed in advance of any work commencing and may be subject to further competition.

**Prices**

Prices must be submitted in £ sterling, inclusive of VAT. Please separate out and number the quotes for each bridge.

**Quotation Submission**

We will award this contract in line with the most economically advantageous tender (MEAT) according to the following award criteria:

Price: 50%

Quality: 50%

The following quality criteria are weighted in accordance with the importance and relevance

attached to each one:

|  |  |  |
| --- | --- | --- |
| **Criteria** | Weighting (%) | **To include:** |
| Experience of similar works | 20 | * Examples of relevant work |
| Methodology | 60 | Please submit outline method of how you propose to deliver the services. To include:   * Design * How you will work to allow for the sensitive ground conditions and habitat * Availability/timings |
| H&S | 20 | * Method statement to show how the work will be carried out in a safe manner and how H&S risks will be managed |

|  |  |
| --- | --- |
| **Score** | **Justification** |
| For a score of hundred (100): | Excellent - Response is completely relevant and excellent overall.  The response is comprehensive, unambiguous and demonstrates a thorough understanding of the requirement and provides details of how the requirement will be met in full. |
| For a score of seventy (70): | Good - Response is relevant and good.  The response demonstrates a good understanding and provides details on how the requirements will be fulfilled. |
| For a score of fifty (50): | Acceptable - Response is relevant and acceptable.  The response provides sufficient evidence to fulfil basic requirements. |
| For a score of twenty (20): | Poor - Response is partially relevant and/or poor.  The response addresses some elements of the requirements but contains insufficient / limited detail or explanation to demonstrate how the requirement will be fulfilled. |
| For a score of zero (0): | Unacceptable - Nil or inadequate response.  Fails to demonstrate an ability to meet the requirement. |

**Contract Management**

This contract shall be managed on behalf of the Authority by Katy Smith, [katy.smith@naturalengland.org.uk](mailto:katy.smith@naturalengland.org.uk), tel: 07920 072006.

We will raise purchase orders to cover the cost of the services and will issue to the awarded supplier following contract award.

### Disclosure

All Central Government Departments, their Executive Agencies and Non Departmental Public Bodies are subject to control and reporting within Government. In particular, they report to the Cabinet Office and HM Treasury for all expenditure. Further the Cabinet Office has a cross-Government role delivering overall Government policy on public procurement, including ensuring value for money and related aspects of good procurement practice.

For these purposes, the Authority may disclose within Government any details contained in your quotation. The information will not be disclosed outside Government during the procurement.

In addition, the Authority is subject to the Freedom of Information Act 2000 and the Environmental Information Regulations 2004, which provide a public right of access to information held by public bodies. In accordance with these two statutes, the Authority may be required to disclose information contained in your quotation to any person who submits a request for information pursuant to those statutes.

By submitting a quotation you consent to these terms as part of the procurement.

### Disclaimers

Whilst the information in this RFQ and any supporting information referred to herein or provided to you by the Authority have been prepared in good faith the Authority does not warrant that this information is comprehensive or that it has been independently verified.

The Authority does not:

* make any representation or warranty (express or implied) as to the accuracy, reasonableness or completeness of the RFQ;
* accept any liability for the information contained in the RFQ or for the fairness, accuracy or completeness of that information; or
* accept any liability for any loss or damage (other than in respect of fraudulent misrepresentation or any other liability which cannot lawfully be excluded) arising as a result of reliance on such information or any subsequent communication.

Any supplier considering entering into contractual relationships with the Authority following receipt of the RFQ should make its own investigations and independent assessment of the Authority and its requirements for the goods and/or services and should seek its own professional financial and legal advice.

**Protection of Personal Data**

In order to comply with the General Data Protection Regulations 2018 the contractor must agree to the following:

* You must only process any personal data in strict accordance with instructions from the Authority
* You must ensure that all the personal data that we disclose to you or you collect on our behalf under this agreement are kept confidential.
* You must take reasonable steps to ensure the reliability of employees who have access to personal data.
* Only employees who may be required to assist in meeting the obligations under this agreement may have access to the personal data.
* Any disclosure of personal data must be made in confidence and extend only so far as that which is specifically necessary for the purposes of this agreement.
* You must ensure that there are appropriate security measures in place to safeguard against any unauthorised access or unlawful processing or accidental loss, destruction or damage or disclosure of the personal data.
* On termination of this agreement, for whatever reason, the personal data must be returned to us promptly and safely, together with all copies in your possession or control.

**General Data Protection Regulations 2018**

For the purposes of the Regulations the Authority is the data processor.

The personal information that we have asked you provide on individuals (data subjects) that will be working for you on this contract will be used in compiling the tender list and in assessing your offer. If you are unsuccessful the information will be **held and destroyed within two years** of the award of contracts. If you are awarded a contract it will be retained for the duration of the contract and destroyed within **seven years** of the contract’s expiry.

We may monitor the performance of the individuals during the execution of the contract, and the results of our monitoring, together with the information that you have provided, will be used in determining what work is allocated under the contract, and in any renewal of the contract or in the award of future contracts of a similar nature. The information will not be disclosed to anyone outside the Authority without the consent of the data subject, unless the Authority is required by law to make such disclosures.