## Summary
Property: | Tender Return £
Drains & Tree works | 2000
1 USR | 100
2 USR | 100
3 USR | 100
4 USR | 100
5 USR | 100
6 USR | 100
GARAGES | 100
36 USR | 125
34 USR | 125
33 USR | 125
32 USR | 125
31 USR | 125
30 USR | 125
29 USR | 125
SUB TOTAL: | 3575
VAT: | 715
TOTAL COSTS: | 4290
BUDGET
CONTINGENCY

## Drains & Trees
| Roofs - USR, Pirbright, woking, GU24 0NB |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | All costs associated with Prelims & OHP. |  | 0
1 B | All costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
Drainage Works
Accept quotation to undertake all drainage repairs from Dyno Rod Ltd as attached for the following properties; Contact details for Dyro Rod are: Doug Milson Tel 01189 886889 Mob 07769 540613 email doug@tvrdyno.co.uk.
1 D | USR 1, 3, 4, 5, 6, 8, 9, 10, 11 & 12 |  | 0
1 E | USR 14, 15, 17, 18, 20, 21 & 22 |  | 0
1 F | USR 23, 25, 27, 29, 30 |  | 0
1 G | Allow for supervison and co-ordination of drainage works, including liasing with tenants as necessary to access properties. |  | 0
1 H | Allow for all necessaary grounds works associated with the drainage works which are not coverd by the accepted quotation; including making good ground levels, laying grass seed and watering during a 2 week period following. |  | 0
0
Tree Works
1 I | Obtain quotation from Arboricultural Association Approved sub-contractor (www.trees.org.uk) to undertake all High Priority indicated works on attached Tree Survey Report. |  | 0
1 J | Allow for supervison and co-ordination of arboricultural works, including liasing with tenants as necessary to access front and rear gardens. |  | 0
1 K | Reduce height and shape by 30% T99 to rear of 5 USR. |  | 0
1 L | Allow for removal of, including killing stump with herbascide, T4 at the rear of 36 USR. |  | 0
1 M | Kill off climbing vegetation to front pedestrian entrance gate at 35 USR. |  | 0
1 N | Allow for removal of, including killing stumps with herbascide, T16 at the rear of 31 USR. |  | 0
1 O | Allow for removal of, including killing stumps and climbing vegetation with herbascide, T33 at the front of 23 USR. |  | 0
0
ASBESTOS SURVEY
1 I | Obtain a Refurbishment and Demolition Asbestos Survey to cover all external works prior to undertaking any; provide an electronic copy of the report. |  | 0
CONTINGENCY
1 P | Allow PROVISIONAL SUM of £2,000.00 for contingency for use as direct by C.A. |  | 2000
2000
| TOTAL |  | 2000
All prices must be firm and fixed.
All prices are exclusive of VAT

## 1
| 1 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all UPVC gutters and down pipes; test and seal all joints with clear silicone mastic; allow for renewal of all missing or damaged brackets and fixings as necessary. |  | 0
1 H | Prepare and apply two full coats of gloss paint, matching existing colour, to all timber surfaces including fascia boards, entrance canopy, etc. |  | 0
0
CONTINGENCY
1 J | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## 2
| 2 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all UPVC gutters and down pipes; test and seal all joints with clear silicone mastic; allow for renewal of all missing or damaged brackets and fixings as necessary. |  | 0
0
CONTINGENCY
1 H | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## 5
| 5 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all UPVC gutters and down pipes; test and seal all joints with clear silicone mastic; allow for renewal of all missing or damaged brackets and fixings as necessary. |  | 0
0
CONTINGENCY
1 H | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## 3
| 3 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all UPVC gutters and down pipes; test and seal all joints with clear silicone mastic; allow for renewal of all missing or damaged brackets and fixings as necessary. |  | 0
0
CONTINGENCY
1 H | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## 4
| 4 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all UPVC gutters and down pipes; test and seal all joints with clear silicone mastic; allow for renewal of missing or damaged brackets and fixings as necessary. |  | 0
1 H | Prepare and apply two full coats of gloss paint, matching existing colour, to all timber surfaces including fascia boards, soffits etc. |  | 0
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete rear doorway step; allow for applying according to manufacturers specified conditions. |  | 0
0
CONTINGENCY
1 L | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## 6
| 6 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level for guttering / fascia works. |  | 0
1 E | Allow for suitable tower scaffold platform to chimney along gable wall for inspection and works. |  | 0
1 F | Allow for the use of roof ladders to enable ridge inspection from eaves, where suitably deemed safe. |  | 0
1 G | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 H | Clear out all UPVC gutters and down pipes; test and seal all joints with clear silicone mastic; allow for renewal of all missing or damaged brackets and fixings as necessary. |  | 0
1 I | Renew pointing to chimney where worn away with mortar mixture softer than surrounding material. | 2 m2 | 0
0
CONTINGENCY
1 J | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## Garages
| Garages USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Allow for the use of ladders to access roof level to enable inspection and subsequent wokrs, where suitably safe. |  | 0
1 E | Inspect thoroughly all roof coverings, flashings etc; Photograph general area and identified defects and report to C.A. |  | 0
1 F | Remove and dispose of all loose debris from roof coverings. |  | 0
1 G | Cut off padlocks to all garage units and provice access for inspection by C.A.; provide new padlock with 2 Nr keys each for all garages units. |  | 0
0
CONTINGENCY
1 H | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 100
All prices must be firm and fixed.
All prices are exclusive of VAT

## 36
| 36 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 L | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 M | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 N | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
25
CONTINGENCY
1 O | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT

## 34
| 34 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level and to verge along gable end. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Remove all loose material and renew mortar to verge. |  | 0
1 J | Renew pointing to gable wall at upper corner near to Finlock guttering with mortar mixture softer than surrounding material. | 2 m2 | 0
1 K | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 L | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 M | Provide and insert galvanised mild steel lintel with zinc coating to support single external leaf brickwork above window openings; include removal of brickwork either side of opening at least 150 mm width; provide temporary prop support; refit brickwork; allow for new bricks to match existing, if necessary. Front RHS ground Floor - approx 2.2 M length Rear LHS ground floor - approx 2.2 M length Gable first floor - approx 1.2 M length | 3 Nr | 0
1 N | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 O | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 P | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 Q | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
25
CONTINGENCY
1 R | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT

## 33
| 33 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 L | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 M | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 N | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
25
CONTINGENCY
1 O | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT

## 32
| 32 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 L | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 M | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 N | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
25
CONTINGENCY
1 O | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT

## 31
| 31 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Provide and insert galvanised mild steel lintel with zinc coating to support single external leaf brickwork above window openings; include removal of brickwork either side of opening at least 150 mm width; provide temporary prop support; refit brickwork; allow for new bricks to match existing, if necessary. Front LHS ground Floor - approx 2.2 M length Front LHS ground floor - approx 1.2 M length Gable first floor - approx 1.2 M length | 3 Nr | 0
1 L | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 M | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 N | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 O | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
25
CONTINGENCY
1 P | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT

## 30
| 30 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 L | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 M | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 N | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
1 O | Replace plastic ventilation cover for extract on gable wall at first floor level; allow for access via ladder, if deemed safe. |  | 0
1 P | Remove and dispose timber gate; provide and fit new, pressure treated, plane finished, softwood timber, palisade style, gate; include 2 stainless steel hinges and catch. |  | 0
25
CONTINGENCY
7 H | Allow PROVISIONAL SUM of £100.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT

## 29
| 29 USR, Pirbright, woking, GU24 0NB - Maintenance Works |  | Bidders must ensure they complete all blue highlighted cells. No further amendments are to be made to this pricing schedule
BIDDER NAME
Item Number | Description | Quantity | Total Price | Notes & Comments
Prelims, OHP
1 A | Allow for all costs associated with Prelims & OHP. |  | 0
1 B | Allow for all costs associated with Health & Safety. |  | 0
1 C | Include for own welfare facility for the duration of the works. |  | 0
0
External Works
1 D | Provide tower scaffold platofrm to eaves level. |  | 0
1 E | Allow for the use of roof ladders to enable ridge and chimney inspections and subsequent works, where suitably deemed safe. |  | 0
1 F | Inspect thoroughly all roof coverings, chimneys, flashings, copings, verges etc; Photograph all main elevations and identified defects and report to C.A. |  | 0
1 G | Clear out all concrete Finlock guttering as well as round down pipes; visually inspect bitumen lining and test all guttering for leakages; photograph overall condition as well as any defects and report to C.A. |  | 0
1 H | Allow the Provisonal Sum of £25.00 for sealing all leaking joints with a cold applied liquid bitumen; re-test for leaks following application. |  | 25 | Provisional Sum
1 I | Over-clad existing timber fascia to single storey extension with 9mm UPVC capping, including drip detail to lower edge, colour white; allow for all necessary fixings and suitable access platform. |  | 0
1 J | Allow to renew black half round UPVC guttering and brackets to single story extension. |  | 0
1 K | Prepare and apply two full coats of exernal quality metal paint, gloss finish, matching existing colour (white), to all portch metal surfaces including porch support brackets etc. |  | 0
1 L | Prepare and apply two full coats of external quality paint, gloss finish, matching existing colour (white), to all timber surfaces including portch support brackets, fascia, soffit etc. |  | 0
1 M | Prepare and apply two full coats of external bitumous paint, colour black, to 3 no courses of engineering brick at ground level etc. |  | 0
1 N | Prepare and apply 2 no coats of Watco Safety grip 'Cold Cure' paint, colour light grey, to complete front doorway step; allow for applying according to manufacturers specified conditions. |  | 0
1 O |  |  | 0
25
CONTINGENCY
1 P | Allow PROVISIONAL SUM of £250.00 for contingency for use as direct by C.A. |  | 100 | Provisional Sum
100
| TOTAL |  | 125
All prices must be firm and fixed.
All prices are exclusive of VAT