Cesspits

Annual costs

Site No 	See below		
Site Name: See below
Properties served: See below

| Site No | Site Name | Property served | Frequency | Annual Volume | Rate | £ | P |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 9a | 1 School Road, Farley Hill | As per site name | Twice a month | 9000 X 24= 216000 litres |  |  |  |
| 9b | 4 School Road, Farley Hill | As per site name | Twice a month | 9000 X 24= 216000 litres |  |  |  |
| 9c | 6 School Road, Farley Hill | As per site name | Twice a month | 9000 X 24= 216000 litres |  |  |  |
| 11 | 2 Mortimer Road, Grazely | As per site name | Monthly | 4500 X 12= 54000 litres |  |  |  |
| Totals |  |  |  | 778,500 |  |  |  |

| No | Description |
| --- | --- |
| 1) | Safety: Follow safety requirements specified and all other good working practices at all times. |
|  | Frequency as in table above Remove covers: (i) Check appearance of internals and ensure that all retaining fittings are present and secure. (iii) Replace covers and make secure. |
|  | Emptying: Cesspits are to be emptied by tanker at the frequencies indicated in the table above. Annual volume shown. Emptying includes assessing general condition of tanks as far as is practicable from the surface through the following actions: (a) Carrying out all necessary safety precautions. (b) Checking condition of covers and frames. (c) Reporting any defects found to the Contract Administrator. (e) Cleaning up any spillages and ensuring covers are replaced and any locking devices are in place before leaving site. |