## Sheet1
Item Number | Equipment Type | Task | Breakdown of Tasks | Firm Price (£GBP Ex Vat)
1 | OPTION - Hamilton T1 Ventilator | TASK 1 - GAP ANALYSIS REPORT
TASK 2 - EMC & ENVIRONMENTAL TEST PLANS
|  | TASK 3 - EMC & ENVIRONMENTAL EVALUATION REPORT | Radiated Emissions Test
Radiated Susceptibility Test
ESD +/- 6kV Test
Vibration Test
Operating Temperature Test
Relative Humidity Test
Shock, Topple & Drop Test
Conducted Emissions Test
Conducted Susceptibility Test
EMC & Environmental Evaluation Report
TASK 4 - SAFETY CASE REPORT
TASK 5 - RELEASE TO SERVICE RECOMMENDATION REPORT
2 | OPTION - Monitor (TBC) | TASK 1 - GAP ANALYSIS REPORT
TASK 2 - EMC & ENVIRONMENTAL TEST PLANS
|  | TASK 3 - EMC & ENVIRONMENTAL EVALUATION REPORT | Radiated Emissions Test
Radiated Susceptibility Test
ESD +/- 6kV Test
Vibration Test
Operating Temperature Test
Relative Humidity Test
Shock, Topple & Drop Test
Conducted Emissions Test
Conducted Susceptibility Test
EMC & Environmental Evaluation Report
TASK 4 - SAFETY CASE REPORT
TASK 5 - RELEASE TO SERVICE RECOMMENDATION REPORT
3 | OPTION - ‘Buddy Lite’ Blood Warmer | TASK 1 - GAP ANALYSIS REPORT
TASK 2 - EMC & ENVIRONMENTAL TEST PLANS
|  | TASK 3 - EMC & ENVIRONMENTAL EVALUATION REPORT | Radiated Emissions Test
Radiated Susceptibility Test
ESD +/- 6kV Test
Vibration Test
Operating Temperature Test
Relative Humidity Test
Shock, Topple & Drop Test
Conducted Emissions Test
Conducted Susceptibility Test
EMC & Environmental Evaluation Report
TASK 4 - SAFETY CASE REPORT
TASK 5 - RELEASE TO SERVICE RECOMMENDATION REPORT
4 | OPTION - Sonosite ‘M’ Turbo Ultrasound | TASK 1 - GAP ANALYSIS REPORT
TASK 2 - EMC & ENVIRONMENTAL TEST PLANS
|  | TASK 3 - EMC & ENVIRONMENTAL EVALUATION REPORT | Radiated Emissions Test
Radiated Susceptibility Test
ESD +/- 6kV Test
Vibration Test
Operating Temperature Test
Relative Humidity Test
Shock, Topple & Drop Test
Conducted Emissions Test
Conducted Susceptibility Test
EMC & Environmental Evaluation Report
TASK 4 - SAFETY CASE REPORT
TASK 5 - RELEASE TO SERVICE RECOMMENDATION REPORT
5 | OPTION - External Pacemaker (TBC) | TASK 1 - GAP ANALYSIS REPORT
TASK 2 - EMC & ENVIRONMENTAL TEST PLANS
|  | TASK 3 - EMC & ENVIRONMENTAL EVALUATION REPORT | Radiated Emissions Test
Radiated Susceptibility Test
ESD +/- 6kV Test
Vibration Test
Operating Temperature Test
Relative Humidity Test
Shock, Topple & Drop Test
Conducted Emissions Test
Conducted Susceptibility Test
EMC & Environmental Evaluation Report
TASK 4 - SAFETY CASE REPORT
TASK 5 - RELEASE TO SERVICE RECOMMENDATION REPORT
6 | OPTION - Nerve Stimulator | TASK 1 - GAP ANALYSIS REPORT
TASK 2 - EMC & ENVIRONMENTAL TEST PLANS
|  | TASK 3 - EMC & ENVIRONMENTAL EVALUATION REPORT | Radiated Emissions Test
Radiated Susceptibility Test
ESD +/- 6kV Test
Vibration Test
Operating Temperature Test
Relative Humidity Test
Shock, Topple & Drop Test
Conducted Emissions Test
Conducted Susceptibility Test
EMC & Environmental Evaluation Report
TASK 4 - SAFETY CASE REPORT
TASK 5 - RELEASE TO SERVICE RECOMMENDATION REPORT
|  |  | Total Price | 0