- Contract 3054

Responsive Building Maintenance Work

including general building, plumbing & electrical works.

Rochford District Council
Council Offices
3-15 South Street
Rochford
Essex SS4 1BW

CONTENTS

- Sections: 	Page

- 1.	Contract terms and Conditions						 4.

- 2.	Contract specification							11.

- 3.	Contractor selection criteria						20.

- 4.	Pricing Schedule								23.

- FORM OF TENDER								24.

Appendix A		Scope of Works

Appendix B		Site Information

Appendix C		Capability Assessment

NOTE: Definitions

“Commencement Date”	means the date the offer of the tender is accepted by the Council, or the start date as indicated in the Specification

“Conditions”	means these conditions, any supplementary conditions and any modification thereof;

“Contract”	means any formal Contract document between the Contractor and the Council or signed by any duly authorised persons and includes the documents incorporated therein and forming part thereof. “Contract” means the signed Tender documents.

“Act of Parliament”	Any reference therein to an Act of Parliament or any Order, Regulation, Statutory Instrument or the like shall include a reference to any amendment or re-enactment of the same;

“Contractor”	means the person, organisation, body or company whose tendered submission has been accepted by the Council and with whom a Contract has been entered into.

“Contract Sum” 	means the figure inserted by the Contractor in the price section in the Form of Tender;

“the Council”	means Rochford District Council (RDC) or any successor authority;

“Equipment”	means the equipment needed to carry out the Cleaning Service to the specifications contained in the Contract.

“The Sites”	means the sites contained in the Site Information (Appendix B).

“Authorised Officer”	means Matt Harwood White, Assistant Director Commercial Services or any person duly authorised by the Council to act as Authorised Officer;

“Tender Documents”	means the Conditions of Contract, Cleaning Specification, Pricing Schedule, Tender Return Form and any listed Appendices.

“Tender Specification”	means the specification as set out in the Cleaning Specification and Tender Return Form.

“Week”	means 7 consecutive days starting on Monday and ending on the following Sunday.

“the Service”	means the description of the Service sought by the Council to be undertaken as set out in the Cleaning Specification

Words importing one gender include all others and the singular includes the plural and vice versa.

The meaning of terms, derived terms and synonyms used in the preliminaries/general building conditions and specifications is as defined below or in the appropriate British Standard Glossary.

“Re-Fix”	Carefully remove existing work required to be re-fixed. Remove fastenings and bedding materials from products/materials and clean and repair as necessary. Set aside and adequately protect until required. Re-locate accurately and fix securely using fixing and jointing materials and methods to match existing, or alternatives if approved, and make good.

“Make Good”	Carry out local remedial work, including the following, as appropriate and necessary, to leave the work in a sound and neat condition. Remove defective parts of existing finishes and components and around any stated features. Fill, press down, piece-in, patch, extend existing finishes, make minor repairs and adjustments. Re-fix or re-stick. Redecorate.

“To Match Existing”	Use of products, materials and methods to closely match all visual characteristics and features of the existing works, with joints between new and existing works as inconspicuous as possible, all to approval and to additional specified requirements.

“Renew”	Carefully remove existing work and replace with materials/products identical to those removed or equivalent substitutes of approved appearance using methods similar to those used in constructing the removed work, and to meet additional specified requirements.

“Fix Only”	All labours in uploading, handling, storing and fixing in position, including use of plant.

“Emergency Works”	Works required where risk of injury to people or damage to a building is imminent. Attendance required within 2 hours

“Normal Works”	General works where no risk of injury to people or damage to buildings is foreseen. Attendance required within 1 working week.

CONTACT DETAILS

Please state the name and contact details of the person with whom regular communication will be made.

| Name |  |
| --- | --- |
| Contact details Inc email address |  |

QUERIES AND RETURN OF TENDER

This Tender process is being managed by The Essex Procurement Hub on behalf of the Council. All requests for additional information or clarification should be directed by e-mail to: paula.jarvis@rochford.gov.uk no later than Thursday 17th March 2016

Please note that the return date for submissions is 12:00 noon on Thursday 24th March 2016. Two copies of your submissions should be sent in hard copy format to the address below.

Return to:	PAULA JARVIS

PROCUREMENT

ROCHFORD DISTRICT COUNCIL

3-15 SOUTH STREET

ROCHFORD

ESSEX

SS4 1BW

Please use the address label provided. Please ensure no other markings bearing your companies name are on the outside of your submission as this could mean that your bid is rejected.

The Council and the Essex Procurement Hub are not bound to accept the lowest priced bid. Tenders will be evaluated in accordance with the criteria stated within this document.

For further Information:

Paula Jarvis

Tel: 01376 551414

E-mail: paula.jarvis@rochford.gov.uk

CONTRACT TERMS AND CONDITIONS

Warranties

- The Contractor in submitting its form of tender warrants and represents to and undertakes with the Council that:

- It has full power and authority to enter into and perform this Agreement;

- The Contractor shall perform its obligations as set out in the ‘Contract Specification’ section and any other task under this Agreement with reasonable care and skill and in accordance with generally recognised commercial practices and standards;

- It has complied in all respects with the conditions of tendering;

- All information, representations and other matters of fact communicated (whether in writing or otherwise) to the Council by the Contractor or its employees in connection with the Contractor’s form of tender are true, complete and accurate in all respects;

- It has not submitted a form of tender or entered into the Contract in reliance upon any representation of statement (whether made orally, in writing or otherwise) which may have been made by the Council;

- It is of sound financial standing and has sufficient working capital available to it to carry out the Purpose of the Contract as outlined in this agreement for the entire duration of the Contract period;

- It will make available to the Council copies of its audited accounts if so requested by the Council.

- Termination

- Either party may terminate the Agreement for any reason upon giving the other no less than 3 months written notice of termination.

Either party may terminate this Agreement immediately at any time by written notice to the other party if:

- that other party commits any material breach of its obligations under this Agreement which (if remediable) is not remedied within 30 days after the service of written notice specifying the breach and requiring it to be remedied; or

- that other party:

- ceases to trade (either in whole, or as to any part or division

involved in the performance of this Agreement); or

- becomes insolvent or unable to pay its debts within the meaning of the insolvency legislation applicable to that party; or

- a person (including the holder of a charge or other security interest) is appointed to manage or take control of the whole or part of the business or assets of that party, or notice of an intention to appoint such a person is given or documents relating to such an appointment are filed with any court; or

- the ability of that party's creditors to take any action to enforce their debts is suspended, restricted or prevented or some or all of that party's creditors accept, by Agreement or pursuant to a court order, an amount of less than the sums owing to them in satisfaction of those sums; or

- any process is instituted which could lead to that party being dissolved and its assets being distributed to its creditors, shareholders or other contributors (other than for the purposes of solvent amalgamation or reconstruction).

- provides any false/misleading information during the tendering process that is discovered to be false/misleading at a later date.

Upon termination of the Agreement, any documents, data or other information received by the Contractors in the course of providing the Service should be returned to the Council forthwith.

On expiry or termination of this Agreement, all provisions of this Agreement shall cease to have effect, except that any provision which can reasonably be inferred as continuing or is expressly stated to continue shall continue in full force and effect.

On termination of this Agreement for any reason the Council shall pay the Contractor any such portion of the monies owed to it that relate to the period between the date of the previous invoice and the termination date on a pro rata basis.

Liability/Insurance

Nothing in this Agreement shall operate to exclude or limit any party’s liability for:

- death or personal injury caused by its negligence; or

- any breach of the terms implied by section 12 of the Sale of Goods Act 1979 or section 2 of the Supply of Goods and Works Act 1982; or

  - fraud; or

  - any other liability which cannot be excluded or limited under applicable law.

No party shall be liable to the other for any loss of profit, anticipated profits, revenues, anticipated savings, goodwill or business opportunity, or for any indirect or consequential loss or damage.

The Contractor agrees to indemnify and insure the Council against any loss or damage caused in performing this Agreement, including, but not limited to breach of any of the terms contained within this Agreement.

Without prejudice to their liability to indemnify the Council, the Contractor shall maintain and shall cause any sub-Contractors to maintain such insurance’s as are necessary to cover the liability of the Contractor or of any such sub-Contractor provided that nothing in this clause shall impose any liability on the sub-Contractor in respect of negligence or breach of duty by others for whom the sub-Contractor is not responsible.

## Employers’/Public Liability

### The Contractor(s) will at all times keep insured and indemnified the Contractor(s), its employees, its agents, the general public and the Council with an insurance office approved by the Council in respect of the matters set out below for an amount not less than indemnity limits specified below which will apply to any one occurrence or series of occurrences arising from one cause:-

#### Employers’ Liability – £10,000,000.00

#### Public Liability - £5,000,000.00.

#### Professional Indemnity - £1,000,000.00.

*Please enclose copies of the above with your Tender, and copies of each Annual Renewal Notice for the life of the Agreement.

### The Contractor(s) will, where instructed by the Council and at its own expense, deal with any claims received in relation to the provision of the services by the Contractor(s).

## Insurance Policies – General

### The Contractor(s) will give the Supervising Officer copies of any insurance policies, cover notes, premium receipts and other documents necessary to comply with these conditions, on request by the Supervising Officer or the Council’s Insurance Officer.

### The Supervising Officer will notify the Contractor(s) in writing if any insurance policy does not provide enough cover to comply with this Condition or otherwise fails to meet the Council’s requirements.

### Where this happens, the Contractor(s) will effect such insurance as does comply. If the Contractor(s) fails to do this, the Council may effect the insurance itself and the Contractor(s) will pay to the Council and/or Participant all costs (including administrative costs) which the Council incurs in so doing.

SECURITY

The Contractor will ensure that all operatives, supervisory staff and management wear photographic identification badges, detailing their name and that of the Contractor. The operatives will be required to wear the uniform of the Contracting Company. All staff must undergo a DBS check and receive clearance prior to commencing employment.

Working on Council owned sites

## A No Smoking Policy is operated throughout all the Council’s sites and it is prohibited for members of the Contractors staff to smoke on Council sites. Any breaches of this rule will be reported to the Contractor.

## The playing of music is prohibited at all sites.

- Confidentiality

The Contractor(s) shall not and shall ensure that its employees do not divulge to any third party any information which comes into its or their possession in the course of providing the Goods/Works/Services.

- Data Protection

The Contractor warrants that, to the extent it processes any Personal Data or Sensitive Personal Data on behalf of the Council:

- it shall act only on instructions from the Council; and

- it has in place appropriate technical and organisational security measures against unauthorised or unlawful processing of Personal Data and against accidental loss or destruction of, or damage to, Personal Data.

In this clause, ‘Personal Data’ and ‘Sensitive Personal Data’ have the meaning given in the Data Protection Act 1998.

Freedom of Information

- The parties confirm that disclosures required by the Freedom of Information Act 2000 shall be classed as a disclosure required by law under Clause 7.2 so that the obligations of confidentiality do not apply.

- The Contractor shall co-operate and assist the Council with disclosures under the Freedom of Information Act 2000 as if it were under identical duties and the Council shall have the right to determine the manner, timing and terms under which such disclosure shall be made, save that nothing in this Clause shall impose an obligation on either party to disclose information which it would be precluded from providing under the said Act.

- The Council has no discretion whether or not to disclose information in response to a request under the Freedom of Information Act 2000, unless an exemption applies. Disclosure decisions will be taken by appropriate officers of the Council having due regard to the exemptions available and the Public Interest (as defined in the Freedom of Information Act 2000). The Contractor is required to highlight any information which they consider to be commercially sensitive or confidential in nature, and should state the precise reasons, why that view is taken. In particular, issues concerning trade secrets and commercial sensitivity should be highlighted.

- Corruption

- The Council may cancel the Contract and recover any resulting losses from the Contractor, if the Contractor, its employees or agents, with or without its knowledge:-

- directly or indirectly improperly offers, promises or gives anyone anything in order to influence the way in which this Agreement .is completed or carried out; or

- commits any offence under the Bribery Act 2010 or section 117 (2) of the Local Government Act 1972.

Force Majeure

The definition in this clause applies in this Agreement.

‘Force Majeure Event’ any event arising which is beyond the reasonable control of the affected party (including any industrial dispute affecting any third party, governmental regulations, fire, flood, disaster, civil riot or war).

A party who becomes aware of a Force Majeure Event which gives rise to, or which is likely to give rise to, any failure or delay in performing its obligations under this Agreement shall forthwith notify the other and shall inform the other of the period for which it is estimated that such failure or delay will continue. The affected party shall take all reasonable steps to mitigate the effect of the Force Majeure Event.

Health and Safety

- The Statement of Health and Safety at Work Policy for RDC will be available on request. This must be followed at all times by the Contractor during the duration of the Agreement.

The Contractor shall comply with the requirements of the Health and Safety at Work Act 1974 and any other acts, orders, regulations and codes of practice relating to health and safety, which may apply to the Contractor’s members of staff and other persons working on the premises in the performance of the Agreement.

Environmental Stewardship

The Contractor is required to set up the appropriate measures to be agreed with the Council to conserve energy consumption and reduce water consumption.

The equipment used, where applicable, should be to the highest possible energy efficiency that is economically achievable.

The Contractor must not use any aerosol sprays containing Chloro Fluoro Carbon (CFC).

The Contractor must take into account RDC’s ClimateCO2de Policy and Climate Change and Sustainability Programme in fulfilling the requirements of the Contract.

- Unlawful Discrimination

The Equality Act 2010 aims to eliminate unlawful discrimination, advance equality of opportunity and allows public sector organisations, such as RDC, to foster good relations when exercising their functions. The Act establishes a new Single Equality Duty on public bodies. This consolidates the three previous public duties on race, disability and gender. Additionally, it covers age, sexual orientation, religion or belief, marriage and civil partnership, pregnancy and maternity, and gender reassignment, to create the 9 protected characteristics. It is an essential requirement that the tenderer shall comply with all the requirements of the Act and ensure the observance of all applicable fair employment, equality of treatment and anti-discrimination legislation by all agents, employees, consultants and Sub-Contractors of the tenderer.

- Complaints to the Local Government Ombudsman

The Contractor is advised that in the event of a complaint being lodged with the Local Government Ombudsman relating to any of the works contained in this Contract, the Contractor could be subject to investigation by the Ombudsman. If such investigation was carried out, the Contractor would be expected to give their full co-operation. In the event of the Ombudsman finding maladministration and injustice as a result of a fault by the Contractor, or settling a complaint without a formal investigation or report, and the Council are thereby ordered to pay compensation to the complainant, the Council may seek to recover the cost of such compensation from the Contractor.

- Financial Regulations

- The Contractor shall retain for a period of two years from the date of the Final Certificate all prime cost records including wages, books, time sheets and receipted invoices for all items relating to this Contract. The Council shall have the right to call for the production of such records at any time during the said period.

Due to the new Public Contract Regulations 2015, any sub-Contract awarded by the successful Contractor must contain the same 30 day payment terms from the Contractor to the sub-Contractor. This requirement applies to every Contract in the supply chain no matter how far removed from the Contracting authority.

- Value Added Tax

Any sums certified for payment under this Contract shall be exclusive of Value Added Tax (VAT).

The Council shall pay to the Contractor any output VAT properly chargeable by the Commissioner of Customs and Excise in respect of the supplies to the Council of goods and works under this Contract by the Contractor.

The amount of VAT calculated to be chargeable on the supply of goods and works shall be shown on each certificate for payment issued under the Contract and such amount shall be discharged by the Council within the period for payment of certificates.

- Publicity

All media releases, public announcements and public disclosures by the Contractor relating to this Agreement or its subject matter, including promotional or marketing material, shall be co-ordinated with the Council and approved by the Council prior to release.

- Assignment

The Contractor may not assign or transfer any of its rights or obligations under this Agreement. The Council may assign or transfer any of its rights or obligations under this Agreement, provided it gives prior written notice to the Contractor.

- Third Party Rights

The right of the parties to terminate, rescind, or agree any amendment, variation, waiver or settlement under this agreement is not subject to the consent of any person who is not a party to this agreement.

- Variation and Waiver

A variation of this agreement shall be in writing and signed by or on behalf of all of the parties to this Agreement.

A waiver of any right under this agreement is only effective if it is in writing, and it applies only to the party to whom the waiver is addressed and the circumstances for which it is given. No waiver shall be implied by taking or failing to take any other action.

Unless specifically provided otherwise, rights arising under this agreement are cumulative and do not exclude rights provided by law.

- Severance

If any provision (or part of a provision) of this agreement is found by any court or administrative body of competent jurisdiction to be invalid, unenforceable or illegal, the other provisions shall remain in force.

If any invalid, unenforceable or illegal provision would be valid, enforceable or legal if some part of it were deleted, the provision shall apply with whatever modification is necessary to give effect to the commercial intention of the parties.

- Governing Law and Jurisdiction

This agreement and any disputes or claims arising out of or in connection with its subject matter are governed by and construed in accordance with the law of England.

The parties irrevocably agree that the courts of England have exclusive jurisdiction to settle any dispute or claim

- Disclosure & Barring Scheme

Previously the CRB, this is a process by which a prescribed level of checks on an individual's history are undertaken by the Disclosure and Barring Service (DBS) to assist in identifying such individuals who may, by reasons of their history, be deemed unsuitable to be engaged for the provision of the Service.

The Contractor shall:

- ensure that all individuals engaged in Regulated Activity are subject to a valid disclosure check for regulated activity undertaken through the Disclosure and Barring Service (“DBS”); and

- monitor the level and validity of the checks under this clause for each member of staff.

- not employ or use the Service of any person who is barred from, or whose previous conduct or records indicate that he or she would not be suitable to carry out Regulated Activity or who may otherwise present a risk to Service Users.

The Council will require confirmation that DBS checks have been carried out, and are up to date.

The Contractor shall refer information about any person carrying out the Service to the DBS where it removes permission for such person to carry out the Service (or would have, if such person had not otherwise ceased to carry out the Service) because, in its opinion, such person has harmed or poses a risk of harm to the Service Users.

- Safeguarding

The Council expects any organisation wishing to provide Services where employees work directly or indirectly with children, young people or vulnerable adults, to be able to demonstrate standards of safeguarding, commensurate with those expected of statutory organisations.

The Contractor warrants that at all times for the purposes of this Contract it has no reason to believe that any person who is or will be employed or engaged by the Contractor in the provision of the Service is barred from the activity in accordance with the provisions of the Safeguarding Vulnerable Groups Act 2006 and any regulations made thereunder, as amended from time to time.

The Contractor shall at all times and for the purposes of this Contract have in place its own Safeguarding Policy, should there be no policy in place the Contractor shall agree to abide by Rochford District Council’s policy and procedures, and report any instances to Rochford District Council’s Authorised Officer. It shall be a condition of this Contract that any person who is or will be employed or engaged by the Contractor –

- is aware of and utilises the Safeguarding Policy in the provision of the Service.

- shall have received regular safeguarding training in line with the Children’s and Adults Training Strategy.

The Contractor shall:

- for the duration of this Contract create and maintain a file (physical or electronic) wherein all Safeguarding Concerns shall be stored having been raised by any person who is or will be employed or engaged by the Contractor in the provision of the Service, including any such Safeguarding Concern where, after review by the Contractor, no further action is taken; and

- provide an annual report of Safeguarding Concern to the Council’s Contract Lead upon request.

CONTRACT SPECIFICATION

INTRODUCTION

Rochford District Council (RDC) is seeking a flexible Contractor who will work with them to provide responsive building maintenance work, including general building, plumbing & electrical works.

The proposed Contract will run from 1st April 2016 for a period of FOUR years and will be let on the basis of a fixed price for labour and materials. During the term of the Contract, buildings may be added or removed from the Contract, three months notice will be given for any alterations.

Limitation of Working Hours

The Contractor should note that buildings will be in use and the following restrictions to working will apply:

- Although access/works are acceptable during normal office working hours a caveat to ensure the occupants are able to fulfil their tasks is essential. Therefore, drilling and noisy works will be extremely limited. Access will be available from 7.30 to approx. 18.00 Monday to Friday and access Saturday and Sunday can be arranged.

- Working outside normal hours will only be as arranged with the officer in charge of the premises, who is Bob Yellop.

Timescales for Carrying Out Works

Normal works – 1 working week

Emergency works- 2 hours

Rectification – 2 working days

Emergency works are works required where risk of injury to people or damage to a building is imminent. General works are where no risk of injury to people or damage to buildings is foreseen. Attendance required within 1 working week. The Authorised Officer will determine the above and advise the Contractor of their required attendance.

Should non-stock materials be required to complete the works, the assessment must be completed within the above timescales and works completed within 1 working week. For Emergency works where non-stock materials are required the Contractor is expected to make safe and return within an agreed timescale with the Authorised Officer.

Method Statement

Where appropriate, The Contractor may be asked to provide a written method statement to the Authorised Officer prior to the commencement of any site works. Sufficient notice to be given to enable the Authorised Officer to consult with HSE if necessary, and for any formal consent to be obtained regarding the methods to be used.

Maintenance of Existing Live Drainage, Water, Gas and Other Mains or Power Services etc.

Protect, uphold and maintain all pipes, ducts, sewers, service mains, overhead cables etc., during the execution of the Works. The Contractor is to make good any damage due to any cause within their control at their own expense or pay any costs or charges in connection therewith.

Inspection of the Works

The Contractor shall allow for affording to the Authorised Officer every facility to examine the work before, during and on completion.

Contractors Equipment

The Contractor shall be aware that they are required to provide a statement to confirm that all equipment that is to be utilised by the Contractor’s workforce and any sub-Contractor is the subject of a current certificate of compliance with any relevant legislation that may apply for the duration of the Contract period.

General Facilities and Obligations

The Contractor shall provide the following as required:

- Plant, Tools and Vehicles.

- Scaffolding.

- Site administration and security.

- Transport of work people

- Protection of the Works from inclement weather.

- Protection of furniture, fittings or apparatus left in existing property.

- Water for the Works – The Contractor shall provide water for the works but is offered the use of the existing supply by the establishment (without guarantee of availability or continuity). All charges are to be negotiated with and paid to the head of the establishment.

- Lighting and Power for the Works – The Contractor shall provide lighting and power for the Works but is offered the use of the existing supply by the establishment (without guarantee of availability or continuity) in which case he shall transform down to 110 volts centre tapped. All charges are to be negotiated with and paid to the head of the establishment.

- Temporary roads, hard standings, crossings and similar items.

- Signals required by traffic regulations.

- Safety, Health and Welfare requirements for work people.

- Disbursements arising from the employment of work people.

- Maintenance of public and private roads.

- Removal of rubbish, protective casings and coverings, and cleaning works on completion.

- Adequate provision for drying the Works.

- Temporary fencing, hoardings, screens, fans, planked footways, guardrails, gantries and similar items.

- Adequate control of noise, pollution and all other requirements necessary to meet statutory requirements.

- Temporary support to structures as they are erected and to existing buildings.

General Attendance on Nominated Sub-Contractors

General attendance on nominated sub-Contractors, shall include the following:

- Use of the Contractor’s temporary roads, paving and paths.

- Use of the Contractors’ standing scaffolding.

- Use of the Contractor’s standing power operated hoisting plant.

- Provision of temporary lighting and water supplies.

- Clearing away rubbish.

- Storage of sub-Contractors plant and materials.

- Use of the Contractor’s mess rooms, sanitary accommodation and welfare facilities.

Record Drawings

The Contractor shall be required to keep a set of prints of all drawings on site and they shall demonstrate from time to time, as may be required by the Authorised Officer, that adequate records are being kept to ensure the accuracy of same.

At Practical Completion the Contractor shall produce as built drawings in CAD format and issue to the Authorised Officer together with one set of paper prints as the “As Fitted” drawings.

- A special requirement of the record drawings is that all services shall be indicated and the exact location, including level, given from a number of fixed points with any deviations to route clearly shown. This shall be in CAD format.

Asbestos Regulations

The purpose of this clause is to draw your attention to the specific problems of carrying out work where you may encounter asbestos based products and to be aware and comply with the relevant legislation which applies to that work.

Asbestos is a highly regulated material and any disturbance of these products can have serious consequences to building occupiers as well as your own operatives and is likely to involve investigation by the Health and Safety Executive leading to possible prosecution.

Dependant upon the availability and quality of existing records and the type of work to be carried out, the Authorised Officer may arrange for a further survey to be carried out to current recommended standards prior to works progressing.

If asbestos containing materials have been identified, the Contract will either be on the basis that they will not be disturbed by the work, or arrangements included for their removal by a suitable Contractor on the Employers behalf.

If there is doubt as to whether a particular material contains asbestos it is to be assumed that asbestos is present until a test confirms otherwise.

Your operatives are therefore expected to exercise an appropriate level of care when undertaking any construction activities. For example, breaking into, disturbing, and repairing the structure, fabric, services and finishes of the building. They must be competent in identifying the existence of asbestos products and seek the necessary advice or guidance from the consultant should there be cause for doubt prior to undertaking any work.

- It is essential that you co-operate in following the guidance set out in this clause, as compliance will be of benefit to all parties to the Contract.

Preambles

Generally to All Parts

- Where and to the extent that materials, products and workmanship are not fully specified they are to be:

- Suitable for the purpose of the Works stated in or reasonably to be inferred from the Contract Document, and in accordance with good building practice, including the relevant provisions of current BSI documents.

Products

- To be new unless otherwise specified. Ensure that the quality of each product and material required to complete the work is of consistent kind, size, quality and overall appearance. Handle, store and fix products with care incorporated into the work.

Single Sources

- Where a choice of manufacturer or source of supply is allowed for any particular product or material, the quality required to complete the work must be of the same type, manufacturer and/or source. Do not change without approval. Produce written evidence of sources of supply when requested by the Authorised Officer.

Supply and Fix

- Unless otherwise stated, all items given in the Schedule of Work and/or on the drawings are to be supplied and fixed complete.

Dimensions

- The accuracy of dimensions scaled from drawings is not guaranteed. Obtain from the Authorised Officer any dimensions required but not given in figures on the drawings, nor calculable from the figures on the drawings.

Proprietary Products

- Handle, store and use each product in accordance with its manufacturer’s current printed or written recommendations/instructions.

Appearance and Fit

- Arrange the setting out, erection, juxtaposition of components and application of finishes (working within the practical limits of the design and the specification) to ensure that there is satisfactory fit at junctions, that there are no practically or visually unacceptable changes in plane, line or level and that finished work has a true and regular appearance.

At Completion

- Make good all damage consequent upon the work. Remove all temporary markings, coverings and protective wrappings unless otherwise instructed. Clean the works thoroughly inside and out, replace all splashes, deposits, and efflorescence, removal of all rubbish and surplus materials consequent upon the execution of the work.

Security at Completion

- Leave the work secure with all accesses locked. Account for and adequately label all keys and hand over to the Authorised Officer with itemised schedule, retaining duplicate schedule signed by the Authorised Officer.

Materials and Workmanship Generally

- Relevant BS and Codes of Practice

- Current Health and Safety Regulation

(and as amended during the life of the Contract)

PROVISION OF EQUIPMENT AND SUPPLIES

Materials and equipment to be provided by the Contractor: -

RDC cannot be held responsible for any loss or damage to equipment.

It is essential that all equipment and materials used must meet the necessary European safety standards.

USE OF ENERGY AND UTILITIES BY CONTRACTOR IN PREMISES IDENTIFIED BY ROCHFORD DISTRICT COUNCIL (RDC)

The Contractor shall make use of existing socket outlets except those marked otherwise, providing that: -

- The schedule of the equipment to be used has had the prior approval of the Authorised Officer of RDC.

- The approved equipment must comply in all respects with the relevant British Standard Specification and are PAT tested, and maintained in safe working condition;

- The said equipment must be suitable for 240v single phase, 50 hertz supply with no single appliance having a power requirement in excess of 3 KW.

- In the event of any damage to equipment or loss of electrical supply caused by a fault in any of the Contractor's appliances, the Contractor shall arrange for the immediate disconnection of the equipment and shall immediately inform the Authorised Officer of the incident. The cost of any necessary repair to the supply shall be the responsibility of the Contractor.

14	KEY PERFORMANCE INDICATORS (KPI’s)

A significant factor in ensuring the successful operation of this Contract will be the use of an effective monitoring system to check that the services set out in the specification are provided satisfactorily in every respect.

The Authorised Officer for RDC or other such equivalent Officer will make regular and random checks of the works.

In the interests of the Service it is essential that wherever possible the Authorised Officer and the Contractor establish good channels of communication and understanding. Any problems will be identified at an early stage and communicated to the Contractor. The Council will then give the Contractor the rectification period as set out in the Key Performance Indicators to complete the work to the Council’s satisfaction. In the event of rectification work being carried out, the Authorised Officer will need to inspect the work to ensure that it meets the targets in the Key Performance Indicators.

The following KPI’s will be in place during the length of this Contract. KPI’s can be subject to alteration, and can be added to at any point during the Contract and must be agreed by both parties.

For any 2 instances of the Contractor not meeting the following KPI’s in any 3 month/job period, RDC reserves the right to remove the Contractor from the Contract –

| Complaints Resolution | Satisfactory resolution of Contracting Body complaint | 100% of complaints to be logged. |
| --- | --- | --- |
|  |  | 100% of complaints to be responded to within 2 working days of receipt of the complaint. |
|  |  | 98% of complaints to be resolved or have an agreed action plan in place within 10 working days of receipt of the complaint. |
| Invoicing | Accuracy/ Timeliness | 100% accuracy rate every month by required date. Where any errors are identified they are within 5 working days |
| Snagging |  | Works completed without snagging issues |
|  |  | Any rectifications to be completed within 2 working days |
| Attendance |  | Attending within required timescales stated in specification |

CONTRACTOR SELECTION CRITERIA

CAPABILITY ASSESSMENT

Please complete the Capability Assessment (Appendix C) for any Tenderer submitting YES to questions 1-7, or NO to questions 8-11, and any explanation provided does not satisfy RDC, Tenders submitted will fail prior to evaluation

EVALUATION CRITERIA

Subject to the Contractor passing the Capability Assessment (Appendix C), the Contract, if awarded, will be evaluated using a method known as ‘MEAT’ (Most Economically Advantageous Tender). As such, tenders received will be evaluated based on a number of factors including but not limited to price. These factors will be weighted to reflect their relative importance and scored accordingly.

## The Council does not bind itself to accept the lowest or any Tender and may accept either all or any part of a Tender or more than one Tender.

## The Tenderer must initial any alterations or corrections on the returned Tender.

## The specification enclosed is to be complied with in every respect.

## Tenderers are requested to quote against the specification.

| Criteria | Marks | Weighting |  |
| --- | --- | --- | --- |
| Price | /55 | 55% |  |
| Experience | /10 | 15% | 45% |
| Service Delivery | /10 | 15% |  |
| Staffing | /10 | 10% |  |
| Policies & Procedures | /10 | 5% |  |

- Price Evaluation

- Lowest total price scores a full 55 marks.

- Prices after this are calculated by; Lowest Price x 55 = Mark

- Next Price

- For example only; lowest price = £85,000

- Next price = £105,000

- 85000 x 55 = 44.52

- 105000

Therefore the Tender with a total price of £105,000 scores 44.52 out of 55 for price.

- Quality Evaluation

- Each individual point will be scored out of 10, before the weighting is applied.

- Please ensure that you cover fully each point raised in the sections to enable ease of scoring.

| QUALITY CRITERIA | Weighting |
| --- | --- |
| Experience Will include | 15 |
| · Examples of similar works completed |  |
| · Asbestos identification and method for removal (including if using sub-Contractors) |  |
| Service Delivery (ability to comply with specification) Will include | 15 |
| · Proposals for meeting timescales specified |  |
| · Ability to supply materials required |  |
| · Equipment maintenance Please include details of sub-Contracting, including selection for sub-Contractors and confirmation that they will adhere to our specification |  |
| Staffing Will include | 10 |
| · Management structure |  |
| · Training and levels of staff competence (including relevant qualifications) |  |
| · Absence cover · Lone working provisions |  |
| Policies and procedures Will include | 5 |
| · Supporting documentation as requested including - |  |
| · Health and Safety |  |
| · Risk Assessments |  |
| · Customer Care Policy |  |
| · Complaints Procedure (inc timescales) |  |
| · Any other relevant document (including relevant accreditations) |  |
| Total Score | 40 |

Tenderers are to ensure that information provided within the tender is clear and concise as the information provided will form part of the Contract.

It is important that the supporting documentation supplied with the submitted responses to the questions in the Quality Criteria be fully referenced and will be marked 0 to 10 based on the following.

| Score | Interpretation |
| --- | --- |
| 0 - 1 | Either no answer is given or the answer provides no evidence that the Tenderer meets any of RDC’s requirements. |
| 2 -3 | The answer provides some evidence that the Tenderer meets some of RDC’s requirements but only in a minimal way. |
| 4 -5 | The answer provides satisfactory (or better) evidence that the Tenderer partially meets RDC’s requirements. |
| 6 - 7 | The answer provides good (or better) evidence that the Tenderer meets a majority of RDC’s requirements. |
| 8 -9 | The answer provides good (or better) evidence that the Tenderer meets nearly all of RDC’s requirements. |
| 10 | The answer provides excellent evidence that the Tenderer fully meets all/exceeds RDC’s requirements. |

PRICE SCHEDULE

- The schedule contained below is a sample list of regularly occurring maintenance items but is not exhaustive. The tender should be based on the typical cost of carrying out each of these maintenance items. Having demonstrated best value, the successful company may receive orders for additional urgent responsive works not included in the example schedule as they arise. However, RDC reserves the right to use other providers for any job included below, or anywhere else in this Contract where deemed necessary. The successful tenderer will always be one of the companies asked to quote if this situation should arise.

| Schedule of Market Rates (fixed rate work) |  |
| --- | --- |
| Typical Regular/Miscellaneous Items: | Cost |
| Replace roof slate/tile. |  |
| Investigate leaking roof |  |
| Repair to seal leak in felt flat roof. Clean and dry out affected area and spread coat of repair compound (per m2). |  |
| Repair damaged plastered ceiling (per m2). |  |
| Repair damaged plastered wall in two coats, 13 mm thick, renovating plaster (per m2). |  |
| Patch repair hole in car park surface using cold roll bitumen or equivalent (per 0.5 m2). |  |
| Re-point brickwork (per m) |  |
| Demolish brick wall (per m2) |  |
| Re-build brick wall using existing bricks (per m2) |  |
| Re-build brick wall using new bricks (per m2) |  |
| Supply new bricks |  |
| Replace broken cast iron gulley grid (up to 225 x 225 mm). |  |
| Renew cast iron drain access cover and frame. |  |
| Renew defective section of cast iron eaves gutter (per m). |  |
| Renew defective section of PVC eaves gutter (per m). |  |
| Renew defective PVC downpipe (per m). |  |
| Renew defective cast iron downpipe (per m). |  |
| Clear blocked gutter hopper head and downpipe. |  |
| Investigate leaking guttering |  |
| Relay and level uneven precast concrete flag paving (per m2). |  |
| Replace concrete bollard. |  |
| Renew plain slotted concrete fence post. |  |
| Replace 1829 mm x 1800 mm larch lap fence panel. |  |
| Replace 1829 mm x 1800 mm prefabricated close-board feather edge fence panel. |  |
| Straighten and re-secure 1800 mm high chain link fence (per m). |  |
| Renew sash cord to single sash window. |  |
| Investigate leaking window frame |  |
| Re-glaze broken glass window pane: |  |
| In 4 mm clear float glass up to 0.50 m2 |  |
| In 4 mm clear float glass over 0.50 m2 |  |
| In 4 mm obscure float glass up to 0.50 m2 |  |
| In 4 mm obscure float glass over 0. 50 m2 |  |
| Carry out emergency board up with 12 mm thick exterior quality plywood (per m2). |  |
| Ease & adjust window |  |
| Ease & adjust door |  |
| Install light duty, surface fixed, overhead door closer. |  |
| Prepare and apply one undercoat and one finishing coat gloss on previously decorated woodwork surfaces (per m2). |  |
| Prepare and apply two coats emulsion on previously emulsioned plastered walls (per m2). |  |
| Prepare and apply two coats emulsion on previously emulsioned plastered ceilings (per m2). |  |
| Replace wall mounted extract fan (Vent Axia). |  |
| Replace wall mounted fan heater (Dimplex). |  |
| Renew immersion heater or any length (inc. thermostat). |  |
| Repair or replace over basin electric water heater (Redring). |  |
| Replace lamps: 2D low energy 16 watts; 2 pin |  |
| Replace lamps: 2D low energy 28 watts; 4 pin |  |
| Replace 2D low energy light fitting; 28 w. |  |
| Replace 5 amp wall switch (lighting). |  |
| Replace fluorescent light fitting 1800 mm long; single. |  |
| Replace fluorescent light fitting 1800 mm long; twin. |  |
| Fluorescent tube 20-75w; 600-1800 mm long |  |
| Replace faulty switched single or double socket outlet. |  |
| Fit additional switched single or double socket outlet. |  |
| Fit double pole switched outlet with neon indicator. |  |
| Investigating leaking pipework |  |
| Re-washer basin or sink tap. |  |
| Renew pair 15 mm chromium plated basin pillar taps. |  |
| Renew 15 mm chromium plated non-concussive tap. |  |
| Remedy leaking overflow/renew 15 mm h.p. float valve. |  |
| Replace double flap W.C. seat and cover. |  |
| Replace faulty siphon in high or low level W.C. cistern. |  |
| Replace toilet |  |
| Replace wash basin |  |
| Replace kitchen sink |  |

|  | - Electrician - £ per hour | - Plumber - £ per hour | - Carpenter - £ per hour | - General building / Labourer - £ per hour |
| --- | --- | --- | --- | --- |
| - NORMAL HOURLY RATE during working hours (07:30 to 18:00 Monday to Friday) | - £ | - £ | - £ | - £ |
| - HOURLY RATE OUT OF WORKING HOURS | - £ | - £ | - £ | - £ |
| - EMERGENCY OUT OF WORKING HOURS HOURLY RATE (Immediate response – within 2 hours of call) | - £ | - £ | - £ | - £ |

- Annual price increase percentage rates

|  | - Percentage increase % |
| --- | --- |
| - YEAR 2 |  |
| - YEAR 3 |  |
| - YEAR 4 |  |

To arrange site visits please contact Bob Yellop bob.yellop@rochford.gov.uk

Form of Tender – Contract No: 3054

To:	Angela Law, Head of Legal, Estates and Member Services

Rochford District Council, Council Offices, South Street, Rochford, Essex SS4 1BW

I/We the undersigned hereby undertake and agree to execute the whole of the works as set out in this tender submission in accordance with the tender documents

I/We hereby declare that:

(1)	This is a bona fide tender intended to be competitive and the amount of the tender has not been fixed or adjusted by or under or in accordance with any agreement or arrangement with any other person.

(2)	The amount or appropriate amount of the proposed tender has not been communicated to a person other than the person calling for tenders.

(3)	I/We have not entered into any agreement with any other person that he shall refrain from tendering or as to the amount of any tender to be submitted.

I/We agree that this tender shall be open for acceptance within three months from the date for receipt of tenders.

If this tender should be accepted I/We hereby agree that this tender, together with your official order, the tender documents will constitute a Contract between the Employer and The Contractor.

| Signature: |  | Print Name: |  |
| --- | --- | --- | --- |

For and on behalf of

| (Company Name) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |
| Company Registration No – at Companies House: |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |
| Phone No: |  |  |  |  |  |  |
| Fax No: |  |  |  |  |  |  |

APPENDIX A

- General Building

4 	Specification – General Building

4.1	Generally

4.1.1	Scope of Works

- The works under this Contract shall be carried out within both occupied and unoccupied Council owned buildings.

4.1.2	Materials, Plant, Labour, Workmanship

- Materials, Equipment and Workmanship including scaffolding and safety requirements must comply with specification issued by the British Standards Institution (BSI) or by a similar organisation within the European Community.  In addition the work shall be generally in accordance with the following, including all latest and current amendments and substitutes thereof:

The Health & Safety at Work Etc Act 1974
The Building Regulations
The Manufacturer’s Specification and Recommendations
Electrical Engineering Services to BS 7671: 2001
Electricity at Work Act 1989
Current IEE Wiring Regulations (17th Edition)
Water Act 1989
Water Supply (Water Fittings) Regulations 1148 and 1506 (1999)

Electrical Engineering Services to BS 7671: 2001
Electricity at Work Act 1989
Current IEE Wiring Regulations (17th Edition including amendments)

The Contractor shall include for everything necessary or that can reasonably be inferred as being necessary, to complete the works whether specifically mentioned or not. The Contractor shall include for all making good to damage or disturbance caused to the existing, internally or externally, including decoration.

6.1.2	Electrical Work: Standards

The Contractor shall be and remain an approved Contractor of the National Inspection Council for Electrical Installation Contracting (NICEIC).  In the event of the Contractor’s name being removed from the approved register the Council may terminate the Contract.  Allow for the issue of all certificates as required by NICEIC, in accordance with their guidelines.

6.1.3	Timescales

All works to be completed within 7 calendar days unless notified otherwise.

5.1.4	Unit Rates

Unit rates are intended to include for all items of work necessary of associated with fully carrying out a task or, where appropriate to totally remedy a fault.

Rates are deemed to include attendances itemised in clauses 5.1.5 and clause 4.1.6 and where necessary or appropriate:

- Access – providing appropriate access by ladder, platform or scaffold and clearing away upon completion.

- Temporary works – barriers, hoardings, guardrails, edge protection, crawling boards, shoring strutting, hoists, formwork and the like.

- Provision, adaptation and clearing away.

- Removal and re-fixing – curtains, carpets, shelving, furnishings and the like.

- Rubbish – clearing away of all rubbish and debris as it arises and final cleaning.

- Testing where appropriate.

6.1.5	Measurement

Work orders issued will contain only indications of expected work content. Upon completion of the work the Contractors responsible for re-measuring, valuing and invoicing for quantities of materials used and workmanship employed.

6.1.6	Equal and Approved

Where the Contractor wishes to use materials or components of equal specification to those described prior approval is to be sought and obtained in writing from the Authorised Officer.  The Authorised Officer’s decision as to equivalence of an item is final.  The Contractor is advised to allow for the cost of the specified items when assessing the rates for tender purposes.

6.1.7	Testing

Testing of installations shall be carried out as instructed but in any case the Contractor shall test wherever installations, alterations or renewals have been carried out and the rates are deemed to include for this.

Testing shall comply with the appropriate IEE Regulations and shall include provision to the Authorised Officer of a certificate of compliance in accordance with Appendix 16 of the Regulations.

If on testing an installation following the rectification of a fault it is apparent that another fault exists in the system, the Contractor shall immediately inform the Authorised Officer and seek additional instructions.

5.1.7	Testing

The rates include for testing to the satisfaction of the Authorised Officer and the appropriate supply authority of gutters and rainwater pipes, sanitary instalments, hot and cold water services and making good and retesting of any defects found.

5.1.8	Materials Generally

All replacement or new rainwater goods, sanitary pipe work and water service shall match the existing as to size, type and quality unless otherwise authorised by the Authorised Officer.

In particular the appropriate unit rates are deemed to include or are based on the following provisos:

Work on chimneys – to buildings not exceeding three storeys in height. Where necessary removal, setting aside and re-fixing of audio and visual aerials, dishes and the like is deemed included.

Re-glazing – rates include for temporary plywood panel shuttering over night where work incomplete (for security).

Joinery/plaster repairs/removals – making good or touching up of decorations is deemed included in the rates.

Decorations – alternative decoration specifications in all cases rates include for temporary removal where required and re-fixing of radiators. In works of redecoration the rates are deemed to include decorating existing artex ceilings.

The redecoration works will vary from partial decorations to full redecoration. The majority of redecoration work is likely to be within void properties, with much of the remainder being to single rooms. All works shall be priced at the rates herein regardless of quantity of decoration carried out.

4.1.6	Attendances

The Contractor is to carry out all required attendances associated with the repair or renewal and the rates included for:

- Setting out positions and cutting holes, mortises, chases etc. in the structure.

- Lifting floorboards, notching joists and re-fixing/renewing boards as necessary.

- Cutting away/drilling and providing all necessary fixings including plugging to walls for radiators, shelves, kitchen units etc

- Where existing, reconnecting earth bonding to sink pipework.

- Making good to walls, ceilings and joinery including touching up and local making good to decorations.

- Decorations to all steel supports and brackets.

- Capping off redundant services, removal/carting away and disposal of old fittings.

4.1.8	References to BSI documents

References to BSI documents are to the versions and amendments current at the date of tender.

4.1.9	Equivalent products

Wherever products are specified by proprietary name and the phrase “or equivalent” is not included it is deemed included.

4.2	Brickwork

Materials

4.2.1	Common Brickwork

Bricks for infilling etc. (except where facework) to be hard, sound, well burnt common flettons with sharp well defined arises and in respect of size to comply with BS 3921.

4.2.3	Cement

Cement shall be from an approved source and shall comply in all respects with either BS 12 for ordinary Portland cement or BS 4027 for sulphate resisting cement.

It shall be stored in a dry place free of condensation and shall be fresh when used. Do not use cement affected by damp. The manufacturer’s certificate of compliance with BS is to be supplied if requested.

4.2.4	Lime

Lime shall be hydrated non-hydraulic lime complying in all respects with BS 890.

4.2.5	Sand

Sand shall be clean sharp river or pit sand from all impurities complying with BS 1200 and be graded from 5mm down.

4.2.6	Water

Mains water only shall be used for brickwork.

4.2.7	Course Stuff

Coarse stuff made up of dry hydrated lime and sand or lime putty and sand shall be in the proportions 1:4 1/2 for 1:2:9 mix and 1:6 for 1:1:6 mix.

Alternatively, ready mixed lime/sand complying with BS 4721 may be used in the appropriate quantities as above.

Coarse stuff or ready mix shall be allowed to stand wet for a minimum of 16 hours.

4.2.8	Mortar

Mortar for brickwork and for reporting to be as follows:

Below dpc level – 1:3 sulphate resisting cement sand.

Above dpc level – 1:1:5 portland cement: limesand.

Chimneys – 1:1:6 sulphate resisting cement:lime:sand.

Workmanship

4.2.12	Mortar Mixing

Keep plants and banker boards clean at all times. Measure sand cement and lime (or cement and coarse stuff if applicable) each into a separate gauge box made to suit in the nominal proportions specified.

Allow for building if sand is damp.

Mix ingredients thoroughly to a consistence suitable for the work and free from lumps.

Do not mix mortar when the air temperature is at or below 3ºC and falling or below 1ºC and rising.

Calculate proportions on following basis:

Cement 1440kg/m3

Lime 575 kg/m3

Sand (dry) 1520kg/m3

Note: When gauging cement with ready mixed coarse stuff calculate cement addition based on the supply as quoted weight of coarse stuff per delivery.

Mix mortar by machine where practicable but otherwise hand mix on a clean smooth non-absorbent surface. Where hand mixing do not add water until materials are thoroughly mixed dry to an even colour. Continue mixing after additional of water until mortar obtains uniform colour and consistency. Mortar is not to be re-tempered for use after the initial set has commenced.

4.2.13	Workmanship: Generally

Subject to general requirements of BS 5628 and specifically as follows:

All bricks shall be well soaked before being laid and the top of work shall be wetted before work is commenced.

Brickwork to be carried up at a uniform rate with no portion being raised more than 900mm above another at any time. All perpends, quoins etc. to be kept true and plumb.

4.2.14	Re-pointing

Rake out joint to a depth of at least 15mm ensuring all brick edges are clean of old mortar, thoroughly brush out joints with a fibre bristle brush and wet with clean water. Point in new mortar and form joint profile to match existing but generally “bucket handle” or struck weathered.

4.2.15	Cill/Lintel Repairs

Cut back reconstructed stone/concrete surface to firm sound material and generally scabble surface and clean off dust and all loose material. Thoroughly clean off with detergent any oil or grease contaminates. Where reinforcing steel is exposed and/or corroded wire brush or if steel is badly corroded grit blast and degrease with suitable solvent. Apply patent rust inhibitor or priming coat to steelwork and bonding agent or priming coat to concrete and place proprietary mortar in layers to a true and even surface.

All preparatory processes, priming and application of material to be carried out in strict accordance with a specific manufacturer’s recommendations for the type of repair being carried out.

4.2.16	Tile Cills

Externally: hack off defective cracked or loose tile and provide and lay 2 courses plain clay/concrete roofing tiles to match existing and laid breaking bond and set weathering in cement mortar 1:3 . Weathering and overall projection to match existing.

Internal: hack off defective tiles and bed and point in cement mortar 1:3. Vitrified clay, ceramic or quarry tiles to match existing.

4.3	Carpentry, Joinery and Ironmongery

Materials

4.3.1	Carpentry Timber

Timber shall be clean, sound, well conditioned and properly graded to suit the particular use and free from defects or combination of defects making it unsuitable for the purpose intended. Dimensions in softwood shall comply with BS EN 336 for structural softwood and BS EN 1313 for non-structural softwood.

All timber to be from sustainable sources.

4.3.2	Joinery Timber

Timber for joinery to be decorated with opaque coatings to comply with BS 1186: Part I as follows:

(A)	Hardwood or imported softwood clause 2 and clause 3 selected for suitability of usage from Appendix A for external timbers and Appendix B and C for internal timbers but excluding hardwood described as resinous.

(B)	Average percentage of moisture content as recommended in Section 3 and Table 3.

(C)	No exposed pith, arris knots, plugs or inserts permitted on faces concealed or otherwise in external joinery.

4.3.4	Preservative Treatment

All structural timbers to be treated in accordance with BS 5268 with pressure impregnation of a proper/chrome/arsenic solution to BS 4072.

External softwood. Joinery timbers to be vacuum impregnated to British wood preserving standards 112 – 116 or by other process to specific approval of Authorised Officer.

Suppliers’ certificates of compliance with the preservation requirements are to be provided when requested.

Surfaces cross cut or bored after treatment are to be swabbed with preservative.

All treated timber is to be dry before incorporation in the works.

4.3.5	Moisture Content

Timber is to be seasoned to a moisture content suitable for its end location and use and generally as follows:

(A)	Timber for carpenters work 18% +/- 2%.

(B)	External and internal joinery timber 15% +/- 2%.

(See also clauses 4.3.1 and 4.3.2).

Adequate measures are to be taken to ensure that the stated moisture contents are not exceeded prior to incorporation of timber or joinery in the works. Moisture content of timber is to be checked on site.

4.3.6	Timber Sizes

Unless otherwise stated all dimensions and thickness of timber quoted are nominal. Allowances in accordance with BS 447 will be allowed for wrot surfaces in software, allowances for hardwood wrot faces will not exceed 2mm.

Where wrot timbers are described these are specified in finished sizes for which a deviation not exceeding 2mm will be permitted.

Where timber is spliced it is to be finished to match existing for size.

4.3.7	Fixings

(A)	Screws shall comply with BS 1210.

(B)	Nails shall comply with BS 1201. Nails for fixing joinery having an external exposed face shall be sheradised in accordance with BS 1202: Part 1.

(C)	Plugs for screws in external positions shall be preformed nylon plugs minimum 38mm long and used in conjunction with No. 12. Gauge cadmium plates steel screws.

(D)	Plugs for screws in internal positions may be either preformed nylon or fibre plugs minimum 38mm long and used in conjunction with No. 12 Gauge screws.

Other fixing accessories shall comply with BS 1494 or shall be as described.

4.3.8	Adhesive

Adhesive to cold setting synthetic resin types as follows:

- Type W B P to BS 1204: Part 1 for exterior use.

- Type M R to BS 1204: Part 1 for interior use.

4.3.9	Plywood

Plywood for internal linings, boxing, etc. To be 6mm ply complying with BS EN 636, suitable for its location in the Works, and BS EN 635, suitable for its location within the Works.

Plywood for boarding up windows to be 13mm Canadian Douglas fir sheathing grade un-sanded or other equivalent ply to approval of Authorised Officer.

4.3.10	Doors

Timber doors to be of the type specified in the schedule as available from “Magnet” or other equal to approval of the Authorised Officer but intumescent strips where required to be fitted within door edges available from an approved supplier

Strips to have recognised test approvals to 30 and 60 minute standards.

4.3.11	Wood Windows

Casements and casement frame sections to be constructed in accordance with BS 644 with profiles shapes and sizes to match existing unless otherwise required.

4.3.12	Kitchen Units

Units and worktops by “Howden”, or equivalent.  Worktops to be white rolled edge. All to the approval of the Authorised Officer.

4.3.13	Ironmongery

Locks latches and bolts generally to be selected from the following:

Union silver series from Josiah Parkes & Sons Limited, Wood St Willenhall, West Midlands WV13 1LA or Yale by Yale Security Products UK, Wood Street, Willenhall, West Midlands WV13 1LA.

Door closers to be as follows:

Briton 2000 series overhead hydraulic closers by Ingersoll-Rand Architectural Hardware Products Limited, Bescot Crescent, Walsall WS1 4NF.

Concealed light duty closers, Perko manufactured by Perkins & Powell, Division of Samuel Heath & Sons Limited, Cobden Works, Leopold Street, Birmingham B12 OUJ.

Workmanship

4.3.14	Carpentry

Timber to be sawn truly square with bore holes made at right angles to the face and joints properly formed in a manner that brings and maintains all surfaces in full contact.

Nail/screw/bolt joints as necessary and avoid splitting by sensible spacing and with nails by pre-drilling if necessary.

Do not use timber members which are damaged, crushed or split.

Ensure that notches and holes are not so positioned in relation to knots or other defects that the strength of members will be reduced.

Do not use scarf joints, finger joints or splice plates without approval.

Treat timber surfaces exposed by cutting and drilling with two flood coats of a solution recommended for the purpose by the main treatment solution manufacturer.

4.3.15	Joinery

Produce joinery in accordance with good quality joinery practice undertaken by skilled joiners with all fabrication and jointing in accordance with BS 1186: Part 2.

No manufacturing imperfections shall be visible on any exposed surface with all screw heads recessed and pelleted. Pellets shall be of the same timber as joinery to match colour and direction of grain finished off flush and with the face.

Joinery shall be protected from damp during transit and storage and stored under cover, clear of the ground in clean dry ventilated areas before and after priming.

4.3.16	Arrises

Arrises on wrot timber work are to be rounded and rubbed down with abrasive paper to slightly rounded radius prior to priming; horizontal edges (cills, transoms, etc) exposed to the weather shall be pencil rounded.

4.3.17	Fixing

Timber shall be accurately fixed, scribed, mitred and secured in position as required.

Straight runs to be formed in single lengths wherever possible.

Items described as “fix brickwork” or “fix concrete” include for all necessary cramps, screws, plugs, bolts etc.

Fixing ironmongery to wood includes for fixing to softwood or hardwood as appropriate with matching screws.

Fixing ironmongery to metal includes for all necessary drilling metal and fixings.

4.3.18	Priming

All joinery timbers to be painted are to be knotted and primed before leaving the workshop with materials recommended by the approved paint manufacture with due regard to the location of the element within the building (see painting and decorating).

4.3.19	Lubrication and Adjustment of Ironmongery

Wearing surfaces of lift off hinges including rising butts to be lubricated during fixing using grease and wearing surfaces of other metal hinges shall be lubricated whilst laid flat using light machine oil.

Any other ironmongery requiring lubrication for the correct function shall be lubricated in accordance with the manufacturer’s recommendations.

4.4	Roofing

Materials

4.4.1	Roofing Felt

Vapour Control Layer: - Aluminium core, polyester base, vapour control layer as D Anderson & Son Ltd, Barton Dock Road, Stretford, Manchester M32 OYL “Vapourtec” or equal.

1st layer on 3 layer systems only: - Glass fibre based bitumen gritted perforated felt 32kg/10m for partial bonding to deck or type 3B find granule surfaced 36kg/20m for full bonding to deck according to deck type.

1st layer on 2 layer systems or 2nd layer on 3 layer systems: Underlayer, fully bonded in bitumen.

Toplayer: 38kg Permanite Superflex AA, or equal, felt cap sheet, green mineral chip finish, fully bonded in bitumen.

4.4.2	Bitumen Based Bonding Compound

For general bonding purposes to flat roof’s 105/35 oxidised bitumen for hot application.

4.4.3	Chipping and dressing compound

Chippings to be hard light coloured non-absorbent natural stone 10mm single size.

Dressing compound to be cut back bitumen to BS 2690 grade 25 sec. Or suitable cold applied bitumen based adhesive.

4.4.4	Profile Sheet

Profile sheets to be non-asbestos organic fibre cement sheets Eternit 2000 profile 3 and profile 6R together with all associated accessories such as flashings, trims, fill adhesives, spacers etc. Colour: natural grey.

4.4.6	Slates

Natural fine grained riven textured slates of colour to match existing and to BS 690 grade and of sizes as follows:

610 x 305mm (duchess)

510 x 255mm (countess)

4.4.7	Tiles

Clay: plain smooth or sand faces 265 x 165 mm clay tiles of colour, profile and type (i.e. machine made or hand made) to match existing and to BS 402.

Concrete: single lap interlocking smooth or sand faced tiles to match existing for profile and colour to BS EN 490.

4.4.8	Nails

Use nails of adequate length and gauge to provide secure fixing and either of aluminium alloy to BS 1202: Part 3 or copper to BS 1202: Part 2.

Workmanship

4.4.9	Built up Felt Roofing

Ensure that surfaces are free from irregularity or protrusions and that they are clean and free from any solvents or other potentially harmful contamination and carry to felt work in accordance with BS CP 144: Part 3 and the manufacturer’s recommendations.

4.4.10	Profiled Sheeting

Handle, store and fix profiles sheeting and ancillary materials neatly in accordance with the manufacturer’s recommendations to make a sound and weathertight covering. Fixing to be in accordance with recommendations of BS 5247: Part 14. IN particular cut sheets accurately with clean true line, drill all holes with 40mm minimum edge spacing and form any mitres as the work proceeds. End laps to be fully supported with minimum 150mm lap and fastening position not less than 95mm from the end of overlapping sheet.

4.4.11	Slating and Tiling

Workmanship to comply with BS 5534 with slates plain tiles or interlocking concrete tile as required laid to existing gauges and fixed with nails specified.

Bedding and pointing of ridge tiles to be carried out in 1:3 portland cement/sand mortar.

4.5	Glazing

Materials

4.5.1	Glass

To BS 962: Part 1 and BS 6206, clean cut without edge faults and free from defects of the following type:

6mm clear float
6mm Georgian wire clear polished
4mm and 6mm obscure patterned
7mm Georgian wired cast
6.4mm laminated
Toughened Safety Glass

4.5.2	Putty

Linseed oil putty to BS 544 to wood.

Proprietary metal casement putty to metal.

Workmanship

4.5.4	Glazing

Glazing shall consist of providing and glazing the required glass in accordance with BS 6262

Safety Related to Human Impact

BS 6262: Part 4: Safety Related to Human Impact

The Contractor shall ensure that the requirements of BS 6262: Part 4 shall be strictly adhered to and shall select suitable glass for use in the locations given within the BS. Where safety glass is required each individual pane shall be marked with the BS 6206 kite mark so that it is clearly visible when glass is insitu.

All rebates to be clean and dry and primed or sealed before glazing.

Glazing shall be fixed either with beads which shall include for neatly bedding and backing the glass with appropriate glazing compound or be back puttied and front puttied. Use of glazing sprigs is deemed to be included. Where beads are employed these are to be primed and undercoated on bedding surfaces.

Putty is to be full to sightlines and neatly trimmed and cleaned off.

4.6	Plasterwork

Materials

4.6.1	Gypsum Plaster

Premixed Lightweight Gypsum Plaster to BS 1191 as manufactured by British Gypsum Ltd., East Leake, Loughborough, Leicester LE12 6JT or other equal approved. Plasters shall be used in accordance with BS 5492 and manufacturer’s recommendations.

Premixed Renovating Gypsum Plaster to BS 1191 as manufactured by British Gypsum Ltd., East Leake, Loughborough, Leicester LE12 6JT or other equal approved. Plasters shall be used in accordance with BS 5492 and manufacturer’s recommendations.

4.6.2	Cement Sand Screeds

Cement shall be from an approved source and shall comply with either, BS 12 for Ordinary Portland Cement or BS 4027 for Sulphate Resisting Cement. It shall be stored in a dry place free of condensation and shall be fresh when used. The manufacturer’s certificate of compliance to BS is to be supplied if requested.

Sand shall consist of natural sand, crushed stone/stone, crushed gravel/sand or a combination of these and is to comply with the following standards:

For screeds – BS 882: Table 2 Zone 2 or 3

4.6.3	Plasterboard

Plasterboard for ceilings is to be 9.5mm Thistle Duplex square edge base board with metallised polyester film reverse face vapour membrane as manufactured by British Gypsum Limited.

4.6.4	Expanded Metal Lathing and Accessories

Expanded galvanised lathing to BS 1369 weighing not less than 1.2kg/m2 for lightweight plaster, 1.6kg/m2 for sanded plaster and internal rendering and 1.9kg/m2 for external rendering.

4.6.5	Coarse Stuff

Coarse stuff shall be ready mixed to BS 471 using sand to BS 1199, Type A.

Proportions as follows:

1:4 for 1:2:9 mix and 1:6 for 1:1:6 mix.

4.6.6	Textured Finish

To be non-asbestos self-finished textured decorative coatings.

4.6.7	Damp Proof membrane

Synthaprufe rubber/bitumen emulsion as manufactured Ruberoid Building Products, Tewin Road, Welwyn Garden City Hertfordshire AL7 1BP or other equal and approved rubber/bitumen emulsion.

4.6.8	Workmanship

Plasterwork: Generally

All plasterwork to comply with requirements of BS 5492 with a suitable plastering system selected from Table 2 of BS 5492.

Subject to this apply two coat plastering specifically as below:

All backgrounds are to be suitable and any loose plasterwork to be cut back and removed and surfaces degreased and dusted as necessary.

Plaster to be applied as follows:

- (a)	Undercoat with a wood float initially as a think coat firmly worked into a background and then bought out to full thickness and face combed or scratched to provide a key.

- Allow drying shrinkage to finish before application of finish coat.

- Allow finish with hand float or laying trowel to thickness 3mm and bring to a true even and flat eggshell surface.

- Slightly round external angles, nearly form all margins and ensure all reveals and angles neat straight and square.

4.6.9	Plasterwork: on Plasterboards and Lath

On plasterboards caulk all joints with neat board finish plaster reinforce with jut scrim and finish with 5mm thick setting coat board finish plaster applied neat and trowelled to a smooth finish.

On lathing ensure the lath is taut, secure and fixed with key facing outwards.

4.6.10	Fixing Plasterboards

Execute any firring or planning necessary to ensure a true and level surface. Fix plasterboard at every support with 32mm cadmium plated nails at 150mm centres and provide any additional support or noggins required so that boards are supported at all perimeters and at perimeters of ceiling.

4.6.11	Dissimilar Materials

Where dissimilar background materials are in contact with each other and are to be plastered over fix appropriate expanded metal lathing.

4.6.12	External Rendering

Render mix to be selected from Tables 1 and 2 of BS 5262 suitable for background and conditions of exposure and to be applied in not less than two coats to finished thickness as recommended in clauses 2.3.2 and 2.3.3 of the BS.

Workmanship generally to comply with BS 5262 with undercoat applied to uniform thickness and bought to a level surface with a straight edge, scratched brushed down and lightly wetted for application of finish coat. Allow drying shrinkage to finish before applying finish coat and ensure both coats are prevented from drying out too quickly.

4.6.13	Floor Screed

Workmanship generally to comply with BS CP 204 with screed mix proportion generally 1:4 cement: sand and to have a dense smooth trowelled finish suitable for thin floor finishings. Maximum permissible deviation from flat: 3mm under a 3m straight edge.

4.7	Other Finishings

Materials

4.7.1	Thermoplastic Tiles

To be 225 x 225mm or 300 x 300 mm, 2.5mm or 3mm thick to match existing to BS EN 649.

4.7.2	PVC Tiles

To be 225 x 225mm or 300 x 300mm, 1.5mm thick to match existing Type B plain or patterned tiles to BS EN 649.

4.7.3	Latex Screed

Self-levelling latex screed to be nitoflor FL by Fosroc Expandite Limited, Pitfield Kiln Farm, Milton Keynes, Buckinghamshire MK11 3LX or by Ardex UK Limited, Homefield Road, Haverhill, Suffolk CB9 8QP.

4.7.4	Wall Tiles

Glazed ceramic tiles to be 152 x 152 x 5mm white tiles to BS 6431: Part 9.

Workmanship

4.7.5	Floor tiling

Tile flooring to be laid with adhesive recommended by the manufacturer and strictly in accordance with instructions of the adhesive manufacturer including priming base if necessary and in general accordance with requirements of BS 8203.

4.7.6	Wall Tiling

Work to be carried out generally in accordance with BS 5385: Part 1 using approved proprietary “thin bed” adhesives of type suitable for background and tiles.

Grouting is not to be carried out until sufficient time has elapsed after fixing as recommended by the manufacturer of the adhesive. Grouting is to be of the type recommended by the manufacturer to complement the tile adhesive system.

4.8	Painting and Decorating

General Requirements

4.8.1	Protection

The Contractor is responsible for properly protecting fitted carpet and any furniture within rooms being redecorated.

Where necessary edges of fitted carpets to be lifted and the carpets refitted upon completion being properly fitted down to any carpet edging strips and the rates are deemed to allow for any such attendances.

4.8.2	Extent of Work

The rates for redecoration of rooms are deemed to include for redecorating all existing decorated surfaces with similar finishes to those existing including walls, ceilings (including artex ceilings), softwood and hardwood joinery, metalwork and pipework. The rates do not, however, include for redecorating metal radiators which are itemised separately. Where radiators occur they are to be temporarily disconnected, set aside and subsequently refitted to enable redecorations to be carried out to both wall and radiator and the rates include for draining down, refilling, purging, balancing and testing.

The rates also include for washing down of all self-finished surfaces with hot water and detergent or sugar soap or non-abrasive cream clean as found necessary and for rinsing with clean water and polishing off.

Materials

4.8.4	Non-toxic Paint

All paints shall be led free and low odour.  All paints to be water based unless required for Listed building status.

4.8.5	Delivery

All paints, varnishes and other surface coatings to be delivered in sound, sealed containers clearly labelled. Store materials in accordance with the manufacturer’s recommendations. Use in order of delivery and before expiry of any shelf life date.

4.8.6	Primers

Primers to be off the type recommended by the manufacturer for the surfaces to be coated.

4.8.7	Undercoat for Oil Paints

Undercoat to be oil based undercoat to Table 4 Ref. 4/1 of BS 6150.

4.8.8	Gloss Finish

Gloss finish paints to be alkyd gloss as Table 5 Ref. 5/1 to BS 6150.

4.8.9	Emulsion Paint

Emulsion paint to be either matt or sheen finish vinyl emulsion to Table 5 Ref 5/4 of BS 650.

4.8.10	Linseed Oil

Linseed oil to be BS 6900.

4.8.11	Knotting

Knotting to comply with BS 1336.

4.8.12	White Spirit

White spirit to comply with BS 245.

4.8.13	Stopping and/or Filler

Stopping and/or filler to be as follows:

- Plasterwork: plaster based filler.

- Concrete, render or brickwork: suitable hard external filler finish to similar texture as background.

- Asbestolux, non-asbestos boards, insulating boards etc: plaster based filler for internal work or cementious based filler for external work.

- Internal woodwork, hardboard, plywood etc: proprietary internal filler, suitable for its location, tinted to match colour of undercoat.

- External woodwork: white lead based or other proprietary external filler, suitable for its location, tinted to match colour of undercoat.

Workmanship

4.8.14	Workmanship: Generally

All fixtures, fittings and fastenings are to be removed before the preparatory processes are commenced and re-fixed on completion.

Work is to be protected during progress with dustsheets as are existing floors, items of furniture etc.

Before surfaces to be painted shall be properly prepared according to the manufacturers recommendations, to BS 6150, Section 4 or Section 6 and specially as below:

All knots in woodwork shall be treated to prevent bleeding and if necessary cut out or cut back and the surface made good with hard stopper.

All materials are to be used strictly in accordance with the manufactures instructions.

No unauthorised addition of thinners, dryers or other adulteration of paints are permissible.

All coatings are to be thoroughly dry before succeeding coats are applied.

All undercoats for oil paints and clear finishes are to be rubbed down before the succeeding coat is applied.

4.8.15	Condition of Priming

If the priming coat has in any way deteriorated or has been damaged by the time succeeding coats are to be applied, the affected portion or the whole of the work if necessary is to be rubbed down and re-primed. In the case of articles primed at works the priming shall be touched up with a similar primer.

4.8.16	Preparation of Plasterwork: Existing

Thoroughly wash down existing painted surfaces with sugar soap solution and rinse off with clean water. Rub down to remove all loose paint and any rough projections, seal stains to prevent future staining, cut out any cracks, clean out internal angles, remove loose plaster and make good with patent filler to cracks or gypsum plaster to larger areas. Touch in bar areas with suitable primer and additional coats as necessary to bring forward.

Where paper is to be removed, strip off and scrape surface as necessary, cut out and make good cracks and other defects in plaster as above.

4.8.17	Preparation of Plasterwork: New

Remove any efflorescence, loose particles, excrescencies and make good any cracks. Where required prime with universal/alkali resistant primer.

4.8.18	Preparation of Woodwork: Existing

Remove any unwanted nails and screws, rub down with waterproof abrasive paper or otherwise strip off all peeling and defective paintwork. Scrape out all cracks, crevices and holes, prime and make good with hard stopping faced up and rubbed down to an even surface. Wash down with sugar soap solution and rinse off and spot prime bare areas and bring forward where necessary.

4.8.19	Preparation of Woodwork: New

Sand down to smooth surface, knot and prime including back priming components before fixing, stop imperfections and face up and rub down to an even surface.

4.8.20	Preparation of metalwork: existing

Wire brush, scrape and clean off any loose and defective paint and rust, scale and any other contamination. Generally rub down and thoroughly wash with sugar soap solution and rinse off. Spot prime bare areas and bring forward.

4.8.21	Preparation of Metalwork: New

Where required thoroughly clean by scraping, wire brushing etc., to remove any rust and scale and stop any open joints or faults with red or white lead putty.

Galvanised surfaces: thoroughly degrease, treat with coarse emery paper and clean down with white spirit.

4.8.22	Painting: Application

Apply coating by manufacturers preferred method, e.g. brush or roller for the coating and surface involved. When brushing, apply a full coat evenly worked in and “laid off”.

4.9	External Works

Materials

4.9.2	Pre-cast Reinforced Concrete Posts

Concrete posts to be plain recessed or mortised according to requirements, to be to the appropriate requirements of BS 1722 and to be of height of fence plus setting in ground as follows:

Fence Height

Up to 1.4m

Over 1.4m

4.9.3	Larch Lap Fencing

Depth in Ground

Larch lap panels to be to BS 1722, Part 11 pre-treated with preservative to BS 1722: Part 5.

600mm

4.9.4	Close Board Fencing

750mm

Close boarded fencing to consist of prefabricated panels pre-treated with preservative to BS 1722: Part 5 with feather edge pales, triangular arris rails, timber gravel board and twice weathered capping.

4.9.5	Chain Chestnut Fencing

Chestnut pale fencing to be to BS 1722: Part 4 with 75m pale spacing, round chestnut posts and strainingposts.

4.9.6	Gates

Metal: galvanised steel to BS 4092: Part 1.

Timber: Softwood ledged and braced, or, framed, ledged and braced gates with pre-treated timber to BS EN 942, Class J40.

4.9.7	Concrete

Concrete for postholes and for paving to be sulphate resisting Portland cement concrete of grade 20N/mm2/-20mm aggregate (1:2:4).

4.9.8	Hardcore

Hardcore to be hard impregnable, incombustible, non-perishable and chemically inert material well-graded in size from 100mm lump downwards and to be clean and free from any deleterious matter including plaster.

Blinding for hardcore to be fine such as sand, fine gravel, pulverised fuel ash or well burned ashes.

Workmanship

4.9.9	Fencing

All fencing work to comply with recommendations for erection of fences as set out in BS 1722.

Section Five

5	Specification – Plumbing

5.1	Generally

5.1.7	Testing

The rates include for testing to the satisfaction of the Authorised Officer and the appropriate supply authority of gutters and rainwater pipes, sanitary instalments, hot and cold water services and making good and retesting of any defects found.

5.1.8	Materials Generally

All replacement or new rainwater goods, sanitary pipe work and water service shall match the existing as to size, type and quality unless otherwise authorised by the Authorised Officer.

5.2	Rainwater goods

Materials

5.2.1	Rainwater Pipes and Gutters

UPVc rainwater pipes and gutters shall be of the appropriate profile and colour from the Hunter International range or other equal and approved to BS 4576 Part 1.

Other materials, where required, shall comply as follows:

Aluminium to BS 2997

Cast iron to BS 460 (externally)

Pressed steel to BS EN 612

Brackets to BS EN 1462

5.2.2	Rainwater Sundries

Balloon guards to UPVC goods to be plastic of appropriate colour and elsewhere galvanised wire to BS 416.

Holderbats, pipe nails, brackets, clips, rings and other accessories to comply with the appropriate BS as above.

Workmanship

5.2.3	Fixing Gutters

Fix to falls of 1 in 300 with adequate supports to prevent sagging and ponding and as follows:

- UPVc – in accordance with manufacturer’s instructions and with adequate allowance for thermal movement.

- Cast iron- bolt joints with corrosion resistant bolts and nuts and set and seal joints with patent non-settling mastic as Expandite saniseal super or equal and approved.

- Aluminium – joint with manufacturers recommended mastic or compressible strip.

- Pressed steel – join as for cast iron or otherwise as specifically recommended by manufacturer.

5.2.4	Fixing Downpipes

Fix external vertical rain water pipes with open socketed joints and fix to walls through pipe clips/brackets or cast on lugs as appropriate with cadmium plated nails to rawlplugs or via use of patent pipe nails. Where necessary provide pipe spacers.

5.3	Sanitary Pipework

Materials

5.3.1	Soil and Ventilations Pipes

To comply with British Standard as follows:

Plastic to BS 4514

Cast Iron to BS 416

5.3.2	Waste Pipes and Fittings

Unplasticised PVC to BS as above or ABS, polyethylene or polypropylene to BS5255 or BS 5254

Note:  External pipework to the UPVC.  Where use of the polypropylene pipes is unavoidable protect from photo-oxidation by painting with masonry paint or gloss paint ensuring that pipework is degreased and roughened prior to application.

5.3.3	Traps

To be h.d.p.e. or polypropylene two-piece or bottle type to BS 4514 or BS 5255.

Depth of seals to be as follows:

- Outlets not exceeding 50mm i.d. 75mm

- Outlets over 50 mm i.d. mm

Workmanship

5.3.4	Code of Practice

The whole of the sanitary installation shall be in accordance with the requirements of BS 5572.

5.3.5	Waste Pipework

Using fittings and jointing method, either solvent welded or push fit, recommended by manufacturer for type of plastic pipes utilised.

5.4	Water Services

Materials

5.4.1	Pipes and Fittings

Pipes for internal use to be seamless copper tube to BS EN 1057 half hard tempter R250 with compression or capillary fittings to BS 1254 as appropriate.

5.4.2	Stop Valves and Drain Cocks

Stop valves for services isolation to be gun metal screw down type and drain cocks at low points gunmetal to BS 1010.

5.4.3	Float Valves

12mm diameter float valves to be BS 1212, Part II or Part III diaphragm or approved equilibrium type with plastics float to BS 2456.

5.4.4	Servicing Valves

Servicing valves provided where sanitary appliances, cisterns and sinks renewed or where required to meet Water Authority Byelaws to be from the DZR Conex Servicemen range or equal and approved to BS 5154.

5.4.5	Lagging and Insulation

To pipework exposed in roof space and approved or where there is a danger of freezing: Armaflex Type AF or equal and approved preformed pipe lagging.

5.4.6	Workmanship – General Requirements

Allow for thermal movement with push-fit-ring-seal joints by withdrawing pipe from socket by approximately 5 mm.

Waste pipework generally to be 32 mm diameter to single wash basins and 40 mm diameter elsewhere subject to BS requirements.

Support pipes at 500 mm ccs. Horizontally and 1200 mm vertically

5.4.7	Copper Pipework (Internal)

| Pipe | Diameter | Horizontal |
| --- | --- | --- |
| Supports | Vertical | Fixings F |
| 15 mm | 1200 mm | 1800 mm |
| 28 mm | 1800 mm | 2400 mm |

5.4.8	Potable Water Pipework

Where pipes carry water for drinking or culinary purposes ensure that:

a)	Pipes and fittings are cleared internally including removal of metal filings.

b)	Unspecified jointing materials comply with Water Research Council’s list of approved materials.

c)	Any coatings or cutting oils on jointing surfaces are removed.

d)	Only jointing material specifically for use with potable water applications or PTFE tape are used on compression fittings.

5.4.9	Concealment of Pipes

All pipes to be concealed behind duct covers, within floors, roofs or cupboards except where this is not possible any alternative is to be agreed with the Authorised Officer.

5.4.10	Pipe Lagging

Insulate all pipework (including overflow pipes) within roof spaces or where there is a danger of freezing with pre-formed foam sections taped or bonded in accordance with manufacturers instructions.

5.4.11	Flushing/Sterilisation

Where new pipework is installed the rates are deemed to include for filling the installation as necessary and flushing through or otherwise sterilising in accordance with BS 6700.

5.5	Sanitary Fittings and Appliances

Materials

5.5.1	Sanitary Fittings

Sanitary fittings specified in the Schedule are as follows:

Washbasins: Armitage Range Vitreous china with 2no. tapholes and chain stay hole.

W.C.’s: Armitage w.c. bowl in vitreous china and horizontal outlet.

Cisterns (high and low level): sandwich foam duoflush, or equal, 41/2/9 litres with plastic siphon and float valve and including: front lever action and white PVC flush bend for low level or lever and chain pull, telescopic PVT flush pipes and concealed space brackets for high level.

Seats: Low profile double flat Twyfords Advent or equal and approved.

All sanitary fittings colour:  White.

5.5.2	Taps

Pillar taps to be chrome plated draw-offs to BS 1010 or BS 5412 generally to match existing or as otherwise authorised by the Authorised Officer.

Workmanship

5.5.3	Draining Down

Turning off water supply draining down as necessary and subsequently refilling shall be deemed to be included within the unit rates for renewal of sanitary appliances and taps.

5.5.4	Renewal of Sanitary Appliances

Assemble and joint together component parts and fix in accordance with the requirements of BS 6465 using manufacturers patent brackets and fixing method wherever possible and non-ferrous or stainless steel screws.

Fix appliances so that water falls to the outlet.

Do not put pipework under stress by allowing it to support or partially support appliances.

Bed taps and outlets in proprietary mastic compound with necessary washers.

Make good any tiling disturbed/damaged and seal to adjoining walls, basins and sinks with white silicone sealant.

5.6	Testing

5.6.1	Inspection

Check all valves, taps, sanitary appliances, cisterns and the like, installed and ensure everything is clean, in new condition and functioning correctly.

5.6.2	Testing

Test all installations in stages as appropriate, ensure that all pipes are unobstructed and test for leaks as follows:

a)	Rainwater Installations:  Generally test with water.  Internal stacks, block both ends and apply air test as 38mm water gauge for 3 minutes BS 6367.

b)	Sanitary Installations:  Test water seals in appliances.  Test all soil pipes and branch waste and ventilating pipes.

c)	Water Down Service Installations:  Fill and check for leaks immediately and after 1 day.

Section Six – Electrical

6	Specification – Electrical

6.1	Generally

6.1.7	Testing

Testing of installations shall be carried out as instructed but in any case the Contractor shall test wherever installations, alterations or renewals have been carried out and the rates are deemed to include for this.

Testing shall comply with the appropriate IEE Regulations and shall include provision to the Authorised Officer of a certificate of compliance in accordance with Appendix 16 of the Regulations.

If on testing an installation following the rectification of a fault it is apparent that another fault exists in the system, the Contractor shall immediately inform the Authorised Officer and seek additional instructions.

6.2	Materials

6.2.1	Generally

- All materials where not specifically listed, must comply with the IEE Regulations and relevant British Standards.

- All replacement accessories and fittings to match existing as to material and colour

6.2.2	Cables

- Domestic:  Cables to be BASEC – certified PVC insulated and sheathed with earth conductor, twin or three core as appropriate to BS 6004 and of size/rating calculated for use from the IEE Regulations.

- Non-domestic:  cables as above is as existing or otherwise single core PVC insulated cables to BS 6346 drawn into conduit or trunking.

- Earth conductors:  Green PVC sheathed copper conductors generally 16mm2 from mains terminal to consumer unit, 10mm2 to incoming gas and water supplies and 4mm2 from metallic piping of all sanitary fittings or otherwise as required by the latest edition of the IEE Regulations.

6.2.3	Conduit and Trunking

- Plain black enamelled conduit, fittings and components to BS 4568 or uPVC oval conduit to BS 4607 and BS 6099.

- Surface trunking to be white uPVC Ega Mini Trunking by MK Electric Ltd, or other equal and approved trunking to BS 4607 Part 5.

6.2.4	Accessories

- All switches, sockets and fused outlets, cooker panels and other outlet fittings to be white plastic from the Logic Range as manufactured by Caradon MK Electric Ltd or other equal and approved such as Crabtree Electrical, Ashley Accessories, MEM Ltd.

6.3	Workmanship

Generally

All work is to be undertaken in conformity with the IEE Regulations and any requirements of the Supply Authority

6.3.1	Wiring System

Socket outlets hall be wired on the ring main principle.

Immersion heaters and other dp switches to be wired independently to distribution panel.

Lighting wiring to be undertaken on ‘looping in’ basis.

Provide earth continuity with cable conductors: conduits and other metalwork are not to be utilised for earth continuity.

6.3.2	Cable Routes

Cables to be run where possible through floor and ceiling voids.  Run parallel to walls and joists etc and not diagonally.  Do not embed in insulation or within floor screeds, plaster without encasing in conduit.

Maintain 250mm clearance from all hot water pipes.

6.3.3	Earth Bonding

Where required earthing conductors of minimum area specified to be run from has and water supplies to main earth strip.

6.3.4	Overhauling Appliances

Where electrical appliances and fittings are overhauled, the work includes disconnecting the supply, tracing fault, disconnecting and reconnecting wiring as necessary, completing repair, reconnecting supply, testing and leaving in good working order.

6.3.5	Renewal of appliances

Renewal of electrical appliances and fittings includes disconnecting the supply, taking down and removal from the site of existing faulty fitting, installation of the new fitting and subsequently reconnecting electrical supply, testing and leaving in good working order.