## Front Sheet P004
ASSET INFORMATION requirements
The Shared Estates Service (SES) Cluster: Project Control Framework
STD/BIM/P004, P004.1, P004.2, P004.3 (G0500)
Information Delivery Plan (IDP) and Data Specification for Building Information Modelling & Data-Sets
Project: [E.g. Cluster_Conference_Room_Pilot (HMP Custodial Kitchen_Project)
e-PIMS: 000000 BPRN: 0000
>Template Version 1.7

## Version
Document Control
Version No | Date of Issue | Purpose of Issue | Name | Amendment Summary
v1.2 | 12.04.2016 | For Information | Watchorn, M | AIR Docs and IDP combined following feedback from SIG members
v1.3 | 20.04.2016 | For Information | Watchorn, M | Additional CAIP (Forward Maintenance System) field references and notes to P004.2
v1.4 | 12.05.2016 | For Information | Watchorn, M | Additional CAFM Nomenclature references added to P004.2.
v1.5 | 13.05.2016 | For Information | Watchorn, M | Filter introduced for minimum level 'Bronze-BIM' data requirements.
v1.6 | 09.06.2016 | Shared | Watchorn, M | SIG recommended updates to 4.0,4.1,4.2,4.3 guidance tab and a simplification to IDP column headings.
v1.7 | 16.06.2016 | Shared | Watchorn, M | Additional DelRefs added from MoJ Project Control Framework, info provider updated

## Guidance
Asset Information Requirements - Document Guidance
Document Overview
This document prescribes and confirms the documents and asset data required to be provided during the design and construction phases, for the MoJ Estates Directorate on their projects. The purpose of the document is to confirm accurate scope from Brief to Handover to enable the following: - A detailed and accurate tender process where the requirement for data is clearly defined - A supply chain procurement process where professional services and the provision of data can be accurately requested and priced - A project delivery process where design and construction data can be accurately measured and quality assured prior to hand over
Contents
Worksheet |  | Description & Guidance
STD/BIM/P004 |  | This sheet confirms the documents to be provided and used by the MoJ and its suppliers (designers, contractors and operators) during the building lifecycle.
STD/BIM/P004.1 |  | This document divides assets into 40 categories, and provides the facility to confirm the level of geometric detail, and the level of information (data) that is required for each category.
STD/BIM/P004.2 |  | This document confirms the default MoJ requirements for COBie data, and links data fields to the level of information confirmed in the data categories in STD/BIM/P004.1 - Data Categories
STD/BIM/P004.3 |  | This document confirms the default MoJ requirments for Performance Attribute data with regard to the data categories defined in STD/BIM/P004.1 - Data Categories
STD/BIM/P004 - IDP Documents
Column Name |  | Description & Guidance
Required |  | This column is to be updated by the MoJ Project Manager during the project brief, to confirm whether the information is required as a project deliverable
MoJBIM_DelRef_Group |  | This relates to the standard MoJ referencing system for asset information. This is not to be changed.
DelRef |  | This relates to the standard MoJ referencing system for asset information. This is not to be changed.
Legacy |  | Indicates whether IDP requirement relates to existing information available or otherwise. Details to be provided in notes column.
Information Descriptor |  | This is the name of the required information and relates to the standard MoJ referencing system for asset documents. This is not to be changed.
Extent of Information |  | This column confirms whether the information is related at the component, system, building or site level. Default level is already provided.
AIM / O&M Content Type |  | This column confirms the format in which the required information is to be provided. The MoJ Project Manager needs to select and confirm whether the information is to be provided as a document, as data in the model, or a link embedded in the model.
Stage 00 - 06 |  | These columns confirm the project stae the information is to be supplied
Info Provided by |  | This column confirms the project role / dicipline that is typically expected to provide the information
Notes |  | A field principally for Client, MoJ Project Manager to record any additional information i.e. '3D PIM required, but only to floors 2 and 4, remaining building as an 3D footprint'
STD/BIM/P004.1 - Data Categories
Column Name |  | Description & Guidance
Ref |  | This column confirms the MoJ's unique reference for the Component Category
Category |  | This column confirms the general name for the Component Category
Description |  | This column provides a general description for the Component Category and describes "in principle" the range of components the category applies to.
Max LOI |  | This column provides confirmation regarding the maximum Level Information to be provided for Components in the design, that apply to a Component Category. The max LOI relates to and confirms, the COBie data fields applicable in the STD/BIM/P004.2 - COBie Data sheet. A default Level of Information is already provided.
COBie Required |  | This column confirms whether the MoJ will require the COBie data defined in sheet STD/BIM/P004.2 - COBie Data for Components in each Component Category. This column is to be selected and confirmed by the MoJ Project Manager. A default project requirement is already provided.
Consultant LOD |  | This column confirms the level of goemetric detail required for modelled components related to the Component Category, that are to be provided by the Consultant Designers. A default project requirement is already provided.
Specialist LOD |  | This column confirms the level of goemetric detail required for modelled components related to the Component Category, that are to be provided by the Design Specialists and Subcontract Designers. A default project requirement is already provided.
Handover LOD |  | This column confirms the level of goemetric detail required for modelled components related to the Component Category, that are to be provided at Handover. A default project requirement is already provided.
NRM1 |  | This column confirms the minimum NRM1 Classification for modelled components related to the Component Category. A default project requirement is already provided.
STD/BIM/P004.2 - COBie Data
Column Name |  | Description & Guidance
Ref |  | This column confirms the MoJ's unique reference for each COBie data field
Parameter |  | This column confirms the name of the COBie field as defined in BS1192:4 2014
Example |  | This column provides a typical example of the data that needs to be provided for the COBie Data Field, as defined by BS1192:4 2014
Notes |  | This column confirms the origins of the data to be inserted in this data field. E.g. "Application" - data derived directly from the model authoring software, "Pick List" - data values read and selected from a column on another COBie worksheet etc.
Information Exchange |  | This column confirms the pre defined project information exchange at which the data field is to be populated and handed over by. A default Information Exchange is already provided.
Responsibility |  | This column confirms the type of project stakeholder whose responsibility it is to populate / provide the data field. A default stakeholder who would typically be responsible for providing the data has been provided.
LOI |  | This column confirms the Level of Information associated with the data field. The LOI value relates to the "Max LOI" value defined for data categories STD/BIM/P004.1 - Data Categories
Project Requirement (Y/N) |  | This column confirms whether the data field is to be included as a project requirement, and is to be populated by the MoJ Project Manager. A default project requirment is already provided.
STD/BIM/P004.3 - Performance Attribute Data
Column Name |  | Description & Guidance
Ref |  | This column confirms the MoJ's unique reference for the Component Category, as defined in sheet STD/BIM/P004.1 - Data Categories
CATEGORY |  | This column confirms the general name for the Component Category, as defined in sheet STD/BIM/P004.1 - Data Categories
Structural / Architectural |  | These column contain the minimum performance attributes associated these design disciplines. The MoJ Project Manager is to confirm whether these performance data attributes are a project requirement for each data category. A default project requirement is already provided.
Electrical |  | These column contain the minimum performance attributes associated these design disciplines. The MoJ Project Manager is to confirm whether these performance data attributes are a project requirement for each data category. A default project requirement is already provided.
Mechanical |  | These column contain the minimum performance attributes associated these design disciplines. The MoJ Project Manager is to confirm whether these performance data attributes are a project requirement for each data category. A default project requirement is already provided.
Environmental |  | These column contain the minimum performance attributes associated these design disciplines. The MoJ Project Manager is to confirm whether these performance data attributes are a project requirement for each data category. A default project requirement is already provided.
Note on A24: Matt Watchorn: If available at Site and Building level - shown as Site

## P004.0 IDP
STD/BIM/P004 AIR Information Delivery Plan - Documents
Required? | MoJBIM_DelRef_Group | DelRef | Legacy | Information Descriptor | Primary GSL Evidence? | Extent of Information | AIM / O&M Content Type | Project Phase | Stage 00 | Stage 01 | Stage 02a | Stage 03 | Stage 04 | Stage 05 | Stage 06 | Stage 07 | Info Typically Provided by | Services Delivery Partner | Notes
Yes | A0000_Site Conditions / Legacy / Discovery | A0100 |  | Soil Investigation Research | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0200 |  | All demarcation agreements | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0300 |  | Archive Information / Record Drawings | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0400 |  | Local Authority Road and Lighting Adoption Agreement | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0400 |  | Validation of Archive Information | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Contractor
Yes | A0000_Site Conditions / Legacy / Discovery | A0500 |  | Site based Arial Lidar Survey | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0600 |  | OS map | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0700 |  | Topographic Survey - GPR Utilities detection | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0800 |  | Drainage CCTV Survey | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A0900 |  | External Levels Survey | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1000 |  | Flood Risk Assessment | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1100 |  | Transport Assessment | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1200 |  | Arboricultural survey | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1300 |  | Ecological Survey | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1400 |  | Unexploded Ordnance Detailed Risk Assessment | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1500 |  | Static Point Cloud Survey | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1600 |  | Floor and Roof Levels | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1700 |  | External Elevations | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1800 |  | External Form & Appearance | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A1900 |  | Internal Elevations | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2000 |  | Building Sections | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2100 |  | Internal layout and spaces | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2200 |  | Furniture Asset Schedule | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2300 |  | Legacy FF&E Survey | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2400 |  | Acoustic Survey | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2500 |  | Photographs | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2600 |  | Asbestos Survey | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2700 |  | Condtition survey & Asset Data Capture | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2800 |  | Full Structure Survey | TBC (On Project) | Structure | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A2900 |  | Core Samples | TBC (On Project) | Structure | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3000 |  | Geotech Investigation | TBC (On Project) | Structure | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3100 |  | Intrusive geo-environmental investigation & interpretation | TBC (On Project) | Structure | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3200 |  | Site investigation report | TBC (On Project) | Structure | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3300 |  | Existing M&E schema provided | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3400 |  | Fire Alarm Integrity | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3500 |  | Water Quality (Full Bacterial Chemical Analysis) | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3600 |  | Existing Systems Legionella Test | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3700 |  | Electrical Power Quality Survey | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3800 |  | Pressure testing of existing heating pipework | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A3900 |  | Detail Plantroom Survey | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A4000 |  | Detail Switchroom Survey | TBC (On Project) | MEP | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A4100 |  | UXO Assessment | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A4200 |  | Contaminated Land Survey | TBC (On Project) | Site Wide | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | A0000_Site Conditions / Legacy / Discovery | A4300 |  | Utilities Survey Report | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep
Yes | B0000_Design | B0100 |  | MoJ BIM Component Library STD/BIM/L001 v3.0 | TBC (On Project) | Other | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep | Yes
Yes | B0000_Design | B0200 |  | Fire Design Compliance Certificates | TBC (On Project) | Component | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Contractor | Yes
Yes | B0000_Design | B0300 |  | Historic England approval statement | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D0100 |  | 2D Drawings (marked up existing, traced or authored plans / elevations / sections showing new as-installed items) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor
Yes | B0000_Design | B0400 |  | Design Compliance Certificates | TBC (On Project) | Component | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | B0000_Design | B0500 |  | Listed Buildings Consent | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep | Yes
Yes | B0000_Design | B0600 |  | Listed Buildings Repairs Record | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Operator | Yes
Yes | B0000_Design | B0700 |  | Planning consent (includes all structures and substructures) | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | B0000_Design | B0800 |  | Section 106 (Discharge of planning conditions) | TBC (On Project) | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | B0000_Design | B0900 |  | Structural Design Certificates | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | B0000_Design | B1000 |  | Accessibility Statement | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | B0000_Design | B1100 |  | Design Intent / Strategy Document (Occupation levels, parameters etc) | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | B0000_Design | B1200 |  | Design Parameters Report / Statement / Guidance | Yes | Site | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Client Rep | Yes
Yes | C0000_Environmental | C0100 |  | Legionella Risk assessments/Water Risk Assessments (WRA’s) (documents) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C0200 |  | Archaeological Investigation, findings Report & associated certificates | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C0300 |  | Environmental Agency - Consultation & Approval | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | C0000_Environmental | C0400 |  | Environment Impact Assessment | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Designer | Yes
Yes | C0000_Environmental | C0500 |  | Final Environment Assessment | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C0600 |  | Geographical Survey (Ecological/topographical and underground services surveys) | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C0700 |  | BREEAM Certificate and full report | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C0800 |  | Biodiversity Report / Guidance | TBC (On Project) | Site | Document or Extranet Link | Construction | [6 empty] | Yes | Yes | Client Rep | Yes
Yes | C0000_Environmental | C0900 |  | Sustainability Plan | TBC (On Project) | Component | Document or Extranet Link | Construction | [6 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C1000 |  | Waste Management Method Statement | TBC (On Project) | Site | Document or Extranet Link | Construction | [6 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C1100 |  | WRAP Registration and Waste Transfer Notes (evidence of disposal) | TBC (On Project) | Site | Document or Extranet Link | Construction | [6 empty] | Yes | Yes | Contractor | Yes
Yes | C0000_Environmental | C1200 |  | Hazardous Substances Register (Details of Residual Hazards not Designed out) | TBC (On Project) | Site | Document or Extranet Link | Construction | [6 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D0200 |  | 3D Graphical Project Information Model (Native PIM) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor
Yes | D0000_Construction / Assembly | D0300 |  | Federated IFC 2x3 Exports from Arch, Struc or MEP PIMs | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor
| D0000_Construction / Assembly | D0400 |  | Individual IFC 2x3 Exports from Arch, Struc or MEP PIMs | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor
Yes | D0000_Construction / Assembly | D0500 |  | As Built – Architectural GA PIM model, GA plans and sections | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D0600 |  | As Built: CIVIL PIM model, GA plans and sections (includes contruction , steel frames, reinforcement etc.) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D0700 |  | As Installed: MECHANICAL PIM MEP model, GA plans and schematics | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D0800 |  | As Installed: ELECTRICAL PIM MEP model, GA plans and schematics | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D0900 |  | As Built: STRUCTURAL PIM model, GA plans and sections (includes contruction, reinforcement etc.) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1000 |  | As Built: SITE GA Infrastructure, architectural, draingage model, plans and sections | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1100 |  | As Built: SITE HARD LANDSCAPING architectural GA model, GA plans and sections (parking bays, turning circles external hydrant tap, grey water locations demonstrated) | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1200 |  | As Built: SITE SOFT LANDSCAPING architectural GA model, GA plans and sections (plant and fauna types/locations, TPOs) | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1300 |  | As Built: Any specialist contractor detailing PIM, plans and section | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1400 |  | As Built: UTILITIES Infrastructure, outlets, connections, metering / sub metering locations | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1500 |  | As Built / Installed: Fire Strategy PIM model, GA plans demonstrating egress method, assumptions etc | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
yes | D0000_Construction / Assembly | D1600 |  | Window Certificates | TBC (On Project) | Component | Document or Extranet Link | Construction | [6 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1700 |  | OFFICIAL - SENSITIVE_Access - suiting, codes, fobs, swipe cards, locks and key schedule | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1800 |  | OFFICIAL - SENSITIVE_Access - CCTV Installation and in use strategy | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D1900 |  | CIBSE Building Log book | Yes | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2000 |  | OFFICIAL - SENSITIVE_Access - CCTV As Installed Designs | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2100 |  | Construction Compliance Certificates | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | E0000_Project Management | E0100 |  | Recorded summary of RFIs, Value Engineering and Derogations | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | E0000_Project Management | E0200 |  | Enabling or additional works commissioned / delivered outside of the main project mandate | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | E0000_Project Management | E0300 |  | Building Sign off criteria and appropriate risk register - Mitigated / Militated actions | Yes | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | F0000_Commercial / Financial | F0100 |  | Signed copy of Escrow Agreement or written confirmation from the system supplier that the source code and software have been made available to the business | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | F0000_Commercial / Financial | F0200 |  | Insurance criteria if applicable | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | G0000_Procurement Products | G0100 |  | MoJ BIM2AIM Quick Start Guide STD/BIM/P001.1 | TBC (On Project) | Other | Document or Extranet Link | [9 empty] | Client Rep
Yes | G0000_Procurement Products | G0200 |  | MoJ project-specific EIR / IDP (Employers Information Requirements & Info Delivery Plan requirements) STD/BIM/P005 | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | G0000_Procurement Products | G0300 |  | MoJ Organisational Information Requirements (OIR) STD/BIM/P002 | TBC (On Project) | Other | Document or Extranet Link | [9 empty] | Client Rep
Yes | G0000_Procurement Products | G0400 |  | MoJ Asset Information Requirements & Data Spec (AIR) STD/BIM/P004.1-P004.3 | TBC (On Project) | Other | Document or Extranet Link | [9 empty] | Client Rep
Yes | G0000_Procurement Products | G0500 |  | Information Delivery Plan (IDP) STD/BIM/P004 (This Document) | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | G0000_Procurement Products | G0600 |  | BIM Maturity KPI System STD/BIM/P006 | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | B0000_Design | B1300 |  | As Built / Installed: Design certificate | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | G0000_Procurement Products | G0700 |  | Tender pack | TBC (On Project) | Other | Document | [9 empty] | Client Rep
Yes | G0000_Procurement Products | G0800 |  | Tender return | TBC (On Project) | Other | Document | [9 empty] | Client Rep
Yes | G0000_Procurement Products | G0900 |  | BIM Excecution Plan (pre-CA) | TBC (On Project) | Other | Document or Extranet Link | [9 empty] | Contractor
Yes | G0000_Procurement Products | G1000 |  | BIM Excecution Plan (post CA) | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | G0000_Procurement Products | G1100 |  | Clarifications | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | G0000_Procurement Products | G1200 |  | Design, Construction and Information Delivery Programme | TBC (On Project) | Other | Document | [7 empty] | Yes | Yes | Contractor | Yes
Yes | G0000_Procurement Products | G1300 |  | Curriculum vitaes | TBC (On Project) | Other | Document | [9 empty] | Contractor
Yes | E0000_Project Management | E0400 |  | Project Risk and Issue register | Yes | Other | Document | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | G0000_Procurement Products | G1400 |  | Commencement agreement / Task Order / PO | TBC (On Project) | Other | Document | [9 empty] | Client Rep
Yes | G0000_Procurement Products | G1500 |  | Model Production and Delivery Table | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | E0000_Project Management | E0500 |  | COBie-UK-2012 data-set | Yes | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | E0000_Project Management | E0600 |  | Government Soft Landings summary report (source 'Impact Tab' COBie) | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | J0000_Property / Asset Management | J0100 |  | Diesel meter readings / Tank content | Yes | Component | Data Entry | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J0200 |  | Electricity meter readings | Yes | Component | Data Entry | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J0300 |  | Gas meter readings | Yes | Component | Data Entry | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J0400 |  | Heating Oil meter readings | Yes | Component | Data Entry | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J0500 |  | LPG meter readings | Yes | Component | Data Entry | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J0600 |  | Water meter readings | Yes | Component | Data Entry | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J0700 |  | DRAFT Operation and Maintenance suite of documents | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J0800 |  | FINAL and COMPLETE Operation and Maintenance Manual | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J0900 |  | System Log Book | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1000 |  | Evidence of Building User Training | Yes | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1100 |  | Evidence of FM Operative Training (i.e. completed training plan, names dates, times, systems) | Yes | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1200 |  | Systems Training certificates | Yes | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1300 |  | Asset Register (BRONZE-BIM COBie-UK-2012 'Components, Type Tabs') | TBC (On Project) | Building | Data Entry | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1400 |  | CAFM Data Migration Certificate (inc. COBie-UK-2012 Drops) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | J0000_Property / Asset Management | J1500 |  | CAFM Data Migration Report (inc. COBie-UK-2012 Spreadsheet) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | J0000_Property / Asset Management | J1600 |  | Building Regulation Compliance Certificate - Inspection & Sign off | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1700 |  | Electricity Generation system (CHP & PV Units) [ONLY REQUIRED IF EXPORTING TO NATIONAL GRID] | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J1800 |  | Asbestos Management Plan / Register (if applicable) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J1900 |  | Notification of Asbestos work from FODASB5 (if applicable) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2000 |  | Asbestos Survey and Removal plan & Records | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2100 |  | Data Sheets and COSHH Assessments for all Hazards associated with materials used | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2200 |  | Details of Safe Access Routes (when required after completion) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2300 |  | Schedules of Removal or dismantling of installed plant and equipment (All Amendments to be reflected in CAFM) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2400 |  | Identified Critical Services (Utility) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2500 |  | Method statements which may assist in carrying out future alterations to any difficult works | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2600 |  | Copies of maintenance agreements | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2700 |  | Warranties pack - Design and Product | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2800 |  | OFFICIAL - SENSITIVE_Operation and Maintenance - Key Holding arrangements and where to locate `Access Codes’ and PLC programming instructions | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J2900 |  | Boiler Control Philosophy | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3000 |  | Expansion / Contraction Joint locations | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3100 |  | Fire stopping material locations | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3200 |  | Pipe lnsulation Sleeves | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3300 |  | Slab sealant locations | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3400 |  | Drainage Pipes and Fittings - change of material (i.e. Steel to Vitrified Clay / PVCu underground) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3500 |  | Valve Chambers Covers and frames | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3600 |  | Configuration of C3 Systems, Command, Control & Communication (i.e. HMP Control room) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3700 |  | Commissioning certificate | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3800 |  | Fire Alarm Modification certificate (only required in appropriate legacy circumstances) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J3900 |  | List of Suppliers | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J4000 |  | Air Handling, Boilers and plant room equipment | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J4100 |  | Building Management System | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J4200 |  | Familiarisation of drainage routes and guttering | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | E0000_Project Management | E0700 |  | Continous Lessons Learnt Log / Final Summary Report | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | J0000_Property / Asset Management | J4400 |  | Hard Services Main Log Book (extranet) | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J4500 |  | Mobile Engineer’s Vehicle Log (extranet) | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J4600 |  | Combustion Log Book (extranet) | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J4700 |  | Whole life cycle plan and schedule based on Asset Risk Profiling to the business | Yes | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J4800 |  | Critical Asset Lists / Matrix, together with critical spares control ( Obsolescence factors will need to be determined for this ) | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J4900 |  | Emergency Operating Procedures | Yes | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5000 |  | Standard Operating procedures | Yes | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5100 |  | Building User Guide (BUG) - Purpose of the building and how it all operates together. | Yes | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5200 |  | Mechanical Valve Schedule | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5300 |  | Confined Spaces Register | Yes | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5400 |  | Fire Safety Strategy (including cause and effect) | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5500 |  | EPBD – TM44 register | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5600 |  | Written Schemes of examination for all areas (not just vessels) | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5700 |  | Contractor / RAMs and competency documentation | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5800 |  | Electrical Grading Schedule / Discrimination | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J5900 |  | Single Point of Failure Analysis | Yes | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J6000 |  | Asset Management Strategy and Policy | Yes | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J6100 |  | Load management requirements – Including redundancy / availability and acceptance levels | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J6200 |  | Permits to work (drill permit etc) | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J6300 |  | Auto –Doors, Roller shutters, Barriers & Gates (schedule) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J6400 |  | Uninterupted Power System (UPS) Details | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | J0000_Property / Asset Management | J6600 |  | Assumptions, Dependancies Critical FM handover information | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Operator | Yes
Yes | K0000_Health & Safety | K0100 |  | Notification of Start of Works on Sites (F10 etc) | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K0200 |  | Confirmation of Fire Fighting Connections and Equipment | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K0300 |  | All Fire safety Certification Statement | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K0400 |  | Emergency First Aid Portable Fire Fighting Equipment (BS5306) - Certificates of Compliance at Completion | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K0500 |  | Fire Evacuation Procedures | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | K0000_Health & Safety | K0600 |  | Production of Fire Alarm Manual | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K0700 |  | Smoke Ventilation Manual | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K0800 |  | Smoke Ventilation Strategy | TBC (On Project) | Building | Document or Extranet Link | Design | [6 empty] | Yes | Yes | Designer | Yes
Yes | K0000_Health & Safety | K0900 |  | Mansafe system test certificates / Safe method for working | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1000 |  | Manufacturers 3rd party accreditation that all Fire doors set conform to the following as appropriate (FD30, FD305, FD60, FD605) - Certificates of Compliance | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1100 |  | General Alarm System Certificates meet standards (STD/E/SPEC/011) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1200 |  | Certificates of operator training for Authorised Persons (HV Equipment) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1300 |  | HV Calculation sheets | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1400 |  | HV installations -Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1500 |  | High Voltage documentation to include any photos of the location of concealed cable joints -Inspection & Sign off | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1600 |  | Updated or new HV record drawings including equipment schedules, cable routes and schematics | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1700 |  | Accessibility Installations (WC Alarms etc) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1800 |  | Emergency lighting | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K1900 |  | Gas suppression system | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2000 |  | Lifts, escalators, chair lifts other lifting equipment | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2100 |  | Safe system of work (Mansafe systems) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2200 |  | Safe system of work and Safety rules | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2300 |  | Fixed Wire Test & Thermographic survey | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2400 |  | Portable appliance Test Logs | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2500 |  | Ladder register | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2600 |  | Lifts, Lifting Equipment, Cradles, Eyebolts, and Latchway System Register including Escalators, test certificate | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2700 |  | Mobile elevated platform equipment | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2800 |  | Material safety data sheet | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K2900 |  | Ductwork Cleaning records /certificate | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K3000 |  | Local Exhaust Ventilation (LEV) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K3100 |  | Cooling Tower System Log Books | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | K0000_Health & Safety | K3200 |  | Abrasive wheels and other specialist installed tools (HMP Workshops, Kitchens etc) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0100 |  | Acceptance certificate signed by the Client | Yes | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0200 |  | Building Management System - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0300 |  | Commissioning certificates (other) | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0400 |  | Air Test building (Air Tightness) - Test & Completion Certificates | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0500 |  | Air quality test certificate (contamination i.e Asbestos, polutant tests) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0600 |  | Acoustics and Vibration Analysis - Test & Completion Certificates | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0700 |  | Data installation Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0800 |  | Energy Performance Certificate / Display Energy Certificate | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M0900 |  | CHP - Certificates, submitted by the Contractor | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1000 |  | CHP - Climate Change Levy (CCL) Exemption (certificate or applied for) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1100 |  | Feed-in tariff agreement for Renewable energy on site | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1200 |  | Lift commissioning/test certificates - Inspection and sign off | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1300 |  | Pressure vessels – Inspection and sign off | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1400 |  | Telecommunication installation - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1500 |  | Fire Alarm Installation | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1600 |  | PPM Maintenance Dates (should be in COBie/CAIP/SFG20) | TBC (On Project) | Component | Data Entry | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1700 |  | Testing Record Schedule (Overview) | Yes | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M1800 |  | Digital video recording of commissioning / performance tests for O&M / posterity | Yes | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes | If required during operation in use?
Yes | M0000_Commissioning & Performance Evaluation | M1900 |  | Performance test report | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2000 |  | Boilers/Plant - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2100 |  | Gas installations/Test or commissioning certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2200 |  | Certificates of hydraulic pressure tests | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2300 |  | Certificates of soundness testing of gas lines | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2400 |  | Chlorination - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2500 |  | Initial Commissioning certificates in accordance with CIBSE commissioning codes | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2600 |  | Sessional Commissioning certificates in accordance with CIBSE commissioning codes | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2700 |  | Air cooling/Refrigeration - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2800 |  | Air handling - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M2900 |  | Air test building (extract Smoke) - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3000 |  | Extract ventilation - Test & Completion Certificates | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3100 |  | Fire Detection And Alarm System (BS5839) - Certificates of Compliance | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3200 |  | Alternator manufacturer works test records | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3300 |  | Load bank test results | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3400 |  | Type test results | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3500 |  | GSL Business Case and Benefit Realisation Information | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | M0000_Commissioning & Performance Evaluation | M3600 |  | Energy Log book - building energy performance up to handover (sub-meter readings) | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | J0000_Property / Asset Management | J6600 |  | Air cooling and refrigeration | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | F0000_Commercial / Financial | F0300 |  | Early Warning Notices | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | F0000_Commercial / Financial | F0400 |  | Compensation Events | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | F0000_Commercial / Financial | F0500 |  | Quotations | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | F0000_Commercial / Financial | F0600 |  | PM Instructions | TBC (On Project) | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | E0000_Project Management | E0800 |  | Project Plan | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E0900 |  | Outline Business Case | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1000 |  | Full Business Case | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1100 |  | Highlight Reports | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1200 |  | Progress Reports | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1300 |  | Meeting Minutes | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1400 |  | Actions Log | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1500 |  | Stakeholder Consultation Strategy | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1600 |  | Communications Log | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1700 |  | Requests for Information | Yes | Other | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep
Yes | E0000_Project Management | E1800 |  | Technical Derogations | Yes | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Client Rep | Yes
Yes | E0000_Project Management | E1900 |  | Project Performance Indicators (PPI) 1,2,3 Programme |  | Other | Document or Extranet Link | [7 empty] | Yes |  | Client Rep
Yes | E0000_Project Management | E2000 |  | Project Performance Indicators (PPI) 4 Cash Flow Monitoring |  | Other | Document or Extranet Link | [7 empty] | Yes |  | Client Rep
Yes | E0000_Project Management | E2100 |  | Project Performance Indicators (PPI) 5,6 Cost Component Breakdown |  | Other | Document or Extranet Link | [7 empty] | Yes |  | Client Rep
Yes | D0000_Construction / Assembly | D2200 |  | Locking - Plant keys/special tools/floor lifters etc | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2300 |  | Defects & Omissions Schedule | TBC (On Project) | Component | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2400 |  | OFFICIAL - SENSITIVE: Spares Strategy and Parts Schedule | TBC (On Project) | System | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2500 |  | Party Wall Agreement(s) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2600 |  | Practical Completion (CERT A) | TBC (On Project) | Building | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
Yes | D0000_Construction / Assembly | D2700 |  | Principle Designer's Report (CDM2015) | TBC (On Project) | Site | Document or Extranet Link | [7 empty] | Yes | Yes | Contractor | Yes
No
No
Note on G2: Matt Watchorn: If available at Site and Building level - shown as Site
Note on H98: Matt Watchorn: Currently Microsoft Word. BIM2AIM SIG to explore BIMServer, NBS Toolkit, alternative means of sharing

## P004.1
STD/BIM/P004.1 - Data Categories
Ref | Category | Material / Asset (M/A) | Description | Max LOI | COBie Required | Consultant | LOD Specialist | As Built Rqd | NRM1
01 | Sub-structure / Structural Foundations | M | Structural foundations, piles, retaining walls etc all below slab level | 3 | N | 4 |  |  | 1.1 Substructure
02 | Structural Concrete | M | Structural insitu and precast concrete elements - Structural Beam Systems, Columns, Connections, Fabric Reinforcement, Rebar | 3 | N |  | 4 | Yes | 2.1 Frame
03 | Structural Floors and Compartment Walls | M | All structural separating elements | 3 | N | 4 |  |  | 2.1 Frame
04 | Structural Steel | M | Structural Steel elements Structural Beam Systems, Columns, Connections, Framing, Stiffeners, Trusses | 3 | N | 4 | 5 | Yes | 2.1 Frame
05 | Specialist Structural Floor | A | Structural floors provided by specialist contractor with associated guarantee | 4 | Y | 4 |  |  | 2.2 Upper floors
06 | Ramps | M | All ramps regardless of material / construction. Excludes ramp handrails and balustrades | 3 | N | 4 |  |  | 2.4 Stairs and ramps
07 | Stairs | M | Stairs and associated stair assembly components such as handrails and balustrades | 4 | Y | 4 |  |  | 2.4 Stairs and ramps
08 | Cladding Systems |  | All cladding systems that form part of the building envelope | 4 | Y | 4 | 5 | Yes | 2.5 External walls
09 | External Walls (masonry) | M | All masonry components that form part of the building envelope | 3 | N | 4 |  |  | 2.5 External walls
10 | Windows and Solar Shading | A | All external and internal windows and associated elements including solar shading such as Brise Soleil | 5 | Y | 4 |  |  | 2.6 Windows and external doors
11 | Wall Systems |  | Proprietry wall systems such as Power Wall, Metsec, Internal Partitions, Glazed Screen systems etc | 4 | Y | 4 |  |  | 2.7 Internal walls and partitions
12 | Columns - Non Structural | M | Casements and boxing only | 3 | N | 4 |  |  | 3 Internal finishes
13 | General Joinery items | M | All joinery such as skirting, architrave, window boards etc Excludes Fixed Furniture such as Kitchens, Shelving, Fixed Storage, Stairs, IPS etc | 3 | N | 4 |  |  | 3 Internal finishes
14 | Flooring Systems | M | All manufactured / proprietry floor systems E.g precast, beam and block, metal decking, raised / suspended floors, acoustic floors and floor finishes. | 4 | Y | 4 | 5 | Yes | 3.2 Floor finishes
15 | Ceilings | M | Suspended or supported ceiling systems. | 4 | Y | 4 |  |  | 3.3 Ceiling finishes
16 | Kitchen Units & Fixed Furniture | A | Fixed Storage and furniture items including shelving, IPS etc. | 5 | Y | 4 | 5 |  | 4 Fittings, furnishings and equipment
17 | Loose Furniture | A | Loose or moveable furniture items and systems | 5 | Y | 4 |  |  | 5 Fittings, furnishings and equipment
18 | Building Services Carrier, Containment & Support Systems | M | Any system used to suspend, carry or mount Mechanical, Electrical and Plumbing systems. Includes systems for supporting plant & equipment. | 4 | Y | 4 | 5 | Yes | 5 Services
19 | Sanitary Fixtures | A | All items of sanitary equipment associated with sanitaryware and sanitary spaces such as taps, showers, flush mechanisms etc | 6 | Y | 4 |  |  | 5.1 Sanitary installations
20 | Sanitaryware | A | Sanitaryware including WC's, Wash Hand Basins, Baths, Shower Cubicles etc | 4 | Y | 4 |  |  | 5.1 Sanitary installations
21 | Lifts and Conveyors |  | Systems and Equipment used for building occupant circulation such as lifts, hoists and escalators etc | 4 | Y | 4 |  |  | 5.10 Lift/conveyor installations
22 | Communication Devices | A | All in-line equipment and end of line devices associated with communication systems. E.g Telephone, Nurse Call, Tannoy's | 6 | Y | 4 | 5 | Yes | 5.12 Communication, security and control systems
23 | BMS (fire, security, specialist systems etc) | A | All plant, equipment and fixtures associated with Building Management Systems (fire, security, specialist systems etc) | 6 | Y | 4 | 5 | Yes | 5.13 Specialist installations
24 | Specialty end user Equipment |  | All speciality equipment relating to functional use of the built asset. Excludes building services equipment. | 6 | Y | 4 |  |  | 5.13 Specialist installations
25 | Specialty maintenance Equipment | A | All operational equiptment used to conduct maintenance tasks. Includes maintenance access equipment. | 6 | Y | 4 | 5 | Yes | 5.13 Specialist installations
26 | Mechanical Equipment | A | All mechanical equipment and components ahu's, fans, A.C. Units, pumps, values, clorifiers,sprinklers etc. | 6 | Y | 4 | 5 | Yes | 5.2 Services equipment
27 | Drainage | A | All in-line drainage system components providing access or requiring maintenance. E.g. inspection chambers, gullies, drains, rodding eyes etc. | 5 | Y | 4 | 5 | Yes | 5.3 Disposal installations
28 | Air Terminals / Fans | A | Air terminals relates to component such as louvres, grilles and diffusers used to terminate supply and extract systems. | 6 | Y | 4 | 5 | Yes | 5.7 Ventilation
29 | Ducts | M | All duct segments and parts used to carry air. Excludes all maintainable / accessible components (e.g. dampers, attenuators, filters and mechanical / electrical plant and equipment. | 4 | N | 4 | 5 | Yes | 5.7 Ventilation
30 | Electrical Equipment | A | All electrical plant / equipment associated with power, data and lighting distribution. E.g. switchgear, dis boards, data cabinets etc | 6 | Y | 4 | 5 | Yes | 5.8 Electrical installations
31 | Electrical Fixtures | A | All electrical fixtures within power, data and lighting systems including pir's, sensors, controls, power & data sockets, switches, luminaires and fixtures. | 6 | Y | 4 | 5 | Yes | 5.8 Electrical installations
32 | Lighting Fixtures | A | Luminaires used as part of lighting systems | 6 | Y | 4 | 5 | Yes | 5.8 Electrical installations
33 | External Works |  | Landscaping, planters, masonry boundary walls etc | 3 | N | 4 | 5 | Yes | 8 External works
34 | Curtain Wall Mullions, transoms | M | The structural elements designed within a curtain wall assembly. | 3 | N | 4 | 5 | Yes | Muiltiple
35 | Curtain Wall Systems | M | The overall system information applied to a complete curtain wall assembly. Excludes air terminals. | 4 | Y | 4 | 5 | Yes | Muiltiple
36 | Doors / Access Panels /Hatches | A | All internal and external doors. All panels and hatches used for access. | 5 | Y | 4 |  |  | Muiltiple
37 | Ironmongery | A | All ironmongery associated with doors and window systems | 6 | Y | 4 |  |  | Muiltiple
38 | Pipes | M | All pipes and connections relating to building services systems. Excludes any equipment requiring access for maintenance. | 3 | N | 4 |  |  | Muiltiple
39 | Railings, Fences, Balconies, External furniture | M | Railings, balconies, fences, gates, balconies, canopies, handrails, benches, edge protection systems | 4 | Y | 4 |  |  | Muiltiple
40 | Spaces / Rooms / Zones | A | All designed internal and external spaces including rooms and building services zones | 3 | Y | 4 |  |  | N/A

## P004.2
STD/BIM/P004.2 COBie Data Matrix
Ref | Parameter | Example | CAFM Nomenclature | Notes | Information Exchange | Responsibility | LOI | Parameter Mapping | Alternative Parameter Mapping | Project Requirement (Y/N)
1.0 | Instruction |  | 1
1.01 | Title | COBIE |  | Expected, fixed | 1 | Design Team | N/A |  |  | Y
1.02 | Version | 2 |  | Expected, fixed | 1 | Design Team | N/A |  |  | Y
1.03 | Release | 4 |  | Expected, fixed | 1 | Design Team | N/A |  |  | Y
1.04 | Status | ifc2x3 |  | Expected | 1 | Design Team | N/A |  |  | Y
1.05 | Region | EN-UK |  | Expected, fixed | 1 | Design Team | N/A |  |  | Y
2.0 | Contact |  | 1
2.01 | Email | name@email.com |  | Expected | 1 | All Stakeholders | 1 | COBie.Contact.Email |  | Y
2.02 | CreatedBy | name@email.com |  | Reference | 1 | All Stakeholders | 1 | COBie.Contact.CreatedBy |  | Y
2.03 | CreatedOn | 2015-08-08T11:00:00 |  | Expected | 1 | All Stakeholders | 1 | COBie.Contact.CreatedOn |  | Y
2.04 | Category | C12: Quantity managerment |  | Pick List | 1 | All Stakeholders | 1 | COBie.Contact.Category |  | Y
2.05 | Company | Company name |  | Expected | 1 | All Stakeholders | 1 | COBie.Contact.Company |  | Y
2.06 | Phone | 01 1111 1111111 |  | Expected | 1 | All Stakeholders | 1 | COBie.Contact.Phone |  | Y
2.07 | ExtSystem | Authoring Application |  | Application | 1 | All Stakeholders | 1 | COBie.Contact.ExtSystem |  | Y
2.08 | ExtObject | IfcPersonAndOrganisation |  | Application | 1 | All Stakeholders | 1 | COBie.Contact.ExtObject |  | Y
2.09 | ExtIdentifier | n/a |  | Application | 1 | All Stakeholders | 1 | COBie.Contact.ExtIdentifier |  | Y
2.1 | Department | Standards |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.Department |  | Select if Rqd
2.11 | OrganizationCode | Company name |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.OrganizationCode |  | Select if Rqd
2.12 | Given Name | First name |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.Given Name |  | Select if Rqd
2.13 | Family Name | Surname |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.Family Name |  | Select if Rqd
2.14 | Street | Address Road |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.Street |  | Select if Rqd
2.15 | PostalBox | PO Box 111 |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.PostalBox |  | Select if Rqd
2.16 | Town | New Town |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.Town |  | Select if Rqd
2.17 | StateRegion | County |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.StateRegion |  | Select if Rqd
2.18 | PostalCode | AA11 1AA |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.PostalCode |  | Select if Rqd
2.19 | Country | Country |  | Requirable | 1 | All Stakeholders | 1 | COBie.Contact.Country |  | Select if Rqd
3.0 | Facility |  | 1
3.01 | Name | Some Kitchen |  | Expected | 1 | Design Team | 1 | COBie.Facility.Name |  | Y
3.02 | CreatedBy | name@email.com |  | Reference | 1 | Design Team | 1 | COBie.Facility.CreatedBy |  | Y
3.03 | CreatedOn | 2015-08-08T11:00:00 |  | Expected | 1 | Design Team | 1 | COBie.Facility.CreatedOn |  | Y
3.04 | Category | Prison Kitchen |  | Pick List | 1 | Design Team | 1 | COBie.Facility.Category |  | Y
3.05 | ProjectName | Kitchen New build |  | Expected | 1 | Design Team | 1 | COBie.Facility.ProjectName |  | Y
3.06 | SiteName | HMP Prison | Site | Expected (CAIP) | 1 | Design Team | 1 | COBie.Facility.SiteName |  | Y
3.07 | LinearUnits | Millimetres |  | Pick List | 1 | Design Team | 1 | COBie.Facility.LinearUnits |  | Y
3.08 | AreaUnits | Squaremetres |  | Pick List | 1 | Design Team | 1 | COBie.Facility.AreaUnits |  | Y
3.09 | VolumeUnits | Cubicmetres |  | Pick List | 1 | Design Team | 1 | COBie.Facility.VolumeUnits |  | Y
3.1 | CurrencyUnit | Pounds |  | Pick List | 1 | Design Team | 1 | COBie.Facility.CurrencyUnit |  | Y
3.11 | AreaMeasurement | RICS BCIS |  | Expected | 1 | Design Team | 1 | COBie.Facility.AreaMeasurement |  | Y
3.12 | ExternalSystem | BIM Authoring Application |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalSystem |  | Y
3.13 | ExternalProjectObject | IfcProject |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalProjectObject |  | Y
3.14 | ExternalProjectIdentifier | 0NG5d_R6T8leptpG$lx7Lx |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalProjectIdentifier |  | Y
3.15 | ExternalSiteObject | IfcSite |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalSiteObject |  | Y
3.16 | ExternalSiteIdentifier | 0NG5d_R6T8leptpG$lx7Lv |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalSiteIdentifier |  | Y
3.17 | ExternalFacilityObject | IfcBuilding |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalFacilityObject |  | Y
3.18 | ExternalFacilityIdentifier | 0NG5d_R6T8leptpG$lx7Lw |  | Application | 1 | Design Team | 1 | COBie.Facility.ExternalFacilityIdentifier |  | Y
3.19 | Description | Single storey prison kitchen |  | Requirable | 1 | Design Team | 1 | COBie.Facility.Description |  | Select if Rqd
3.2 | ProjectDescription | New build prison kitchen |  | Requirable | 1 | Design Team | 1 | COBie.Facility.ProjectDescription |  | Select if Rqd
3.21 | SiteDescription | Some school, Address Road, New Town, County, AA11 1AA |  | Requirable | 1 | Design Team | 1 | COBie.Facility.SiteDescription |  | Select if Rqd
3.22 | Phase | CIC 6:Handover |  | Pick List | 1 | Design Team | 1-6 | COBie.Facility.Phase |  | Y
4.0 | Floor |  | 1
4.01 | Name | Level 0 |  | Expected | 2 | Design Team | 2 | COBie.Floor.Name |  | Y
4.02 | CreatedBy | name@email.com |  | Reference | 2 | Design Team | 2 | COBie.Floor.CreatedBy |  | Y
4.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 2 | Design Team | 2 | COBie.Floor.CreatedOn |  | Y
4.04 | Category | Floor |  | Pick List | 2 | Design Team | 2 | COBie.Floor.Category |  | Y
4.05 | Extsystem | Authoring Application |  | Application | 2 | Design Team | 2 | COBie.Floor.Extsystem |  | Y
4.06 | ExtObject | IfcBuildingStorey |  | Application | 2 | Design Team | 2 | COBie.Floor.ExtObject |  | Y
4.07 | ExtIdentifier | 0NG5d_R6T8leptpGyG4uky |  | Application | 2 | Design Team | 2 | COBie.Floor.ExtIdentifier |  | Y
4.08 | Description | Entrance level |  | Requirable | 2 | Design Team | 3 | COBie.Floor.Description |  | Select if Rqd
4.09 | Elevation | 0 |  | Requirable | 2 | Design Team | 3 | COBie.Floor.Elevation |  | Select if Rqd
4.1 | Height | 4000 |  | Requirable | 2 | Design Team | 3 | COBie.Floor.Height |  | Select if Rqd
5.0 | Space |  | 1
5.01 | Name | 101 | Room | Expected (CAIP) | 2 | Design Team | 2 | COBie.Space.Name |  | Y
5.02 | CreatedBy | name@email.com |  | Reference | 2 | Design Team | 2 | COBie.Space.CreatedBy |  | Y
5.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected (CAIP) | 2 | Design Team | 2 | COBie.Space.CreatedOn |  | Y
5.04 | Category | SL 35 60 56 |  | Pick List | 2 | Design Team | 2 | COBie.Space.Category |  | Y
5.05 | FloorName | Level 0 |  | Reference | 2 | Design Team | 2 | COBie.Space.FloorName |  | Y
5.06 | Description | Kitchen |  | Expected | 2 | Design Team | 2 | COBie.Space.Description |  | Y
5.07 | Extsystem | Authoring Application |  | Application | 2 | Design Team | 2 | COBie.Space.Extsystem |  | Y
5.08 | ExtObject | IfcSpace |  | Application | 2 | Design Team | 2 | COBie.Space.ExtObject |  | Y
5.09 | ExtIdentifier | 3PbU3I0k5FVO3gc98VQGZm |  | Application | 2 | Design Team | 2 | COBie.Space.ExtIdentifier |  | Y
5.1 | RoomTag | A032_01 |  | Requirable | 2 | Design Team | 3 | COBie.Space.RoomTag |  | Select if Rqd
5.11 | UsableHeight | 2955 |  | Requirable | 2 | Design Team | 3 | COBie.Space.UsableHeight |  | Select if Rqd
5.12 | Gross Area | 24.837 |  | Requirable | 2 | Design Team | 3 | COBie.Space.Gross Area |  | Select if Rqd
5.13 | NetArea | 24.837 |  | Expected (CAIP) | 2 | Design Team | 3 | COBie.Space.NetArea |  | Select if Rqd
6.0 | Zone |  | 1
6.01 | Name | Kitchen Trolley Bay |  | Expected | 2 | Design Team | 3 | COBie.Zone.Name |  | Y
6.02 | CreatedBy | name@email.com |  | Reference | 2 | Design Team | 3 | COBie.Zone.CreatedBy |  | Y
6.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 2 | Design Team | 3 | COBie.Zone.CreatedOn |  | Y
6.04 | Category | Circulation Zone |  | Pick List | 2 | Design Team | 3 | COBie.Zone.Category |  | Y
6.05 | Spaces Name | A032_01 |  | Reference | 2 | Design Team | 3 | COBie.Zone.Spaces Name |  | Y
6.06 | Extsystem | Authoring Application |  | Application | 2 | Design Team | 3 | COBie.Zone.Extsystem |  | Y
6.07 | ExtObject | IfcZone |  | Application | 2 | Design Team | 3 | COBie.Zone.ExtObject |  | Y
6.08 | ExtIdentifier | 3PbU3I0k5FVO3gc98VQGZn |  | Application | 2 | Design Team | 3 | COBie.Zone.ExtIdentifier |  | Y
6.09 | Description | Secure food loading area |  | Requirable | 2 | Design Team | 3 | COBie.Zone.Description |  | Select if Rqd
7.0 | Type |  | 1
7.01 | Name | Heated food trolley |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Type .Name |  | Y
7.02 | CreatedBy | name@email.com |  | Reference | 3 | Design Team | 3 | COBie.Type .CreatedBy |  | Y
7.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Type .CreatedOn |  | Y
7.04 | Category | Food service trolley |  | Pick List | 3 | Design Team | 3 | COBie.Type .Category |  | Y
7.05 | Description | Heated food trolley |  | Expected | 3 | Design Team | 3 | COBie.Type .Description |  | Y
7.06 | AssetType | Fixed |  | Pick List | 3 | Design Team | 3 | COBie.Type .AssetType |  | Y
7.07 | Manufacturer | Official Manufacturer Name | Manufacturer | Expected (CAIP) | 6 | Contractor | 4 | COBie.Type .Manufacturer |  | Y
7.08 | ModelNumber | 587 | Model Number | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .ModelNumber |  | Y
7.09 | WarrantyGuarantorParts | company@email.com |  | Expected (CAIP) | 6 | Contractor | 4 | COBie.Type .WarrantyGuarantorParts |  | Y
7.1 | WarrantyDurationParts | 5 |  | Expected (CAIP) | 6 | Contractor | 4 | COBie.Type .WarrantyDurationParts |  | Y
7.11 | WarrantyGuarantorLabor | company@email.com |  | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .WarrantyGuarantorLabor |  | Y
7.12 | WarrantyDurationLabor | 5 |  | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .WarrantyDurationLabor |  | Y
7.13 | WarrantyDurationUnit | Month/Year or N/A |  | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .WarrantyDurationUnit |  | Y
7.14 | ExtSystem | Authoring Application |  | Application | 3 | Design Team | 3 | COBie.Type .ExtSystem |  | Y
7.15 | ExtObject | IfcFurnitureType |  | Application | 3 | Design Team | 3 | COBie.Type .ExtObject |  | Y
7.16 | ExtIdentifier | 1lTs7iOoDD$830Kgut03mv |  | Application | 3 | Design Team | 3 | COBie.Type .ExtIdentifier |  | Y
7.17 | ReplacementCost | 1548 |  | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .ReplacementCost |  | Y
7.18 | ExpectedLife | 15 | Expected Life | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .ExpectedLife |  | Y
7.19 | DurationUnit | Year |  | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .DurationUnit |  | Y
7.2 | WarrantyDescription | Onsite warranty and advanced replacement warranty |  | Expected (CAIP) | 6 | Contractor | 5 | COBie.Type .WarrantyDescription |  | Y
7.21 | NominalLength | 1500 |  | Expected | 6 | Design Team | 3 | COBie.Type .NominalLength |  | Y
7.22 | NominalWidth | 750 |  | Expected | 6 | Design Team | 3 | COBie.Type .NominalWidth |  | Y
7.23 | NominalHeight | 1130 |  | Expected | 6 | Design Team | 3 | COBie.Type .NominalHeight |  | Y
7.24 | ModelReference | Heated food trolley |  | Expected (CAIP) | 6 | Contractor | 4 | COBie.Type .ModelReference |  | Select if Rqd
7.25 | Shape | Rectangular |  | Requirable | 6 | Contractor | 4 | COBie.Type .Shape |  | Select if Rqd
7.26 | Size | 1500mm x 750mm x 1130mm |  | Expected (CAIP) | 6 | Contractor | 4 | COBie.Type .Size |  | Select if Rqd
7.27 | Color | Stainless steel |  | Requirable | 6 | Contractor | 4 | COBie.Type .Color |  | Select if Rqd
7.28 | Finish | Matt |  | Requirable | 6 | Contractor | 5 | COBie.Type .Finish |  | Select if Rqd
7.29 | Grade | Robust |  | Requirable | 6 | Contractor | 5 | COBie.Type .Grade |  | Select if Rqd
7.3 | Material | Stainless steel |  | Requirable | 6 | Contractor | 5 | COBie.Type .Material |  | Select if Rqd
7.31 | Constituents | Electical power supply |  | Requirable | 6 | Contractor | 5 | COBie.Type .Constituents |  | Select if Rqd
7.32 | Features | digital display and precise thermostate control |  | Requirable | 6 | Contractor | 5 | COBie.Type .Features |  | Select if Rqd
7.33 | AccessibilityPerformance | nil |  | Requirable | 6 | Contractor | 5 | COBie.Type .AccessibilityPerformance |  | Select if Rqd
7.34 | CodePerformance | Fully Earthed |  | Requirable | 6 | Contractor | 5 | COBie.Type .CodePerformance |  | Select if Rqd
7.35 | SustainabilityPerformance | Low-energy |  | Requirable | 6 | Contractor | 5 | COBie.Type .SustainabilityPerformance |  | Select if Rqd
8.0 | Component |  | 1
8.01 | Name | Heated food trolley |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.Name |  | Y
8.02 | CreatedBy | name@email.com |  | Reference | 3 | Design Team | 3 | COBie.Component.CreatedBy |  | Y
8.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.CreatedOn |  | Y
8.04 | TypeName | Heated food trolley |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.TypeName |  | Y
8.05 | Space | A032_01 |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.Space |  | Y
8.06 | Description | heated food trolley in Kitchen Trolley bay |  | Expected | 3 | Design Team | 3 | COBie.Component.Description |  | Y
8.07 | ExtSystem | Authoring Application |  | Application | 3 | Design Team | 3 | COBie.Component.ExtSystem |  | Y
8.08 | ExtObject | IfcFurnishingElement |  | Application | 3 | Design Team | 3 | COBie.Component.ExtObject |  | Y
8.09 | ExtIdentifier | 0lTs7iOoDD$830Kgut03mv |  | Application | 3 | Design Team | 3 | COBie.Component.ExtIdentifier |  | Y
8.1 | SerialNumber | S4567901 |  | Expected (CAIP) | 6 | Contractor | 6 | COBie.Component.SerialNumber |  | Y
8.11 | InstallationDate | 2012‑12‑12T13:29:49 | Installation Date | Requirable | 6 | Contractor | 5 | COBie.Component.InstallationDate |  | Y
8.12 | WarrantyStartDate | 2012‑12‑12T13:29:49 |  | Requirable | 6 | Contractor | 5 | COBie.Component.WarrantyStartDate |  | Y
8.13 | TagNumber | 247849 |  | Requirable | 6 | Contractor | 5 | COBie.Component.TagNumber |  | Y
8.14 | BarCode | 4567901 |  | Requirable | 6 | Contractor | 6 | COBie.Component.BarCode |  | Y
8.15 | AssetIdentifier | 2f7761ec‑6323‑4dfc‑80c0‑52ae3703f410 |  | Requirable | 6 | Contractor | 6 | COBie.Component.AssetIdentifier |  | Y
9.0 | System |  | 1
9.01 | Name | Circuit 1 |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.Name |  | Y
9.02 | CreatedBy | name@email.com |  | Reference | 3 | Design Team | 3 | COBie.Component.CreatedBy |  | Y
9.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.CreatedOn |  | Y
9.04 | Category | G53: Electric power |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.Category |  | Y
9.05 | ComponentNames | Heated food trolley |  | Expected (CAIP) | 3 | Design Team | 3 | COBie.Component.ComponentNames |  | Y
9.06 | Extsystem | Authoring Application |  | Application | 3 | Design Team | 3 | COBie.Component.Extsystem |  | Y
9.07 | ExtObject | IfcZone |  | Application | 3 | Design Team | 3 | COBie.Component.ExtObject |  | Y
9.08 | ExtIdentifier | 3PbU3I0k5FVO3gc98VQGZn |  | Application | 3 | Design Team | 3 | COBie.Component.ExtIdentifier |  | Y
9.09 | Description | Small power circuit 1 |  | Requirable | 3 | Design Team | 3 | COBie.Component.Description
10.0 | AssemblyType |  | 1
10.01 | Name | Floor:Ground Bearing Concrete layer 01 |  | Expected | 3 | Design Team | 3 | COBie.Component.Name |  | Y
10.02 | CreatedBy | name@email.com |  | Reference | 3 | Design Team | 3 | COBie.Component.CreatedBy |  | Y
10.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 3 | Design Team | 3 | COBie.Component.CreatedOn |  | Y
10.04 | AssemblyType | Layer |  | Pick List | 3 | Design Team | 3 | COBie.Component.AssemblyType |  | Y
10.05 | SheetName | Type |  | Pick List | 3 | Design Team | 3 | COBie.Component.SheetName |  | Y
10.06 | ParentName | Floor:Ground Bearing Concrete |  | Reference | 3 | Design Team | 3 | COBie.Component.ParentName |  | Y
10.07 | ChildNames | Masonry - Concrete Floor Block |  | Reference | 3 | Design Team | 3 | COBie.Component.ChildNames |  | Y
10.08 | ExtSystem | Authoring Application |  | Application | 3 | Design Team | 3 | COBie.Component.ExtSystem |  | Y
10.09 | ExtObject | IfcMaterialLayer |  | Application | 3 | Design Team | 3 | COBie.Component.ExtObject |  | Y
10.1 | ExtIdentifier | 3lTs7iOoDD$830Kgut03mv |  | Application | 3 | Design Team | 3 | COBie.Component.ExtIdentifier |  | Y
10.11 | Description | Masonry - Concrete Floor Block:250. |  | Requirable | 3 | Design Team | 3 | COBie.Component.Description |  | Select if Rqd
11.0 | Connection (optional) | This sheet is not a default project requirement at present | 1
11.01 | Name | Internet connections |  | Expected | [5 empty] | NA
11.02 | CreatedBy | name@email.com |  | Reference | [5 empty] | NA
11.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | [5 empty] | NA
11.04 | ConnectionType | Data |  | Pick List | [5 empty] | NA
11.05 | SheetName | Component |  | Pick List | [5 empty] | NA
11.06 | RowName1 | Heated food trolley |  | Reference | [5 empty] | NA
11.07 | RowName2 | Pr_40_50_90_32 |  | Reference | [5 empty] | NA
11.08 | RealizingElement | n/a |  | Reference | [5 empty] | NA
11.09 | PortName1 | IC5 |  | Requirable | [5 empty] | NA
11.1 | PortName2 | IC5 |  | Requirable | [5 empty] | NA
11.11 | ExtSystem | Authoring Application |  | Application | [5 empty] | NA
11.12 | ExtObject | IfcReConnects |  | Application | [5 empty] | NA
11.13 | ExtIdentifier | n/a |  | Application | [5 empty] | NA
11.14 | Description | Heated food trolley for food distribution to housblock |  | Requirable | [5 empty] | NA
12.0 | Spare | This sheet is not a default project requirement at present | 1
12.01 | Name | Heated food trolley |  | Expected | [5 empty] | NA
12.02 | CreatedBy | company@email.com |  | Reference | [5 empty] | NA
12.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | [5 empty] | NA
12.04 | Category | SpareSet |  | Pick List | [5 empty] | NA
12.05 | TypeName | Heated food trolley |  | Reference | [5 empty] | NA
12.06 | Suppliers | company@email.com |  | Reference | [5 empty] | NA
12.07 | ExtSystem | Authoring Application |  | Application | [5 empty] | NA
12.08 | ExtObject | IfcConstructionEquipmentResource |  | Application | [5 empty] | NA
12.09 | ExtIdentifier | n/a |  | Application | [5 empty] | NA
12.1 | Description | Heated food trolley |  | Requirable | [5 empty] | NA
12.11 | SetNumbe | 587‑1 |  | Requirable | [5 empty] | NA
12.12 | PartNumber | 587‑1 |  | Requirable | [5 empty] | NA
13.0 | Resource |  | 1
13.01 | Name | Heated food trolley replacement |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.02 | CreatedBy | company@email.com |  | Reference | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.04 | Category | Cost |  | Pick List | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.05 | ExtSystem | Authoring Application |  | Application | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.06 | ExtObjec | Pset_EconomicImpactValues |  | Application | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.07 | ExtIdentifier | n/a |  | Application | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
13.08 | Description | Estimated replacement cost | Replacement Cost | Requirable | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
14.0 | Single Attribute |  | 1
14.01 | Name | Weight |  | Expected | 6 | Contractor | 5 |  |  | Y
14.02 | CreatedBy | company@email.com |  | Reference | 6 | Contractor | 5 |  |  | Y
14.03 | CreatedOn | 2012‑12‑12T13:29:49 |  |  | 6 | Contractor | 5 |  |  | Y
14.04 | Category | Submitted |  | Pick List | 6 | Contractor | 5 |  |  | Y
14.05 | SheetName | Type |  | Pick List | 6 | Contractor | 5 |  |  | Y
14.06 | RowName | Heated food trolley |  | Reference | 6 | Contractor | 5 |  |  | Y
14.07 | Value | 40000 |  | Expected | 6 | Contractor | 5 |  |  | Y
14.08 | Unit | kg |  | Pick List | 6 | Contractor | 5 |  |  | Y
14.09 | ExtSystem | Authoring Application |  | Application | 6 | Contractor | 5 |  |  | Y
14.1 | ExtObject | IfcPropertySingleValue |  | Application | 6 | Contractor | 5 |  |  | Y
14.11 | ExtIdentifier | n/a |  | Application | 6 | Contractor | 5 |  |  | Y
14.12 | Description | Installed weight (excluding packaging) |  | Requirable | 6 | Contractor | 5 |  |  | Select if Rqd
14.13 | AllowedValues | n/a |  | Requirable | 6 | Contractor | 5 |  |  | Select if Rqd
15.0 | Table Attribute |  | 1
15.01 | Name | Food service trolley |  | Expected | 6 | Contractor | 5 |  |  | Y
15.02 | CreatedBy | company@email.com |  | Reference | 6 | Contractor | 5 |  |  | Y
15.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 6 | Contractor | 5 |  |  | Y
15.04 | Category | AsBuilt |  | Pick List | 6 | Contractor | 5 |  |  | Y
15.05 | SheetName | Component |  | Pick List | 6 | Contractor | 5 |  |  | Y
15.06 | RowName | TrackBO86/JSBLO |  | Reference | 6 | Contractor | 5 |  |  | Y
15.07 | Value | (0,31,softwood), (31,648,concrete NTF 504), (648,1177,concrete unspecified), (1177,1210, concrete NTF 504) |  | Expected | 6 | Contractor | 5 |  |  | Y
15.08 | Unit | meter,meter,n/a |  | Pick List | 6 | Contractor | 5 |  |  | Y
15.09 | ExtSystem | Authoring Application |  | Application | 6 | Contractor | 5 |  |  | Y
15.1 | ExtObject | IfcPropertyTableValue |  | Application | 6 | Contractor | 5 |  |  | Y
15.11 | ExtIdentifier | Heated food trolley |  | Application | 6 | Contractor | 5 |  |  | Y
15.12 | Description | (distanceAlong,distanceAlong,value) |  | Requirable | 6 | Contractor | 5 |  |  | Select if Rqd
15.13 | AllowedValues | n/a |  | Requirable | 6 | Contractor | 5 |  |  | Select if Rqd
16.0 | Simple Coordinate |  | 1
16.01 | Name | Level 1 point |  | Expected | 3 | Design Team | 3 |  |  | Y
16.02 | CreatedBy | company@email.com |  | Reference | 3 | Design Team | 3 |  |  | Y
16.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 3 | Design Team | 3 |  |  | Y
16.04 | Category | point |  | Pick List | 3 | Design Team | 3 |  |  | Y
16.05 | SheetName | Floor |  | Pick List | 3 | Design Team | 3 |  |  | Y
16.06 | RowName | Level 1 |  | Reference | 3 | Design Team | 3 |  |  | Y
16.07 | CoordinateXAxis | 0 |  | Expected | 3 | Design Team | 3 |  |  | Y
16.08 | CoordinateYAxis | 0 |  | Expected | 3 | Design Team | 3 |  |  | Y
16.09 | CoordinateZAxis | 4000 |  | Expected | 3 | Design Team | 3 |  |  | Y
16.1 | ExtSystem | Authoring Application |  | Application | 3 | Design Team | 3 |  |  | Y
16.11 | ExtObject | IfcBuildingStorey |  | Application | 3 | Design Team | 3 |  |  | Y
16.12 | ExtIdentifier | 0NG5d_R6T8leptpGyG4uWz |  | Application | 3 | Design Team | 3 |  |  | Y
16.13 | ClockwiseRotation | 0 |  | Expected | 3 | Design Team | 3 |  |  | Y
16.14 | ElevationalRotation | 0 |  | Expected | 3 | Design Team | 3 |  |  | Y
16.15 | YawRotation | 0 |  | Expected | 3 | Design Team | 3 |  |  | Y
17.0 | GIS Coordinate |  | 1
17.01 | Name | BO86/EM1 |  | Expected | 3 | Design Team | 3 |  |  | Y
17.02 | CreatedBy | company@email.com |  | Reference | 3 | Design Team | 3 |  |  | Y
17.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 3 | Design Team | 3 |  |  | Y
17.04 | Category | Feature |  | Pick List | 3 | Design Team | 3 |  |  | Y
17.05 | SheetName | Component |  | Pick List | 3 | Design Team | 3 |  |  | Y
17.06 | RowName | BO86/EM1 |  | Reference | 3 | Design Team | 3 |  |  | Y
17.07 | CoordinateXAxis | n/a |  | Expected | 3 | Design Team | 3 |  |  | Y
17.08 | CoordinateYAxis | n/a |  | Expected | 3 | Design Team | 3 |  |  | Y
17.09 | CoordinateZAxis | n/a |  | Expected | 3 | Design Team | 3 |  |  | Y
17.1 | ExtSystem | GIS Application |  | Application | 3 | Design Team | 3 |  |  | Y
17.11 | ExtObject | embankment |  | Application | 3 | Design Team | 3 |  |  | Y
17.12 | ExtIdentifier | 10023 |  | Application | 3 | Design Team | 3 |  |  | Y
17.13 | ClockwiseRotation | n/a |  | Expected | 3 | Design Team | 3 |  |  | Y
17.14 | ElevationalRotation | n/a |  | Expected | 3 | Design Team | 3 |  |  | Y
17.15 | YawRotation | n/a |  | Expected | 3 | Design Team | 3 |  |  | Y
18.0 | Issue |  | 1
18.01 | Name | Fall1 |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.02 | CreatedBy | company@email.com |  | Reference | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.03 | CreatedOn | 2012‑12‑12T13:29:49 |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.04 | Type | Safety |  | Pick List | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.05 | Risk | Very High |  | Pick List | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.06 | Chance | Has Occurred |  | Reference | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.07 | Impact | Very High |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.08 | SheetName1 | Document |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.09 | RowName1 | Safety Policy |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.1 | SheetName2 | Component |  | Application | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.11 | RowName2 | Heated food trolley |  | Application | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.12 | Description | Loose fixings |  | Application | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.13 | Owner | name@email.com |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.14 | Mitigation | Warnings relayed to operatives |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.15 | ExtSystem | Authoring Application |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.16 | ExtObject | Pset_Risk |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
18.17 | ExtIdentifier | n/a |  | Expected | 7 | Facilities Manager | N/A |  |  | FM Only - After Project PC
Note on E67: Matt Watchorn: Populate to lowest level of Uniclass 2015 Space Table Sp.
Note on E88: Matt Watchorn: Ensure every Type Name is a unique entry.
Note on E91: Matt Watchorn: Populate to lowest level of Uniclass 2015 table Pr Products.
Note on E94: Matt Watchorn: Actual manufacturer (not email / website address)
Note on E96: Matt Watchorn: Actual manufacturer (not email / website address)
Note on E97: Matt Watchorn: Populated if known, otherwise leave blank
Note on E104: Matt Watchorn: Must be numeric to two places of decimals in £ sterling.
Note on E105: Matt Watchorn: Must be populated as years with a numeric value. If the product has an infinite life enter 99.
Note on E113: Matt Watchorn: For all mechanical and electrical plant the size/ capacity in kW should be entered as a numeric value. All non-mechanical and electrical types leave blank.
Note on E128: Matt Watchorn: The space must be listed in Space sheet name column.
Note on E140: Matt Watchorn: Populate to the lowest level of Uniclass 2015 Ss Systems.
Note on E143: Matt Watchorn: Populate to lowest level (Sub-Element) of BCIS Elemental Standard Form of Cost Analysis 4th (NRM) edition.
Note on E144: Matt Watchorn: Only one component per row. The ComponentName must be listed in the Component sheet name column.

## P004.3
STD/BIM/P004.3 - Performance Attribute Data
1. Responsibility for providing the performance data in this table is the reponsibility of the specialist manufacturer /supplier, and is to reflect the peformance specification of the building system / element / component provided by the designer. 2. Liability for performance specification remains with the designer. 3. This table provides a default requirement and will need to be reviewed, and where necessary updated, on a project by project basis to ensure a project specific brief. 4. The performance attributes in this table are not exclusive of other performance requirments that may be deemed to be of value to the project. In these intances, addtional attributes should be added to the appropriate disciplines. |  |  | PERFORMANCE ATTRIBUTE DATA
|  |  | Structural / Architectural | [5 empty] | Electrical |  |  |  |  | Mechanical |  |  |  |  | Environmental
|  |  | Fire Rating | Acoustic Rating | Thermal Transmittance | Slip Resistance | Security Rating | Load Bearing | Rated Voltage | Degree of Protection | Rated Current | Number of Phases | Rated Power | Temperature Range | Flow Rate | Heating / Cooling Capacity | Sound Generation | Pressure | Global Warming Potential (GWP) | Embodied Energy | Volatile Organic Compounds (VOCs) | Ozone Depleting Potential (ODP)
Ref | CATEGORY
01 | Sub-structure / Structural Foundations | [6 empty] | Y | [10 empty] | Y | Y
02 | Structural Concrete |  | Y |  | Y |  |  | Y | [10 empty] | Y | Y
03 | Structural Floors and Compartment Walls |  | Y | Y | Y |  |  | Y | [10 empty] | Y | Y
04 | Structural Steel |  | Y |  | Y |  |  | Y | [10 empty] | Y | Y
05 | Specialist Structural Floor |  | Y | Y | Y |  |  | Y | [10 empty] | Y | Y
06 | Ramps |  | Y |  |  | Y | [12 empty] | Y | Y
07 | Stairs |  | Y |  |  | Y |  | Y | [10 empty] | Y | Y | Y
08 | Cladding Systems
09 | External Walls (Masonry) |  | Y | Y | Y |  |  | Y | [10 empty] | Y | Y | Y
10 | Windows and Solar Shading |  | Y | Y | Y |  | Y | [11 empty] | Y | Y | Y
11 | Wall Systems |  | Y | Y | Y |  |  | Y | [10 empty] | Y | Y | Y
12 | Columns - Non Structural |  | Y |  | Y |  |  | Y | [10 empty] | Y | Y
13 | General Joinery items |  | Y | Y | Y |  | Y | Y | [10 empty] | Y | Y | Y
14 | Flooring Systems |  | Y | Y | Y | Y | [12 empty] | Y | Y | Y
15 | Ceilings |  | Y | Y | Y | [13 empty] | Y | Y | Y
16 | Kitchen Units & Fixed Furniture | [17 empty] | Y | Y | Y
17 | Loose Furniture | [17 empty] | Y | Y | Y
18 | Building Services Carrier, Containment & Support Systems |  | Y | [15 empty] | Y | Y
19 | Sanitary Fixtures | [13 empty] | Y |  |  | Y | Y | Y
20 | Sanitaryware | [13 empty] | Y |  |  | Y | Y | Y
21 | Lifts and Conveyors
22 | Communication Devices | [7 empty] | Y | Y | Y | Y | Y | [5 empty] | Y | Y
23 | BMS (fire, security, data specialist systems etc) | [7 empty] | Y | Y | Y | Y | Y | [5 empty] | Y | Y |  | Y
24 | Specialty End User Equipment
25 | Specialty maintenance Equipment
26 | Mechanical Equipment
| Boiler | [7 empty] | Y | Y | Y | Y | Y |  |  |  | Y |  | Y | Y |  | Y
| Heat Exchanger | [7 empty] | Y |  | Y | Y |  |  |  | Y | Y |  | Y | Y |  | Y
| Chiller | [7 empty] | Y |  | Y | Y |  | Y |  | Y | Y |  | Y | Y |  | Y
| Evaporative Cooler | [7 empty] | Y |  | Y | Y | Y | Y |  | Y | Y |  | Y | Y |  | Y
| Evaporator | [7 empty] | Y |  | Y | Y | Y |  | Y | Y | Y |  | Y | Y |  | Y
| Cooled Beam | [7 empty] | Y |  | Y |  | Y |  | Y | Y | Y |  | Y | Y |  | Y
| Cooling Tower | [7 empty] | Y |  | Y | Y | Y | [5 empty] | Y | Y |  | Y
| Pump | [7 empty] | Y |  | Y | Y | Y |  | Y | Y | Y | Y | Y | Y |  | Y
| Fire Suppression Terminal | [17 empty] | Y | Y
| Air To Air Heat Recovery | [7 empty] | Y |  | Y |  | Y | Y |  |  | Y |  | Y | Y
| Unitary Equipment | [7 empty] | Y |  | Y | Y | Y | Y | Y | Y | Y |  | Y | Y |  | Y
27 | Drainage | [13 empty] | Y |  |  |  | Y | Y
28 | Air Terminals / Fans
| AirTerminal | IfcAirTerminal | [12 empty] | Y |  | Y |  | Y | Y
| AirTerminalBox | IfcAirTerminalBox | [12 empty] | Y |  | Y |  | Y | Y
| Fan | IfcFan | [6 empty] | Y | Y | Y | Y | Y |  |  |  |  | Y | Y | Y
29 | Ducts
| DuctSegment | IfcDuctSegment | Y | [11 empty] | Y |  | Y | Y | Y | Y
| DuctSilencer | IfcDuctSilencer | Y | [11 empty] | Y |  | Y | Y
30 | Electrical Equipment
| ElectricDistributionBoard | IfcElectricDistributionBoard | [6 empty] | Y | Y | Y | Y | [6 empty] | Y | Y
| JunctionBox | IfcJunctionBox | [7 empty] | Y | Y | [7 empty] | Y | Y
| ElectricFlowStorageDevice | IfcElectricFlowStorageDevice | [6 empty] | Y | Y | Y |  | Y | [5 empty] | Y | Y
| ElectricGenerator | IfcElectricGenerator | [6 empty] | Y |  | Y | Y | Y | [5 empty] | Y | Y
| ElectricMotor | IfcElectricMotor | [6 empty] | Y | Y | Y | Y | Y | [5 empty] | Y | Y
| Transformer | IfcTransformer | [6 empty] | Y |  |  | Y | Y | [5 empty] | Y | Y
| ProtectiveDevice | IfcProtectiveDevice | [6 empty] | Y |  | Y | Y | [6 empty] | Y | Y
| ProtectiveDeviceTrippingUnit | IfcProtectiveDeviceTrippingUnit | [6 empty] | Y |  | Y | Y | [6 empty] | Y | Y
| ElectricTimeControl | IfcElectricTimeControl | [6 empty] | Y | Y | Y | [7 empty] | Y | Y
| Outlet | IfcOutlet | [6 empty] | Y | Y | Y | Y | [6 empty] | Y | Y
| UnitaryControlElement | IfcUnitaryControlElement | [6 empty] | Y |  | Y | [7 empty] | Y | Y
| Actuator | IfcActuator | [6 empty] | Y |  | Y | [7 empty] | Y | Y
31 | Electrical Fixtures
| Outlet | IfcOutlet | [6 empty] | Y | Y | Y | Y | [6 empty] | Y | Y
| SwitchingDevice | IfcSwitchingDevice | [6 empty] | Y |  | Y | Y | [6 empty] | Y | Y
| Sensor | IfcSensor | [6 empty] | Y | Y | Y | [7 empty] | Y | Y
32 | Lighting Fixtures | [7 empty] | Y | Y | Y |  | Y | [5 empty] | Y | Y
33 | External Works
34 | Curtain Wall Mullions, transoms |  | Y | Y | Y |  |  | Y | [10 empty] | Y | Y
35 | Curtain Wall Systems |  | Y | Y | Y | [13 empty] | Y | Y
36 | Doors / Access Panels / Hatches |  | Y | Y | Y |  | Y | [11 empty] | Y | Y | Y
37 | Ironmongery | [5 empty] | Y | [11 empty] | Y | Y
38 | Pipes | [13 empty] | Y |  |  | Y | Y | Y
39 | Railings, Fences, Balconies and external furniture | [17 empty] | Y | Y | Y
40 | Spaces / Rooms / Zones | [19 empty] | Y

## AIR Pick Lists
| Pick List for IDP Catagories | Pick Lists for | Data Access Type | Info provided by | Check Box | Project Phase
A0000 | A0000_Site Conditions / Legacy / Discovery | Building | Document | MoJ | Yes | Design
B0000 | B0000_Design | Component | Data Entry | Client Rep | No | Construction
C0000 | C0000_Environmental | Existing Asset Information | Document or Extranet Link | Designer | ? | Operation
D0000 | D0000_Construction / Assembly | MEP | TBC | Contractor
E0000 | E0000_Project Management | Site |  | Operator
F0000 | F0000_Commercial / Financial | Structure
G0000 | G0000_Procurement Products | System
H0000 | H0000_Economic Viability | Other
J0000 | J0000_Property / Asset Management
K0000 | K0000_Health & Safety
L0000 | L0000_Modelling & Analytics (CFD)
M0000 | M0000_Commissioning & Performance Evaluation
X0000 | X0000_MoJ TBC

## Pick Lists (hidden)
| Pick List for IDP Catagories | Pick Lists for | Data Access Type | Info provided by
A0000 | A0000_Site Conditions / Legacy / Discovery | Building | Document | MoJ
B0000 | B0000_Design | Component | Data Entry | Client Rep
C0000 | C0000_Environmental | Existing Asset Information | Document or Extranet Link | Designer
D0000 | D0000_Construction / Assembly | MEP | TBC | Contractor
E0000 | E0000_Project Management | Site |  | Operator
F0000 | F0000_Commercial / Financial | Structure
G0000 | G0000_Procurement Products | System
H0000 | H0000_Economic Viability | Other
J0000 | J0000_Property / Asset Management
K0000 | K0000_Health & Safety
L0000 | L0000_Modelling & Analytics (CFD)
M0000 | M0000_Commissioning & Performance Evaluation
X0000 | X0000_MoJ TBC