## Scope Of Works
0
0
0
0
0
0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
0
| PROJECT DETAILS: |  |  |  | 0
0
| Commercial Internal Fitout of 7 Newly Constructed Industrial Units |  |  |  | 0
0
| at |  |  |  | 0
0
| Oceansgate |  |  |  | 0
| Building 1.6, Units 6-12 |  |  |  | 0
| 10 Vivid Approach |  |  |  | 0
| Plymouth |  |  |  | 0
| PL1 4RW |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
| This specification is to be priced in conjunction with drawings: ALL DRAWINGS including M&E |  |  |  | 0
0
| NOTES |  |  |  | 0
| For item clarification refer to Sub Appendix A-01 - A-08 |  |  |  | 0
0
| Construction Drawings: |  |  |  | 0
| CCC-OG-FO-01; CCC-OG-FO-02; CCC-OG-FO-03; CCC-OG-FO-04; CCC-OG-FO-05; CCC-OG-FO-06; CCC-OG-FO-07; CCC-OG-FO-08; CCC-OG-FO-09; CCC-OG-FO-10; CCC-OG-FO-11; CCC-OG-FO-12 |  |  |  | 0
| CCC-OG-FO-RL01; CCC-OG-FO-RL02; CCC-OG-FO-RL03; CCC-OG-FO-RL04; CCC-OG-FO-RL05; CCC-OG-FO-RL06 |  |  |  | 0
| Public Health |  |  |  | 0
| PMTC-SDP-XX-00-DR-P-110; PMTC-SDP-XX-01-DR-P-120; PMTC-SDP-XX-XX-DR-P-100 |  |  |  | 0
| Mechanical |  |  |  | 0
| PMTC-SDP-XX-00-DR-M-110; PMTC-SDP-XX-00-DR-M-210; PMTC-SDP-XX-00-DR-M-310; PMTC-SDP-XX-00-DR-M-410; PMTC-SDP-XX-00-DR-M-510; PMTC-SDP-XX-01-DR-M-120; PMTC-SDP-XX-01-DR-M-220; PMTC-SDP-XX-01-DR-M-320; PMTC-SDP-XX-XX-DR-M-100; PMTC-SDP-XX-XX-DR-M-200; PMTC-SDP-XX-XX-DR-M-300 |  |  |  | 0
| Electrical |  |  |  | 0
| PMTC-SDP-XX-00-DR-E-110; PMTC-SDP-XX-00-DR-E-210; PMTC-SDP-XX-00-DR-E-310; PMTC-SDP-XX-00-DR-E-410; PMTC-SDP-XX-00-DR-E-510; PMTC-SDP-XX-01-DR-E-120; PMTC-SDP-XX-01-DR-E-220; PMTC-SDP-XX-01-DR-E-320; PMTC-SDP-XX-01-DR-E-420; PMTC-SDP-XX-01-DR-E-520; PMTC-SDP-XX-XX-DI-E-001; PMTC-SDP-XX-XX-DR-E-001; PMTC-SDP-XX-XX-DR-E-301; PMTC-SDP-XX-XX-DR-E-302; PMTC-SDP-XX-XX-DR-E-400; PMTC-SDP-XX-XX-DR-E-500 |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
| MEZZANINE FLOOR | Qty | Item | Rate | £ p
0
NOTES:
| To supply and install mezzanine floor as per attached documents prepared by Davicon or other supplier subject to approval. To include for all design, structural design, calculations, manufacture, delivery, installation and all lifting, access and associated fall protection equipment. |  |  |  | 0
REFER TO APPENDIX A-01
1 | Mezzanine Floor | 1 |  |  | 0
0
2 | Double staircase including handrail | 1 |  |  | 0
0
3 | Single Staircase including handrail | 1 |  |  | 0
0
4 | To supply and manufacture steel frame ramps with chequer plate top and tubular handrail to match material used in the staircases. To be installed to allow access between different floor levels. To include all powered coating of frame to be RAL 7016, Black chequer plate and black handrail posts and galvanized tubes. Ensure that top and bottom edges to fit flush to existing concrete. | 2
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
| PARTITIONS AND BLOCK WALLS | Qty | Item | Rate | £ p
0
| NOTES: |  |  |  | 0
| Allow for all wood or metal edging, trims, abutments of different wall types, rebates, add ons, mastic, sealants and all finishing details. |  |  |  | 0
| Allow to leave all wall types fully prepared and ready to receive decorations. |  |  |  | 0
| Allow for all supports to openings and apertures, straps, noggins, tie anchors, associated fixings and wall support bracing. All necessary fire stopping, sealing breaks and intumescent seals. |  |  |  | 0
0
1 | Supply and Lay 150mm concrete block walls as indicated on drawings to ground floor. Allow for a pointed finish to both sides of all blockwork and support lintels for apertures and openings, support piers, fixing and tie anchors, leaving ready for decoration. Height to be above suspended ceiling. |  |  |  | 0
0
2 | Supply and install metal or timber stud 30 min fire rated partitions as indicated on drawings to ground floor. Allow for Insulation: Isover Isowool apr 1200 insulation 50mm thick. Allow for all support to apertures and associated detailed finishing including reveals and cills. Allow to skim leaving ready for decoration. All installed in accordance with manufacturer’s instructions and recommendations to give performance requirements, of sound insulation of Rw + Ctr 59 dB and BS 5234 requirements. All Partitions to abut masonry walls and floor constructions, and be sealed to give appropriate sound/acoustic integrity for wall system. Fire resistance of complete partition assembly: To BS 476-20 and -22, 30/30 minutes (Integrity/Insulation) Height to be above suspended ceiling. |  |  |  | 0
0
3 | Supply and install metal or timber stud partitions as indicated on drawings to ground floor. Allow for Insulation: Isover Isowool apr 1200 insulation 50mm thick. Allow for all support to apertures and associated detailed finishing including reveals and cills leaving ready for decoration. All installed in accordance with manufacturer’s instructions and recommendations to give performance requirements, of sound insulation of Rw + Ctr 59 dB and BS 5234 requirements. All Partitions to abut masonry walls and floor constructions, and be sealed to give appropriate sound/acoustic integrity for wall system. Height to be above suspended ceiling. |  |  |  | 0
4 | Supply and install metal or timber stud 30 min fire rated partitions as indicated on drawings to first floor. Allow for Insulation: Isover Isowool apr 1200 insulation 50mm thick. Allow for all support to apertures and associated detailed finishing including reveals and cills. Allow to skim leaving ready for decoration. All installed in accordance with manufacturer’s instructions and recommendations to give performance requirements, of sound insulation of Rw + Ctr 59 dB and BS 5234 requirements. All Partitions to abut exterior walls and floor constructions, and be sealed to give appropriate sound/acoustic integrity for wall system. Fire resistance of complete partition assembly: To BS 476-20 and -22, 30/30 minutes (Integrity/Insulation) |  |  |  | 0
5 | Supply and install metal or timber stud partitions as indicated on drawings to first floor. Allow for Insulation: Isover Isowool apr 1200 insulation 50mm thick. Allow for all support to apertures and associated detailed finishing including reveals and cills leaving. Allow to skim leaving ready for decoration. All installed in accordance with manufacturer’s instructions and recommendations to give performance requirements, of sound insulation of Rw + Ctr 59 dB and BS 5234 requirements. All Partitions to abut exterior walls and floor constructions, and be sealed to give appropriate sound/acoustic integrity for wall system. Height to be above suspended ceiling.
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| WINDOWS & DOORS |  |  |  | 0
0
| NOTES: |  |  |  | 0
| Allow for all wood or metal edging, trims, abutments of different wall types, rebates, add ons, mastic, sealants, cills and all finishing details. |  |  |  | 0
| Allow to leave all wall types fully prepared and ready to receive decorations |  |  |  | 0
| Allow for all necessary fire stopping, sealing breaks and intumescent seals and fire rated glazing |  |  |  | 0
0
1 | SDI-02, SDI-05, SDI-06, SDI-07, SDI-08, SDI-09, SDI-10, SDI-11, SDI-12, to be Howdens Blyton Oak Flush Veneered pre-finished 20G Glazed Door FD30 fitted to single width softwood door linings c/w door stops and architrave both sides. All doors to have 1.5 pairs of hinges and ironmongery as per schedule. | 9 |  |  | 0
2 | DD-01, DD-02, DD-03, DD-04, DD-06 to be Howdens Blyton Oak Flush Veneered pre-finished 20G Glazed Door FD30 fitted to double width softwood door linings c/w door stops and architrave both sides. All doors to have 1.5 pairs of hinges and ironmongery as per schedule. | 5
0
3 | SDI-01, SDI-03, SDI-04, SDI-cleaners, DWC-01, DWC-02, DWC-03, DWC-04, DWC-05, DWC-06, DWC-07, DWC-08 to be Howdens Blyton Oak Flush Veneered pre-finished Fire Door FD30 fitted to single width softwood door linings c/w door stops and architrave both sides. All doors to have 1.5 pairs of hinges and ironmongery as per schedule. | 12 |  |  | 0
4 | DD-05, DD-07, DD-08, to be Howdens Blyton Oak Flush Veneered pre-finished Fire Door FD30 fitted to double width softwood door linings c/w door stops and architrave both sides. All doors to have 1.5 pairs of hinges and ironmongery as per schedule. | 3
0
5 | Please refer to Appendix A-03 for ironmongery schedule. (Add total price) |  |  |  | 0
6 | Supply and install door stop to each door | 37
0
7 | Internal fixed sash windows. Framing to be EI 30 aluminium framing powder coated finish - RAL 7016. Infill EI 30 Single glazing panel of 16mm Contraflam or similar approved. |  |  |  | 0
0
| Ground floor |  |  |  | 0
| 2500mm x 2100mm (approx) | 3 | nr |  | 0
| 1200mm x 1000m (approx) | 6 | nr |  | 0
0
| First Floor |  |  |  | 0
| 6000mm x 2100mm (approx) | 3 | nr |  | 0
| 1200mm x 1000m (approx) | 2 | nr |  | 0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| DECORATION WORKS |  |  |  | 0
0
| NOTES: |  |  |  | 0
| Allow for all preparation works to include filling any holes, sanding, filling, stopping, caulking, knotting. |  |  |  | 0
| Allow for all necessary coats to provide a full balanced coat on blockwork and plasterboard walls. |  |  |  | 0
0
1 | Paint blockwork walls with Crown Trade Stronghold Smooth Masonry paint, colour to be White. Allow for suitable number of coats to provide a full and hole free finish. |  |  |  | 0
0
2 | Paint all newly installed partition walls with Crown Eggshell, colour to be White. Allow for 50/50 mist coat and two full coats. |  |  |  | 0
0
3 | Paint all newly installed door linings, architraves and skirting and wood work with suitable primer, Dark Grey undercoat and top coat of Crown Satinwood RAL 7016 |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
|  | Qty | Item | Rate | £ p
| FIXTURES & FITTINGS |  |  |  | 0
NOTES
Allow for full installation to include 2nd fix, trims, edging, sealants and mastics and protection through out works.
Allow to connect all sanitaryware to M&E supplies as necessary to include all fittings, connections and fixings.
1 | Provide and fix new softwood framing for IPS panelling as indicated on contract drawings to comprise ex 100mm x 50mm PSE timbers. All joints to be glued and screwed. Provide and install IPS duct access system as indicated on contract drawings to comprise 15mm moisture resistant high density chipboard core with high pressure laminate finish to all faces. Or similar approved. | 7 |  |  | 0
0
2 | Sanitaryware - Armitage Shanks, Rugeley, Staffordshire, WS15 4BT - 01543 490253. Or similar approved. |  |  |  | 0
| WC |  |  |  | 0
2.1 | E8974(01) – Sandringham 21 back to wall WC pan with horizontal outlet | 7 |  |  | 0
2.2 | E1316(01) – Sandringham 21 seat and cover | 7 |  |  | 0
2.3 | S9101(01) – Domex screws (pair) | 7 |  |  | 0
2.4 | S4270 - Conceala 2 delay fill 4.5 litre single flush cistern | 7 |  |  | 0
2.5 | S4463 - WC Actuator, palm push button | 7 |  |  | 0
| WHB - Wall Mounted |  |  |  | 0
2.6 | E893001 – Sandringham 21 handrinse washbasin 35cm 2TH - with overflow | 7 |  |  | 0
2.7 | S8800(AA) - Waste 1 1/4" plastic waste with bead chain and plug, 80mm slotted tail, bolt stay | 7 |  |  | 0
2.8 | S8900 – Trap 1 ¼” plastic bottle, 75mm seal, multi-purpose outlet | 7 |  |  | 0
2.9 | E5010(67) – Pair steel wall hangers | 7 |  |  | 0
2.1 | B9881(AA) - Sandringham 21 washbasin pillar taps lever handles | 7 |  |  | 0
| Cleaners Sink |  |  |  | 0
2.11 | S5920(01) – Birch cleaner’s sink 51cm with fitted bucket grating | 2 |  |  | 0
2.12 | B1457(AA) - Alterna 21 Bib taps 1/2" lever handles | 2 |  |  | 0
2.13 | B1688(AA) - Nimbus 21 exposed bib taps wall mounts | 2 |  |  | 0
2.14 | S8915 - Plastic bottle trap with 75mm seal, multi purpose outlet | 2 |  |  | 0
2.15 | S9101(01) – Domex Screws (pair) | 2 |  |  | 0
2.16 | S9233(MY) – Leg 350mm stainless steel with 355mm screw to wall Aluminium alloy bearer, 305mm stud (pair) | 2 |  |  | 0
0
3 | Armitage Shanks - S0683(AC) Doc M Contour 21+ close coupled left or right hand pack, WC pan, water saving delay fill cistern with spatula lever, basin, blue (LI) grab rails, hinged support rail with toilet roll holder, blue seat no cover with retaining buffers, copper tails on TMV3 mixer tap. Or similar approved. | 2 |  |  | 0
3.1 | Grab Rail - S6450(LJ) – Contour 21 Blue grab rail straight 450cm long x 35mm diameter. Or similar approved. |  |  |  | 0
0
4 | Shower Pod- See Appendix A 05-Advanced Showers International Ltd, Unit 2 Alpha Business Park, Coventry, CV2 1EQ. Or similar approved. |  |  |  | 0
4.1 | Supply and install Advanced Showers 900DXT Shower Pod to include a framed bi fold door and waste trap. | 1 |  |  | 0
4.2 | Advanced Showers - Shower Valve AS03 | 1 |  |  | 0
0
5 | Tea point in rest areas : install Howdens 1000mm sink base unit, complete with 1.5m long 40mm post formed laminate work surface. Or similar approved. Allow for all plinths, end panels, handles. | 2 |  |  | 0
0
5.1 | Provide and install 1000mm stainless steel sink and drainer complete with chrome pillar taps and waste. | 2 |  |  | 0
0
6 | Supply and install to all sides of all newly installed plasterboard walls Softwood skirting 100mm bullnose. Leaving ready for decoration |  |  |  | 0
0
7 | Provide and fix acrylic 6mm safety mirror secured with screws and chrome cover studs to WC pods and DDA WC above basins, Shower pod (position to be confirmed) - 600mm x 450mm | 10 |  |  | 0
0
8 | Provide and fix acrylic 6mm full length safety mirrors secured with screws and chrome cover studs in DDA WC fitted to back of doors - 1250mm x 450mm | 2 |  |  | 0
0
9 | Provide and fix 2 course splash back to tea points comprising 150mm x 150mm white ceramic tiles | 2 |  |  | 0
0
10 | Provide and fix 1 course splash back to DDA WC basins comprising 150mm x 150mm white ceramic tiles | 2 |  |  | 0
0
11 | Provide and fix Altro white rock splash back to wall to receive sink in cleaners cupboards prior to cleaners sink installation as per manufacture instructions. Or similar approved. Allow of all trims, corners and sealant | 2 |  |  | 0
0
12 | Allow to supply and fit suitable pattresses within stud walls to provide support to all M&E items, ie radiators, sinks, basins, WC cisterns, support rails, etc |  |  |  | 0
0
13 | Allow to supply and fit suitable pattresses within all stud walls to provide support to client specific items, ie, wall mounted TV monitors, projectors, multi media boards, white boards, notice, etc boards, etc |  |  |  | 0
0
14 | Emergency Safety Drench Showers - Washware Essentials |  |  |  | 0
| Vertical Plastic Head. Product Code S1100 Vertically mounted drench shower with plastic shower head 190mm diameter. ABS plastic shower head with 76 litres per minute regulator. Chrome plated brass stay open ball valve. Stainless steel actuator arm with 737mm pull handle Complete with identification sign, and weekly test tag. | 1 |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| FIRE RATED CEILINGS & CEILINGS AND FIRE RATED COLUMN CASES |  |  |  | 0
0
| NOTES: |  |  |  | 0
| See Appendix A-06 |  |  |  | 0
0
1 | Supply and install to underside of complete Mezzanine Armstrong 24mm suspended ceiling grid complete with hangers and 600mm x 600mm Mezzanine DL 100, perimeter trim to comprise shadow line. Install to manufacturers instructions to maintain fire integrity. Or similar approved. | 500 | m2 |  | 0
0
2 | Supply and install to Mezzinne suspended ceiling JCW Noise Blocker Suspended Ceiling Panel - 600mm x 600mm x 19mm. Allow for suitable hoods over lighting Or similar approved. | 500 | m2 |  | 0
0
3 | Supply and install new fire rated bulkhead to floor aperture for staircases, lift, along open end of Mezzanine and along each roller shutter door as indicated in Drawing. |  |  |  | 0
0
4 | Supply and install RVS Pro-case fire rated column cases to all mezzanine floor columns. Allow for all section sizes and varying heights. Or similar approved. |  |  |  | 0
0
5 | Supply and fit new Armstrong 24mm suspended ceiling grid complete with hangers and 600mm x 600mm Dune Max suspended ceiling tiles as per drawing to First Floor to include corridor and Composites Room to Ground Floor. Install to manufacturers instructions. Or similar approved. | 570 | m2 |  | 0
0
6 | Supply and install to First Floor & Composites Room with Encapsulated Suspended Ceiling Pads 600mm x 600mm x 200mm. Allow for suitable hoods over lighting. Or similar approved. | 570 | m2 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| SITE SPECIFIC ITEMS |  |  |  | 0
0
1 | Double Skin Partitioning system See Appendix A 02- Troax Lee Manufacturing Ltd, Building 52, Third Avenue, Pensnett Trading Est, Kingswinford, DY6 7XF. Or similar approved |  |  |  | 0
1.1 | Supply and install Troax Elan Non-Fire Rated Double Skin Partitioning – 4000mm High. • One run 11,540mm long, Steel with (approx.) 7no. panels Steel / Glass (940mm) / Steel, Inc. 1no. 3000mm wide x 3000mm high Sliding Door with VP and fitted with Claw Lock. • One run 10,084mm long, Steel with (approx.) 3no. panels Steel / Glass (940mm) / Steel, Inc. 1no. 3000mm wide x 3000mm high Sliding Door with VP and fitted with Claw Lock and 1no. 2051mm wide double hinged door with VP and fitted with 3 lever mortice lock. | 1 |  |  | 0
2 | Lift see Appendix A07- Stannah Lifts Ltd Robert Harris Technical Sales Engineer Mobile :07795273964 Email:robert_harris@stannah.co.uk. Or Similar Approved |  |  |  | 0
2.1 | To Supply and install Midilift SL platform lift with a non fire rated, single entry arrangement. To Included are 11 glazed structure panels for the exposed elevations on the structure and also for the lift to be supplied in RAL7016 as per details and allowing for all associated builders works as detailed in Appendix A-07 | 1 |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| FLOORING |  |  |  | 0
| NOTES: |  |  |  | 0
| Allow for all existing surface preparations and treatment prior to laying flooring |  |  |  | 0
| Allow for all latex and overboarding as needed prior to laying flooring |  |  |  | 0
Allow for all adhesive, cutting, trimming, wastage, sealants and mastics
Allow for trims and thresholds between different finishes and different levels as needed
Allow to install all products as per manufacture instructions
| Ground floor |  |  |  | 0
1 | To supply and install entrance matting to main Reception. Flooring to be Forbo Entrance Matting in Mouse Grey (4721) | 4 | m2 |  | 0
0
2 | To supply and fit new Forbo Tessera carpet tiles to ground and first floors (Colour - Teviot Neptune) | 90 | m2 |  | 0
| First Floor |  |  |  | 0
3 | To supply and install vinyl flooring to first floor welfare area. Flooring to be Altro Vinyl Flooring - Walkway 20 - Colour to be Pavement. Allow for coved skirting to all areas | 28 | m2 |  | 0
0
4 | To supply and lay Regupol 4515 Multi Acoustic Underlay to first floor mezzanine floor area | 420 | m2 |  | 0
0
5 | To supply and fit new Forbo Tessera carpet tiles to ground and first floors (Colour - Teviot Neptune) | 420 | m2 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| M&E |  |  |  | 0
0
| Refer to attached APPENDIX A 08 for all M&E Drawings, Specification and Schedules . Allow for all installations, conections related to M&E Specifaction. |  |  |  | 0
0
0
1 | To Install Electrical Services |  |  |  | 0
0
2 | To Install Mechanical Services |  |  |  | 0
0
3 | To Install Public Health Services |  |  |  | 0
0
4 | Builders works in connection with Mechanical, Electrical and Public Health to include but not limited to the following: |  |  |  | 0
0
5 | Replace and alter external windows and doors to receive service penetrations to include all access and cutting, sealing and water proofing and replacing glazing for composite panels to match existing |  |  |  | 0
0
6 | Allow for external access scaffolding to install 2nr soil stacks. Allow for roof penetrations and appropriate flashing and water proofing. To include 20 year guarantee covering installation |  |  |  | 0
0
7 | All core holes, cutting penetrations to include making good |  |  |  | 0
0
8 | Allow for all necessary service penetrations to be sealed to achieve 60 min fire protection to underside of Mezzanine floor |  |  |  | 0
0
9 | Specific M&E prelims |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
0
|  | Qty | Item | Rate | £ p
| PC SUMS |  |  |  | 0
0
1 | Allow for attendance for roller shutter specialist to make adjustments to shutters - PC SUM | 1 |  | 2000 | 2000
2 | Main Door swipe access control PC SUMS | 1 |  | 1500 | 1500
0
3 | Allow for works to Drench shower wall finishes and suitable resin tray connected to waste soil vent pipe | 1 |  | 2000 | 2000
0
4 | Allow for assistance with client IT and media installations. To include all face plates, all final connections and testing and commissioning. PC SUMS | 1 |  | 3000 | 3000
0
5 | Allow for assistance with client specialist equipment to include air benches, workstations and machinery. Allow for unloading, unpacking, place in position, final connection and disposal of all raisings PC SUMS | 1 |  | 5000 | 5000
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 13500
0
|  | Qty | Item | Rate | £ p
| PRELIMINARIES |  |  |  | 0
0
0
0
1 | Provide cost based on completion of Preliminaries schedule |  |  |  | 0
0
2 | Specific M&E preliminaries other that covered above |  |  |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| c/f to Collection |  |  | Sub-total | 0
£ p
COLLECTION
| MEZZANINE WORKS |  |  |  | 0
| PARTITION & WALLS WORKS |  |  |  | 0
| WINDOWS & DOORS SCHEDULE |  |  |  | 0
| DECORATION WORKS |  |  |  | 0
| FIXTURES & FITTINGS |  |  |  | 0
| FIRE RATED CEILINGS |  |  |  | 0
| SITE SPECIFIC ITEMS |  |  |  | 0
| FLOORING |  |  |  | 0
| M&E |  |  |  | 0
| PC SUMS |  |  |  | 13500
| PRELIMINARIES |  |  |  | 0
| SUB TOTAL |  |  |  | 13500
| VAT @ 20% |  |  |  | 2700
| TOTAL PROJECT COST |  |  |  | 16200