## Cost Breakdown
Pricing Document
Indicative
Item | Task | Cost, £
1 | Structural changes as discussed | 0
2 | Electrical and lighting as discussed | 40000
3 | Water, waste and shower | 34580
4 | Work Surfaces | 0
5 | LEV | 0
6 | Gas and Air Pipes | 0
7 | Painting (Internal wall) and glosswork | 15000
8 | Flooring as discussed (carpet and floor paint) | 10000
9 | Compressors and air pipework | 6000
10 | Heating survey and agreed installation of new system (if needed) | 500
11 | Parking and Traffic demarcation | 3000
12 | Boundary fence and gate (segregating BIFFA area) | 10000
13 | Signage (company logo, security and H&S) | 1000
14 | Fire Management and Emergency Plans | 4000
15 | Fire assessment, alarms and extinguishers | 4000
16 | Security camera’s and motion sensors | 4000
17 | Skip Hire | 4000
18 | Outside gutters and scaffolding Hire (mobile) | 5000
19 | Weed kill and general site tidy-up, unblock external drains | 1000
| GRAND TOTAL | 142100

## 1. Structural
|  |  | Slab | Block | Motar | Labour | Railings/Stairs | Water gate | Sump | Grating
|  |  | 200/m3 | 3/block
|  |  | 4275 | 1084.0909 | 500 | 3200 | 2000 | 1000 | 4000 | 1500
|  |  | 2940 | 859.0909 | 501 | 3200 | 2000 | 1000 | 1000 | 500
Costs
A
B
C
D
E
F
G
H
I
J
K
| Total | 0
Site Managers Office
Pilot Area
Staff Rest Area & Training
Office
Locker Room
Design Office
Met Laboratory
Office
Analytical Lab
&
Met Lab Overspill
Shower & Changing
Grind and Sieve
D. New double door through stud
wall
A. New single door through
bricked wall
I. Cladding of Lean-to-Extension
Storage
B. Install stud wall and door to make enclosed store room
C. Install stud wall over metal fenced wall
E. Stud wall in front (Internal) of roller door
G. Sound Proofing
J. Bunding of Lean-to-Extension
(c. 7.5m by 19m)
F. Shower Room
H. Unisex and Disabled Toliet refurb
K. Bunding of Lean-to-Extension
(c. 7.5m by 19m)

## 2. Electrics
Standard Three Pin Socket (Duoble)
IP66 Splash Cover Three Pin Socket (Double) 15cm above behch surface
Blue Bayonet Three Pin Socket with Isolator (Double)
ISOLATOR
ISOLATOR with LOCKOUT
Ceiling Light
Additonal sockets outside
Mositure Vent Fan
Notes
1) Repair external lights
No
7
79
12
7
7
6
1
|  | Freezer/washer isolators | 4
| TOTAL |  | 123
Site Managers Office
Pilot Area
Staff Rest Area & Training
Office
Locker Room
Design Office
Met Laboratory
Analytical Lab
&
Met Lab Overspill
Grind & Sieve
Fume cupboards to have three pin sockets installed
x2
x2
x4
x2
x2
x4
x4
x4
x4
x4
x4
x4
x2
x2
x2
x2
x2
x2
Fan
Fan
Fan
Fan
Fan
Compressor
Compressor
Office
Sump Pump
Isolator for dishwasher under bench near sink
Isolator for dishwasher under bench near sink
Isolator for undercounter freezer
Isolator for undercounter freezer

## 3. Sinks and Showers
Sink (Double)
Safety Shower
Shower
Floor Drainage Channel (going to waste capture tank)
Tap Outlet
|  | Unit | Unit
| No | Material Cost | Install Cost | Total Cost
| 6 | 350 | 200 | 3300
| 4 | 1500 | 200 | 6800
| 1 | 5000 | 7000 | 12000
| 1 | 4560 | 4000 | 8560
| 1 | 1420 | 2500 | 3920
TOTAL |  |  |  | 34580
Site Managers Office
Pilot Area
Staff Rest Area & Training
Office
Locker Room
Design Office
Met Laboratory
Storage
Analytical Lab
&
Met Lab Overspill
Shower & Changing
Grind & Sieve
Office
IBC
Container
Sump & Pump
4 inch pipe to allow drainage to exit building into sump
Note on W23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: £300 sink £50 waste fittings
Note on W27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming, shower pan, screen, titles, drainage, plumbing,
Note on Y27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Allow for furniture removal and adjustment of waste outlets
Note on W29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hirer floor cutter. Purchase drainage channel and cement Reply: 27m of channel Reply: £500 cement/materials, £700 sump, £700 pump Reply: Hire cutter £500
Note on Y29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cut channels, place channel and cement. Dig sump and place and secure plastic sump. Piping install.

## 4. Work Surfaces
No
42
-
6
Site Managers Office
Pilot Area
Staff Rest Area & Training
Office
Locker Room
Design Office
Met Laboratory
Storage
Analytical Lab
&
Met Lab Overspill
Shower & Changing
Grind & Sieve
Shelves
Bench
Table
Table
6m
8m
10m
7m
7m
4m
Note on X20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: £200/m for cabinet, £40/m worktop, £10 fittings/fasteners, £50/m trim Reply: Plinth £25/m

## 5. LEV
Analytical Lab
Two 1m or 1.5m length fume cupboards
Ext A2 pipe dimater in region of 6 to 8 inch
One hood for AA (0.25 by 0.25m)
Ext A1 pipe dimater in region of 4 inch, 5 m length (max)
|  |  |  | External fan | Flexi dust collector arm
Dust collection hood
Met Lab
Pilot Plant |  |  | Two 0.5m by 0.5m Hoods
Two 3m flexi arms |  |  | Two 1.5m extention arms | External dust collector
Eight blanks with gates |  |  | Gates on each outlet
Ext C pipe dimater in region of 4 inch |  |  | Two blanks for future expansion
17m length (subject to measuring) |  |  | External pipe diameter in region of 4 inch
10m length (subject to measuring)
Cost, £
Fume
ICP
Ducting
Dust House
Two Ext. Fans
| Total | 0
Site Managers Office
Pilot Area
Staff Rest Area & Training
Office
Locker Room
Design Office
Met Laboratory
Storage
Analytical Lab
&
Met Lab Overspill
Shower & Changing
Grinding Room
Ext. A1
Ext. C
Ext. B
Ext. A2
External Extractor Fan
External Extractor Fan
External Extractor Fan
or
External Dust Collector
External Extractor Fan
Arm
Arm
Hood
Hood
Hood
Fume Cupboards
Fume
ICP
Ducting

## 6. Gas and Air Pipes
A
B
C
D
TOTAL | 0
Site Managers Office
Pilot Area
Staff Rest Area & Training
Office
Locker Room
Design Office
Met Laboratory
Storage
Analytical Lab
&
Met Lab Overspill
Shower & Changing
Grinding Room
Small vent pipe
(about 1 inch diameter)
Caged gases
Small gas pipe
(about 0.5 inch diameter)
Small compressed air pipe
(about 0.5 inch diameter)
Compressor
Compressor
Office
B
C
A
D

## Dimensions
Dimensions
| Section # | Height/ m | Width/ m
| 0/001 | 10 | 7.89
| 0/002 & 0/003 | 3.59 | 3.9
| 0/004 | 2.7 | 2.2
| 0/005 | 6.4 | 8.44
| 0/006 & 0/007 0/008 | 10.85 | 13.29
| 0/009 | 1.8 | 3.21
| 0/010 | 5.8 | 2.04
| 0/011 & 0/012 | 3.84 | 3.76
| 0/013 & 0/014 | 5.12 | 3.9
| 0/015 | 1.8 | 3.21
| 0/016 | 1.86 | 1.79
| 0/017 | 6 | 3.9
| 0/018 | 2.72 | 4

## Summary Costs
Sheet | £
1
2
3
4
5
6
7