Automatic Fire Sprinkler System Service and Maintenance

TENDER REFERENCE: STSC-FB-0007

Tender Issue Date:  25th May 2018

Tender Return Date: 15th June 2018

South Tees Site Company Limited

Procurement Department

Teesside Management Offices

Redcar

TS10 5QW

# Contents

- Introduction

- Indicative Timetable

- Procedure for Submitting Tenders

- Evaluation of Responses

- Terms & Conditions applying to this Invitation to Tender

- Further Instructions to Tenderers

- Checklist of Documents to be Returned

- Job Background

- Scope

- Drawings & Specifications

- Standards

- Site Visit

- Health & Safety

- Budget

- Price/Quality Evaluation Criteria

- Procurement

- Freedom of Information

- Appendices

Declaration 5 – Agreement to Published terms & Conditions

Declaration 6 – Use of Sub-Contractors

Declaration 7 – Health & Safety Policy

Declaration 8 – Enforcement/remedial orders

Declaration 9 – Freedom of Information Act 2000 (FOI) and/or Environmental Information Regulations 2004 (EIR) Exemptions

# Introduction

South Tees Site Company Limited (STSC) have been appointed to maintain the safety of the Redcar site (formally SSI Steel).

South Tees Site Company is a Government owned Company that is part of the BEIS (Business, Energy & Industrial Stratergy) Department.

# Indicative Timetable

The anticipated timetable for this tender exercise is as follows. STSC reserves the right to vary this timetable. Any variations will be published on Contracts Finder or circulated to all organisations who have registered an interest in notifications.

| Tender Timeline | Date |
| --- | --- |
| Advert and invitation to tender issued | 25th May 2018 |
| Mandatory Site Visit | 4th June 2018 |
| Deadline for questions relating to the tender | 7th June 2018 |
| Responses to questions published | 12th June 2018 |
| Deadline for receipt of tender | 15th June 2018 (by 2pm) |
| All suppliers informed of outcome | 25th June 2018 |
| Contract award on signature by both parties | TBD |
| Contract start date | TBD |

Contract to be for a period of one (1) year unless terminated or extended by the Authority in accordance with the terms of the contract, with annual maintenance inspections to be carried out on all systems before end of month one (1).

# Procedure for Submitting Tenders

The maximum page limit for tenders is 6 pages (excluding declarations).

Please send your proposal clearly marked as “TENDER” and include the Tender Reference Number e.g. STSC- FB-0007 before the deadline of 2pm on 15th June 2018 to Procurement via email

procurement@stscltd.co.uk.

For questions regarding the procurement process please contact procurement@stscltd.co.uk.

Tenders will be received up to the time and date stated. Please ensure that your tender is delivered no later than the appointed time on the appointed date. STSC does not undertake to consider tenders received after that time. STSC requires tenders to remain valid for a period indicated in the specification of requirements.

STSC shall have the right to disqualify a bidder from the procurement if they fail to fully complete their response, or do not return all of the fully completed documentation and declarations requested in this ITT. STSC shall also have the right to disqualify you if it later becomes aware of any omission or misrepresentation in your response to any question within this invitation to tender. If you require further information concerning the tender process, or the nature of the proposal, please email procurement@stscltd.co.uk. All questions should be submitted by 7th June 2018; questions submitted after this date may not be answered. Should questions arise during the tendering period, which in our judgement are of material significance, we will publish these questions with our formal reply by the end of 12th June 2018. All contractors should then take that reply into consideration when preparing their own bids, and we will evaluate bids on the assumption that they have done so.

You will not be entitled to claim from STSC any costs or expenses that you may incur in preparing your tender whether or not your tender is successful.

# Evaluation of Responses

The tender process will be conducted to ensure that bids are evaluated fairly and transparently, in accordance with agreed assessment criteria.  Further details are provided in the Price/Quality Evaluation Criteria Section.

There will be an overall 30/70 cost/quality weighting on the evaluation.

# Terms and Conditions applying to this Invitation to Tender

Contract to be for a period of one (1) year, with annual maintenance inspections carried out on all systems before end of month one (1).

The Terms and Conditions published with this invitation to tender on Contracts Finder will apply to this contract.

These can be downloaded from Contracts Finder.

# Further Instructions to Contractors

STSC reserves the right to amend the enclosed tender documents at any time prior to the deadline for receipt of tenders. Any such amendment will be numbered, dated and issued by 13th June 2018. Where amendments are significant, STSC may at its discretion extend the deadline for receipt of tenders.

STSC reserves the right to withdraw this contract opportunity without notice and will not be liable for any costs incurred by contractors during any stage of the process. Contractors should also note that, in the event a tender is considered to be fundamentally unacceptable on a key issue, regardless of its other merits, that tender may be rejected. By issuing this invitation STSC is not bound in any way and does not have to accept the lowest or any tender and reserves the right to accept a portion of any tender unless the tenderer expressly stipulates otherwise in their tender.

# Documents to be Submitted

| Requirement | Assessment |
| --- | --- |
| Declaration 5: Agreement to published T&C’s without deviation | Pass/Fail |
| Declaration 6: Use of Sub-Contractors | Pass/Fail |
| Declaration 7: Confirmation of Health and Safety Policy that complies with current legislative requirements. | Pass/Fail |
| Declaration 8: Enforcement/remedial orders in relation to the Health, Safety and Environment enforcement agencies (or equivalent body) in the last 3 years? | Pass/Fail |
| Declaration 9: Freedom of Information Act 2000 (FOI) and/or Environmental Information Regulations 2004 (EIR) Exemptions | Informative |
| Pricing Schedule | Quantitative |
| Response to Quality Assessment Questions | Qualitative |
| Copy of Environmental Policy | Informative |

Note: Failure to comply with one or more pass/fail requirements will deem your tender non-compliant and it will not be evaluated.

# Job Background

The objective of this tender exercise is to establish a contractor to deliver the inspection, testing, and maintenance of STSC’s automatic fire sprinkler systems.

Providers of Sprinkler System Maintenance Services to STSC must meet the standards and expectations below.

# Scope

South Tees Site Company (STSC) wish to appoint a suitably qualified and experienced contractor to provide an annual service maintenance and emergency call out service for STSC’s fire Sprinkler, Deluge systems located in the following site areas:-

Blast Furnace Fire Fighting, Redcar Coke Ovens, Steelmaking, Redcar Power Station, Kinkerdale Sub Station, Dock Road Sub Station, Redcar Bulk Terminal (RBT) Material Handling C1 & Material Handling CH1

The service will comprise of the following elements:

- Annual system maintenance including pump maintenance

- Emergency call out provision

- Repair or replacement of an Automatic Start Control Panel

## 9.1	ANNUAL MAINTENANCE

STSC seek a skilled and experienced contractor to provide annual system inspection and maintenance services to STSC’s fire Sprinkler, and Deluge systems located in the following site areas:-

- Blast Furnace Fire Fighting

- Redcar Coke Ovens

- Steelmaking

- Redcar Power Station

- Kinkerdale Sub Station

- Dock Road Sub Station

- Redcar Bulk Terminal (RBT) Material Handling C1

- Redcar Bulk Terminal (RBT) Material Handling CH1

The annual system maintenance is to include valve sets, panels, flow switches, strainers, Sub-section Valves, Non-return valves, alarm valves, Tanks, Ball valves, isolation valves, Flow test, Exhausters, alarm bells, drain valves, trace heating, and pump sets, as per schedule provided in Appendix A.

Annual maintenance inspections are to be carried out on all systems before end of month one (1), the provider will work with STSC’s Fire Prevention Manager to agree mutually convenient dates and times for the service works to be undertaken.

All Engineer reports are to be signed for by local plant representative prior to leaving site detailing:

- condition of system

- works carried out

- spares/consumables used

- recommendations for repairs to systems where they cannot be affected during the maintenance

A copy of all reports to be sent to STSC’s Fire Prevention Manager once completed.

Systems to be left in an operational condition before Engineers leave site following maintenance/inspection.

For reference, a detailed asset list of firefighting equipment items by Plant area is included within Appendix B.

## 9.2	EMERGENCY CALL OUT

The appointed contractor will also supply an Emergency Call Out facility (including options where appropriate).

Bidders are required to provide a breakdown of costs, detailing the attendance fee (to include the first hours of work upon arrival to site) and subsequent hourly rates, for the following:

- Normal Office hours

- Outside of Office Hours

- Weekends

- Bank Holidays

## 9.3	REPAIR OR REPLACEMENT OF AUTOMATIC START CONTROL PANEL

The Automatic Start Control Panel at Redcar Power Station Emergency Diesel Fire Pump is currently out of service in “auto” control due to a fault on the control panel.

However, it is available in manual operation only.

The control panel has been investigated and the condition is poor to the extent that all wiring markers are illegible. This has made the interpretation of the control circuit drawings against the equipment difficult.

Bidders are asked to provide a breakdown of costs to repair or replace this module.

# Drawings & Specifications

Please refer to the specifications stated in the above scope of works in conjunction with the supplementary information provided in Appendices A, and B.

# Standards

Service and Maintenance to be in accordance with the requirements of the Loss Prevention Council Rules for Automatic Sprinkler Installations (2009), incorporating BSEN12845 specifically including:

- TB203 (2009): Care and maintenance of automatic sprinkler systems

- Clause 19: Commissioning, acceptance testing and periodic inspections

- Annex J: Procedures and precautions when systems are not in full operation

- Annex F: Special requirements for lifesafety systems

The service and maintenance of Fire Pumps must be performed by an approved Fire Pump Specialist (LPCB: Loss Prevention Certification Board).

In responding to this opportunity, Contractors confirm that they can comply with the relevant statutes and regulations current at the time of the selection process, including as relevant, Gas Safety, Health and Safety, Control of Asbestos, COSHH, Electricity at Work, Manual Handling and Personal Protective Equipment.

# Site Visit

A site visit is required for this work.  This site visit is mandatory and MUST be confirmed via email to procurement@stscltd.co.uk by 5pm on 31st May 2018.  Failure to confirm attendance will mean you will not be permitted on the site visit and will therefore not be considered further for this tender.

Date:		4th June 2018

Time:		10.00am

Site Host: 	Robbie Taylor

You will be required to complete a site induction, this will take around 30 minutes, please make time for the induction.

Please bring PPE (high viz, hard hat, safety boots, eye protection) for the visit.

# Health & Safety

South Tees Site Company Ltd is a top tier COMAH site and as such, is heavily regulated.  All contractors and sub-contractors are required to complete the VA01 contractor approval form and return with required documentary evidence (including relevant insurances, ISO and training certificates as are appropriate) in order to be added to the approved contractor register.  This also applies to any sub-contractors who may be used on this procurement.

Note: The below documents are for information at this stage, However, the successful contractor will be required to complete, prior to any actual contract award.

If one is held, please include a copy of your Environmental Policy within this tender.

# Budget

The budget for this project is £17,500 to £32,500 excluding VAT.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

STSC aims to pay all correctly submitted invoices within 30 days in line with standard terms and conditions of contract.

# Price/Quality Evaluation Criteria

The weighting for each criterion is presented in brackets.

## 15.1	Price 30 Points

This includes the ‘Tender Total’. The number of points will be awarded such that the lowest tender receives 30 points, the others will receive points based on their percentage above the lowest tender.

Example

Lowest Tender Total: £20k – 30 Points

Next Lowest Tender: £26k – (20/26 x 30) – 23 Points

Next Lowest Tender: £31k – (20/31 x 30) – 19 Points

## 15.1.1		Pricing Schedule

Bidders are required to complete the attached Excel Pricing Schedule to provide a full and detailed breakdown of costs (including options where appropriate).

Bidders are asked to provide a breakdown of costs for each individual plant area as per list of assets provided in Appendix B.

All prices shall be exclusive of VAT.

All costs appearing elsewhere in the Bid but not mentioned in this Pricing Schedule shall be presumed waived.

## 15.2	Quality 70 Points

## 15.2.1 	Scoring Methodology

| 0 | The Question is not answered or the response is completely unacceptable. |
| --- | --- |
| 10 | Extremely poor response – they have completely missed the point of the question. |
| 20 | Very poor response and not wholly acceptable. Requires major revision to the response to make it acceptable. Only partially answers the requirement, with major deficiencies and little relevant detail proposed. |
| 40 | Poor response only partially satisfying the selection question requirements with deficiencies apparent. Some useful evidence provided but response falls well short of expectations. Low probability of being a capable supplier. |
| 60 | Response is acceptable but remains basic and could have been expanded upon. Response is sufficient but does not inspire. |
| 80 | Good response which describes their capabilities in detail which provides high levels of assurance consistent with a quality provider. The response includes a full description of techniques and measurements currently employed. |
| 100 | Response is exceptional and clearly demonstrates they are capable of meeting the requirement. No significant weaknesses noted. The response is compelling in its description of techniques and measurements currently employed, providing full assurance consistent with a quality provider. |

Where an evaluation criterion is worth 10% then the 0-100 score achieved will be multiplied by 10.

Example if a Bidder scores 60 from the available 100 points this will equate to 6% by using the following calculation: Score/Total Points available multiplied by 10 (60/100 x 10 = 6)

## 15.2.2		Quality Questionnaire

| 15.2.2.1 | Methodology and Technical Merit |
| --- | --- |
|  | Bidders are asked to provide a comprehensive methodology of how they would undertake the work, together with details of technical ability to meet the required specifications as detailed in the scope. The bidder is required to: a) Outline their understanding of the requirements b) Provide a programme of work detailing how they propose to deliver the services and objectives that STSC seek to achieve in relation to the specification c) Detail their technical ability to complete the required work |
| Bidder Guidance | Please attach your answer as a pdf document limited to three sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 30% |
| Bidder Response | Attachment |

| 15.2.2.2 | Risk Management |
| --- | --- |
|  | Please identify what you feel would be the top 3 risks and how you plan to mitigate these risks. |
| Bidder Guidance | Please attach your answer as a pdf document limited to two sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 20% |
| Bidder Response | Attachment |

| 15.2.2.3 | Evidence of delivering similar projects |
| --- | --- |
|  | Please provide details of a minimum three and maximum five similar projects your company has been engaged in, outlining key challenges faced and how these were overcome, any lessons learned, and how you will utilise these experiences to add value in the realisation of STSC’s commission objectives. |
| Bidder Guidance | Please attach your answer as a pdf document limited to three sides of A4 (font Ariel, size 11) |
| Scoring Criteria | Scoring is based on the 0 to 100 scoring methodology. |
|  | Maximum Marks 20% |
| Bidder Response | Attachment |

# Procurement

All communication relating to this tender must be made via the Procurement Team.

Email: procurement@stscltd.co.uk

Please use this email address to:

- Confirm the Tenderer intends to submit a tender.

- Raise any questions during the tender period.

- Return the completed tender.

# Freedom of Information

In accordance with the obligations and duties placed upon public authorities by the Freedom of Information Act 2000 (the ‘FoIA’) and the Environmental Information Regulations 2004 (the ‘EIR’) (each as amended from time to time), the Contracting Authority may be required to disclose information submitted by the Bidder.

In respect of any information submitted by a Bidder that it considers to be commercially sensitive the Bidder should complete the Freedom of Information declaration question below.

Where a Bidder identifies information as commercially sensitive, the Contracting Authority will endeavour to maintain confidentiality. Bidders should note, however, that, even where information is identified as commercially sensitive, the Contracting Authority may be required to disclose such information in accordance with the FoIA or the Environmental Information Regulations.  In particular, the Contracting Authority is required to form an independent judgment concerning whether the information is exempt from disclosure under the FoIA or the EIR and whether the public interest favours disclosure or not.  Accordingly, the Contracting Authority cannot guarantee that any information marked ‘confidential’ or “commercially sensitive” will not be disclosed.

Where a Bidder receives a request for information under the FoIA or the EIR during the procurement, this should be immediately passed on to the Contracting Authority and the Bidder should not attempt to answer the request without first consulting with the Contracting Authority.

Bidders are reminded that the Government’s transparency agenda requires that sourcing documents, including RFP templates such as this, are published on a designated, publicly searchable web site, and, that the same applies to other sourcing documents issued by the Contracting Authority, and any contract entered into by the Contracting Authority with its preferred supplier once the procurement is complete.  By submitting a response to this RFP Bidders are agreeing that their participation and contents of their Response may be made public.

# Appendices

## Appendix A

### Service and Maintenance Schedule

| Asset List | Routine |
| --- | --- |
|  | Service and Maintenance |
|  | Annual |
| Sprinkler system - complete |  |
| Flow Switch Testing |  |
| Stop Valves / Zone Valves |  |
| Hazard Review |  |
| Wet Installation Control Valve |  |
| Alternate Installation Control Valve |  |
| Dry Installation Control Valve |  |
| Tail End Installation Control Valve |  |
| Deluge Control Valve |  |
| Diesel Engine Fire Pump |  |
| Electric Motor Fire Pump |  |
| Fire Pump House Valves |  |
| Water Storage Tank |  |

## 18.2	Appendix B

### Asset List of firefighting equipment by plant area

| Location | No. off | Size (mm) | Type | Make | Model |
| --- | --- | --- | --- | --- | --- |
| Blast Furnace Fire Fighting | 3 | 100 | Wet Valves | Matthew Hall |  |
|  | 1 | 150 | Wet Valves | Matthew Hall |  |
|  | 2 | 80 | Wet Valves | Matthew Hall |  |
|  | 8 | 150/100/80 | Non-Return Valve |  |  |
|  | 3 |  | Control Panels |  |  |
|  | 2 | 150/100 | Strainers |  |  |
|  | 2 | 150 | Non-return Valve |  |  |
|  | 8 |  | Flow Alarms |  |  |
|  | 1 |  | Air Compressor |  |  |
|  | 1 |  | Diesel Fire Pump | Clarke +W&S 6L11 |  |
|  | 1 |  | Electric Fire Pump | W&S6L11 |  |
|  | 1 |  | Jockey Pump |  |  |
|  | 3 |  | Pressure switch |  |  |
|  | 8 |  | Alarm test valve |  |  |
|  | 9 |  | Sprinkler alarm bell |  |  |
|  | 1 | 200m3 | Tank and associated equipment |  |  |
|  | 2 |  | Tank Ball valves |  |  |
|  | 14 | 150/100/80 | System isolation valves |  |  |
|  | 25 |  | Pressure gauges |  |  |
|  | 1 |  | Trace Heating |  |  |
| Redcar Coke Ovens | No. off | Size (mm) | Type | Make | Model |
|  | 2 | 150 | Wet Deluge | Butterfly Wafer |  |
|  | 2 |  | Control Panels |  |  |
|  | 2 | 200 | Strainers |  |  |
|  | 3 | 150 | Non-return Valve |  |  |
|  | 2 | 80 | Actuation Valves | Saunders ( sub Deluge) |  |
|  | 2 | 150 | Actuation Valves | Saunders ( sub Deluge) |  |
|  | 1 | 100 | Actuation Valve | Saunders ( sub Deluge) |  |
|  | 1 | 200/200 | Diesel Fire Pump | Cummins NT856F1 + M&P |  |
|  |  |  |  | 750028 |  |
|  | 1 |  | Jockey Pump |  |  |
|  | 1 |  | Alarm test valve |  |  |
|  | 1 |  | Sprinkler alarm bell |  |  |
|  | 1 | 351m3 | Tank and associated equipment |  |  |
|  | 2 |  | Tank Ball float valves |  |  |
|  | 9 | 200/150 | System isolation valves |  |  |
|  | 9 |  | Pressure switch |  |  |
|  | 15 |  | Pressure gauge |  |  |
| Steelmaking | No. off | Size (mm) | Type | Make | Model |
|  | 2 | 150 | Wet Valves | Mather & Platt | Type C |
|  | 3 |  | Control Panels |  |  |
|  | 3 | 150 | Strainers |  |  |
|  | 3 | 150 | Non-return Valve |  |  |
|  | 15 |  | Flow Alarms |  |  |
|  | 2 |  | Diesel Fire Pump | Clarke + SPPKP10X |  |
|  | 2 | 100/125 | Electric Fire Pump | Medivane |  |
|  | 2 | 158m3 | Tank and associated equipment |  |  |
|  | 2 |  | Ball Float Valves |  |  |
|  | 9 | 150 | System isolation valves |  |  |
|  | 1 |  | Trace heating |  |  |
|  | 3 |  | Pressure switch |  |  |
|  | 7 |  | Pressure Gauge |  |  |
|  | 2 |  | Alarm bell |  |  |
| Redcar Power Station | No. off | Size (mm) | Type | Make | Model |
|  | 2 | 150 | Wet Valves | Mather & Platt |  |
|  | 3 | 100 | Wet Valves | Mather & Platt |  |
|  | 12 | 100 | Manual Valves | Mather & Platt |  |
|  | 2 |  | Control Panels |  |  |
|  | 2 | 200 | Strainers |  |  |
|  | 2 | 200 | Non-return Valve |  |  |
|  | 2 |  | Flow Alarms |  |  |
|  | 1 | 200/250 | Diesel Fire Pump | Leyland PU680/758 + M&P |  |
|  |  |  |  | CP2/120 |  |
|  | 1 | 200/250 | Electric Fire Pump | M&P CP2/120 |  |
|  | 1 |  | Jockey Pump |  |  |
|  | 10 | 200/150/100 | Isolation Valve |  |  |
|  | 1 | 90m3 | Tank and associated equipment |  |  |
|  | 2 |  | Ball Float valves |  |  |
|  | 7 |  | Pressure Switches |  |  |
|  | 16 |  | Pressure Gauges |  |  |
|  | 1 |  | Trace Heating |  |  |
| Kinkerdale Sub Station | No. off | Size (mm) | Type | Make | Model |
|  | 1 | 100 | Wet Valves | Mather & Platt | Type C |
|  | 1 |  | Flow Alarm |  |  |
|  | 1 |  | Air Compressor |  |  |
|  | 1 | 45m3 | Pressure Tank |  |  |
|  | 2 |  | Isolation Valve |  |  |
|  | 1 |  | Non-return Valve |  |  |
|  | 3 |  | Pressure Switches |  |  |
|  | 6 |  | Pressure Gauges |  |  |
|  | 1 |  | Trace Heating |  |  |
| Dock Road Sub Station | No. off | Size (mm) | Type | Make | Model |
|  | 1 | 100 | Wet Valves | Mather & Platt | Type C |
|  | 1 |  | Flow Alarm |  |  |
|  | 1 |  | Air Compressor |  |  |
|  | 1 |  | Control panel |  |  |
|  | 1 | 45m3 | Pressure Tank 4 |  |  |
|  | 1 |  | Non-return Valve |  |  |
|  | 3 |  | Pressure Switches |  |  |
|  | 6 |  | Pressure Gauges |  |  |
|  | 1 |  | Trace Heating |  |  |
| Redcar Bulk Terminal Material Handling C1 | No. off | Size (mm) | Type | Make | Model |
|  | 2 | 150 | Wet Valves | Matthew Hall |  |
|  | 1 |  | Control Panels |  |  |
|  | 3 | 150 | Strainers |  |  |
|  | 1 | 150 | Non-return Valve |  |  |
|  | 3 |  | Flow Alarms |  |  |
|  | 1 | 100/80 | Electric Fire Pump | SPP Av03M |  |
|  | 1 |  | Jockey Pump |  |  |
|  | 6 |  | Isolation Valves |  |  |
|  | 2 |  | 15m3 Tank and associated equipment |  |  |
|  | 2 |  | Ball Float valves |  |  |
|  | 4 |  | Pressure Switches |  |  |
|  | 8 |  | Pressure Gauges |  |  |
|  | 3 |  | Alarm Bell |  |  |
| Redcar Bulk Terminal Material Handling CH1 | No. off | Size (mm) | Type | Make | Model |
|  | 2 | 100 | Wet Valve | Matthew Hall |  |
|  | 1 |  | Control Panels |  |  |
|  | 2 | 100 | Strainers |  |  |
|  | 1 | 100 | Non-return Valve |  |  |
|  | 2 |  | Flow Alarms |  |  |
|  | 1 | 100/80 | Electric Fire Pump | SPP Av03M |  |
|  | 1 |  | Jockey Pump |  |  |
|  | 6 |  | Isolation valves |  |  |
|  | 1 | 21m3 | Tank and associated equipment |  |  |
|  | 2 |  | Ball Float valves |  |  |
|  | 4 |  | Pressure Switches |  |  |
|  | 8 |  | Pressure Gauges |  |  |
|  | 2 |  | Alarm Bell |  |  |

Declaration 5: Agreement to Published Terms &Condition

To: South Tees Site Company Limited

We confirm agreement to the published Terms and Conditions in relation to this tender without deviation.

……………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 6: Use of Sub-Contractors

To: South Tees Site Company Limited

We intend to use the below sub-contracts in delivering this tender.

| Sub-contractor | Nature of Work |
| --- | --- |

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

OR

We do not intend to use sub-contractors in delivering this tender.

…………………………………………………………………………….….

Signature (duly authorised on behalf of the tenderer)

……….………………………………………………………………………….

Print name

…………………………………………………………….…………………….

On behalf of (organisation name)

…………………………………………………………………….…………….

Date

Declaration 7: Health & Safety Policy

|  | Please self-certify that your organisation has a Health and Safety Policy that complies with current legislative requirements. These should consider not only were your organisation is based but also any needs that are required in the country of delivery of the procurement. |
| --- | --- |
| Bidder guidance | The Bidder shall answer Yes or No Yes – Pass No - Fail |
| Scoring criteria | Mandatory Pass / Fail |

Please sign in the appropriate box:

| Yes | Sign: Print Name: |
| --- | --- |
| No | Sign: Print Name: |

Declaration 8: Enforcement/remedial orders

|  | Has your organisation or any of its Directors or Executive Officers been in receipt of enforcement/remedial orders in relation to the Health, Safety and Environment enforcement agencies (or equivalent body) in the last 3 years? |
| --- | --- |
| Bidder Guidance | The Bidder Shall answer yes or no Yes = *Fail No = Pass If your answer to this question is “Yes”, please provide details in a separate Appendix of the conviction or notice and details of any remedial action or changes you have made as a result of conviction or notices served. The Contracting Authority will not select bidder(s) that have been prosecuted or served notice under Health and Safety legislation in the last 3 years, unless the authority is satisfied that appropriate remedial action has been taken to prevent future occurrences/breaches. |
| Scoring criteria | Mandatory Pass / Fail |

Please sign in the appropriate box:

| Yes | Sign: Print Name: |
| --- | --- |
| No | Sign: Print Name: |

Declaration 9: FREEDOM OF INFORMATION ACT 2000 (FOI) AND / OR ENVIRONMENTAL INFORMATION REGULATIONS 2004 (EIR) EXEMPTIONS

Please complete this section only if you have agreed for your information to be disclosed under the FOI Act or:

If you have not agreed to your information to be disclosed under the FOI Act please complete a field ‘N/A’ (Not applicable)

If you have agreed for your information to be disclosed under the FOI Act please tell us what exemptions or exceptions may apply to your information and why?

If you are not relying on any exemptions or exceptions please complete each field ‘N/A’ (Not applicable)

| Bidder guidance | The Bidder shall provide details of their proposed exemptions/exception in the table below. The Bidder (irrespective of submitting a successful or unsuccessful Bid) shall note that if the Contracting Authority believes that the suggested Exemptions or Exceptions have not been applied properly as per the Act or Regulation, the Contracting Authority will disclose the requested information unless another exemption or exception can be applied by the Contracting Authority. Be aware that by completing and answering ‘Yes’ you have agreed for STSC Ltd to disclose the provided information under the Freedom of Information Act 2000 or Environmental Information Regulation 2004, therefore you will not be approached for consent. |  |
| --- | --- | --- |
| Scoring Criteria | For information only |  |
| Bidder Response | Confidential Information | Justification for exemption/exception under FOI Act |
|  | Commercially sensitive information | Justification for exemption/exception under FOI Act |