**Derbyshire Support & Facilities Services on behalf of Chesterfield Royal Hospital: Compressed Air and Vacuum Service Requirement**

* Planned Maintenance (includes all serviceable parts, labour and waste removal)
* 24/7 Emergency call out available
* Annual Energy Audit

Equipment List

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Location | Quantity | Make | Model | Serial No | Description | Hours p/a | Visits p/a |
| HDU Basement | 1 | Ingersoll Rand | MH4 | 2101098 | Compressor | <2k | 2 |
| HDU Basement | 1 | Hydrovane | HVo2 | 502-030203-1505 | Compressor | 2K | 2 |
| HDU Basement | 1 | Atlas Copco FX | FX4 |  | Refrigerant dryer | 8 K | 2 |
| HDU Basement | 1 | Atlas Copco FX | DD10 |  | Line filter | 8 k | 2 |
| HDU Basement | 1 | Ingersoll Rand | IR-AA-18 |  | Line filter | 8K | 2 |
| Boiler House | 1 | Abac | B4919/200 | ITR0298519 | Compressor | <1K | 2 |
| Boiler House | 2 | Abac | B4919/200 | ITR0298518 | Compressor | <1K | 2 |
| Boiler House | 1 | Compair | FC7 |  | Refrigerant dryer | 8K | 2 |
| Boiler House | 1 | Boge | V8 |  | Line filter | 8K | 1 |
| Boiler House | 1 | Boge | FP8 |  | Line filter | 8K | 1 |
| Boiler House | 1 | Beko | Owamat 10 |  | Oil water separator | 8K | 1 |
| Path Lab | 1 | Hydrovane | HV02 | 502-022470-0801 | Compressor | 2K | 2 |
| Path Lab | 1 | Hydrovane | HV02 |  | Compressor | 2K | 2 |
| Path Lab | 1 | Dominick Hunter | CRDC12 |  | Refrigerant Dryer | 8K | 2 |
| Path Lab | 1 | Vento |  |  | Receiver Drain | 2K | 2 |