## Front Cover
Pricing Schedule
Pirbright CVIM
Pirbright
20 May 2024

## Contents
Contents
Section 1 | Preambles
Section 2 | Contract Sum Analysis
Section 3 | Preliminaries
Section 4 | Measured Works
Section 5 | Main Contractor Design Fees
Document Control
Date | Revision | Description of Revision | Prepared By | Reviewed By | Director
2024-05-20 | 1 | Pirbright | Ross Fergusson | Owen Rees | Nic Di Santo

## Preambles
Invitation to Tender
Pricing document
PIRBRIGHT INNOVATIONS LIMITED
Pirbright - CVIM
Preambles
No. | Description | Comments
1 | This Pricing Schedule is provided for the Contractor to complete as part of his tender submission and shall be incorporated into the Contract upon award.
2 | This Contract is awarded on a fixed price lump sum basis subject to the adjustment of items marked Provisional (as specified) and of instructions issued by the Contractor in accordance with the Contract conditions. The Works shall not be re-measured. It shall be noted that this Tender Enquiry Document will be incorporated into the Contract. Any areas of work missing from the Pricing Schedule but clearly indicated in the Tender Requirements shall be deemed to be included in the Contractor's lump sum price.
3 | The quantities of materials required for the works are to be ascertained from the Tender Drawings and Specification(s). The descriptions are not intended to describe all works necessary to complete the item nor are they exhaustive. The Contractor shall ascertain the full scope of the works from the Tender Drawings and Specification(s) and their tender is deemed to include for all such works as are necessary for the complete and proper execution of the Works.
4 | All dimensions given in descriptions are approximate and are the responsibility of the Contractor to confirm.
5 | The item totals in the Pricing Schedule shall apply to authorised variations to the scope of work in accordance with the conditions of contract; these totals shall not be adjusted for any changes in material prices, wage rates, taxation or other inflation.
6 | Item totals and rates are 'fully inclusive' and shall include for, but without limitations, labour, materials all preliminaries, supervision, plant, transport, tools, equipment, insurances, National Insurance contributions, pension, including death benefit scheme, manual and public holidays, travelling time, expenses, fares and transport, non productive time and other expenses in connection with overtime, incentive and bonus payment, guaranteed minimum bonus payment, industrial training levies, redundancy payments, sick scheme payments, taxes, and any other disbursements arising from the employment of labour including non-local labour if necessary, co-ordination, engineering, overhead and profit, and for everything not specifically listed here that is deemed necessary to carry out and complete the Works.
7 | When considering and preparing the tender, the Contractor shall use the largest scale drawings available.
8 | Any required design development that is indicated in the contract documents shall be the responsibility of the Contractor and shall be in accordance with the outline programme included in the contract documents. The Contractor is deemed to have included within his tender for all costs incurred in complying, but without limitation, to the following:-
9 | Detailed programme taking cognisance of the drawings as described in the tender documentation covering all stages of design, manufacture, fabrication and installation to the satisfaction of the Employer.
10 | The Contractor shall include for all costs incurred in complying with all clauses contained within the Specification(s) since no claim for lack of knowledge or understanding shall be accepted.
11 | The Contractor shall be deemed to have visited the site, to have taken into account all local and existing conditions and to have made himself thoroughly acquainted with the position and accessibility of the Works and the conditions under which they will have to be carried out.
12 | The Contractor shall include for all costs incurred in complying with the Method Statements and specific method requirements.
13 | The Contractor shall include for all constraints placed on his Method of Work.
14 | The Contractor shall include for all necessary support and temporary works requirements, including design thereof.
15 | Rates included in the quantified Pricing Schedule, where applicable, shall be demonstrated by the Contractor as having been those used in the computation of the tendered submission, to the reasonable satisfaction of the Quantity Surveyor. Failure to demonstrate such may result in an alternative tender being considered. The Labour, Plant and Materials section of this document shall detail the Contractor's base costs and percentages used to formulate the bid.
16 | Where Provisional Sums are given for work and where Sums are given for Daywork, such Sums shall be classified as Defined Provisional Sums.
17 | All Provisional Sums identified within the Works Information are deemed to be Defined Provisional Sums and therefore the Contractor shall include within the relevant section of their tender for these provisional sums including preliminaries and programme.
18 | The Contractor shall return a tender with the Preliminaries for the Works fully itemised and priced.
19 | The Tender sum shall be submitted in pound sterling. No future adjustments shall be made for currency fluctuations, which remain at the Contractor's risk.
20 | The rates used in the tender submission will include for all costs in connection with co-ordination and liaison with all other Contractors interfacing with these Works.
21 | Where the fixing of materials or goods supplied to the contractor free of charge/free-issue is indicated, the Contractor shall include against such items for ordering forward, taking delivery, unloading, getting in, unpacking, stacking, storing, sorting, distribution, hoisting, assembly, setting to work, etc., and returning empty crates or other packages carriage paid to the suppliers and obtaining credits therefore.
22 | In respect of commissioning, the Contractor shall not make any allowance for the maintenance or commissioning costs for items included within Provisional Sums. However, the associated Preliminaries are to be included within the relevant section of the Pricing Schedule. The Contractor shall include for all training in accordance with and as identified in the specification/tender documents.
23 | The term "allow" or "allowance" shall indicate that it is the Contractor's responsibility for calculating and including the costs in their tender, whether any amount is shown against the relevant item or not.
24 | The total amount carried to the Summary shall be exclusive of all discounts i.e. net of all Sub and cash discounts.
25 | The Contractor shall have included within their tender for all costs in connection with the aforementioned Pricing Instructions / Preambles.
26 | The Contractor shall note that the lists of work printed in the Pricing Schedule are in accordance NRM. If such items are not priced but are shown upon, described by or referred to or reasonably to be inferred from the tender documents it shall be deemed that the Contractor has included for all related Contract Works within his pricing of the Pricing Schedule.
27 | Where composite items or details have been measured, all labour and fixings etc. shall be deemed to be included.
28 | Any quantities contained in this Pricing Schedule are indicative only and are not part of this Contract. The tender submitted by the Contractor shall include for all work necessary to carry out the Works in accordance with the drawings and specifications and other documents provided with the tender invitation and subsequent Tender Addendums.
29 | The pricing of the items in the Pricing Schedule shall be fully inclusive i.e. they shall include for all consequential items identified on the tender drawings and/or in the tender specification and from a careful inspection of the site including any and all foreseeable additional work and risks and for handling over the works clean, functional, complete and fit for use as intended. The overall total shown in the Pricing Schedule shall agree with the figure shown on the Form of Tender. Any parts or sections of the Pricing Schedule which are not completed shall be deemed either to have no financial effect or their cost has been included elsewhere in the Pricing Schedule.
30 | The Contractor shall also provide as part of his tender submission a detailed breakdown of each sum in the Pricing Schedule in the printed format including quantities and unit rates in such a manner as to enable its use for the following:
31 | a) Detailed analysis of tender submission.
32 | b) Evaluation of any variations in accordance with the terms of the Contract.
33 | c) Preparation and checking of applications for interim payment.
34 | The item rates in the Schedule of rates shall apply to authorised variations to the scope of work in accordance with the express provisions of the Contract. These rates shall not be adjusted for any change in material prices, wage rates, taxation or other inflation during the course of the development.
35 | No claims for additional expense arising from any items of information discovered within the contract that are conflicting or ambiguous shall be allowed unless notified and listed in the tender submission.
36 | In addition, the Tender shall include due allowance against Preliminaries ensuring that all matters affecting the Works have been covered and clearly identified within the return.
37 | The Contractor shall return a tender with the Preliminaries for the works fully itemised and priced. No "included" items shall be shown.
38 | The Contractor shall include all costs associated with a particular item or under its relevant heading and not within costs for other items.
39 | The Contractor shall insert a price against each item described; each item shall be priced separately as indicated in this section and not ‘bracketed’ together. Any item in the Pricing Schedule that has not been priced or has been stated as “NIL” by the Contractor shall be deemed to have been included.
40 | All items against which prices are entered shall be measured nett area (in place) and shall include all commonly associated “labours” should they not be separately identified.
41 | The Contractor shall refer to all other Preliminary Clauses, the Contract Specification and Drawings when preparing their tender submission.
42 | The Contractor shall include in the tender for all costs, including inflation, etc. in complete accordance with the programme & the periods described.
43 | The Contractor shall include for making good existing and new finishes likely to be damaged by him in the course of the installation of the works executed under the Contract.
44 | Include in the rates for all wastage.
45 | The Contractor shall include for reviewing and distributing any design information issued "For Information Purposes" only.
46 | The Contractor is given the opportunity at the end of the each work section to insert any additional items he wishes to identify.
47 | The costs entered by the Contractor shall be complete and the total shall be carried to the Form of Tender.
48 | The Contractor shall be responsible for all mathematical aspects of this Contract Sum Analysis. No adjustment of the Contract sum shall be allowed or made in the event of subsequent discovery of error(s).
49 | If the unit needs changing please state in the comments section along with all assumptions.

## Contract Sum Analysis
Invitation to Tender
Pricing document
PIRBRIGHT INNOVATIONS LIMITED
Pirbright - CVIM
Contract Sum Analysis
Code | Description | Pirbright - CVIM (£)
0 | Facilitating works | 0
0.2 | Major demolition works | 0
0.6 | Extraordinary site investigation works | 0
1 | Substructure | 0
1.1 | Substructure | 0
2 | Superstructure | 0
2.1 | Frame | 0
2.2 | Upper floors | 0
2.3 | Roof | 0
2.4 | Stairs and ramps | 0
2.5 | External walls | 0
2.6 | Windows and external doors | 0
2.7 | Internal walls and partitions | 0
2.8 | Internal doors | 0
3 | Internal finishes | 0
3.1 | Wall Finishes | 0
3.2 | Floor Finishes | 0
3.3 | Ceiling Finishes | 0
4 | Fittings, furnishings and equipment | 0
4.1 | Fittings, furnishings and equipment | 0
5 | Services | 0
5.1 | Sanitary installations | 0
5.3 | Disposal installations | 0
5.4 | Water installations | 0
5.5 | Heat source | 0
5.6 | Space heating and air conditioning | 0
5.7 | Ventilation | 0
5.8 | Electrical installations | 0
5.11 | Fire and lightning protection | 0
5.12 | Communication, security and control systems | 0
5.13 | Specialist installations | 0
5.14 | Builder's work in connection with services | 0
6 | Prefabricated buildings and building units | 0
7 | Work to existing buildings | 0
8 | External works | 0
8.1 | Site preparation works | 0
8.2 | Roads, paths, pavings and surfacings | 0
8.3 | Soft landscapes, planting and irrigation systems | 0
8.4 | Fencing, railings and walls | 0
8.5 | External fixtures | 0
8.6 | External drainage | 0
8.7 | External services | 0
8.8 | Minor building works and ancillary buildings | 0
| Subtotal building works | 0
9 | Main Contractor's Preliminaries | 0
9.3 | Percentage based preliminary items | 0
| Subtotal building works including preliminaries | 0
10 | Main contractor's overheads and profits | Contractor to insert OH&P perfectage below
10.3 | Main contractor's overhead and profit combined
0
| Building works estimate | 0
| Main contractors design fees & D&B risk premium | 0
11.3 | Main contractor's design fees | 0
11.4 | Main contractor's design risk premium | State formula and calulation below
| Total | 0

## Preliminaries
Invitation to Tender
Pricing document
PIRBRIGHT INNOVATIONS LIMITED
Pirbright - CVIM
Preliminaries
Item | Description |  | Duration (%) | Qty | Unit | Rate | T/F Code | Time (£) | Fixed (£) | % | Total (£) | Notes
| Preliminaries | [10 empty] | Update T/F code from the drop down box as applicable
| The Contractor shall identify below the cost content for this contract preliminaries. The elements indicated are for guidance only and may be added to, deleted or amended in any way so as to reflect the full identity of all preliminaries. | [10 empty] | Add %'s
1 | Mobilisation (Site accommodation & facilities) |  |  |  | item |  | F | 0 | 0 | 0% | 0
2 | Demobilisation |  |  |  | item |  | F | 0 | 0 | 0% | 0
3 | Management and Staff, including but not limited to:
State name
| i) Project Manager Pre-construction | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| ii) Project Manager Post construction | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| iii) Construction Manager | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| iv) Site Engineer | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| v) Site Foreman | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| vi) Quantity Surveyor | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| vii) Health & Safety Supervisor | xxxxxxxx xxxxxxx |  |  | wks |  | T | 0 | 0 | 0% | 0
| viii) Site Labourer, multi service gangs |  |  |  | wks |  | T | 0 | 0 | 0% | 0
| vi) Other |  |  |  | wks |  | T | 0 | 0 | 0% | 0
4 | Accommodation and furniture, including IT |  |  |  | item |  | F | 0 | 0 | 0% | 0
5 | Transport |  |  |  | item |  | F | 0 | 0 | 0% | 0
6 | Unloading / loading and distribution / storage |  |  |  | item |  | F | 0 | 0 | 0% | 0
7 | Fabrication / installation drawings |  |  |  | item |  | F | 0 | 0 | 0% | 0
8 | Working / detailed drawings / calculations |  |  |  | item |  | F | 0 | 0 | 0% | 0
9 | Site clearance |  |  |  | item |  | F | 0 | 0 | 0% | 0
10 | Samples / testing / submissions |  |  |  | item |  | F | 0 | 0 | 0% | 0
11 | Temporary services as required (water, gas, electric, comms etc.) |  |  |  | item |  | F | 0 | 0 | 0% | 0
12 | Permanent services as required (water, gas, electric, comms etc.) |  |  |  | item |  | F | 0 | 0 | 0% | 0
13 | Small tools |  |  |  | item |  | F | 0 | 0 | 0% | 0
14 | Mechanical Plant and equipment |  |  |  | item |  | F | 0 | 0 | 0% | 0
15 | Surveys, taking and recording of site dimensions |  |  |  | item |  | F | 0 | 0 | 0% | 0
16 | Allowance for setting out of works |  |  |  | item |  | F | 0 | 0 | 0% | 0
17 | Scaffolding |  |  |  | item |  | F | 0 | 0 | 0% | 0
| E/O for acoustic protection where applicable |  |  |  | item |  | F | 0 | 0 | 0% | 0
18 | Hoarding to perimeter of site / Privacy Screens / Specific Protection |  |  |  | item |  | F | 0 | 0 | 0% | 0
19 | General Protection |  |  |  | item |  | F | 0 | 0 | 0% | 0
20 | Hoisting / Lifting / Cranage |  |  |  | item |  | F | 0 | 0 | 0% | 0
21 | Noise, dust and vibration monitoring |  |  |  | item |  | F | 0 | 0 | 0% | 0
22 | Other Monitoring requirements |  |  |  | item |  | F | 0 | 0 | 0% | 0
23 | Maintaining access |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
24 | Provision for all access requirements |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
25 | Traffic Management (as required) |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
26 | Security |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
27 | Rubbish Removal |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
28 | Performance Bond |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
29 | Parent Company Guarantee |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
30 | CDM |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
31 | Final cleaning and cleaning at end of each shift |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
32 | Co-ordination and interfaces with other contractors |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
33 | Signage |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
34 | Testing & Commissioning |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
35 | O&M Manuals / record drawings |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
36 | Licenses |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
37 | Insurances |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
38 | General Plants and Tools |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
39 | Final clean and cleaning at end of each sift |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
40 | Additional site visits |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
41 | Provide safe work zones / lighting / emergency lighting and signage |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
42 | Considerate Contractors Scheme |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
43 | Electronic Data Interchange (EDI) |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
43 | Waste |  |  | 1 | item |  | F | 0 | 0 | 0%
44 | Utilities |  |  | 1 | item |  | F | 0 | 0 | 0%
45 | Accomodatio Option |  |  | 1 | item |  | F | 0 | 0 | 0%
46 | Pirbright Policies |  |  | 1 | item |  | F | 0 | 0 | 0%
47 | Any other items or costs required to complete the works in accordance with the Specification (Give details hereunder) :- |  |  | 1 | item |  | F | 0 | 0 | 0% | 0
`
| TOTAL | [6 empty] | 0 | 0 | 0% | 0
| TOTAL TO COLLECTION | [7 empty] | 0
TRUE
TRUE

## Measured Works
Invitation to Tender
Pricing document
PIRBRIGHT INNOVATIONS LIMITED
Pirbright - CVIM
Detailed Cost Analysis
Code | Description | Quantity | Unit | Rate (£) | Total (£) | Comment
0 | Facilitating works |  |  |  | 0
0.2 | Major demolition works |  |  |  | 0
0.2.2 | Soft strip works |  |  |  | 0
0.2.2.1 | Preparatory to demolition |  |  |  | 0
0.2.2.1/1 | Works to reduce levels; prepiatory to building erection |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
0.6 | Extraordinary site investigation works |  |  |  | 0
0.6.1 | Archaeological investigation |  |  |  | 0
0.6.1.1 | Excavation works |  |  |  | 0
0.6.1.1/1 | Main Contractor undertake ground contamination survey on SW drain route to water course - allowance |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1 | Substructure |  |  |  | 0
1.1 | Substructure |  |  |  | 0
1.1.2 | Specialist foundations |  |  |  | 0
1.1.2.1 | Piled foundations: Piling mats/platforms |  |  |  | 0
1.1.2.1/1 | Indicative Areas of Ground Works/Site Clearance to form piling mat |  | m2 |  | 0
| Removal of pile mat on completion; material used elsewhere or stockpiled |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.2 | Piled foundations: Piling plant |  |  |  | 0
1.1.2.2/1 | Provision of plant (1nr rig); including bringing to and removing from site |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.3 | Piled foundations: Moving piling rig to pile position. |  |  |  | 0
1.1.2.3/1 | Move plant and set up at piles |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.4 | Piled foundations: Piles |  |  |  | 0
1.1.2.4/1 | Piles 450 DIA |  | nr |  | 0
1.1.2.4/2 | Pile Helifix Screw |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.7 | Piled foundations: Disposal of excavated material arising from piling. |  |  |  | 0
1.1.2.7/1 | Cart away spoil arising from piling operations |  | m3 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.9 | Piled foundations: Cutting off tops of concrete piles and preparing pile heads. |  |  |  | 0
1.1.2.9/1 | Cutting off tops of concrete piles and preparing pile heads |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.10 | Piled foundations: Pile tests |  |  |  | 0
1.1.2.10/1 | Pile testing as required |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.12 | Piled foundations: Pile caps |  |  |  | 0
1.1.2.12/1 | Type A, 2100 x 750 x 1000 deep, 175kg/m3 reinforcement |  | nr |  | 0
1.1.2.12/2 | Type B, 2100 x 925 x 1000 deep, 175kg/m3 reinforcement |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.2.13 | Piled foundations: Ground beams |  |  |  | 0
1.1.2.13/1 | Main Beam; 600 wide by 750 deep, 230kg/m3 reinforcement |  | m |  | 0
1.1.2.13/2 | Tie Beam; 450 wide by 450 deep, 230kg/m3 reinforcement |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
1.1.3 | Lowest floor construction |  |  |  | 0
1.1.3.1 | Lowest floor construction |  |  |  | 0
1.1.3.1/1 | 200mm thick Bison precast concrete s200 hollow core |  | m2 |  | 0
1.1.3.1/2 | PIR 110mm insulation |  | m2 |  | 0
1.1.3.1/3 | Ground gas collection and venting systems - Juta telescopic vent - to void below ground floor planks |  | m2 |  | 0
1.1.3.1/4 | Cementitious levelling screed mixes - 75mm Flowcrete Isocrete Fast K |  | m2 |  | 0
1.1.3.1/5 | Clay bricks - Wienerberger Ltd, to plinth at perimeter walls |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2 | Superstructure |  |  |  | 0
2.1 | Frame |  |  |  | 0
2.1.1 | Steel frames |  |  |  | 0
2.1.1.1 | Structural steel frame, including fittings and fixings |  |  |  | 0
2.1.1.1/1 | PFC 150x75x18 |  | t |  | 0
2.1.1.1/2 | PFC 150x75x28 |  | t |  | 0
2.1.1.1/3 | UB 178x102x19 |  | t |  | 0
2.1.1.1/4 | UB 152x89x16 |  | t |  | 0
2.1.1.1/5 | UB 203x133x25 |  | t |  | 0
2.1.1.1/6 | UB 203x133x30 |  | t |  | 0
2.1.1.1/7 | UB 254x102x22 |  | t |  | 0
2.1.1.1/8 | UB 305x127x42 |  | t |  | 0
2.1.1.1/9 | UB 356x127x33 |  | t |  | 0
2.1.1.1/10 | UB 406x140x46 |  | t |  | 0
2.1.1.1/11 | UB 457x152x60 |  | t |  | 0
2.1.1.1/12 | UC 203x203x60 |  | t |  | 0
2.1.1.1/13 | UC 152x152x23 Length |  | t |  | 0
2.1.1.1/14 | UC 254x254x73 Length |  | t |  | 0
2.1.1.1/15 | RHS 150x100x6.3 Length |  | t |  | 0
2.1.1.1/16 | CHS 76.1x4 |  | t |  | 0
2.1.1.1/17 | Kingspan Multi Beam Purlin - M175065160 |  | m |  | 0
2.1.1.1/18 | 15% allowance for fixtures and connections |  | t |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.1.1.2 | Fire protection to steel frame |  |  |  | 0
2.1.1.2/1 | Jotun Steelmaster 600WF low VOC intumescent fire protection coating, 60min |  | t |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.2 | Upper floors |  |  |  | 0
2.2.1 | Floors |  |  |  | 0
2.2.1.1 | Concrete floors: Suspended floor slabs |  |  |  | 0
2.2.1.1/1 | Upper Floor, Composite concrete deck 150mm on Comflor 60. 0.9mm, A393 Top Mesh. 30 Cover |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.3 | Roof |  |  |  | 0
2.3.1 | Roof structure |  |  |  | 0
2.3.1.4 | Roof structure - flat roofs |  |  |  | 0
2.3.1.4/1 | QuadCore Topdeck Roof Penl System (140mm Core Thickness, Sikaplan SGK membrane) |  | m2 |  | 0
2.3.1.4/2 | Kingspan QuadCore Topdek Roof panel |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.3.2 | Roof coverings |  |  |  | 0
2.3.2.1 | Roof coverings, non-structural screeds, thermal insulation, and surface treatments |  |  |  | 0
2.3.2.1/1 | 140mm Bauder insulated roof panel (2 degree fall) |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.3.2.5 | Flashings |  |  |  | 0
2.3.2.5/1 | Metal profile capping; Roof level Top of Parapet |  | m |  | 0
2.3.2.5/2 | Metal profile capping; Plant room roof Top of Parapet |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.3.4 | Roof drainage |  |  |  | 0
2.3.4.1 | Gutters |  |  |  | 0
2.3.4.1/1 | Kingspan insulated membrane lined gutter system 100mm insualtion |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.3.4.2 | Rainwater pipes |  |  |  | 0
2.3.4.2/1 | Aluminium rainwater pipes and fittings - Seamless Aluminiumat lower roof level |  | m |  | 0
2.3.4.2/2 | Aluminium rainwater pipes and fittings - Seamless Aluminiumat Uper roof level |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.3.6 | Roof features |  |  |  | 0
2.3.6.1 | Roof features |  |  |  | 0
2.3.6.1/1 | Protected Walkways |  | m2 |  | 0
2.3.6.1/2 | GRP Walkways |  | m2 |  | 0
2.3.6.1/3 | Steel safety barrier Pallet Gate - Hermeq Pallet gate - for roof access paltform |  | item |  | 0
2.3.6.1/4 | External galvanised steel KeeGuard guard railing with PVC ballast to main roof and plant room roof perimeter |  | m |  | 0
2.3.6.1/5 | Light steel-framed support systems - Aspen Pumps - Big Foot |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.4 | Stairs and ramps |  |  |  | 0
2.4.1 | Stair/ramp structures |  |  |  | 0
2.4.1.1 | Stair structures |  |  |  | 0
2.4.1.1/1 | Plant Room Steps to Roof |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.4.3 | Stair/ramp balustrades and handrails |  |  |  | 0
2.4.3.2 | Combined balustrades and handrails |  |  |  | 0
2.4.3.2/1 | Handrail to plant room steps |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.4.4 | Ladders/chutes/slides |  |  |  | 0
2.4.4.1 | Ladders |  |  |  | 0
2.4.4.1/1 | CAT ladder from Roof to Ground |  | nr |  | 0
2.4.4.1/2 | CAT ladder from Plant Room Roof to lower roof |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.5 | External walls |  |  |  | 0
2.5.1 | External enclosing walls above ground level |  |  |  | 0
2.5.1.1 | External walls |  |  |  | 0
2.5.1.1/1 | 450mm Parapet build up; Kingspan Panel, exterior grade plywood mechanically fixed to cladding rails, veritical parapet insulation, single ply membrane - |  | m |  | 0
2.5.1.1/2 | Carbon steel insulating sandwich panels - 150mm Kingspan Quadcore AWP Wall Panel |  | m2 |  | 0
2.5.1.1/3 | Carbon steel insulating sandwich panels – 80mm Kingspan Quadcore AWP Wall Panel to plant room |  | m2 |  | 0
2.5.1.1/4 | Extra over for louvers |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.5.1.4 | Extra over external walls for forming openings for windows |  |  |  | 0
2.5.1.4/1 | Extra over for forming openings to windows |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.5.1.5 | Extra over external walls for forming openings for external doors |  |  |  | 0
2.5.1.5/1 | Extra over for forming openings to doors |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.5.6 | Facade access/cleaning systems |  |  |  | 0
2.5.6.2 | Testing of installations. |  |  |  | 0
2.5.6.2/1 | Testing air leakage |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.6 | Windows and external doors |  |  |  | 0
2.6.1 | External windows |  |  |  | 0
2.6.1.1 | Windows |  |  |  | 0
2.6.1.1/1 | Windows; PURe Casement Window. Triple glazing U value 0.73 by Senior Architectural Systems |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.6.2 | External doors |  |  |  | 0
2.6.2.1 | External doors |  |  |  | 0
2.6.2.1/1 | Type T3; Doorpac Performance hinged laminate flush solid core door. triple glazing. 1800 x 2600 fully glazed |  | nr |  | 0
2.6.2.1/2 | Type T5; NGF Industrial door, 900 x 2000 |  | nr |  | 0
2.6.2.1/3 | Type T5; NGF Industrial door, 1600 x 2000 Louvered double plant room |  | nr |  | 0
2.6.2.1/4 | Type T5; NGF Industrial door, 800 x 2000 Louvered single plant room |  | nr |  | 0
2.6.2.1/5 | Type T4; Pharma Biotech System Components emergency escape panel and door. 900 x 2000 |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.6.2.6 | Canopies |  |  |  | 0
2.6.2.6/1 | Canopy open-sided shelters |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.7 | Internal walls and partitions |  |  |  | 0
2.7.1 | Walls and partitions |  |  |  | 0
2.7.1.3 | Fixed partitions |  |  |  | 0
2.7.1.3/1 | WT01 - Gypsum board partition system - British Gypsum column lining |  | m2 |  | 0
2.7.1.3/2 | WT02 - Gypsum board partition systems - British Gypsum |  | m2 |  | 0
2.7.1.3/3 | WT04 - Concrete Bund Plant 300mm High |  | m |  | 0
2.7.1.3/4 | WT05 - Gypsum board wall lining system; Metsec SPEEDLINE |  | m2 |  | 0
2.7.1.3/5 | WT05 - Gypsum board wall lining system; Metsec SPEEDLINE; Plantroom |  | m2 |  | 0
2.7.1.3/6 | Oriented strand boards (OSBs) - Pattress to stud partitions, 15mm OSB board between studs of partitions where required for fixing of services and other items. |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.7.1.4 | Extra over fixed partitions for forming openings in partitions for internal doors and the like |  |  |  | 0
2.7.1.4/1 | Internal Glazed Partition - PBSC double glazed panel - AR-V Double glazed flush vision panel between Cleanroom and ISO8 corridor. |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
2.8 | Internal doors |  |  |  | 0
2.8.1 | Internal doors |  |  |  | 0
2.8.1.1 | Internal doors |  |  |  | 0
2.8.1.1/1 | T1 - Glass fibre-reinforced plastics (GRP) doorsets - Dortek single leaf doorsets - Type T1 |  | nr |  | 0
2.8.1.1/2 | T1 - Glass fibre-reinforced plastics (GRP) doorsets - Dortek leaf and a half and double leaf door sets - Type T1 |  | nr |  | 0
2.8.1.1/3 | T2 - Sliding doorset systems - Dortek MF5 sliding doorset - Type T2 |  | nr |  | 0
2.8.1.1/4 | T3 - as door - Swing doorsets Doorpac - laminate doorset - UNC and ISO8 - Type T3 |  | nr |  | 0
2.8.1.1/5 | T3 - Stainless - Swing doorsets Doorpac - laminate doorset - UNC and ISO8 - Type T3 |  | nr |  | 0
2.8.1.1/6 | T5 - Steel doorsets - NGF Steel doorsets - Type T5 |  | nr |  | 0
2.8.1.1/7 | T6 -sliding |  | nr |  | 0
2.8.1.1/8 | T7 - Panel cubicle systems - Venesta Washrooms |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
3 | Internal finishes |  |  |  | 0
3.1 | Wall Finishes |  |  |  | 0
3.1.1 | Wall Finishes |  |  |  | 0
3.1.1.1 | Finishes to walls and columns |  |  |  | 0
3.1.1.1/1 | W1 - Self Finished Concrete |  | m2 |  | 0
3.1.1.1/2 | W2 - Water-Based Finishing Coat Acrylic Eggshell Paint |  | m2 |  | 0
3.1.1.1/3 | W3 - Water-Based Hygenic Finishing Coating; Sikagard Ltd |  | m2 |  | 0
3.1.1.1/4 | W4 - Coved Whiterock Lining |  | m2 |  | 0
3.1.1.1/5 | W5 - Ceramic Tiling |  | m2 |  | 0
3.1.1.1/6 | Corner guards - CS Acrovyn 75A 304 stainless steel corner guards, To GMP areas as shown on Client Definition drawings and room elevations |  | nr |  | 0
3.1.1.1/7 | Composite wall protection rails – CS Acrovyn 35x170x4000mm |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
3.2 | Floor Finishes |  |  |  | 0
3.2.1 | Finishes to floors |  |  |  | 0
3.2.1.1 | Finishes to floors |  |  |  | 0
3.2.1.1/1 | F1 - Dust Sealant |  | m2 |  | 0
3.2.1.1/2 | F2 - Epoxy Plantroom Paint; Flowcrete UK SF42 |  | m2 |  | 0
3.2.1.1/3 | F3 - Vinyl Sheet Flooring; Tarkett iQ Granit Flooring |  | m2 |  | 0
3.2.1.1/4 | F4 - Resin Flooring System |  | m2 |  | 0
3.2.1.1/5 | F5 - Carpet Tile Adhesives, Interface Embodied Beauty |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
3.2.1.3 | Skirtings and the like |  |  |  | 0
3.2.1.3/1 | S1 - Painted Softwood |  | m |  | 0
3.2.1.3/2 | S3 - Coved Vinyl |  | m |  | 0
3.2.1.3/3 | S4 - Coved Resin |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
3.3 | Ceiling Finishes |  |  |  | 0
3.3.3 | Demountable suspended ceilings |  |  |  | 0
3.3.3.1 | Demountable suspended ceilings |  |  |  | 0
3.3.3.1/1 | C1 - Exposed Soffit |  | m2 |  | 0
3.3.3.1/2 | C2 - Lay-In Tile |  | m2 |  | 0
3.3.3.1/3 | C3 - Clip-In Tile |  | m2 |  | 0
3.3.3.1/4 | C4 - Coved Whiterock Lining |  | m2 |  | 0
3.3.3.1/5 | Ceiling trims - Puracore - Preformed internal and external corners to Cleanroom 1 suite (Cleanroom 1, MALs, PALs and ISO8 airlock) |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
3.3.3.3 | Access hatches and the like |  |  |  | 0
3.3.3.3/1 | Access panel; Profab 9000 |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
4 | Fittings, furnishings and equipment |  |  |  | 0
4.1 | Fittings, furnishings and equipment |  |  |  | 0
4.1.1 | General fittings, furnishings and equipment |  |  |  | 0
4.1.1.1 | Fittings |  |  |  | 0
4.1.1.1/1 | Bench |  | m |  | 0
4.1.1.1/2 | Bin |  | nr |  | 0
4.1.1.1/3 | Glove Table |  | nr |  | 0
4.1.1.1/4 | PPE Station |  | nr |  | 0
4.1.1.1/5 | Racking |  | m |  | 0
4.1.1.1/6 | Kitchen Unit Sink |  | nr |  | 0
4.1.1.1/7 | Laboratory WHBs |  | nr |  | 0
4.1.1.1/8 | SOB Station |  | m |  | 0
4.1.1.1/9 | SGL Locker |  | nr |  | 0
4.1.1.1/10 | Office desk |  | m |  | 0
4.1.1.1/11 | Tack Matt |  | m2 |  | 0
4.1.1.1/12 | Safety Stations- Marson Laboratory furniture |  | item |  | 0
4.1.1.1/13 | Shoe Storage shelves - Teknomek Ltd |  | item |  | 0
4.1.1.1/14 | Cleanroom mirrors |  | item |  | 0
4.1.1.1/15 | Toilet Mirrors - To accessible shower/toilet and toilet cubicle in outer change as noted on Client Definition drawings and room elevations. Bobrick Washroom Equipment Ltd |  | nr |  | 0
4.1.1.1/16 | Coat hooks - Venesta Washrooms 0- to laboratories and change lobbies |  | item |  | 0
4.1.1.1/17 | Waste bag frame holder - Teknomek |  | item |  | 0
4.1.1.1/18 | Step over bench - Teknomek Ltd - to cleanroom PAL IN change lobby |  | item |  | 0
4.1.1.1/19 | Bench - Teknomek - to cleanroom PAL OUT |  | item |  | 0
4.1.1.1/20 | Hand cleaning gel dispensers - Dudley Industries Ltd |  | item |  | 0
4.1.1.1/21 | QC Transfer hatch, wall mounted, mechanical interlocking, toughened glass, 600 x 600 x 600 |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
4.1.1.2 | Furnishings |  |  |  | 0
4.1.1.2/1 | Roller blinds Blackout type - Swanmac Ltd - To QC lab window WG04 - KuroLok fully enclosed blind with head and side channels. |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
4.1.4 | Signs/notices |  |  |  | 0
4.1.4.1 | Component |  |  |  | 0
4.1.4.1/1 | Allowance for statutory signage and wayfinding |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5 | Services |  |  |  | 0
5.1 | Sanitary installations |  |  |  | 0
5.1.1 | Sanitary appliances |  |  |  | 0
5.1.1.1 | WHB |  | nr |  | 0
5.1.1.2 | WCs |  | nr |  | 0
5.1.1.3 | Shower - Part M |  | nr |  | 0
5.1.1.4 | WC-Part M |  | nr |  | 0
5.1.1.5 | WHB-Part M |  | nr |  | 0
5.1.1.6 | Teapont Sink |  | nr |  | 0
5.1.1.7 | Laboratory Sinks |  | nr |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.1.2 | Testing of installations. |  | item |  | 0
5.1.3 | Commissioning of installations. |  | item |  | 0
5.3 | Disposal installations |  |  |  | 0
5.3.1 | Foul drainage above ground |  |  |  | 0
5.3.1.1 | Plant and domestic drain & vent pipework, fittings, valves |  | item |  | 0
5.3.1.2 | Laboratory drain & vent pipework, fittings, valves |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.3.2 | Testing of installations. |  | item |  | 0
5.3.3 | Commissioning of installations. |  | item |  | 0
5.4 | Water installations |  |  |  | 0
5.4.1 | Mains cold water |  |  |  | 0
5.4.1.1 | Mains cold water installation |  |  |  | 0
5.4.1.1/1 | Pipework fittings, valves |  | item |  | 0
5.4.1.1/2 | Thermal Insulation |  | item |  | 0
5.4.2 | Boosted cold water |  |  |  | 0
5.4.2.1 | Boosted cold water installation |  |  |  | 0
5.4.2.1/1 | Packaged break tank & booster pump |  | nr |  | 0
5.4.2.1/2 | Leak detection |  | item |  | 0
5.4.2.1/3 | Pipework fittings, valves |  | item |  | 0
5.4.2.1/4 | Thermal Insulation |  | item |  | 0
5.4.3 | Hot water |  |  |  | 0
5.4.3.1 | Hot water installation |  |  |  | 0
5.4.3.1/1 | Instantaneous water heaters |  | nr |  | 0
5.4.3.1/2 | Pipework fittings, valves |  | item |  | 0
5.4.3.1/3 | Thermal Insulation |  | item |  | 0
5.4.4 | Testing of installations. |  | item |  | 0
5.4.5 | Commissioning of installations. |  | item |  | 0
5.5 | Heat source |  |  |  | 0
5.5.1 | Heat source |  |  |  | 0
5.5.1.1/1 | Heat Pump |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.5.2 | Testing of installations. |  | item |  | 0
5.5.3 | Commissioning of installations. |  | item |  | 0
5.6 | Space heating and air conditioning |  |  |  | 0
5.6.1 | Central heating |  |  |  | 0
5.6.1.1 | Central heating systems |  |  |  | 0
5.6.1.1/1 | Buffer Tank 2500L |  | nr |  | 0
5.6.1.1/2 | Circulation pumps |  | nr |  | 0
5.6.1.1/3 | Sidestream filter |  | nr |  | 0
5.6.1.1/4 | Pressurisation & Expansion Unit; 3500l |  | nr |  | 0
5.6.1.1/5 | Combined Dirt and air separators |  | nr |  | 0
5.6.1.1/6 | Dosing Pots |  | nr |  | 0
5.6.1.1/7 | Pipework, fititngs, valves |  | item |  | 0
5.6.1.1/8 | Thermal Insulation |  | item |  | 0
5.6.1.1/9 | Trace heating |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.6.1.2 | Run around coil systems |  |  |  | 0
5.6.1.2/1 | RAC Pumps |  | nr |  | 0
5.6.1.2/2 | RAC Pressurisation & Expansion units |  | nr |  | 0
5.6.1.2/3 | RAC Dosing Pots |  | nr |  | 0
5.6.1.2/4 | Pipework, fititngs, valves |  | item |  | 0
5.6.1.2/5 | Thermal Insulation |  | item |  | 0
5.6.1.2/6 | Trace heating |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.6.1.3 | Terminal Units |  |  |  | 0
5.6.1.3/1 | Fan coil units |  | item |  | 0
5.6.1.3/2 | Heater batteries |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.6.2 | Central cooling |  |  |  | 0
5.6.2.1 | Central cooling systems |  |  |  | 0
5.6.2.1/1 | Chiller Unit |  | nr |  | 0
5.6.2.1/2 | Buffer Tank 1000L |  | nr |  | 0
5.6.2.1/3 | Circulation pumps |  | nr |  | 0
5.6.2.1/4 | Sidestream filter |  | nr |  | 0
5.6.2.1/5 | Pressurisation & Expansion Unit; 3500l |  | nr |  | 0
5.6.2.1/6 | Combined Dirt and air separators |  | nr |  | 0
5.6.2.1/7 | Dosing Pots |  | nr |  | 0
5.6.2.1/8 | Pipework, fititngs, valves |  | item |  | 0
5.6.2.1/9 | Thermal Insulation |  | item |  | 0
5.6.2.1/10 | Trace heating |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.6.3 | Testing of installations. |  | item |  | 0
5.6.4 | Commissioning of installations. |  | item |  | 0
5.7 | Ventilation |  |  |  | 0
5.7.1 | Central ventilation |  |  |  | 0
5.7.1.1 | Central ventilation systems |  |  |  | 0
5.7.1.1/1 | MVHR 01 |  | nr |  | 0
5.7.1.1/2 | AHU-01 (ISO7) |  | nr |  | 0
5.7.1.1/3 | AHU-02 (ISO8) |  | nr |  | 0
5.7.1.1/4 | Ductwork |  | item |  | 0
5.7.1.1/5 | Ductwork cleaning |  | item |  | 0
5.7.1.1/6 | Ductwork thermal insulation |  | item |  | 0
5.7.1.1/7 | CAV controllers |  | item |  | 0
5.7.1.1/8 | Dampers |  | item |  | 0
5.7.1.1/9 | Grilles |  | item |  | 0
5.7.1.1/10 | Hepa Filter Grilles with built in VCD |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
| Additonal contractor items |  | item |  | 0
5.7.2 | Local and special ventilation |  |  |  | 0
5.7.2.1 | Toilet/bathroom ventilation units |  |  |  | 0
5.7.2.1/1 | WC extract Fans |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.7.3 | Testing of installations. |  | item |  | 0
5.7.4 | Commissioning of installations |  | item |  | 0
5.8 | Electrical installations |  |  |  | 0
5.8.1 | Electrical mains and sub-mains distribution |  |  |  | 0
5.8.1.1 | Electrical mains and sub-mains distribution |  |  |  | 0
5.8.1.1/1 | Main LV switchpanel PB P100-1 |  | Item |  | 0
5.8.1.1/2 | DB P100-2 |  | nr |  | 0
5.8.1.1/3 | DB P100-3 |  | nr |  | 0
5.8.1.1/4 | DB P100-4 |  | nr |  | 0
5.8.1.1/5 | DB P100-5 |  | nr |  | 0
5.8.1.1/6 | Sub-main cabling and terminations, including CPC cabling |  | item |  | 0
5.8.1.1/7 | Primary containment for all services |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.8.2 | Power installations |  |  |  | 0
5.8.2.1 | Power installation |  |  |  | 0
5.8.2.1/1 | Final power circuit wiring from DB P100-2 |  | item |  | 0
5.8.2.1/2 | Final power circuit wiring from DB P100-3 |  | item |  | 0
5.8.2.1/3 | Final power circuit wiring from DB P100-4 |  | item |  | 0
5.8.2.1/4 | Final power circuit wiring from DB P100-5 |  | item |  | 0
5.8.2.1/5 | Secondary containment |  | item |  | 0
5.8.2.1/6 | Socket outlets |  | item |  | 0
5.8.2.1/7 | Fused connection units |  | item |  | 0
5.8.2.1/8 | Switch disconnectors |  | item |  | 0
5.8.2.1/9 | Electric underfloor heating to shower area |  | item |  | 0
5.8.2.1/10 | Electric heat emitters in roof plantroom |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.8.3 | Lighting installations |  |  |  | 0
5.8.3.1 | Lighting installation |  |  |  | 0
5.8.3.1/1 | A1 - modular luminaire 600x600 A1 |  | nr |  | 0
5.8.3.1/2 | A1\E - modular luminaire 600x600 A1 emergency |  | nr |  | 0
5.8.3.1/3 | A2\E - modular luminaire 600x600 A2 emergency |  | nr |  | 0
5.8.3.1/4 | A3 - modular luminaire 600x600 A3 |  | nr |  | 0
5.8.3.1/5 | A3\E - modular luminaire 600x600 A3 emergency |  | nr |  | 0
5.8.3.1/6 | B1 - modular luminaire 600x600 B1 |  | nr |  | 0
5.8.3.1/7 | B1\E - modular luminaire 600x600 B1 emergency |  | nr |  | 0
5.8.3.1/8 | B2 - modular luminaire 600x600 B2 |  | nr |  | 0
5.8.3.1/9 | B2\E - modular luminaire 600x600 B2 emergency |  | nr |  | 0
5.8.3.1/10 | C1 - recessed downlighter C1 |  | nr |  | 0
5.8.3.1/11 | C1\E - recessed downlighter C1 emergency |  | nr |  | 0
5.8.3.1/12 | C2 - recessed downlighter C2 |  | nr |  | 0
5.8.3.1/13 | C2\E - recessed downlighter C2 emergency |  | nr |  | 0
5.8.3.1/14 | D1\E - batten LED light D1 emerency |  | nr |  | 0
5.8.3.1/15 | G1\E - wall mounted luminaire G1 emergency |  | nr |  | 0
5.8.3.1/16 | H1\E - wall mounted luminaire H1 emerency |  | nr |  | 0
5.8.3.1/17 | EXIT - illuminated exit sign wall mounted |  | nr |  | 0
5.8.3.1/18 | PIR detectors and switches |  | item |  | 0
5.8.3.1/19 | Final lighting circuit wiring from DB P100-2 |  | item |  | 0
5.8.3.1/20 | Final lighting circuit wiring from DB P100-3 |  | item |  | 0
5.8.3.1/21 | Final lighting circuit wiring from DB P100-4 |  | item |  | 0
5.8.3.1/22 | Final lighting circuit wiring from DB P100-5 |  | item |  | 0
5.8.3.1/23 | Secondary containment |  | item |  | 0
5.8.3.1/24 | Lighting control system |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.8.5 | Local electricity generation systems |  |  |  | 0
5.8.5.1 | Local generation equipment: Electricity generation systems |  |  |  | 0
5.8.5.1/1 | External connection for LV generator |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.8.5.5 | Transformation devices: Photovoltaic devices |  |  |  | 0
5.8.5.5/1 | PV System including G99 Compliant inverter and mounting system, DC/AC Isolators, AC/DC cabling and connectors |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.8.6 | Earthing and bonding systems |  |  |  | 0
5.8.6.1 | Earthing and bonding systems |  |  |  | 0
5.8.6.1/1 | Generally |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.8.7 | Testing of installations. |  | item |  | 0
5.8.8 | Commissioning of installations. |  | item |  | 0
5.11 | Fire and lightning protection |  |  |  | 0
5.11.3 | Lightning protection |  |  |  | 0
5.11.3.1 | Lightning protection installations |  |  |  | 0
5.11.3.1/1 | Generally |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.11.4 | Testing of installations. |  | item |  | 0
5.11.5 | Commissioning of installations. |  | item |  | 0
5.12 | Communication, security and control systems |  |  |  | 0
5.12.1 | Communication systems |  |  |  | 0
5.12.1.2 | Data transmission systems |  |  |  | 0
5.12.1.2/1 | Data cabling system |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.12.1.7 | Fire detection and alarm systems |  |  |  | 0
5.12.1.7/1 | Fire alarm point detection system |  | item |  | 0
5.12.1.7/12 | Aspirating smoke detection system |  | item |  | 0
5.12.1.7/16 | Emergency alarm system to WC/shower room |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.12.1.17 | Testing of installations. |  | item |  | 0
5.12.1.18 | Commissioning of installations. |  | item |  | 0
5.12.2 | Security systems |  |  |  | 0
5.12.2.1 | Surveillance equipment |  |  |  | 0
5.12.2.1/1 | CCTV camera at main entrance |  | nr |  | 0
5.12.2.1/2 | Allow for incorporation into existing system |  | item |  | 0
5.12.2.1/3 | Secondary containment |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.12.2.4 | Access control systems |  |  |  | 0
5.12.2.4/1 | Door interlocking |  | nr |  | 0
5.12.2.4/2 | Door access controls |  | nr |  | 0
5.12.2.4/3 | Secondary containment |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.12.2.5 | Burglar and security alarms |  |  |  | 0
5.12.2.5/1 | Door contact to fire exit door with cabling to external alarm |  | item |  | 0
5.12.2.5/2 | Secondary containment |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.12.2.9 | Testing of installations. |  | item |  | 0
5.12.2.10 | Commissioning of installations. |  | item |  | 0
5.12.3 | Central control/building management systems |  |  |  | 0
5.12.3.1 | Central control/building management systems |  |  |  | 0
5.12.3.1/1 | BMS system |  | nr |  | 0
5.12.3.1/2 | EMS system |  | nr |  | 0
5.12.3.1/3 | Secondary containment |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
Optional EMS Maintenance Costs from PC (do not add into Total)
| 1 year |  | item
| 3 years |  | item
| 5 years |  | item
5.12.3.3 | Testing of installations. |  | item |  | 0
5.12.3.4 | Commissioning of installations. |  | item |  | 0
5.13 | Specialist installations |  |  |  | 0
5.13.1 | Specialist piped supply installations |  |  |  | 0
5.13.1.1 | Medical and laboratory gas supply systems |  |  |  | 0
5.13.1.1/1 | Compressor and ancillary equipment |  | Item |  | 0
5.13.1.1/2 | Compressed air pipework, fititngs, valves |  | item |  | 0
5.13.1.1/3 | CA Integrated outlet point |  | nr |  | 0
5.13.1.1/4 | Manifolds |  | nr |  | 0
5.13.1.1/5 | CO2 pipework fittings, valves |  | item |  | 0
5.13.1.1/6 | N2 pipework fittings, valves |  | item |  | 0
5.13.1.1/7 | O2 pipework fittings, valves |  | item |  | 0
5.13.1.1/8 | Gas Integrated Outlet Points |  | nr |  | 0
5.13.1.1/9 | Gas detection system |  | item |  | 0
5.13.1.1/10 | Gas systems validations |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.13.1.8 | Testing of installations. |  | item |  | 0
5.13.1.9 | Commissioning of installations. |  | item |  | 0
5.13.2 | Specialist refrigeration systems |  |  |  | 0
5.13.2.1 | Cold rooms |  |  |  | 0
5.13.2.1/1 | Cold room; 12mm plywood and vapour barrier; modular tongue and groove coated steel interlocking wall and ceiling panels finished internally and externally with food-safe PVC with 100mm thk insulation; 2000mm high door with 400 x 400mm high large vision; cold room refridgerant systems and electrical systems |  | item |  | 0
5.13.2.1/2 | IQ / OQ verification |  | Item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.14 | MEP preliminaries & Builder's work |  |  |  | 0
5.14.1 | Builder's work in connection with services |  |  |  | 0
5.14.1.1 | Builder's work in general areas |  |  |  | 0
5.14.1.1/1 | Generally |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
5.14.2 | MEP preliminaries |  |  |  | 0
5.14.2.1/1 | MEP Contractor's direct preliminaries |  | item |  | 0
5.14.2.1/2 | Soft Landings |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8 | External works |  |  |  | 0
8.1 | Site preparation works |  |  |  | 0
8.1.1 | Site clearance |  |  |  | 0
8.1.1.1 | Clearing vegetation |  |  |  | 0
8.1.1.1/1 | Allow for clearing vegetation and removal of trees |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.1.1.2 | Taking down trees |  |  |  | 0
8.1.1.2/1 | Tree removal |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.1.2 | Preparatory groundworks |  |  |  | 0
8.1.2.1 | Forming new site contours and adjusting existing site levels |  |  |  | 0
8.1.2.1/1 | Allowance for cut and fill [excludes disposal of excavated materials off-site] |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.1.2.3 | Breaking out existing hard pavings |  |  |  | 0
8.1.2.3/1 | Breaking out existing slab |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.2 | Roads, paths, pavings and surfacings |  |  |  | 0
8.2.1 | Roads, paths and pavings |  |  |  | 0
8.2.1.1 | Roads |  |  |  | 0
8.2.1.1/1 | Standard tarmac 30mm SMA surface course 30mm DBM binder course 100mm DRM road base 150mm Type 1 sub base 350mm 6F2 capping (assume reused from Pirbright site stockpile) |  | m2 |  | 0
8.2.1.1/2 | Perimeter gravel edge strip |  | m |  | 0
8.2.1.1/3 | Block Paving |  | m2 |  | 0
8.2.1.1/4 | Concrete edging - Marshalls Ltd - to paving, tarmac and parking areas |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.2.1.6 | Steps |  |  |  | 0
8.2.1.6/1 | In situ Concrete steps - to main entrance |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.2.1.7 | Ramps |  |  |  | 0
8.2.1.7/1 | ‘Elemetal’ Galvanised pre-fabricated DDA compliant/equipment access ramp to be provided to main building entrance. |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.2.1.12 | Pavement markings |  |  |  | 0
8.2.1.12/1 | Allowance for white-line marking as required |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.3 | Soft landscapes, planting and irrigation systems |  |  |  | 0
8.3.1 | Seeding and turfing |  |  |  | 0
8.3.1.1 | Grassed areas |  |  |  | 0
8.3.1.1/1 | Proposed Amenity Grassland |  | m2 |  | 0
8.3.1.1/2 | Proposed Grassland |  | m2 |  | 0
8.3.1.1/3 | Proposed Ornamental Shrub Planting |  | m2 |  | 0
8.3.1.1/4 | Proposed Tree Planting |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.4 | Fencing, railings and walls |  |  |  | 0
8.4.4 | Barriers and guardrails |  |  |  | 0
8.4.4.1 | Vehicle restraint systems |  |  |  | 0
8.4.4.1/1 | Armco Vehicle Protection Barriers |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.4.4.3 | Vehicle and pedestrian control barriers and gates |  |  |  | 0
8.4.4.3/1 | Bollard Protection; Broaxp HD Bollard |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.5 | External fixtures |  |  |  | 0
8.5.1 | Site/street furniture and equipment |  |  |  | 0
8.5.1.1 | Component |  |  |  | 0
8.5.1.1/1 | External Staff Area Seating and table |  | item |  | 0
8.5.1.1/2 | Bird / vermin control |  | item |  | 0
8.5.1.1/3 | External galvanised steel access staircase with non-slip grid/checker plate treads and galvanised KeeGuard guard railing and ballasted guard railing to roof perimeter |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.6 | External drainage |  |  |  | 0
8.6.1 | Surface water and foul water drainage |  |  |  | 0
8.6.1.2 | Drainage runs; below ground |  |  |  | 0
8.6.1.2/1 | Surface Water; 100dia uPVC drain ne 1000mm deep |  | m |  | 0
8.6.1.2/2 | Surface Water; 150dia pvc drain from building to basin ne 1500mm deep |  | m |  | 0
8.6.1.2/3 | Foul Water; 100dia uPVC drain ne 1500mm deep |  | m |  | 0
8.6.1.2/4 | Foul Water; Connection into existing |  | item |  | 0
8.6.1.2/5 | Existing; SW pipe removal |  | m |  | 0
8.6.1.2/6 | Advanced utilities drawpits |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.6.1.4 | Prefabricated channels |  |  |  | 0
8.6.1.4/1 | ACO Drainage |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.6.1.5 | Manholes and the like |  |  |  | 0
8.6.1.5/1 | SW manholes |  | nr |  | 0
8.6.1.5/2 | Extra over for hydro-brake flow control restricted to 1l/sec. Assume 150mm dia outlet. |  | nr |  | 0
8.6.1.5/3 | FW manholes |  | nr |  | 0
8.6.1.5/4 | Outfall headwall |  | nr |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.6.2 | Ancillary drainage systems |  |  |  | 0
8.6.2.6 | Sustainable urban drainage schemes |  |  |  | 0
8.6.2.6/1 | Attenuation Basin 1.00m Deep with 1 in 3 side slopes to base, 57m² Base area, 200m² Top surface area. Designed to cope with the 1 in 100yr + 40% CC storm event. [Excludes disposal of excavated material offsite] |  | m2 |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.7 | External services |  |  |  | 0
8.7.1 | Water mains supply |  |  |  | 0
8.7.1.3 | Service runs |  |  |  | 0
8.7.1.3/1 | Connect onto existing mains |  | nr |  | 0
8.7.1.3/2 | 40mm HDPE Main |  | m |  | 0
8.7.1.3/3 | Testing of installations |  | item |  | 0
8.7.1.3/4 | Commissioning of installations |  | item |  | 0
8.7.1.3/5 | Trenching across road for water and data |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.7.2 | Electricity mains supply |  |  |  | 0
8.7.2.2 | Service runs |  |  |  | 0
8.7.2.2/1 | 4c 240mm2 XLPE/SWA/LSZH cable |  | m |  | 0
8.7.2.2/2 | 4c 240mm2 XLPE/SWA/LSZH cable terminations |  | nr |  | 0
8.7.2.2/3 | 240mm earth cable terminations |  | nr |  | 0
8.7.2.2/4 | 240mm2 earth cable |  | m |  | 0
8.7.2.2/5 | Multi-function meter |  | nr |  | 0
8.7.2.2/6 | 200mm ducts for power Cables |  | m |  | 0
8.7.2.2/7 | Draw pits |  | nr |  | 0
8.7.2.2/8 | Testing of installations |  | % |  | 0
8.7.2.2/9 | Commissioning of installations |  | % |  | 0
8.7.2.2/10 | Trenching in soft ground |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.7.6 | Telecommunications and other communication system connections |  |  |  | 0
8.7.6.4 | Service runs |  |  |  | 0
8.7.6.4/1 | New fibre cable to link CVIM FA installation to sitewide network |  | item |  | 0
8.7.6.4/2 | Fibre ducting |  | m |  | 0
8.7.6.4/3 | Draw pits |  | nr |  | 0
8.7.6.4/4 | Testing of installations |  | % |  | 0
8.7.6.4/5 | Commissioning of installations |  | % |  | 0
8.7.6.4/6 | Trenching in soft ground |  | m |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
8.8 | Minor building works and ancillary buildings |  |  |  | 0
8.8.2 | Ancillary buildings and structures |  |  |  | 0
8.8.2.2 | Minor ancillary building - prefabricated/proprietary |  |  |  | 0
8.8.2.2/1 | Bin store, with two opennings |  | item |  | 0
8.8.2.2/2 | Gas bottle store |  | item |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0

## Main Contractor Design Fees
Invitation to Tender
Pricing document
PIRBRIGHT INNOVATIONS LIMITED
Pirbright - CVIM
Main Contractor Design Fees
Code | Description | Quantity | Unit | Rate (£) | Total (£) | Comment
| Main Contractor Design Fees |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0
| Additonal contractor items |  |  |  | 0

## Rear Blue
One New Change, London
EC4M 9AF
T: 07977 551859
e: ross.fergusson@ttalinea.com
w: www.ttalinea.com
©Turner & Townsend Cost Management Limited. This document is expressly provided to and solely for the use of Client on the Project and takes into account their particular instructions and requirements. It must not be made available or copied or otherwise quoted or referred to in whole or in part in any way, including orally, to any other party without our express written permission and we accept no liability of whatsoever nature for any use by any other party.