## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | FM16174 |  | The Figure shown in Cell F87 is the figure that will be used during the price evaluation part of this tender. |  |  | Please ensure all cells that are highlighted red are completed.
SOURCING DOCUMENT TITLE: | UK SBS BAS Refurbishment Works
BIDDER NAME | [Bidder to add name]
|  |  | List | Discounted | Total
Item Name | Description | Quantity | Price | Price | Price | Notes & Comments
IceBreaker Canteen
Preliminaries | The contractor is to price here for all fixed and time related charges which are not specific to work sections but which have an identifiable cost e.g. protection, temporary works, insurances, management & supervisions, facilities, Health & Safety et al | 1 | 0 | 0 | 0
Demolitions and Strip Out – Refer to NBS specification C20. A | A. Allow for the protection of all existing services including those within the ceiling void | 1 | 0 | 0 | 0
Demolitions and Strip Out – Refer to NBS specification C20. B | Isolate and strip out the existing electrical lighting installations back to the electrical distribution cupboard. | 1 | 0 | 0 | 0
Demolitions and Strip Out – Refer to NBS specification C20. C | Carefully strip out, remove from site and making good existing finishes where necessary I. Blinds II. Remove carpet tiles, vinyl flooring and wooden flooring, make good and prepare ready to receive new finish. III. Remove existing ceiling grid and prepare walls / ceiling for new grid. IV. Remove existing lighting and associated electrical items. Refer to electrical demolition drawing – C020-E-01 V. Remove servery laminate side coverings. | 1 | 0 | 0 | 0
Floor Finishes – Refer to NBS specification and ADP drawing R2221. A | Make good floor and prepare ready to receive new finishes. | 1 | 0 | 0 | 0
Floor Finishes – Refer to NBS specification and ADP drawing R2221. B | To areas marked within ADP drawing number R-2221 Carpet tiles - Refer to NBS Spec M50 Vinyl Flooring – refer to NBS Spec M50 | 1 | 0 | 0 | 0
Ceiling Finishes – Refer to NBS specification and ADP drawing R2221. A | Demountable Ceiling Grid – Refer to NBS Spec K40 | 1 | 0 | 0 | 0
Ceiling Finishes – Refer to NBS specification and ADP drawing R2221. B | Full Height Finish – Refer to NBS Spec K10 | 1 | 0 | 0 | 0
Ceiling Finishes – Refer to NBS specification and ADP drawing R2221. C | Make good lobby and prepare ready to receive paint – 2 No. Coats RAL 9010 – Pure White. To include Plant Room, hatch and hatch frame. | 1 | 0 | 0 | 0
Wall Finishes – Refer to NBS specification and ADP drawing R2221. A | All Walls are to be made good and prepared ready to receive 3 No. coats of the following finishes - refer to finishes drawing R-2221 | 1 | 0 | 0 | 0
Wall Finishes – Refer to NBS specification and ADP drawing R2221. B | Window Cills and window frames are to be rubbed down to remove all surface imperfections and prepared to be repainted to match existing finish. | 1 | 0 | 0 | 0
Wall Finishes – Refer to NBS specification and ADP drawing R2221. C | Existing Dado Rail is to be retained, made good, rubbed down to remove all imperfections and prepared ready to receive painted finish. | 1 | 0 | 0 | 0
Wall Finishes – Refer to NBS specification and ADP drawing R2221. D | Bulkhead to be thoroughly prepared and painted. | 1 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels – Refer to NBS specification and ADP drawing R2221. A | Make good, rub down to remove all imperfections and prepare ready to receive paint to wooden glazed doors and panel surrounds to match existing | 1 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels – Refer to NBS specification and ADP drawing R2221. B | Make good, rub down, prepare and repaint Kitchen Doors (2 No.), Kitchen Storage door and fire escape to match existing. | 1 | 0 | 0 | 0
Fitting and Fixtures | Replace all blinds with 5” Vertical blinds – Refer to NBS Spec N10 To be measured on site by the appointed contractor. | 1 | 0 | 0 | 0
Electrical Installation. A | Provision of new lighting, including all associated wiring. Switching to remain as existing. High level A1D fittings to be hung from the full height ceiling via wire rope and supply to be ceiling fed via braided flex. Refer to Dwg Number C020-E-02 and Zumtobel Specification for details. Note that high level fittings are to be controlled via a DALI multifunction 2 zone controller and is to be daylight dimmable via a Daylight ceiling sensor. High Level lighting it to be dropped to a height of 2710mm to remain level with the grid ceiling height. | 1 | 0 | 0 | 0
Electrical Installation. B | Replace 4 No. existing floor boxes with new to match existing. | 1 | 0 | 0 | 0
Electrical Installation. C | Recess 3 No. double sockets in to wall and replace with wall boxes. Allow for recessing containment and making good. Refer to dwg C020-E-01. Make good and repaint. | 1 | 0 | 0 | 0
Electrical Installation. D | Remove network port and make good wall. Refer to C020-E-01. | 1 | 0 | 0 | 0
Lighting | Zumtobel Lincor DI LRO LED4600-840 LDE LB1 SR | 14 | 0 | 0 | 0
Lighting | Thorn Omega LED 3250-840 HFIX Q597 | 9 | 0 | 0 | 0
Lighting | Thorn Voyager E LED Bulkhead E23NM + Legend (ISO) | 4 | 0 | 0 | 0
Lighting | Zumtobel RESCLITE C ANTIPANIC HP ED NT3 WH (std) | 4 | 0 | 0 | 0
Lighting | Zumtobel RESCLITE C ANTIPANIC HC AD NPS IP65 WH | 2 | 0 | 0 | 0
Lighting | Thorn CLUB 1000 LED2 OP RD WH L840 | 3 | 0 | 0 | 0
Lighting | Thorn CLUB 1000 LED2 E3 OP RD WH L840 | 1 | 0 | 0 | 0
Lighting | Zumtobel DIAMO R68 LED800-927 WW WH | 7 | 0 | 0 | 0
Lighting | Zumtobel set 608 15600 PANOS INF E200HL 16W LED 940 LDO WH+ PANOS INF IP54 GLAS KLAR E200 WH | 8 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 F1 | Lounge Chair with Sled Base, Colour Purple | 9 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 F2 | Lounge Chair with Sled Base, Colour Orange / Red | 28 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 F3 | Lounge Chair with Sled Base, Colour Grey / Brown | 11 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 F4 | Stackable Chair, Elios, Colour Purple | 27 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 F5 | Stackable Chair, Elios, Colour Grey / Brown | 48 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 F6 | Stackable Chair, Elios with Arms, Colour Grey / Brown | 9 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000N T1 | 1200mm x 700mm Table | 17 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 T2 | 1000mm x 600mm Coffee Table | 10 | 0 | 0 | 0
Furniture – Refer to Furniture Schedule ADP – S8000 T3 | 1200mm Dia round Table | 3 | 0 | 0 | 0
0
Room 59 -Ozone Workshop
Demolitions and Strip Out A | Strip out all existing fixed benching and wall furniture i.e. pin boards. | 0 | 0 | 0 | 0
Demolitions and Strip Out B | Remove existing ceiling tiles but retain grid. | 0 | 0 | 0 | 0
Demolitions and Strip Out C | Remove floor finish and skirting boards (vinyl). | 0 | 0 | 0 | 0
Demolitions and Strip Out D | Removal all electrical dado rail and light switch (including back box). | 0 | 0 | 0 | 0
Demolitions and Strip Out E | Remove 2 No. lower panes of glass from 2 No. of the windows – See dwg for details. | 0 | 0 | 0 | 0
Floor Finishes | Make good floor ready to receive new finish. Level and latex as necessary. The floor must be made good to Manufacturers specification and installed to manufacturers guidelines. | 0 | 0 | 0 | 0
Ceiling Finishes | Retain ceiling grid. Replace tiles with Armstrong Ultima db – 2041M. | 0 | 0 | 0 | 0
Wall finishes A | Thoroughly prepare and make good walls to match existing finish. All imperfections to be infilled and rubbed down, to include all holes / mounting points for shelving etc. | 0 | 0 | 0 | 0
Wall finishes B | Apply 2 No. full coats of Dulux Vinly Matt Emulsion – RAL 9010 or equivalent. | 0 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels A | Make good walls ready to accept new skirting boards. Pencil Round, MDF, Board height 194mm. Painted White x 2 No. Coats. Dulux Trade Satin Wood or equivalent | 0 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels B | Architrave to be rubbed down to remove any and all imperfections, and painted with 2 No. coats of Dulux Trade Satin Wood RAL 9010 to match wall finish. | 0 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels C | Remove 2 No. glazed panels and replace with 10mm Marine ply, treated on internal and external surfaces with Ronseal Wood Stain – Dark Oak, or equivalent. | 0 | 0 | 0 | 0
Electrical Installation A | Isolate and remove existing dado trunking system. Replace on a like for like basis with MK Powerlink plus 3 compartment trunking. Network and power sockets to match existing. | 0 | 0 | 0 | 0
Electrical Installation B | Network (CAT5e) cable to be retained, removed from trunking and reinstated. BAS to isolate from the network switch before commencement. All cables are to be labelled as current format. BAS to reinstate at network switch end after completion. Contractor to make off network port and install into the dado trunking including all face plates. | 0 | 0 | 0 | 0
Electrical Installation C | Retain the existing switching layout. Replace the existing light switch and backbox with metal clad 2 gang 1 way switch, of which 1 gang is to remain as an emergency light test switch. | 0 | 0 | 0 | 0
Electrical Installation D | All electrical circuits to be tested and certificates handed to BAS in both electrical and paper format. All sockets to be labelled with circuit and DB number. | 0 | 0 | 0 | 0
Floor Finishes | Make good floor ready to receive new finish. Latex and level as necessary. The floor must be made good to Manufacturers specification and installed to manufacturers guidelines. | 0 | 0 | 0 | 0
Ceiling Finishes | Retain ceiling grid. Replace tiles with Armstrong Ultima db – 2041M. | 0 | 0 | 0 | 0
Wall finishes | Thoroughly prepare and make good walls to match existing finish. All imperfections to be infilled and rubbed down, to include all holes / mounting points for shelving etc. | 0 | 0 | 0 | 0
Wall finishes | Apply 2 No. full coats of Dulux Vinly Matt Immulsion – RAL 9010 or equivalent. | 0 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels | Make good walls ready to accept new skirting boards. Pencil Round, MDF, Board height 194mm. Painted White x 2 No. Coats. Dulux Trade Satin Wood or equivalent | 0 | 0 | 0 | 0
Doors, Architrave, Skirting Boards and Glazed Panels | Architrave to be rubbed down to remove any and all imperfections, and painted with 2 No. coats of Dulux Trade Satin Wood RAL 9010 to match wall finish. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation A | Isolate and remove existing dado trunking system. Replace on a like for like basis with MK Powerlink plus 3 compartment trunking. Network and power sockets to match existing. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation B | Network (CAT5e) cable to be retained, removed from trunking and reinstated. BAS to isolate from the network switch before commencement. All cables are to be labelled as current format. BAS to reinstate at network switch end after completion. Contractor to make off network port and install into the dado trunking including all face plates. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation C | All electrical circuits to be tested and certificates handed to BAS in both electrical and paper format. All sockets to be labelled with circuit and DB number. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation D | Replace the existing water boiler with: Lincat Wall Mounted Filterflow WMB3F/W White To be installed in the current position. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation E | Replace the existing water boiler spur with a switch spur with indicator lamp. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation F | Replace the sink and base unit with; Stainless Steel Sink – extra deep. Size to match existing, on a stainless steel frame unit. Contractor to submit proposals for approval by the employer. | 0 | 0 | 0 | 0
Electrical and Mechanical Installation G | All sink water supply pipework and drainage pipework to be replaced with new on a like for like basis. All copper pipework to be 18mm with compression fittings. | 0 | 0 | 0 | 0
Other Items
A | The contractor is asked to include here any items which they reasonably foresee as being required but are not included elsewhere. | 0 | 0 | 0 | 0
TOTAL |  |  |  |  | 0
All prices are firm and fixed.
All prices are exclusive of VAT