[image: image2.emf]
THETFORD TOWN COUNCIL


[image: image1.jpg]



Thetford Town Council Is Seeking T for the Testing, Installation and Removal of Christmas Lights

TTC/18/001
INTRODUCTION 

The Town Council provides on an annual basis a programme of Christmas illuminations in the Town. The focus of the illumination scheme is the annual ‘switch-on’ event, which is normally the last week of November or 1st week of December. The Council is tendering with a view to agreeing a contract with a supplier for the 2018 switch on and the following 2 years.

REQUIREMENTS 

The Town Council is seeking a contractor to fully manage the installation, maintenance and removal of the Christmas lights and associated electrical installations in the Town. The Town Council are looking for a contractor who will share our enthusiasm for Christmas and be part of our Winter Wonderland celebrations.
The successful contractor will be expected to: 

1. To check and test the stored illuminations before installation and make any necessary repairs or make recommendations for replacement. (At the end of last season 3 of the lamppost snowflakes need repairing). 
2. To check our 4 main supply junction boxes to check that they are fit for purpose and advise whether we could decommission them with a view to taking supply from our nearby buildings. (We are currently paying a high standing charge for these supplies that we use one month a year). 
3. To check eye bolts and hanging basket stands annually before installation and provide written confirmation that they are fit for purpose. Testing shall include safety tests on anchor points and viability of the strings. Tests shall be carried out to ISO standards. 

4. All electrical components shall be tested and all wiring, connections etc. should be certified safe on an annual basis. All installations shall be installed and anchored such that they are safe.

5. To Install lighting display which is as follows 

Icicle lighting in:

Bridge Street

Whitehart Street

The Shambles

Kings House and flag poles

The Guildhall

Market Place

Guildhall Street

Install 10 lamppost motifs to hanging basket/lampost stands in King Street and Riverside. (Can you put a supplementary figure for the cost of adding extra lamp post motif’s onto the display)
Install tree lights in large trees on the Market Place on the Guildhall tree and the tree in St Peters churchyard. (The Guildhall tree will require a topper for installation). 
Install 1 set of LED lights to 68 Christmas trees and install above shops in King Street, Well Street, Guildhall Street. In addition 4 Xmas trees with flashing LED light strands in front of king’s house.

Install 5 banners in King Street 

Install 3 banners in Riverside

Install 2 banners in Bridge Street Install.(One new set of eye bolts will require for installation)
(Can you put a supplementary figure for the cost of adding extra banners onto the display)

(Overhead banners must be installed in compliance with Norfolk County guidance).

(Appendix 1 provides drawings of scheme)

6. Install and test all the lights at least one week prior to the switch on date. The Council shall be informed in writing that all illuminations and associated equipment is operational.
7. Provide 5 staff to operate the switch on and provide communications equipment on the night.
8. Provide a mobile access platform and safe system of work for the installation and removal of the lights.
9. Dismantle illuminations, repack and deliver all cables and illuminations back to council for safe storage. All equipment (except hired equipment covered at 11 below), unless otherwise agreed, will be stored on Council Premises and the contractor shall undertake to transport the equipment to and from those offices.
10. The contractor shall ensure safe working practices are adopted at all times and that workers and the public are fully protected. 
11. The contractor shall ensure they have relevant insurance cover including professional and public liability to the value of £10m. 
12. All reported faults are to be evaluated within 24hr and remedied within 3 days. Weekends shall not be excluded from this arrangement.

13. The contractor shall provide the names and contact details of two contacts that shall be accessible by mobile phone 24/7. 
14. The contractors shall provide all necessary equipment including cherry pickers and vehicles to transport equipment.
15. The fees shall cover all works including call outs.

16. The contractor shall ensure all lights come on and go off at the times to be agreed with the Council.  The time of lights coming on shall be adjusted the day after the switch on event to take account of the difference in timing
17. The contractor shall conduct all necessary due diligence in advance of submitting their tender as the Council will not accept liability for additional payments. 
18. If any part of the installations fails to work after a period of three days then the Council shall reserve the right to deduct 1% of the annual contract value for each day that the lights are not fully operational. 
The Council will agree to additional costs should it increase the scope or extent of the illumination scheme. These will be negotiated should the need arise. The requirements herein shall form the contractual agreement and no subsequent information provided shall override the specification unless the Council gives written approval to any such changes. 
Tender Requirements

· A written quote for 1 year and a 3 year arrangement based on the above specification. Although the contract will be for a three year period this will be subject to annual review.
· Copy of Public liability  and employers Insurance

· Health & Safety Policy

· Example Risk Assessment/ Example Method Statement

· 2 References (commercial/business)

Please note that tenders that do not include all the above may be discarded.
Contact name and number:  Tina Cunnell, Town Clerk, (01842) 768541

tinacunnell@thetfordtowncouncil.gov.uk

Quotations to be in by 12 noon, Friday 1st of June 2018
Sealed inner envelopes to be marked ‘Tender Christmas Lights’,  for the attention of the Town Clerk, Thetford Town Council. Electronic submissions cannot be accepted.
Postal Address: Kings House, King Street, Thetford, Norfolk, IP24 2AP

Details of the winning contract will be published IAW Local Government Transparency Code 2014.

	Section 1 – Contact details. 



	Name of  Applicant :  


	Contact Telephone Numbers:


	Address:




	Postcode: 



	Email address: 



	Section 2 - Referees who can provide details of your work on Christmas light installations


	1 Name of Referee



	Contact Number:


	Address:




	Postcode: 



	Email address: 



	2  Name of Referee



	Contact Number:


	Address:




	Postcode: 



	Email address: 


	Section 3 – Application Statements

	Please provide a supporting statement not exceeding 300 words giving details of your experience of Christmas lights installations and how you would approach Thetford’s installation as detailed above. 

	

	Section 4 – Please provide a quote for a 1 year and a 3 year arrangement.



	Please tick to confirm completion/attachment of documents 



	Completed supporting statement with contact details and referees   (


	Copy of public liability  £10,000,000 minimum cover (
Copy of employers liability  £10,000,000 minimum cover (

	An example/copy of your health & safety policy/risk assessments/method statement (

	Signed                                                                                        Date



	Please return to the address below by noon on Monday 4th of June 2018



KING’S HOUSE, KING STREET, THETFORD, NORFOLK IP24 2AP

Tel: 01842 754247 • Fax: 01842 762567

mail@thetfordtowncouncil.gov.uk • www.thetfordtowncouncil.gov.uk

[image: image2.emf]