| 1.0 Environmental Restrictions and Existing On-site Risks |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 Health Hazards |  |  |  |  |  |  |  |  |
| Hazard | N/A |  | Low Risk | High Risk | Hazard | N/A | Low Risk | High Risk |
| Asbestos (sampling / removal) |  |  |  | YES | Glass/fragile materials | N/A |  |  |
| Discarded hypodermic needles |  |  | YES |  | Hazardous substances |  |  | YES |
| Gas inert, poisonous, explosive | N/A |  |  |  | Lead based paint |  |  | YES |
| Dust/fumes |  |  |  | YES | Mold / fungus |  | YES |  |
| Chemical or biological contamination | N/A |  |  |  | Biological – ground and drains | N/A |  |  |
| Vermin |  |  |  | YES | Mine workings | N/A |  |  |
| 1.2 Safety Hazards |  |  |  |  |  |  |  |  |
| Hazard | N/A | Low Risk |  | High Risk | Hazard | N/A | Low Risk | High Risk |
| Restricted parking |  |  |  | YES | Overhead cables |  | YES |  |
| Shops/Factories/ Commercial area |  |  |  | YES | Hidden underground services & power cables |  |  | YES |
| Restricted access and egress |  | YES |  |  | Pedestrian routes – site boundary |  |  | YES |
| School – children |  |  |  | YES | Uneven surfaces |  |  | YES |
| Traffic volumes (main road) |  |  |  | YES | Security - vandalism |  |  | YES |
| Restriction on waste collection |  |  |  | YES | Segregation of construction area |  |  | YES |
| Unstable / Premature collapse |  |  |  | YES | Concealed openings or voids |  | YES |  |
| Inadequate workspace |  | YES |  |  | Restrictions on deliveries |  |  | YES |
| Property occupied |  |  |  | YES | Inadequate lighting | N/A |  |  |
| 2.0 Significant Design and Construction Hazards |  |  |  |  |  |  |  |  |
| 2.1 Health Hazards |  |  |  |  |  |  |  |  |
| Hazard | N/A | Low Risk |  | High Risk | Hazard | N/A | Low Risk | High Risk |
| Piling - Noise / vibration |  |  |  | YES | Concrete/chemical burns |  |  | YES |
| Hazardous materials requiring |  |  |  | YES | Dust/fumes |  |  | YES |
| Hazardous waste |  |  |  | YES | Lead based paint – stripping |  |  | YES |
| Restrictions on locating welfare facilities |  |  |  | YES | Gas – inert, poisonous, explosive | N/A |  |  |
| 2.2 Safety Hazards |  |  |  |  |  |  |  |  |
| Hazard | N/A | Low Risk |  | High Risk | Hazard | N/A | Low Risk | High Risk |
| Falls into excavation | N/A |  |  |  | Falling objects – tools, materials |  |  | YES |
| Collapse of excavation | N/A |  |  |  | Flooding of excavation | N/A |  |  |
| Specialist machinery /equipment |  |  |  | YES | Working in confined spaces with materials | N/A |  |  |
| Manual handling |  |  |  | YES | Safe access & egress |  |  | YES |
| Slips trips & falls |  |  |  | YES | Nasty Animals | N/A |  |  |
| Falls – off roof, ladder etc |  |  |  | YES | Load and unloading |  |  | YES |
| Pre or post tensioned concrete |  | YES |  |  | Collapse of existing structure |  |  | YES |
| Hot Works |  |  |  | YES | Concrete/Lime |  |  | YES |
| Working at height |  |  |  | YES | Blocked or locked escape routes |  |  | YES |
| Lifting operations |  |  |  | YES | Unauthorised access |  |  | YES |
| Scaffolding |  |  |  | YES | Segregation personnel & vehicles |  |  | YES |
| Flammable substances |  |  |  | YES |  |  |  |  |
| FURTHER COMMENTS: Can the identified risks be eliminated or reduced in anyway? The properties shall remain occupied and will open to the general public the Contractor is to be fully aware of this and suitable fencing and signage installed at all times. The condition of ther existing electrical supply is unknown and precuations are to be applied. |  |  |  |  |  |  |  |  |