Tender Queries received and clarified:

- The two small offices near the stairs. Note they both have suspended ceilings. These areas are included in the works

- The L shaped lobby and the small lobby/wc/kitchen near the stairs. Note this area has suspended ceilings. These areas are included in the works

- The stairs are not included in the works

- One of the South offices has an existing boarded ceiling – You should allow to remove the suspended ceiling and repair the filler joist soffit in this area

- Items such as the doors, windows and dado rails  and other elements should be included where previously painted as identified within the tender document