## Scoring Methodology
The tables below outline the specific samples for which performance data is required for both lots 1 & 2. Please note that should you be bidding for both lots you will only need to provide the sample performance data once. The same scores will be applied for both lots.
Samples Required
Type | Quality
Bag | Your Top Quality Product
Your Median Quality Product
Your Lowest Quality Product
Pleated Panel | Your Top Quality Product
Your Median Quality Product
Your Lowest Quality Product
Panel | Your Top Quality Product
Your Median Quality Product
Your Lowest Quality Product
Scoring Details
The samples will be scored on their performance report. Each filter type, as specified in the above table, will be compared against those submitted by other suppliers in this tender eg. Top quality bag filter from one supplier is compared against the top quality bag filter submitted by each other supplier. The same will apply for the all above mentioned. Therefore, it is essential that each performance report is clearly labeled, in regards to what quality product it is.
The scores will be based on the features outlined below. Each individual feature will scored seperately and a total will be drawn from all the results. The highest score overall will be awarded the full marks.
Please note that the performance reports need to be completed by an external party and can not be done in house. The actual filters do not need to be supplied at this time.
Filter Class | F9 = 10
F8 = 9
F7 = 8
M/F6 = 7
M/F5 = 6
G4 = 5
G3 = 4
G2 = 3
G1 = 2
Intial Pressure Drop (Pa) | For each category the filter with the lowest pressure drop will receive 10 points after that, the percentage difference will be subtracted from the 10 points.
Minimum Efficiency (%) | For each category the filter with the lowest Minimum Efficiency will receive 10 points after that, the percentage difference will be subtracted from the 10 points.
Initial Efficiency (%) | For each category the filter with the lowest Initial Efficiency will receive 10 points after that, the percentage difference will be subtracted from the 10 points.
Annual Energy Consumption (kWh/annum) | The lowest score from all the suppliers will be given 10 after that, the percentage difference will be subtracted from the 10 points.
Filter Media | Fibre Glass = 10, Synthetic Fibre = 7, Cotton /PET = 5 & Any Other = 0
Casing Material | Metal/Plastic = 10, Moisture Resistant Cardboard= 7 & Cardboard = 2
Number of Bags | Each Bag will receive 1 point. (Highest possible score will be 12 for Top Quality Product, 10 for Medium Quality and 8 for Low Quality)
Please note that the filters are required to meet the following size:
Bag - 592 x 592 x450 mm
Panel / Pleated Panel - 592 x 592 x 100 mm
Filters are allowed to vary by a maximum of 5% in size.
M/F6 = 10 M/F5 = 9 G4 = 8
G3 = 7
G2 = 6
G1 = 5
G4 = 10
G3 = 8
G2 = 6
G1 = 4
Top Quality
Medium Quality
Low Quality

## Lot 1 & 2 - Sample Scoring
Air Filters, Associated Products and Services
Lot 1 & 2
Feature
BAG FILTER | Top Quality | Medium Quality | Lowest Quality
| Maximum Marks | Maximum Marks | Maximum Marks
Filter Class | 10 | 10 | 10
Intial Pressure Drop | 10 | 10 | 10
Minimum Efficiency | 10 | 10 | 10
Initial Efficiency | 10 | 10 | 10
Annual Energy Consumption | 10 | 10 | 10
Filter Media | 10 | 10 | 10
Casing Material | 10 | 10 | 10
Number of Bags | 12 | 10 | 8
Sub Total | 82 | 80 | 78
PLEATED PANEL FILTER
Filter Class | 10 | 10 | 10
Intial Pressure Drop | 10 | 10 | 10
Minimum Efficiency | 10 | 10 | 10
Initial Efficiency | 10 | 10 | 10
Annual Energy Consumption | 10 | 10 | 10
Filter Media | 10 | 10 | 10
Casing Material | 10 | 10 | 10
Sub Total | 70 | 70 | 70
PANEL FILTER
Filter Class | 10 | 10 | 10
Intial Pressure Drop | 10 | 10 | 10
Minimum Efficiency | 10 | 10 | 10
Initial Efficiency | 10 | 10 | 10
Annual Energy Consumption | 10 | 10 | 10
Filter Media | 10 | 10 | 10
Casing Material | 10 | 10 | 10
Sub Total | 70 | 70 | 70
Total Score | 222 | 220 | 218