## Pricing Schedule
Office with Public Toliet for Little Paxton Parish Council
Activity/Pricing Schedule
Ref | Description | Q | Unit | Rate | Total
The Contractor is referred to the preliminaries Item 16
CONTRACT OBLIGATIONS
The Contractor shall insert below any costs associated with meeting its contract obligations
A
B
PRELIMINARIES
C | Temporary toilet and cleaning facilities | 1 | Item |  | 0
D | Temporary security fencing | 1 | Item |  | 0
E | Scaffolding | 1 | Item |  | 0
F | Protect Tree | 1 | Item |  | 0
G | Management of the Works | 1 | Item |  | 0
H | Supervision | 1 | Item |  | 0
The Contractor shall list below any additional items to meet the preliminaries obligations
THE WORKS
A | Removals
A1 | Break up Tarmac to foundation footprint and hardcore below; disposal of site | 113 | m2 |  | 0
A2 | Remove any other obstructions in close proximity to the building deemed necessary and reinstate on completion | 1 | Item |  | 0
B | Foundations and Ground Floor
B1 | Strip foundation including excavation and disposal of material; earthwork support, concrete fill, backfill | 44 | m |  | 0
B2 | Brickwork to dpc level including dpc | 44 | m |  | 0
B3 | PROVISIONAL ITEM: Allow for additional excavation and disposal of excavated material, earthwork support, concrete fill for soft spots |  | m3 |  | Rate only
B4 | Ground floor slab including excavation, blinded hardcore, damp proof membrane, concrete slab (insulation and sand and cement screed seperately) | 63 | m2 |  | 0
B5 | Slab for ramp | 1 | item |  | 0
B6 | Insulation, sand and cement screed | 63 | m2 |  | 0
C | External Walls
C1 | External Walls:- 103mm facing brick, 100 cavity, wall ties, insulation, 100mm blockwork. Courses above doors and windows | 75 | m2 |  | 0
C2 | Lintol for 700mm opening | 1 | Nr |  | 0
C3 | Lintol for 1000mm opening | 1 | Nr |  | 0
C4 | Lintol for 1400mm opening | 2 | Nr |  | 0
C5 | Lintol for 2200mm opening | 2 | Nr |  | 0
C6 | Lintol for 2500mm opening | 1 | Nr |  | 0
C7 | Lintol for 2600mm opening | 1 | Nr |  | 0
D | External Openings
D1 | 1000 x 2100 public toilet door and frame | 1 | Nr |  | 0
D2 | 2500 x 2100 entrance door with 2 side panels | 1 | Nr |  | 0
D3 | 1300 x 2200 window, 2 side openers and 1 fixed panel | 1 | Nr |  | 0
D4 | 700 x 1300 window, 1 top opener and 1 fixed panel | 1 | Nr |  | 0
D5 | 1400 x 1300 window, 1 side openers and 1 fixed panel | 1 | Nr |  | 0
D6 | 1400 x 500 window, 1 top openers | 1 | Nr |  | 0
D7 | 2200 x 500 window, 1 fixed panel | 1 | Nr |  | 0
D8 | 2600 x 2100 window, 6 fixed panels | 1 | Nr |  | 0
E | Roof Structure
E1 | 100 x 50 wall plate | 35 | m |  | 0
E2 | 203 x 133x30UB Approx 4050 long; 100x450x215 padstone; 215x450x215 padstone | 1 | item |  | 0
E3 | Vaulted Roof: 50 x 175 C24 rafters at 400 centres with ridge detail as shown on structural engineers sketches | 1 | Item |  | 0
E4 | Ceiling Roof: Roof trusses | 1 | item |  | 0
E5 | 150mm Kingspan Thermapitch between rafters and 50mm under | 45.6 | m2 |  | 0
E6 | 150m Celotex between ceiling joists and 300mm Mineral wool over | 39 | m2 |  | 0
E7 | 18mm chipbard over mineral wool fibre including supports | 39 | m2 |  | 0
E8 | Access Hatch with loft ladder to loft area | 1 | Nr |  | 0
F | Roof Finish
F1 | Roofing tiles; 25 x 38mm treated battens; felt | 96 | m2 |  | 0
F2 | Ridge | 11 | m |  | 0
F3 | Eaves & Soffit, including eaves ventilation strip | 23 | m |  | 0
F4 | Gable End fascia | 18 | m |  | 0
G | Surface Water Drainage
G1 | Guttering & Downpipes | 1 | item |  | 0
G2 | Ducting, Soakaways and make good existing surface | 1 | item |  | 0
H | Internal Walls
H1 | Internal Walls; 200mm Blockwork | 21 | m2 |  | 0
H2 | Lintol; approx 1100 long in 200mm blockwork | 1 | Nr |  | 0
H3 | Cavity wall; 2x100mm blockwork, wall ties; insulation | 4 | m2 |  | 0
H4 | Internal Stud partition; head, sole, studs, noggins, Insulation (plasterboard shown seperately) | 14 | m2 |  | 0
J | Doors & Woodwork
J1 | Internal Fire Doors and door furniture; Softwood door lining with Intumescent Strips; Architraves | 4 | Nr |  | 0
J2 | Doors to Store area; Softwood door lining. Architraves | 1 | Nr |  | 0
J4 | Skirting | 51 | m |  | 0
K | Electrical
The Contractor shall design, supply and install everything required to deliver a compliant and practical electrical installation. The Contractor shall provide, as soon as practical after commencement, a layout drawing showing the position of all equipment and sockets, lighting, etc for approval
K1 | Distribution Board | 1 | Item |  | 0
K2 | Power Sockets | 1 | Item |  | 0
K3 | Lighting in Vaulted ceiling area | 1 | Item |  | 0
K4 | Lighting to Office, Meeting Room, Entrance and WC | 1 | Item |  | 0
K5 | Emergency lighting | 1 | item |  | 0
K6 | Lighting & emergency lighting to Public WC | 1 | Item |  | 0
K7 | External lighting | 1 | item |  | 0
K8 | Hand dryer to WC | 1 | Nr |  | 0
K9 | Hand dryer to Public WC | 1 | Nr |  | 0
K10 | Extractors to Kitchen & WC | 2 | Nr |  | 0
K11 | Extractor to Public WC | 1 | Nr |  | 0
K12 | Mains operated Smoke Detector system | 1 | Item |  | 0
K13 | Mains operated Carbon Monoxide Alarm | 1 | Item |  | 0
Other….Contractor to complete
L | Plumbing & Heating
The Contractor shall design, supply and install everything required to deliver a compliant and practical plumbing and gas heating solution. The Contractor shall provide as soon as practical after commencement a layout drawing showing the position of all equipment for approval. Note the Contractor is requested to provide alternative solutions to gas in the document "4. Contractor Design and Product Selection"
L1 | Boiler and controls | 1 | Item |  | 0
L2 | Heating System including controls | 1 | Item |  | 0
L3 | Hot & Cold water supply to Internal WC, Kitchen | 1 | Item |  | 0
L4 | Hot & Cold water supply to Public WC | 1 | Item |  | 0
L5 | Automatic sprinkler system | 1 | Item |  | 0
L6 | Waste Drainage from Internal WC, Kitchen to external wall | 1 | Item |  | 0
L7 | Waste Drainage from Public WC to external wall | 1 | Item |  | 0
Other requirements to comply with regulations…detail below
M | Fittings
M1 | Kitchen Units: Contractor to provide a layout drawing for approval | 1 | Item |  | 0
M2 | Kitchen Worktop & upstand | 1 | item
M3 | Kitchen Sink & Taps | 1 | Item |  | 0
M4 | Public WC : Sanitaryware to follow the principles shown in diagram 18 & 19 Approved Document M | 1 | Item |  | 0
M5 | Internal WC : Sanitaryware to follow the principles shown in diagram 18 & 19 Approved Document M | 1 | Item |  | 0
M6 | Fire Extinguisher | 2 | Nr |  | 0
M7 | Exit Sign | 1 | Item |  | 0
N | Finishes
N1 | Ceiling: Foil back plasterboard, skim | 1 | Item |  | 0
N2 | Ceiling: Foil back plasterboard, skim - Public Toilet | 1 | Item |  | 0
N3 | Walls: Plasterboard on dabs and skim; or 2 coat plaster | 114 | m2 |  | 0
N4 | Walls: Plasterboard on stud wall and skim | 28 | m2 |  | 0
N5 | Walls: Laminate - Public WC | 18 | m2 |  | 0
N6 | Tile splashbacks - WC | 1 | Item |  | 0
N7 | Laminate Flooring : Office, meeting room and entrance | 1 | item |  | 0
N8 | Laminate Flooring: Kitchen laminate |  | m2 |  | 0
N9 | Laminate Flooring: WC | 3 | m2 |  | 0
N10 | Flooring Public WC, including Skirting and thresholds | 3.3 | m2 |  | 0
P1 | Decoration
P1 | Emulsion to ceiling and walls, | 1 | Item |  | 0
P2 | Primer, undercoat and satinwood to woodwork | 1 | Item |  | 0
N | External
N1 | Access ramp including drainage | 1 | Item |  | 0
N2 | Make good exisiting surfaces to match exisiting | 1 | Item |  | 0
P | Services
P1 | Connecting of foul drainage into existing manhole | 1 | item |  | 0
P2 | Connecting to Water Mains to position shown on quotation | 1 | item |  | 0
P3 | Connecting to incoming Electricity Mains meter from DB | 1 | item |  | 0
P4 | Connecting to incoming Gas Mains meter | 1 | item |  | 0
Other Items
The Contractor shall list out below any additional items
| TOTAL TO FORM OF TENDER |  |  |  | 0
DAYWORKS
Labour
Hourly rates to include travel, hand tools and overheads and profit
D | Labourer |  | hr |  | rate only
E | Bricklayer |  | hr |  | rate only
F | Carpenter |  | hr |  | rate only
G | Electrician |  | hr |  | rate only
Contracttor to add any additional categories
Materials and Plant
Insert % addition to be applied to the nett cost of materials and hired plant (after all discounts)
| Materials |  | % |  | % addition
| Hired Plant |  | % |  | % addition

## Measurements
|  | Length | Width | Height
Footprint to external Foundations |  | 11.4 | 9.9 |  | 112.86 | m2
Footprint to external Brickwork |  | 11.1 | 6.6 |  | 73.26 | m2
Foundation length |  |  |  |  | 43.9 | m
- length | 2 | 10.8 |  |  | 21.6
- width | 2 | 6.3 |  |  | 12.6
- centre wall | 1 | 5.7 |  |  | 5.7
- toilet | 1 | 1.65 |  |  | 1.65
- toilet | 1 | 2.35 |  |  | 2.35
Ground Floor Slab |  | 10.5 | 6 |  | 63 | m2
External wall |  |  |  |  | 74.768 | m2 | measured on centre line
- length | 2 |  | 10.8 | 2.32 | 50.112
- width | 2 |  | 6.3 | 2.32 | 29.232
- Apex | 1 |  | 6.3 | 2.48 | 15.624
0
- Window front | -1 |  | 1.3 | 2.2 | -2.86
- Door front | -1 |  | 2.1 | 2.5 | -5.25
- window front | -1 |  | 1.3 | 0.7 | -0.91
- WC Door front | -1 |  | 1 | 2.1 | -2.1
- Window side | -1 |  | 2.6 | 2.1 | -5.46
- Window rear | -1 |  | 1.3 | 1.4 | -1.82
- Window rear | -1 |  | 1.4 | 0.5 | -0.7
- Window rear | -1 |  | 2.2 | 0.5 | -1.1
Vaulted Roof area
| 2 | 3.8 | 6 |  | 45.6
Ceiling area | 1 | 6.5 | 6 |  | 39
Roof | 2 | 11.4 | 4.2 |  | 95.76
200mm Blockwork |  |  |  |  | 20.64
- main area | 1 |  | 6 | 2.3 | 13.8
- into apex | 0.5 |  | 6 | 2.28 | 6.84
100mm blockwork cavity |  |  | 2.35 | 1.67 | 3.9245 |  | measured to centre line
100mm internal partitions |  |  |  |  | 13.67 |  | door opening not deducted
- meeting room |  | 3.29 |  | 2.4 | 7.896
- meeting room |  | 3.45 |  | 2.4 | 8.28
- store |  | 1.31 |  | 2.4 | 3.144
- store |  | 1.12 |  | 2.4 | 2.688
- wc |  | 2 |  | 2.4 | 4.8
- wc |  | 1.5 |  | 2.4 | 3.6
- Kitchen |  | 1 |  | 2.4 | 2.4
Plasterboard on dabs and skim or plaster |  |  |  |  | 114.036 |  | door opening not deducted
- Office | 2 | 6 |  | 2.4 | 28.8
- Office (apex) | 1 | 6 |  | 2.27 | 13.62
- Office | 2 | 3.83 |  | 2.4 | 18.384
- meeting room | 1 | 3.1 |  | 2.4 | 7.44
- meeting room | 1 | 3.35 |  | 2.4 | 8.04
- Entrance | 1 | 2.75 |  | 2.4 | 6.6
- WC | 1 | 2.2 |  | 2.4 | 5.28
- WC / Kitchen | 1 | 2.48 |  | 2.4 | 5.952
- Kitchen | 1 | 1.8 |  | 2.4 | 4.32
- Kitchen | 1 | 3.5 |  | 2.4 | 8.4
- Kitchen | 1 | 3 |  | 2.4 | 7.2
Plasterboard on dabs and skim or plaster - Public WC |  |  |  |  | 17.76 |  | door opening not deducted
- Public WC | 2 | 2.2 |  | 2.4 | 10.56
- Public WC | 2 | 1.5 |  | 2.4 | 7.2