|  |  |  |  |
| --- | --- | --- | --- |
| cid:image006.jpg@01D22629.8BF43E00 |  | **Bay 3/21****Spring Place****105 Commercial Road****Southampton****SO15 1EG****United Kingdom** |  |
|   |  |  |  |
| All Applicants for the Replacement Roof & Render at MCA Liverpool External Works Via Contracts Finder | **Tel:****Fax:****E-mail:** | **+44 (0)20 381 72173****contracts@mcga.gov.uk** |
| Our ref:  | TCA 3/7/1118 |
| 12 September 2019 |

Dear All

**INVITATION TO TENDER REPLACEMENT ROOF AND RENDER AT MCA LIVERPOOL, HALL ROAD WEST, CROSBY, L23 8SY**

Please see below for responses to questions and requests for information raised during the site visit on 10 September. To ensure that all applicants have access to the same information we will publish this document on Contracts Finder.

**Question:**

What square meterage should be allowed for item D.2 *(“Insulate between rafters where no roof space is present. Contractor to allow for 50mm insulation board between rafters with a 62.5mm insulated plasterboard fixed to rafters and finished with a plaster skim”*)?

**Answer:**

Allow for 100 sqm.

**Question**:

The wording of item D.4 suggests that approved EWI contractors can only be selected from the approved list in appendix B, can any approved Johnstone’s contractor be selected?

**Answer**:

Yes, any contractor from the Johnstone’s approved list can be selected.

I hope this provides all the information you require

Kind Regards

Amanda Dunbar

MCA Procurement