Specification:

- 3 year maintenance service comprehensive platinum cover with one annual preventative maintenance, repairs, parts, labour, travel. Includes emergency call-outs/ repairs

for 3x 560 bioconsole cardiac bypass system & 4x Autolog cell savers and a silver cover (annual preventative service only) for 2x Pressure display box’s

- Equipment: 3x 560 bioconsoles cardiac bypass (please see below the equipment list with serial numbers and contract types + visits)

| Location | Equipment | S/N | Contract type + visit |
| --- | --- | --- | --- |
| Liver Transplant Theatres | 560 bioconsole Cardiac bypass | 560B100542 | Platinum comprehensive with 1 PM |
|  | 560A External drive motor | A0801 |  |
|  | TX50 flow Transducer | E6295 |  |
|  | BD38 Bubble detector | 12034554 |  |
|  | 560 bioconsole Cardiac bypass | 560B101610 | Platinum comprehensive with 1 PM |
|  | TX50 flow Transducer | E7094 |  |
|  | BD38 Bubble detector | 12342238 |  |
|  | 560 bioconsole Cardiac bypass | 560B101663 | Platinum comprehensive with 1 PM |
|  | 560A External drive motor | A3822 |  |
|  | TX50 flow Transducer | E7095 |  |
|  | BD38 Bubble detector | 12501920 |  |
|  | Biopump Emergency handcrank | HC5048 |  |
|  | Pressure display box | 302048 | Silver - visual check |
|  | Pressure display box | 301431 | Silver - visual check |
| Cardiac Perfusion (Based in Cardiac Theatres) | Autolog cell saver | 10004 | Platinum comprehensive with 1 PM |
|  | Autolog cell saver | 10005 |  |
|  | Autolog cell saver | 01280 |  |
|  | Autolog cell saver | 01339 |  |

- Location: Liver Transplant Theatres and Cardiac Perfusion (Based in Cardiac Theatres)

- Loan unit provision – please advise the details

- Response times: please advice

- Coverage days and times: please advice

- Cancellation period – please confirm

- Payment term – please confirm