## Cost Breakdown
CONTRACT SUM ANALYSIS - Halls of Residence NON SALIX Works | [5 empty] | V3 | 2023-12-13
Name of the Contractor
Operating Address
| Tender including VE [Excluding VAT] |  | 20000
20000
| 2 |  | SUPERSTRUCTURE
|  | 2.07 | Install new plasterboard ceiling and metal/timber patress | 253 | m2 | 0 | 0
|  | 2.07 | Install new plasterboard bulkhead ceiling [seating area]. Allow for perimeter downstand | 5.4 | m2 | 0 | 0
|  | 2.07 | Skirting - please the area allowed for in the tender. New door areas/Kitchen | 270 | m | 0 | 0
|  | 2.07 | Insert new lintel, form enlarged opening and allow to make good the plaster [Fire Shutter] | 5 | nr | 0 | 0
|  | 2.07 | Miscellaneous | 1 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 3 |  | INTERNAL FINISHES
|  | 3.01 | 1hr fire door and frame - 760mm clear | 80 | nr | 0 | 0
|  | 3.01 | 1hr fire door and frame - 690mm clear with VP | 9 | nr | 0 | 0
|  | 3.01 | 1hr fire door and frame - 660mm clear | 8 | nr | 0 | 0
|  | 3.01 | Ironmongery for new doors | 97 | sets | 0 | 0
|  | 3.01 | Fire shutters | 5 | Nr | 0 | 0
|  | 3.01 | Paint finish Ceiling - all areas | 1275 | m2 | 0 | 0
|  | 3.01 | Paint finish - woodwork [all areas] | 1 | Item | 0 | 0
|  | 3.01 | Paint finish - all areas - non new internal walls | 810 | m² | 0 | 0
|  | 3.01 | 100 x 150 ceramic tiles in the kitchens | 11.25 | m2 | 0 | 0
[6 empty] | Sub Total | 0
| 5 |  | SERVICES
|  | 5.01 | Mechanical CSA | 1 | Item | 0 | 0
|  | 5.02 | Electrical CSA | 1 | Item | 0 | 0
[6 empty] | Sub Total | 0
| 10 |  | FFE
|  | 10.1 | Supply and install new fixed cupboard | 48 | nr | 0 | 0
|  | 10.1 | Supply and install new sink base unit | 48 | nr | 0 | 0
|  | 10.1 | Supply and install vanity inset sinks including mixer tap and waste. | 48 | nr | 0 | 0
|  | 10.1 | Supply and install bedside side/head board - see detail Devonshire Architects detail | 80 | nr | 0 | 0
|  | 10.1 | Supply and install LED vanity mirror | 48 | nr | 0 | 0
|  | 10.1 | Supply and install stainless steel base unit | 5 | nr | 0 | 0
|  | 10.1 | Supply and install new worktop | 10 | m | 0 | 0
|  | 10.1 | Supply and install new desk chair | 48 | nr | 0 | 0
|  | 10.1 | Supply and install integrated fridge | 5 | nr | 0 | 0
[6 empty] | Sub Total | 0
| 11 |  | MISCELLANEOUS
|  | 11.1 | Strip out existing kitchens | 5 | nr | 0 | 0
|  | 11.1 | Strip out fixed furniture in Patworth; Ongley & Milner | 48 | Rooms | 0 | 0
|  | 11.1 | Strip out fixed furniture in Clayton & Edmunds | 32 | Rooms | 0 | 0
|  | 11.1 | Re install fixed funiture in Clayton & Edmunds |  |  | 0 | 0
|  | 11.1 | Box in for pipes and manifolds [Allow for CLS stud and plasterboard finish] | 16.2 | m2 | 0 | 0
[6 empty] | Sub Total | 0
| 12 |  | PC SUMS
|  | 12.01 | Client Contingency | 1 | Item |  | 20000
[6 empty] | Sub Total | 20000
| 13 |  | MAIN CONTRACTOR’S OVERHEAD & PROFIT
|  | 13.1 | Percentage Addition | 0% | Insert % |  | 0
| TOTAL CONSTRUCTION ESTIMATE [excluding VAT] | [5 empty] | 20000

## Mechanical CSA
Project: | Halls of Residence FIT OUT | Reference: | 02-15 | DATA - NOT PRINTED
Site | Shuttleworth College | Revision: | T00
Client: | Bedford College | Date: | 2023-12-01
ITEM | SPECIFICATION SECTION & DESCRIPTION | COST | NOTES
MECHANICAL
NOTE: The costs detailed below relate to the Mechanical Services drawings and specifications contained in the Mechanical Fit Out folder only. It is essential they are priced seperately.
C10 & C14 - Surveys, Isolation, Demolition & Strip Out
| N13 - Sanitaryware |  | Refer to taps on mechanical schedules and architects sanitaryware specification.
P30 & P31 BWIC with Mechanical Services
R10 - Rainwater Drainage Systems
| R11 - Foul Drainage Systems |  | Local connections to existing stack
S10 - Incoming Water
S12 - Leak Detection
S12 - Domestic Services
S12 - External Taps
S15 - Drinking Fountains
S20 - Treated Water Systems
S30 - Compressed Air Systems
S32 - Natural Gas
S34 - Specialist Gas Systems
S61 - Dry Riser Systems
S63 - Sprinkler Systems
S65 - Fire Hydrants
T15 - Solar Thermal Systems
T31 - Low Temperature Heating Systems
T42 - Local Heating Units
T69 - Chilled Water Systems
| U10 - Ventilation Systems |  | Including Ductwork, MVHRs, Fans, Silencers, Air Terminals, Louvers and Cowls.
| U11 Toilet Extract Systems |  | Including Ductwork, MVHRs, Fans, Silencers, Air Terminals, Louvers and Cowls.
U12 - Kitchen Ventilation Systems
U14 - Smoke and Heat Control Systems
U15 - Safety Cabinet/Fume Cupboard Systems
U20 - Dust Extract Systems
| U39 - Air Conditioning Systems |  | Including VRV, Piping, Wiring, Controls, Condensate and AC pipework Insulation
U70 - Air Curtains
W60 - Genius Control System
| Y50 - Insulation |  | Including Ductwork, Air Intake plenums, LTHW pipework, Domestic Services Pipework and cladding.
Y25 - Waterside Cleaning & Flushing
Y25 - Plumbing Chlorination
Y51 - Air Side Balancing
Y51 - Water Side Balancing
A31 - Mechanical Design & Co-Ordination
A32 - Prelims (Site/Project/Contract Management)
A37 - Record Drawings & O&Ms
Planned Preventative Maintenance within the first 12 months.
| SUB-TOTAL OF WORKS | 0
ITEM | DESCRIPTION | COST | NOTES
ADDITIONAL COSTS/SAVINGS IDENTIFIED/RECOMMENDED BUT NOT SHOWN ON DRAWINGS OR SPECIFICATION
NOTE: These works will not be included in your tender sum but will demonstrate due diligence.
1
2
3
3
4
5
6
7
| SUB-TOTAL OF WORKS | 0
ADDITIONAL INFORMATION
INSERT NAME OF CONTRACTOR |  | DATE:
a) | Declared OHP | 0% | Will be used for variations.
b) | Daywork Rate:
Contracts Manager
Plumber
Pipe Fitter
Air Conditioning Engineer
Ductwork Fitter
Insulation Fitter
Commissioning Engineer
Controls Engineer
Apprentice/Non-Skilled Tradesmen

## Electrical CSA
Project: | Halls of Residence FIT OUT | Reference: | 02-15 | DATA - NOT PRINTED
Site | Shuttleworth College | Revision: | T00
Client: | Bedford College | Date: | 2023-12-01
ITEM | SPECIFICATION SECTION & DESCRIPTION | COST | NOTES
ELECTRICAL
NOTE: The costs detailed below relate to the Electrical Services drawings 02-15-E-11 through 15, 02-15-E-SP-99 Electrical Spec and 02-15-E-CS-91 Electrical Details only. It is essential they are priced seperately.
C10 & C14 - Surveys, Isolation, Demolition & Strip Out
P30 & P31 BWIC with Electrical Services
U11 Toilet Extract Systems
U14 - Smoke Extract/AOV Systems
V12 - LV Utilities Supply
V13 - PV Electrical Generation
V20 - LV Distribution
V21 - Lighting
V22 - Small Power
V22 - Power for Mechanical Services
V32 - UPS Systems
V34 - Electric Vehicle Charging
V41 - External Lighting
V51 - Electric Heating
V90 - Electrical Installation/Containment
| V92 - Audio Visual Systems |  | Supply, 2nd Fix & Commission
| V92 - Audio Visual Systems |  | Containment provision.
W10 - Telecommunications
W12 - Public Address System
| W15 - Facilities for the Disabled |  | Toilet Alarms and Refuge Systems.
| W15 - Facilities for the Disabled |  | Induction Loop Systems.
W23 - Clocks
W30 - Data
W40 - Access Control
W41 - Security Detection
W42 - CCTV
W50 - Fire Alarm
W51 - Earthing & Bonding
W52 - Lightning & Surge Protection
W54 - Liquid Leak Detection
Y81 - Testing & Commissioning
A31 - Electrical Design & Co-Ordination
A32 - Prelims (Site/Project/Contract Management)
A37 - Record Drawings & O&Ms
Planned Preventative Maintenance within the first 12 months.
| SUB-TOTAL OF WORKS | 0
ITEM | DESCRIPTION | COST | NOTES
ADDITIONAL COSTS/SAVINGS IDENTIFIED/RECOMMENDED BUT NOT SHOWN ON DRAWINGS OR SPECIFICATION
NOTE: These works will not be included in your tender sum but will demonstrate due diligence.
1
2
3
4
5
| SUB-TOTAL OF WORKS | 0
ADDITIONAL INFORMATION
INSERT NAME OF CONTRACTOR |  | DATE:
a) | Declared OHP | 0% | Will be used for variations.
b) | Daywork Rate:
Contracts Manager
Electrician
Fire Alarm Engineer
Security Engineer