|  |  |  | Bay 3/21 Spring Place 105 Commercial Road Southampton SO15 1EG United Kingdom |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All Applicants for the Hazardous Area PPE Via Contracts Finder |  | Tel: Fax: E-mail: | +44 (0)20 381 72173 contracts@mcga.gov.uk |  |  |
|  |  | Our ref: |  | TCA 3/7/1038 |  |
|  |  | 31st January 2018 |  |  |  |

Dear All

HAZARDOUS AREA PPE

We have received a question from an applicant for the above-mentioned contract, and to ensure that all applicants have access to the same information, we have copied the question and our answer to you:

Question:

Would the area items listed in section below require the 4 monitors in addition to the 12 listed in LOT1-3-b or is the intent to use monitors from this batch of 12 in the zonal units?”

c) Four Area Gas Monitoring Systems

These will be configured to detect hazardous levels (too low or too high) of O2, CO2, CO, H2S, CH4.

These will be used to mark zones where dangerous gases are present and act as an early warning to personnel working outside of those zones. Their alert should be clearly audible and visual.

The area monitors should be GPS and Bluetooth enabled, to allow them to transmit alerts, with GPS coordinates, to laptops and/or other Bluetooth enabled devices.

They should have a battery life that exceeds 100 hours.

The area monitors should be compatible with the personal monitors.

Due to the environments they will be used in, the area monitors will need to be durable, waterproof (IP67 rating) and be intrinsically safe (rated to ATEX zone 0).

The requirement includes a bump test and calibration docking station for these measuring kits to carry out tests internally. We wish to be able to bump test and calibrate four monitors at a time.

Answer:

No additional monitors are needed for the four area monitors – any one of the 12 personal should be compatible with the area monitors, allowing them to be integrated with the larger system.

I hope this provides all the information you require

Kind Regards

Amanda Dunbar

MCA Procurement Strategy &Corporate Services